## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 11:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
91172 | 2021-04-19 10:39 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.1046 | μmol/L | 30.2751 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.229 | 123548.9138 | 268857.7653 | 32.55 | 27.7
91182 | 2021-04-19 10:39 | 0.32975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.1666 | μmol/L | 30.2199 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.244 | 123605.7988 | 268811.3816 | 32.55 | 27.7
91192 | 2021-04-19 10:40 | 0.66287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.6412 | μmol/L | 30.2751 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.254 | 123655.7499 | 268767.3884 | 32.55 | 27.7
91202 | 2021-04-19 10:40 | 0.99612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.1537 | μmol/L | 30.1708 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.261 | 123703.5017 | 268717.6763 | 32.55 | 27.7
91212 | 2021-04-19 10:40 | 1.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.8002 | μmol/L | 30.183 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.276 | 123740.3259 | 268681.4624 | 32.55 | 27.7
91222 | 2021-04-19 10:41 | 1.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.7839 | μmol/L | 30.1646 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.283 | 123744.466 | 268664.9551 | 32.55 | 27.7
91232 | 2021-04-19 10:41 | 1.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.4275 | μmol/L | 30.2076 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.288 | 123762.0911 | 268631.3896 | 32.55 | 27.7
91242 | 2021-04-19 10:41 | 2.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2614 | μmol/L | 30.2076 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.297 | 123794.7472 | 268616.1787 | 32.55 | 27.7
91252 | 2021-04-19 10:42 | 2.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2098 | μmol/L | 30.1769 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.31 | 123823.1897 | 268579.1998 | 32.55 | 27.7
91262 | 2021-04-19 10:42 | 2.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.9504 | μmol/L | 30.1892 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.32 | 123802.483 | 268562.1628 | 32.55 | 27.7
91272 | 2021-04-19 10:42 | 3.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.156 | μmol/L | 30.1646 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.317 | 123781.3527 | 268545.7745 | 32.55 | 27.7
91282 | 2021-04-19 10:43 | 3.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2519 | μmol/L | 30.1339 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.322 | 123790.3582 | 268526.9438 | 32.55 | 27.7
91292 | 2021-04-19 10:43 | 3.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.1229 | μmol/L | 30.1339 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.329 | 123808.375 | 268496.5465 | 32.55 | 27.7
91302 | 2021-04-19 10:43 | 4.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.9749 | μmol/L | 30.1401 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.335 | 123861.8469 | 268476.0224 | 32.55 | 27.7
91312 | 2021-04-19 10:44 | 4.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2982 | μmol/L | 30.0542 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.346 | 123875.949 | 268477.8768 | 32.55 | 27.7
91322 | 2021-04-19 10:44 | 4.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.5989 | μmol/L | 30.0051 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.346 | 123851.9192 | 268444.4408 | 32.55 | 27.7
91332 | 2021-04-19 10:44 | 5.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.961 | μmol/L | 30.1033 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.348 | 123861.1872 | 268423.2397 | 32.55 | 27.7
91342 | 2021-04-19 10:45 | 5.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.758 | μmol/L | 30.1094 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.357 | 123887.7089 | 268405.2126 | 32.55 | 27.7
91352 | 2021-04-19 10:45 | 5.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.3032 | μmol/L | 30.0112 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.36 | 123887.158 | 268394.5841 | 32.55 | 27.7
91362 | 2021-04-19 10:45 | 6.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.192 | μmol/L | 30.0174 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.364 | 123918.1707 | 268371.7462 | 32.55 | 27.7
91372 | 2021-04-19 10:46 | 6.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.1942 | μmol/L | 29.999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.37 | 123902.6599 | 268352.7452 | 32.55 | 27.7
91382 | 2021-04-19 10:46 | 6.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2331 | μmol/L | 29.9805 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.374 | 123913.3299 | 268345.4317 | 32.55 | 27.7
91392 | 2021-04-19 10:46 | 7.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.3492 | μmol/L | 29.9315 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.384 | 123940.237 | 268327.2767 | 32.55 | 27.7
91402 | 2021-04-19 10:47 | 7.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.0888 | μmol/L | 29.956 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.39 | 123927.4535 | 268311.9581 | 32.55 | 27.7
91412 | 2021-04-19 10:47 | 7.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.8081 | μmol/L | 29.999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.391 | 123936.5273 | 268304.1014 | 32.55 | 27.7
91422 | 2021-04-19 10:47 | 8.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4353 | μmol/L | 30.048 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.395 | 123928.0587 | 268279.815 | 32.55 | 27.7
91432 | 2021-04-19 10:48 | 8.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.3422 | μmol/L | 30.0603 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.396 | 123939.3117 | 268266.2946 | 32.55 | 27.7
91442 | 2021-04-19 10:48 | 8.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.5682 | μmol/L | 30.0112 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.4 | 123973.0974 | 268241.0662 | 32.55 | 27.7
91452 | 2021-04-19 10:48 | 9.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.6415 | μmol/L | 30.0112 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.396 | 123949.1148 | 268237.3143 | 32.55 | 27.7
91462 | 2021-04-19 10:49 | 9.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.5696 | μmol/L | 29.999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.404 | 123959.2781 | 268227.7085 | 32.55 | 27.7
91472 | 2021-04-19 10:49 | 9.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4406 | μmol/L | 30.0051 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.409 | 123966.8013 | 268199.7262 | 32.55 | 27.7
91482 | 2021-04-19 10:49 | 10.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.6093 | μmol/L | 29.9744 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.41 | 123946.3922 | 268181.5454 | 32.55 | 27.7
91492 | 2021-04-19 10:50 | 10.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.7597 | μmol/L | 29.9437 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.412 | 123931.4743 | 268171.8273 | 32.55 | 27.7
91502 | 2021-04-19 10:50 | 10.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.6093 | μmol/L | 29.9744 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.41 | 123914.0909 | 268160.37 | 32.55 | 27.7
91512 | 2021-04-19 10:50 | 11.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.9623 | μmol/L | 29.9376 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.403 | 123879.1968 | 268144.9771 | 32.55 | 27.7
91522 | 2021-04-19 10:51 | 11.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4612 | μmol/L | 29.9867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.414 | 123896.9961 | 268129.0283 | 32.55 | 27.7
91532 | 2021-04-19 10:51 | 11.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4055 | μmol/L | 29.9928 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.415 | 123901.0051 | 268117.4622 | 32.55 | 27.7
91542 | 2021-04-19 10:51 | 12.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1447 | μmol/L | 30.0296 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.417 | 123898.7869 | 268100.2952 | 32.55 | 27.7
91552 | 2021-04-19 10:52 | 12.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2766 | μmol/L | 29.999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.42 | 123882.0456 | 268092.8642 | 32.55 | 27.7
91562 | 2021-04-19 10:52 | 12.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2393 | μmol/L | 30.0051 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.42 | 123864.5455 | 268074.3803 | 32.55 | 27.7
91572 | 2021-04-19 10:52 | 13.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4429 | μmol/L | 29.9867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.415 | 123830.3933 | 268054.066 | 32.55 | 27.7
91582 | 2021-04-19 10:53 | 13.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.7787 | μmol/L | 29.9376 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.413 | 123791.3029 | 268037.6846 | 32.55 | 27.7
91592 | 2021-04-19 10:53 | 13.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.9842 | μmol/L | 29.9069 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.412 | 123792.2317 | 268018.3645 | 32.55 | 27.7
91602 | 2021-04-19 10:53 | 14.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1836 | μmol/L | 30.0112 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.421 | 123802.1697 | 267996.865 | 32.55 | 27.7
91612 | 2021-04-19 10:54 | 14.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.256 | μmol/L | 30.0174 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.415 | 123771.9806 | 267985.131 | 32.55 | 27.7
91622 | 2021-04-19 10:54 | 14.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4993 | μmol/L | 29.9744 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.416 | 123754.1439 | 267985.2184 | 32.55 | 27.7
91632 | 2021-04-19 10:54 | 15.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4795 | μmol/L | 29.9867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.413 | 123728.1442 | 267964.1349 | 32.55 | 27.7
91642 | 2021-04-19 10:55 | 15.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2774 | μmol/L | 29.9928 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.422 | 123763.8555 | 267948.072 | 32.55 | 27.7
91652 | 2021-04-19 10:55 | 15.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2614 | μmol/L | 29.9744 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.429 | 123756.9702 | 267934.743 | 32.55 | 27.7
91662 | 2021-04-19 10:55 | 16.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2972 | μmol/L | 29.9805 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.425 | 123729.3586 | 267929.1778 | 32.55 | 27.7
91672 | 2021-04-19 10:56 | 16.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.24 | μmol/L | 29.999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.422 | 123728.7611 | 267898.6535 | 32.55 | 27.7
91682 | 2021-04-19 10:56 | 16.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2766 | μmol/L | 29.999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.42 | 123682.9521 | 267901.1864 | 32.55 | 27.7
91692 | 2021-04-19 10:56 | 17.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1128 | μmol/L | 29.9928 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.431 | 123714.3071 | 267873.9912 | 32.55 | 27.7
91702 | 2021-04-19 10:57 | 17.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1653 | μmol/L | 30.0112 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.422 | 123650.6034 | 267869.8793 | 32.55 | 27.7
91712 | 2021-04-19 10:57 | 17.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2942 | μmol/L | 30.0051 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.417 | 123645.819 | 267852.2254 | 32.55 | 27.7
91722 | 2021-04-19 10:57 | 18.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2385 | μmol/L | 30.0112 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.418 | 123638.2363 | 267836.6253 | 32.55 | 27.7
91732 | 2021-04-19 10:58 | 18.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1311 | μmol/L | 29.9928 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.43 | 123651.3439 | 267829.9543 | 32.55 | 27.7
91742 | 2021-04-19 10:58 | 18.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.0183 | μmol/L | 30.0174 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.428 | 123646.4868 | 267813.2063 | 32.55 | 27.7
91752 | 2021-04-19 10:58 | 19.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.9247 | μmol/L | 30.0358 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.427 | 123622.6896 | 267811.481 | 32.55 | 27.7
91762 | 2021-04-19 10:59 | 19.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.9262 | μmol/L | 30.0235 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.431 | 123646.5814 | 267807.4244 | 32.55 | 27.7
91772 | 2021-04-19 10:59 | 19.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.0374 | μmol/L | 30.0112 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.429 | 123662.6547 | 267813.229 | 32.55 | 27.7
91782 | 2021-04-19 10:59 | 20.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.077 | μmol/L | 29.9867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.435 | 123651.8128 | 267773.3789 | 32.55 | 27.7
91792 | 2021-04-19 11:00 | 20.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7352 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.441 | 123662.2463 | 267752.3475 | 32.55 | 27.7
91802 | 2021-04-19 11:00 | 20.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7993 | μmol/L | 30.0174 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.44 | 123638.8763 | 267759.1993 | 32.55 | 27.7
91812 | 2021-04-19 11:00 | 21.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7977 | μmol/L | 30.0296 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.436 | 123632.2926 | 267754.2315 | 32.55 | 27.7
91822 | 2021-04-19 11:01 | 21.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7255 | μmol/L | 30.0235 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.442 | 123634.5315 | 267732.3695 | 32.55 | 27.7
91832 | 2021-04-19 11:01 | 21.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7271 | μmol/L | 30.0112 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.446 | 123635.1143 | 267717.4975 | 32.55 | 27.7
91842 | 2021-04-19 11:01 | 22.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6424 | μmol/L | 30.0358 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.442 | 123624.2911 | 267716.5202 | 32.55 | 27.7
91852 | 2021-04-19 11:02 | 22.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.8579 | μmol/L | 29.9867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.447 | 123616.6882 | 267692.63 | 32.55 | 27.7
91862 | 2021-04-19 11:02 | 22.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.0999 | μmol/L | 29.9499 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.446 | 123610.1604 | 267692.7428 | 32.55 | 27.7
91872 | 2021-04-19 11:02 | 23.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.8397 | μmol/L | 29.9867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.448 | 123589.8489 | 267677.41 | 32.55 | 27.7
91882 | 2021-04-19 11:03 | 23.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.0451 | μmol/L | 29.9499 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.449 | 123585.6772 | 267654.4593 | 32.55 | 27.7
91892 | 2021-04-19 11:03 | 23.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.138 | μmol/L | 29.9376 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.448 | 123569.9498 | 267649.1231 | 32.55 | 27.7
91902 | 2021-04-19 11:03 | 24.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.8579 | μmol/L | 29.9867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.447 | 123581.6959 | 267627.0249 | 32.55 | 27.7
91912 | 2021-04-19 11:04 | 24.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.5092 | μmol/L | 30.0051 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.46 | 123610.5317 | 267628.9271 | 32.55 | 27.7
91922 | 2021-04-19 11:04 | 24.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6011 | μmol/L | 29.999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.457 | 123600.5347 | 267615.0961 | 32.55 | 27.7
91932 | 2021-04-19 11:04 | 25.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.5084 | μmol/L | 30.0112 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.458 | 123581.7881 | 267601.491 | 32.55 | 27.7
91942 | 2021-04-19 11:05 | 25.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6464 | μmol/L | 30.0051 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.452 | 123564.5805 | 267598.8887 | 32.55 | 27.7
91952 | 2021-04-19 11:05 | 25.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4522 | μmol/L | 30.0235 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.457 | 123571.7784 | 267593.0277 | 32.55 | 27.7
91962 | 2021-04-19 11:05 | 26.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6391 | μmol/L | 29.9867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.459 | 123581.973 | 267591.3688 | 32.55 | 27.7
91972 | 2021-04-19 11:06 | 26.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.5861 | μmol/L | 29.9744 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.466 | 123586.6845 | 267570.2147 | 32.55 | 27.7
91982 | 2021-04-19 11:06 | 26.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4388 | μmol/L | 29.9867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.47 | 123594.4374 | 267555.7106 | 32.55 | 27.7
91992 | 2021-04-19 11:06 | 27.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.2917 | μmol/L | 29.999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.474 | 123587.9955 | 267542.7463 | 32.55 | 27.7
92002 | 2021-04-19 11:07 | 27.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.2 | μmol/L | 30.0051 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.477 | 123605.9154 | 267524.321 | 32.55 | 27.7
92012 | 2021-04-19 11:07 | 27.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.2198 | μmol/L | 29.9928 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.48 | 123599.7101 | 267519.148 | 32.55 | 27.7
92022 | 2021-04-19 11:07 | 28.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.2917 | μmol/L | 29.999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.474 | 123566.2736 | 267507.8676 | 32.55 | 27.7
92032 | 2021-04-19 11:08 | 28.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.59 | μmol/L | 29.9437 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.476 | 123583.9336 | 267497.9999 | 32.55 | 27.7
92042 | 2021-04-19 11:08 | 28.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.48 | μmol/L | 29.9499 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.48 | 123560.4165 | 267482.7674 | 32.55 | 27.7
92052 | 2021-04-19 11:08 | 29.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0701 | μmol/L | 29.9621 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.498 | 123633.5849 | 267468.0094 | 32.55 | 27.7
92062 | 2021-04-19 11:09 | 29.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.5491 | μmol/L | 29.9131 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.488 | 123586.8229 | 267455.1161 | 32.55 | 27.7
92072 | 2021-04-19 11:09 | 29.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.5401 | μmol/L | 29.9069 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.491 | 123553.9019 | 267457.2997 | 32.55 | 27.7
92082 | 2021-04-19 11:09 | 30.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6873 | μmol/L | 29.8946 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.487 | 123561.1243 | 267435.3344 | 32.55 | 27.7
92092 | 2021-04-19 11:10 | 30.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7079 | μmol/L | 29.8762 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.492 | 123555.2589 | 267436.3634 | 32.55 | 27.7
92102 | 2021-04-19 11:10 | 30.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7261 | μmol/L | 29.8762 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.491 | 123590.8055 | 267432.0393 | 32.55 | 27.7
92112 | 2021-04-19 11:10 | 31.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.45 | μmol/L | 29.9008 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.498 | 123603.9891 | 267413.8895 | 32.55 | 27.7
92122 | 2021-04-19 11:11 | 31.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.1759 | μmol/L | 29.9131 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.509 | 123637.5152 | 267409.0915 | 32.55 | 27.7
92132 | 2021-04-19 11:11 | 31.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.3046 | μmol/L | 29.9008 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.506 | 123611.8145 | 267394.0659 | 32.55 | 27.7
92142 | 2021-04-19 11:11 | 32.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6207 | μmol/L | 29.8456 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.507 | 123609.5815 | 267400.2078 | 32.55 | 27.7
92152 | 2021-04-19 11:12 | 32.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4903 | μmol/L | 29.8701 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.506 | 123593.6576 | 267385.6957 | 32.55 | 27.7
92162 | 2021-04-19 11:12 | 32.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9549 | μmol/L | 29.9376 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.513 | 123622.0469 | 267358.9454 | 32.55 | 27.7
92172 | 2021-04-19 11:12 | 33.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0472 | μmol/L | 29.9253 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.512 | 123609.7319 | 267359.3826 | 32.55 | 27.7
92182 | 2021-04-19 11:13 | 33.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9203 | μmol/L | 29.9253 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.519 | 123650.1164 | 267342.7917 | 32.55 | 27.7
92192 | 2021-04-19 11:13 | 33.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.7762 | μmol/L | 29.9192 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.529 | 123678.9182 | 267342.9798 | 32.55 | 27.7