## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 11:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
92193 | 2021-04-19 11:24 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.1816 | μmol/L | 29.2969 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.163 | 131859.6766 | 269454.1604 | 33.25 | 75.7
92203 | 2021-04-19 11:24 | 0.34138 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.9906 | μmol/L | 29.3092 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.169 | 131896.7814 | 269450.2436 | 33.25 | 75.7
92213 | 2021-04-19 11:25 | 0.67431 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.3743 | μmol/L | 29.2354 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.173 | 131904.7892 | 269435.6597 | 33.25 | 75.7
92223 | 2021-04-19 11:25 | 1.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.1449 | μmol/L | 29.2538 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.179 | 131958.443 | 269431.7739 | 33.25 | 75.7
92233 | 2021-04-19 11:25 | 1.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.2799 | μmol/L | 29.2046 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.188 | 131996.1731 | 269404.376 | 33.25 | 75.7
92243 | 2021-04-19 11:26 | 1.6748 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.6682 | μmol/L | 29.2784 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.196 | 132009.2787 | 269402.678 | 33.25 | 75.7
92253 | 2021-04-19 11:26 | 2.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.6114 | μmol/L | 29.2723 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.201 | 132065.6859 | 269392.4328 | 33.25 | 75.7
92263 | 2021-04-19 11:26 | 2.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.1087 | μmol/L | 29.1923 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.201 | 132086.2237 | 269380.3898 | 33.25 | 75.7
92273 | 2021-04-19 11:27 | 2.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.7263 | μmol/L | 29.2477 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.203 | 132128.6163 | 269382.2379 | 33.25 | 75.7
92283 | 2021-04-19 11:27 | 3.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.4213 | μmol/L | 29.2784 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.209 | 132154.4723 | 269381.641 | 33.25 | 75.7
92293 | 2021-04-19 11:27 | 3.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.2688 | μmol/L | 29.2969 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.211 | 132194.2311 | 269372.0645 | 33.25 | 75.7
92303 | 2021-04-19 11:28 | 3.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.556 | μmol/L | 29.2292 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.218 | 132206.7455 | 269365.9743 | 33.25 | 75.7
92313 | 2021-04-19 11:28 | 4.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.5373 | μmol/L | 29.2231 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.221 | 132224.5325 | 269358.7973 | 33.25 | 75.7
92323 | 2021-04-19 11:28 | 4.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.1379 | μmol/L | 29.2538 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.232 | 132296.0359 | 269358.9152 | 33.25 | 75.7
92333 | 2021-04-19 11:29 | 4.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.7764 | μmol/L | 29.2969 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.237 | 132326.8729 | 269353.1746 | 33.25 | 75.7
92343 | 2021-04-19 11:29 | 5.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.5677 | μmol/L | 29.3153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.242 | 132358.5145 | 269347.5948 | 33.25 | 75.7
92353 | 2021-04-19 11:29 | 5.3414 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.586 | μmol/L | 29.3276 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.237 | 132326.4615 | 269338.1625 | 33.25 | 75.7
92363 | 2021-04-19 11:30 | 5.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.453 | μmol/L | 29.3461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.238 | 132355.8273 | 269321.8245 | 33.25 | 75.7
92373 | 2021-04-19 11:30 | 6.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.4722 | μmol/L | 29.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.239 | 132381.433 | 269325.7285 | 33.25 | 75.7
92383 | 2021-04-19 11:30 | 6.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.6261 | μmol/L | 29.2784 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.251 | 132445.7697 | 269317.7681 | 33.25 | 75.7
92393 | 2021-04-19 11:31 | 6.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.5543 | μmol/L | 29.26 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.314 | 132814.5962 | 269319.6027 | 33.25 | 75.7
92403 | 2021-04-19 11:31 | 7.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.8378 | μmol/L | 29.3461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.324 | 132886.8591 | 269309.5365 | 33.25 | 75.7
92413 | 2021-04-19 11:31 | 7.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.8919 | μmol/L | 29.3769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.311 | 132823.4691 | 269297.2082 | 33.25 | 75.7
92423 | 2021-04-19 11:32 | 7.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.5014 | μmol/L | 29.3523 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.34 | 133009.893 | 269295.2348 | 33.25 | 75.7
92433 | 2021-04-19 11:32 | 8.0082 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.8764 | μmol/L | 29.3276 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.328 | 132957.4211 | 269289.4485 | 33.25 | 75.7
92443 | 2021-04-19 11:32 | 8.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.686 | μmol/L | 29.2538 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.309 | 132841.3468 | 269281.5755 | 33.25 | 75.7
92453 | 2021-04-19 11:33 | 8.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.1951 | μmol/L | 29.3153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.315 | 132889.4799 | 269287.9455 | 33.25 | 75.7
92463 | 2021-04-19 11:33 | 9.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.2344 | μmol/L | 29.2846 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.323 | 132952.6084 | 269290.7105 | 33.25 | 75.7
92473 | 2021-04-19 11:33 | 9.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.9137 | μmol/L | 29.3276 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.326 | 132979.9262 | 269274.9767 | 33.25 | 75.7
92483 | 2021-04-19 11:34 | 9.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4459 | μmol/L | 29.3461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.345 | 133078.8116 | 269266.0859 | 33.25 | 75.7
92493 | 2021-04-19 11:34 | 10.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.5578 | μmol/L | 29.3461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.339 | 133063.095 | 269265.8694 | 33.25 | 75.7
92503 | 2021-04-19 11:34 | 10.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.69 | μmol/L | 29.3215 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.34 | 133065.7629 | 269249.4387 | 33.25 | 75.7
92513 | 2021-04-19 11:35 | 10.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.2198 | μmol/L | 29.383 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.345 | 133080.3931 | 269265.4067 | 33.25 | 75.7
92523 | 2021-04-19 11:35 | 11.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.1454 | μmol/L | 29.383 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.349 | 133119.0368 | 269244.9301 | 33.25 | 75.7
92533 | 2021-04-19 11:35 | 11.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8855 | μmol/L | 29.3769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.365 | 133199.3888 | 269232.7416 | 33.25 | 75.7
92543 | 2021-04-19 11:36 | 11.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4958 | μmol/L | 29.3769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.386 | 133298.6096 | 269240.6963 | 33.25 | 75.7
92553 | 2021-04-19 11:36 | 12.0081 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5514 | μmol/L | 29.3769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.383 | 133306.0145 | 269234.2642 | 33.25 | 75.7
92563 | 2021-04-19 11:36 | 12.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2185 | μmol/L | 29.3707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.403 | 133444.3968 | 269231.3297 | 33.25 | 75.7
92573 | 2021-04-19 11:37 | 12.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.7211 | μmol/L | 29.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.386 | 133356.6987 | 269221.4973 | 33.25 | 75.7
92583 | 2021-04-19 11:37 | 13.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3486 | μmol/L | 29.3646 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.398 | 133432.5145 | 269212.8995 | 33.25 | 75.7
92593 | 2021-04-19 11:37 | 13.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.387 | μmol/L | 29.3461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.402 | 133477.082 | 269211.909 | 33.25 | 75.7
92603 | 2021-04-19 11:38 | 13.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3875 | μmol/L | 29.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.404 | 133528.0562 | 269208.4443 | 33.25 | 75.7
92613 | 2021-04-19 11:38 | 14.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4268 | μmol/L | 29.3092 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.412 | 133561.248 | 269206.8125 | 33.25 | 75.7
92623 | 2021-04-19 11:38 | 14.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.9807 | μmol/L | 29.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.426 | 133671.6936 | 269198.3946 | 33.25 | 75.7
92633 | 2021-04-19 11:39 | 14.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.8869 | μmol/L | 29.3584 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.425 | 133718.9361 | 269193.4915 | 33.25 | 75.7
92643 | 2021-04-19 11:39 | 15.0081 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.9253 | μmol/L | 29.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.429 | 133738.1469 | 269201.9514 | 33.25 | 75.7
92653 | 2021-04-19 11:39 | 15.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.7787 | μmol/L | 29.3276 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.441 | 133785.3102 | 269189.2044 | 33.25 | 75.7
92663 | 2021-04-19 11:40 | 15.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.6297 | μmol/L | 29.3461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.443 | 133819.6059 | 269182.826 | 33.25 | 75.7
92673 | 2021-04-19 11:40 | 16.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.5355 | μmol/L | 29.3707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.44 | 133808.6113 | 269182.5491 | 33.25 | 75.7
92683 | 2021-04-19 11:40 | 16.3415 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.5355 | μmol/L | 29.3707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.44 | 133806.5729 | 269184.4165 | 33.25 | 75.7
92693 | 2021-04-19 11:41 | 16.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.5166 | μmol/L | 29.3769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.439 | 133819.2568 | 269177.2638 | 33.25 | 75.7
92703 | 2021-04-19 11:41 | 17.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.535 | μmol/L | 29.3769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.438 | 133797.7471 | 269174.0352 | 33.25 | 75.7
92713 | 2021-04-19 11:41 | 17.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.6835 | μmol/L | 29.3646 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.434 | 133809.3905 | 269172.0808 | 33.25 | 75.7
92723 | 2021-04-19 11:42 | 17.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.4992 | μmol/L | 29.3646 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.444 | 133839.0582 | 269151.7395 | 33.25 | 75.7
92733 | 2021-04-19 11:42 | 18.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.4987 | μmol/L | 29.3707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.442 | 133823.189 | 269156.122 | 33.25 | 75.7
92743 | 2021-04-19 11:42 | 18.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.3515 | μmol/L | 29.3707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.45 | 133881.7502 | 269133.3278 | 33.25 | 75.7
92753 | 2021-04-19 11:43 | 18.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.557 | μmol/L | 29.3338 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.451 | 133874.8706 | 269132.5028 | 33.25 | 75.7
92763 | 2021-04-19 11:43 | 19.0081 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1854 | μmol/L | 29.3769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.457 | 133928.9548 | 269143.0892 | 33.25 | 75.7
92773 | 2021-04-19 11:43 | 19.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1303 | μmol/L | 29.3769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.46 | 133993.5339 | 269133.4494 | 33.25 | 75.7
92783 | 2021-04-19 11:44 | 19.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7971 | μmol/L | 29.4076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.468 | 134027.7114 | 269129.6971 | 33.25 | 75.7
92793 | 2021-04-19 11:44 | 20.0081 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7066 | μmol/L | 29.3953 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.477 | 134081.4758 | 269124.8406 | 33.25 | 75.7
92803 | 2021-04-19 11:44 | 20.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7238 | μmol/L | 29.4076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.472 | 134040.4924 | 269130.355 | 33.25 | 75.7
92813 | 2021-04-19 11:45 | 20.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.8355 | μmol/L | 29.3892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.472 | 134046.8564 | 269115.2974 | 33.25 | 75.7
92823 | 2021-04-19 11:45 | 21.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.5972 | μmol/L | 29.3892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.485 | 134138.092 | 269119.4293 | 33.25 | 75.7
92833 | 2021-04-19 11:45 | 21.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.504 | μmol/L | 29.4076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.484 | 134148.0421 | 269109.7409 | 33.25 | 75.7
92843 | 2021-04-19 11:46 | 21.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.4314 | μmol/L | 29.4015 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.49 | 134199.2763 | 269102.3211 | 33.25 | 75.7
92853 | 2021-04-19 11:46 | 22.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.337 | μmol/L | 29.4322 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.485 | 134204.2276 | 269101.4384 | 33.25 | 75.7
92863 | 2021-04-19 11:46 | 22.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.9522 | μmol/L | 29.4445 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.502 | 134258.214 | 269104.2706 | 33.25 | 75.7
92873 | 2021-04-19 11:47 | 22.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.9132 | μmol/L | 29.4691 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.496 | 134252.3218 | 269095.3902 | 33.25 | 75.7
92883 | 2021-04-19 11:47 | 23.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.8421 | μmol/L | 29.4507 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.506 | 134307.7064 | 269084.7842 | 33.25 | 75.7
92893 | 2021-04-19 11:47 | 23.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.8622 | μmol/L | 29.4322 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.511 | 134348.9589 | 269081.6397 | 33.25 | 75.7
92903 | 2021-04-19 11:48 | 23.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.7698 | μmol/L | 29.4445 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.512 | 134342.434 | 269080.4042 | 33.25 | 75.7
92913 | 2021-04-19 11:48 | 24.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.7327 | μmol/L | 29.4507 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.512 | 134361.734 | 269078.9653 | 33.25 | 75.7
92923 | 2021-04-19 11:48 | 24.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.55 | μmol/L | 29.4568 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.52 | 134409.6815 | 269067.0175 | 33.25 | 75.7
92933 | 2021-04-19 11:49 | 24.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.4778 | μmol/L | 29.4507 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.526 | 134460.6988 | 269067.4181 | 33.25 | 75.7
92943 | 2021-04-19 11:49 | 25.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.2954 | μmol/L | 29.4568 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.534 | 134487.4899 | 269061.3096 | 33.25 | 75.7
92953 | 2021-04-19 11:49 | 25.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.348 | μmol/L | 29.4753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.525 | 134494.0996 | 269080.7797 | 33.25 | 75.7
92963 | 2021-04-19 11:50 | 25.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.1286 | μmol/L | 29.4876 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.533 | 134518.3443 | 269060.2135 | 33.25 | 75.7
92973 | 2021-04-19 11:50 | 26.0081 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.7646 | μmol/L | 29.4999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.549 | 134623.2552 | 269064.1378 | 33.25 | 75.7
92983 | 2021-04-19 11:50 | 26.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.6559 | μmol/L | 29.4999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.555 | 134669.6104 | 269060.071 | 33.25 | 75.7
92993 | 2021-04-19 11:51 | 26.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.6573 | μmol/L | 29.4876 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.559 | 134702.33 | 269044.6685 | 33.25 | 75.7
93003 | 2021-04-19 11:51 | 27.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.6057 | μmol/L | 29.463 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.57 | 134770.3431 | 269055.8435 | 33.25 | 75.7
93013 | 2021-04-19 11:51 | 27.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.2769 | μmol/L | 29.4938 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.578 | 134844.4567 | 269051.1119 | 33.25 | 75.7
93023 | 2021-04-19 11:52 | 27.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4228 | μmol/L | 29.4814 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.574 | 134808.4393 | 269040.466 | 33.25 | 75.7
93033 | 2021-04-19 11:52 | 28.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.1123 | μmol/L | 29.5122 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.581 | 134839.895 | 269034.1928 | 33.25 | 75.7
93043 | 2021-04-19 11:52 | 28.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7864 | μmol/L | 29.5245 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.595 | 134954.0063 | 269031.3249 | 33.25 | 75.7
93053 | 2021-04-19 11:53 | 28.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7684 | μmol/L | 29.5245 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.596 | 134961.9936 | 269025.4556 | 33.25 | 75.7
93063 | 2021-04-19 11:53 | 29.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6424 | μmol/L | 29.5245 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.603 | 134997.3812 | 269028.0405 | 33.25 | 75.7
93073 | 2021-04-19 11:53 | 29.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7728 | μmol/L | 29.4876 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.608 | 135042.2066 | 269018.5734 | 33.25 | 75.7
93083 | 2021-04-19 11:54 | 29.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.5173 | μmol/L | 29.5184 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.612 | 135057.6942 | 269005.8368 | 33.25 | 75.7
93093 | 2021-04-19 11:54 | 30.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.4626 | μmol/L | 29.5245 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.613 | 135102.6126 | 269006.4931 | 33.25 | 75.7
93103 | 2021-04-19 11:54 | 30.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.9206 | μmol/L | 29.5553 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.633 | 135231.3942 | 269015.6566 | 33.25 | 75.7
93113 | 2021-04-19 11:55 | 30.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.7229 | μmol/L | 29.5614 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.642 | 135277.64 | 269002.1468 | 33.25 | 75.7
93123 | 2021-04-19 11:55 | 31.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.7455 | μmol/L | 29.5245 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.653 | 135360.1293 | 268993.3397 | 33.25 | 75.7
93133 | 2021-04-19 11:55 | 31.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.4807 | μmol/L | 29.4999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.676 | 135529.6455 | 268996.4846 | 33.25 | 75.7
93143 | 2021-04-19 11:56 | 31.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.0843 | μmol/L | 29.5307 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.688 | 135617.1156 | 268997.3503 | 33.25 | 75.7
93153 | 2021-04-19 11:56 | 32.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.9953 | μmol/L | 29.5307 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.693 | 135644.1462 | 268985.7165 | 33.25 | 75.7
93163 | 2021-04-19 11:56 | 32.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7624 | μmol/L | 29.543 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.702 | 135707.808 | 268980.086 | 33.25 | 75.7
93173 | 2021-04-19 11:57 | 32.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.6567 | μmol/L | 29.5368 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.71 | 135775.7683 | 268971.816 | 33.25 | 75.7
93183 | 2021-04-19 11:57 | 33.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3693 | μmol/L | 29.5614 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.718 | 135825.7545 | 268973.8738 | 33.25 | 75.7
93193 | 2021-04-19 11:57 | 33.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1929 | μmol/L | 29.5553 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.73 | 135906.5169 | 268966.9151 | 33.25 | 75.7
93203 | 2021-04-19 11:58 | 33.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1601 | μmol/L | 29.5368 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.738 | 135956.4657 | 268954.489 | 33.25 | 75.7
93213 | 2021-04-19 11:58 | 34.0081 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.0177 | μmol/L | 29.543 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.744 | 136019.5406 | 268961.7095 | 33.25 | 75.7