## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 11:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
92194 | 2021-04-19 11:24 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.2822 | μmol/L | 29.1957 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.667 | 121378.0468 | 292724.9067 | 59.9307 | 38.1
92208 | 2021-04-19 11:25 | 0.60907 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.7933 | μmol/L | 29.2079 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.69 | 121495.9244 | 292725.9188 | 59.9307 | 38.1
92214 | 2021-04-19 11:25 | 0.67221 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.684 | μmol/L | 29.2202 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.692 | 121499.838 | 292697.7347 | 59.9307 | 38.1
92224 | 2021-04-19 11:25 | 1.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4837 | μmol/L | 29.2447 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.695 | 121535.4985 | 292699.7167 | 59.9307 | 38.1
92234 | 2021-04-19 11:25 | 1.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3967 | μmol/L | 29.2079 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.712 | 121610.0443 | 292689.9698 | 59.9307 | 38.1
92244 | 2021-04-19 11:26 | 1.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.0704 | μmol/L | 29.2386 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.72 | 121682.5544 | 292675.1545 | 59.9307 | 38.1
92254 | 2021-04-19 11:26 | 2.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9098 | μmol/L | 29.2263 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.733 | 121747.5272 | 292671.9848 | 59.9307 | 38.1
92264 | 2021-04-19 11:26 | 2.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8206 | μmol/L | 29.2202 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.74 | 121790.4744 | 292664.0534 | 59.9307 | 38.1
92274 | 2021-04-19 11:27 | 2.6727 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6582 | μmol/L | 29.2324 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.745 | 121839.1628 | 292666.2375 | 59.9307 | 38.1
92284 | 2021-04-19 11:27 | 3.0058 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.479 | μmol/L | 29.2324 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.755 | 121899.6402 | 292660.1187 | 59.9307 | 38.1
92294 | 2021-04-19 11:27 | 3.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4427 | μmol/L | 29.2386 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.755 | 121908.765 | 292633.0371 | 59.9307 | 38.1
92304 | 2021-04-19 11:28 | 3.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.1548 | μmol/L | 29.2569 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.765 | 121945.3497 | 292633.0465 | 59.9307 | 38.1
92314 | 2021-04-19 11:28 | 4.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.9738 | μmol/L | 29.2814 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.767 | 121971.7979 | 292633.7292 | 59.9307 | 38.1
92324 | 2021-04-19 11:28 | 4.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.884 | μmol/L | 29.2876 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.77 | 121986.8793 | 292620.3649 | 59.9307 | 38.1
92334 | 2021-04-19 11:29 | 4.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5963 | μmol/L | 29.3121 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.778 | 122007.9192 | 292623.7668 | 59.9307 | 38.1
92344 | 2021-04-19 11:29 | 5.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.7057 | μmol/L | 29.2876 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.78 | 122048.6673 | 292615.8006 | 59.9307 | 38.1
92354 | 2021-04-19 11:29 | 5.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5988 | μmol/L | 29.2876 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.786 | 122089.0174 | 292608.0761 | 59.9307 | 38.1
92364 | 2021-04-19 11:30 | 5.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.4355 | μmol/L | 29.3182 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.785 | 122090.6648 | 292588.5075 | 59.9307 | 38.1
92374 | 2021-04-19 11:30 | 6.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.6528 | μmol/L | 29.2814 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.785 | 122094.1645 | 292600.3152 | 59.9307 | 38.1
92384 | 2021-04-19 11:30 | 6.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5282 | μmol/L | 29.2814 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.792 | 122123.0033 | 292595.9066 | 59.9307 | 38.1
92394 | 2021-04-19 11:31 | 6.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.2576 | μmol/L | 29.3182 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.795 | 122135.5607 | 292586.3097 | 59.9307 | 38.1
92404 | 2021-04-19 11:31 | 7.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.2405 | μmol/L | 29.3121 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.798 | 122151.9106 | 292579.7893 | 59.9307 | 38.1
92414 | 2021-04-19 11:31 | 7.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.2601 | μmol/L | 29.2937 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.803 | 122182.7274 | 292570.4918 | 59.9307 | 38.1
92424 | 2021-04-19 11:32 | 7.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.1523 | μmol/L | 29.3059 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.805 | 122195.5634 | 292564.8583 | 59.9307 | 38.1
92434 | 2021-04-19 11:32 | 8.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0812 | μmol/L | 29.3059 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.809 | 122199.8534 | 292574.49 | 59.9307 | 38.1
92444 | 2021-04-19 11:32 | 8.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9025 | μmol/L | 29.3182 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.815 | 122216.1745 | 292551.4194 | 59.9307 | 38.1
92454 | 2021-04-19 11:33 | 8.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0832 | μmol/L | 29.2876 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.815 | 122237.3234 | 292544.0133 | 59.9307 | 38.1
92464 | 2021-04-19 11:33 | 9.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9051 | μmol/L | 29.2937 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.823 | 122299.7389 | 292544 | 59.9307 | 38.1
92474 | 2021-04-19 11:33 | 9.3391 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7279 | μmol/L | 29.2937 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.833 | 122340.3263 | 292549.2422 | 59.9307 | 38.1
92484 | 2021-04-19 11:34 | 9.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5298 | μmol/L | 29.3243 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.834 | 122336.7344 | 292530.4143 | 59.9307 | 38.1
92494 | 2021-04-19 11:34 | 10.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4931 | μmol/L | 29.3366 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.832 | 122332.2644 | 292533.7853 | 59.9307 | 38.1
92504 | 2021-04-19 11:34 | 10.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5285 | μmol/L | 29.3366 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.83 | 122314.0003 | 292533.9344 | 59.9307 | 38.1
92514 | 2021-04-19 11:35 | 10.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.457 | μmol/L | 29.3427 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.832 | 122342.4541 | 292515.8515 | 59.9307 | 38.1
92524 | 2021-04-19 11:35 | 11.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4223 | μmol/L | 29.3366 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.836 | 122378.7114 | 292526.7731 | 59.9307 | 38.1
92534 | 2021-04-19 11:35 | 11.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2252 | μmol/L | 29.3611 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.839 | 122375.6153 | 292509.2028 | 59.9307 | 38.1
92544 | 2021-04-19 11:36 | 11.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.0825 | μmol/L | 29.3733 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.843 | 122408.3283 | 292516.2472 | 59.9307 | 38.1
92554 | 2021-04-19 11:36 | 12.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.995 | μmol/L | 29.3672 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.85 | 122414.1592 | 292506.3901 | 59.9307 | 38.1
92564 | 2021-04-19 11:36 | 12.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1396 | μmol/L | 29.3366 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.852 | 122435.7411 | 292500.1312 | 59.9307 | 38.1
92574 | 2021-04-19 11:37 | 12.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2836 | μmol/L | 29.3121 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.852 | 122458.8073 | 292508.191 | 59.9307 | 38.1
92584 | 2021-04-19 11:37 | 13.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.0345 | μmol/L | 29.3304 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.86 | 122493.1361 | 292506.941 | 59.9307 | 38.1
92594 | 2021-04-19 11:37 | 13.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9103 | μmol/L | 29.3366 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.865 | 122531.5684 | 292484.6127 | 59.9307 | 38.1
92604 | 2021-04-19 11:38 | 13.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.768 | μmol/L | 29.3488 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.869 | 122556.2998 | 292484.7892 | 59.9307 | 38.1
92614 | 2021-04-19 11:38 | 14.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.5905 | μmol/L | 29.3611 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.875 | 122570.6368 | 292484.2026 | 59.9307 | 38.1
92624 | 2021-04-19 11:38 | 14.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6447 | μmol/L | 29.3488 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.876 | 122598.368 | 292488.0386 | 59.9307 | 38.1
92634 | 2021-04-19 11:39 | 14.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.5026 | μmol/L | 29.3611 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.88 | 122604.3238 | 292481.5583 | 59.9307 | 38.1
92644 | 2021-04-19 11:39 | 15.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6271 | μmol/L | 29.3488 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.877 | 122609.0136 | 292474.5223 | 59.9307 | 38.1
92654 | 2021-04-19 11:39 | 15.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.4674 | μmol/L | 29.3611 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.882 | 122621.5145 | 292466.9717 | 59.9307 | 38.1
92664 | 2021-04-19 11:40 | 15.6727 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.485 | μmol/L | 29.3611 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.881 | 122629.8813 | 292465.6606 | 59.9307 | 38.1
92674 | 2021-04-19 11:40 | 16.0058 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3612 | μmol/L | 29.3672 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.886 | 122648.7681 | 292457.5122 | 59.9307 | 38.1
92684 | 2021-04-19 11:40 | 16.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3444 | μmol/L | 29.3611 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.889 | 122667.2621 | 292443.7367 | 59.9307 | 38.1
92694 | 2021-04-19 11:41 | 16.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1308 | μmol/L | 29.3856 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.893 | 122690.9179 | 292446.2073 | 59.9307 | 38.1
92704 | 2021-04-19 11:41 | 17.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0789 | μmol/L | 29.3795 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.898 | 122722.3285 | 292460.0896 | 59.9307 | 38.1
92714 | 2021-04-19 11:41 | 17.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0957 | μmol/L | 29.3856 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.895 | 122739.3959 | 292454.6955 | 59.9307 | 38.1
92724 | 2021-04-19 11:42 | 17.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9371 | μmol/L | 29.3917 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.902 | 122760.6498 | 292428.5779 | 59.9307 | 38.1
92734 | 2021-04-19 11:42 | 18.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8663 | μmol/L | 29.3978 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.904 | 122758.1149 | 292433.5561 | 59.9307 | 38.1
92744 | 2021-04-19 11:42 | 18.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9386 | μmol/L | 29.3795 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.906 | 122779.8128 | 292437.6618 | 59.9307 | 38.1
92754 | 2021-04-19 11:43 | 18.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9204 | μmol/L | 29.3856 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.905 | 122790.0253 | 292420.5011 | 59.9307 | 38.1
92764 | 2021-04-19 11:43 | 19.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8496 | μmol/L | 29.3917 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.907 | 122793.026 | 292408.9779 | 59.9307 | 38.1
92774 | 2021-04-19 11:43 | 19.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8145 | μmol/L | 29.3917 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.909 | 122798.6181 | 292413.8594 | 59.9307 | 38.1
92784 | 2021-04-19 11:44 | 19.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.6722 | μmol/L | 29.4101 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.911 | 122809.863 | 292432.0265 | 59.9307 | 38.1
92794 | 2021-04-19 11:44 | 20.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.4775 | μmol/L | 29.4285 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.916 | 122831.6968 | 292404.5276 | 59.9307 | 38.1
92804 | 2021-04-19 11:44 | 20.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5315 | μmol/L | 29.4162 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.917 | 122840.8459 | 292404.9866 | 59.9307 | 38.1
92814 | 2021-04-19 11:45 | 20.6727 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3727 | μmol/L | 29.4285 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.922 | 122870.2013 | 292416.9957 | 59.9307 | 38.1
92824 | 2021-04-19 11:45 | 21.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3028 | μmol/L | 29.4285 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.926 | 122887.5557 | 292407.5931 | 59.9307 | 38.1
92834 | 2021-04-19 11:45 | 21.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2854 | μmol/L | 29.4285 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.927 | 122915.3166 | 292410.0968 | 59.9307 | 38.1
92844 | 2021-04-19 11:46 | 21.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.1609 | μmol/L | 29.4468 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.928 | 122928.6428 | 292409.3058 | 59.9307 | 38.1
92854 | 2021-04-19 11:46 | 22.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9833 | μmol/L | 29.4713 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.93 | 122950.1312 | 292400.1826 | 59.9307 | 38.1
92864 | 2021-04-19 11:46 | 22.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9659 | μmol/L | 29.4713 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.931 | 122957.2236 | 292391.399 | 59.9307 | 38.1
92874 | 2021-04-19 11:47 | 22.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7892 | μmol/L | 29.4897 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.935 | 122970.3747 | 292382.4803 | 59.9307 | 38.1
92884 | 2021-04-19 11:47 | 23.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.703 | μmol/L | 29.4836 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.942 | 122987.9743 | 292383.4005 | 59.9307 | 38.1
92894 | 2021-04-19 11:47 | 23.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9699 | μmol/L | 29.4407 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.941 | 123020.2256 | 292388.5931 | 59.9307 | 38.1
92904 | 2021-04-19 11:48 | 23.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7601 | μmol/L | 29.4468 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.951 | 123056.5908 | 292375.3686 | 59.9307 | 38.1
92914 | 2021-04-19 11:48 | 24.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.5474 | μmol/L | 29.4775 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.953 | 123091.869 | 292381.4308 | 59.9307 | 38.1
92924 | 2021-04-19 11:48 | 24.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.5118 | μmol/L | 29.4836 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.953 | 123091.553 | 292368.6598 | 59.9307 | 38.1
92934 | 2021-04-19 11:49 | 24.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1959 | μmol/L | 29.5081 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.963 | 123128.3236 | 292348.6968 | 59.9307 | 38.1
92944 | 2021-04-19 11:49 | 25.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9672 | μmol/L | 29.5326 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.968 | 123173.9248 | 292373.2236 | 59.9307 | 38.1
92954 | 2021-04-19 11:49 | 25.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1629 | μmol/L | 29.4958 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.969 | 123200.2849 | 292373.4484 | 59.9307 | 38.1
92964 | 2021-04-19 11:50 | 25.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9689 | μmol/L | 29.5203 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.972 | 123224.8174 | 292378.5208 | 59.9307 | 38.1
92974 | 2021-04-19 11:50 | 26.0058 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7923 | μmol/L | 29.5449 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.974 | 123229.1459 | 292375.7399 | 59.9307 | 38.1
92984 | 2021-04-19 11:50 | 26.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7767 | μmol/L | 29.5326 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.979 | 123258.9942 | 292366.536 | 59.9307 | 38.1
92994 | 2021-04-19 11:51 | 26.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9212 | μmol/L | 29.4897 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.985 | 123285.9422 | 292353.2474 | 59.9307 | 38.1
93004 | 2021-04-19 11:51 | 27.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.8883 | μmol/L | 29.4775 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.991 | 123328.6686 | 292342.061 | 59.9307 | 38.1
93014 | 2021-04-19 11:51 | 27.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.73 | μmol/L | 29.4958 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.994 | 123377.5284 | 292349.8286 | 59.9307 | 38.1
93024 | 2021-04-19 11:52 | 27.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4492 | μmol/L | 29.5265 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21 | 123389.796 | 292338.0926 | 59.9307 | 38.1
93034 | 2021-04-19 11:52 | 28.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5037 | μmol/L | 29.5081 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.003 | 123421.5432 | 292339.2124 | 59.9307 | 38.1
93044 | 2021-04-19 11:52 | 28.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3811 | μmol/L | 29.5203 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.006 | 123444.5894 | 292329.5202 | 59.9307 | 38.1
93054 | 2021-04-19 11:53 | 28.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2241 | μmol/L | 29.5326 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.011 | 123466.9509 | 292327.4186 | 59.9307 | 38.1
93064 | 2021-04-19 11:53 | 29.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2258 | μmol/L | 29.5203 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.015 | 123484.8243 | 292317.345 | 59.9307 | 38.1
93074 | 2021-04-19 11:53 | 29.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.1025 | μmol/L | 29.5387 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.016 | 123507.0192 | 292309.5572 | 59.9307 | 38.1
93084 | 2021-04-19 11:54 | 29.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.156 | μmol/L | 29.5265 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.017 | 123511.7512 | 292330.4079 | 59.9307 | 38.1
93094 | 2021-04-19 11:54 | 30.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.1932 | μmol/L | 29.5081 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.021 | 123534.7909 | 292302.1497 | 59.9307 | 38.1
93104 | 2021-04-19 11:54 | 30.3391 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.9512 | μmol/L | 29.5142 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.033 | 123603.7919 | 292314.1904 | 59.9307 | 38.1
93114 | 2021-04-19 11:55 | 30.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7774 | μmol/L | 29.5265 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.039 | 123633.4492 | 292291.8631 | 59.9307 | 38.1
93124 | 2021-04-19 11:55 | 31.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5685 | μmol/L | 29.5449 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.045 | 123680.8282 | 292291.621 | 59.9307 | 38.1
93134 | 2021-04-19 11:55 | 31.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.658 | μmol/L | 29.5203 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.048 | 123725.3034 | 292295.0168 | 59.9307 | 38.1
93144 | 2021-04-19 11:56 | 31.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5369 | μmol/L | 29.5265 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.053 | 123754.8689 | 292305.0339 | 59.9307 | 38.1
93154 | 2021-04-19 11:56 | 32.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3274 | μmol/L | 29.551 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.057 | 123775.7097 | 292291.2797 | 59.9307 | 38.1
93164 | 2021-04-19 11:56 | 32.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3103 | μmol/L | 29.551 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.058 | 123784.2495 | 292287.6714 | 59.9307 | 38.1
93174 | 2021-04-19 11:57 | 32.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5749 | μmol/L | 29.502 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.059 | 123790.1421 | 292284.2217 | 59.9307 | 38.1
93184 | 2021-04-19 11:57 | 33.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.0885 | μmol/L | 29.5449 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.073 | 123848.5891 | 292282.5843 | 59.9307 | 38.1
93194 | 2021-04-19 11:57 | 33.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9175 | μmol/L | 29.5449 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.083 | 123900.3788 | 292288.8079 | 59.9307 | 38.1
93204 | 2021-04-19 11:58 | 33.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8491 | μmol/L | 29.5449 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.087 | 123934.7722 | 292276.2617 | 59.9307 | 38.1
93214 | 2021-04-19 11:58 | 34.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8501 | μmol/L | 29.5387 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.089 | 123942.6688 | 292284.9642 | 59.9307 | 38.1