## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 11:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
92195 | 2021-04-19 11:24 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.796 | μmol/L | 29.5406 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.645 | 93956.5995 | 211671.423 | 27.3 | 43.4
92211 | 2021-04-19 11:25 | 0.58429 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.6894 | μmol/L | 29.5712 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.688 | 94189.4426 | 211660.5938 | 27.3 | 43.4
92215 | 2021-04-19 11:25 | 0.66383 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.6894 | μmol/L | 29.5712 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.688 | 94199.8149 | 211654.9227 | 27.3 | 43.4
92225 | 2021-04-19 11:25 | 0.99768 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.2734 | μmol/L | 29.5835 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.704 | 94270.966 | 211656.7735 | 27.3 | 43.4
92235 | 2021-04-19 11:25 | 1.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.8349 | μmol/L | 29.6141 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.715 | 94328.037 | 211649.9683 | 27.3 | 43.4
92245 | 2021-04-19 11:26 | 1.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.5058 | μmol/L | 29.608 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.733 | 94401.5199 | 211649.4024 | 27.3 | 43.4
92255 | 2021-04-19 11:26 | 1.9979 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.1961 | μmol/L | 29.6141 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.746 | 94454.0296 | 211642.5669 | 27.3 | 43.4
92265 | 2021-04-19 11:26 | 2.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.1979 | μmol/L | 29.6019 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.75 | 94489.8295 | 211653.8477 | 27.3 | 43.4
92275 | 2021-04-19 11:27 | 2.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.8243 | μmol/L | 29.6264 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.76 | 94557.145 | 211645.6767 | 27.3 | 43.4
92285 | 2021-04-19 11:27 | 2.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.7002 | μmol/L | 29.6325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.764 | 94563.2398 | 211637.1711 | 27.3 | 43.4
92295 | 2021-04-19 11:27 | 3.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.5322 | μmol/L | 29.657 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.764 | 94566.0154 | 211638.7042 | 27.3 | 43.4
92305 | 2021-04-19 11:28 | 3.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.5342 | μmol/L | 29.6448 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.768 | 94585.6167 | 211632.1597 | 27.3 | 43.4
92315 | 2021-04-19 11:28 | 3.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.6211 | μmol/L | 29.6141 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.774 | 94589.2782 | 211620.632 | 27.3 | 43.4
92325 | 2021-04-19 11:28 | 4.3313 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.5567 | μmol/L | 29.6325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.771 | 94604.1083 | 211614.0089 | 27.3 | 43.4
92335 | 2021-04-19 11:29 | 4.6645 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.2435 | μmol/L | 29.6693 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.774 | 94594.5486 | 211617.8464 | 27.3 | 43.4
92345 | 2021-04-19 11:29 | 4.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.1801 | μmol/L | 29.6815 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.773 | 94594.0418 | 211615.0851 | 27.3 | 43.4
92355 | 2021-04-19 11:29 | 5.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.1197 | μmol/L | 29.6754 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.778 | 94611.432 | 211613.1597 | 27.3 | 43.4
92365 | 2021-04-19 11:30 | 5.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.0154 | μmol/L | 29.6877 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.779 | 94617.3861 | 211622.5594 | 27.3 | 43.4
92375 | 2021-04-19 11:30 | 5.9978 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.8908 | μmol/L | 29.6999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.781 | 94618.8672 | 211596.1197 | 27.3 | 43.4
92385 | 2021-04-19 11:30 | 6.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.0778 | μmol/L | 29.6815 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.778 | 94620.0644 | 211591.1512 | 27.3 | 43.4
92395 | 2021-04-19 11:31 | 6.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.8887 | μmol/L | 29.7122 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.777 | 94613.7038 | 211612.2671 | 27.3 | 43.4
92405 | 2021-04-19 11:31 | 6.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.7232 | μmol/L | 29.7244 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.781 | 94608.7262 | 211588.0813 | 27.3 | 43.4
92415 | 2021-04-19 11:31 | 7.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.8478 | μmol/L | 29.7122 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.779 | 94621.4719 | 211606.1384 | 27.3 | 43.4
92425 | 2021-04-19 11:32 | 7.6645 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.6395 | μmol/L | 29.7367 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.781 | 94621.8024 | 211596.2576 | 27.3 | 43.4
92435 | 2021-04-19 11:32 | 7.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.662 | μmol/L | 29.7244 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.784 | 94622.1832 | 211595.4678 | 27.3 | 43.4
92445 | 2021-04-19 11:32 | 8.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.6008 | μmol/L | 29.7244 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.787 | 94619.1236 | 211589.0528 | 27.3 | 43.4
92455 | 2021-04-19 11:33 | 8.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.4774 | μmol/L | 29.7306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.791 | 94623.9251 | 211591.6728 | 27.3 | 43.4
92465 | 2021-04-19 11:33 | 8.9979 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.3079 | μmol/L | 29.7673 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.787 | 94621.3626 | 211601.6716 | 27.3 | 43.4
92475 | 2021-04-19 11:33 | 9.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.5589 | μmol/L | 29.7306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.787 | 94601.8715 | 211598.0617 | 27.3 | 43.4
92485 | 2021-04-19 11:34 | 9.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.3294 | μmol/L | 29.7612 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.788 | 94600.3644 | 211587.9447 | 27.3 | 43.4
92495 | 2021-04-19 11:34 | 9.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.4313 | μmol/L | 29.7612 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.783 | 94588.5402 | 211584.908 | 27.3 | 43.4
92505 | 2021-04-19 11:34 | 10.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.4946 | μmol/L | 29.749 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.784 | 94594.7024 | 211589.178 | 27.3 | 43.4
92515 | 2021-04-19 11:35 | 10.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.4967 | μmol/L | 29.7367 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.788 | 94612.541 | 211576.3144 | 27.3 | 43.4
92525 | 2021-04-19 11:35 | 10.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.5385 | μmol/L | 29.7306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.788 | 94612.0006 | 211569.9603 | 27.3 | 43.4
92535 | 2021-04-19 11:35 | 11.3313 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.3744 | μmol/L | 29.7367 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.794 | 94616.2074 | 211563.3791 | 27.3 | 43.4
92545 | 2021-04-19 11:36 | 11.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.189 | μmol/L | 29.749 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.799 | 94629.6559 | 211573.7304 | 27.3 | 43.4
92555 | 2021-04-19 11:36 | 11.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.4162 | μmol/L | 29.7306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.794 | 94622.9938 | 211565.7626 | 27.3 | 43.4
92565 | 2021-04-19 11:36 | 12.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.3958 | μmol/L | 29.7306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.795 | 94620.3336 | 211576.1001 | 27.3 | 43.4
92575 | 2021-04-19 11:37 | 12.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.0647 | μmol/L | 29.7612 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.801 | 94623.133 | 211559.9401 | 27.3 | 43.4
92585 | 2021-04-19 11:37 | 12.9979 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.9598 | μmol/L | 29.7796 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.8 | 94616.1969 | 211572.1783 | 27.3 | 43.4
92595 | 2021-04-19 11:37 | 13.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.1043 | μmol/L | 29.7673 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.797 | 94609.7401 | 211572.3097 | 27.3 | 43.4
92605 | 2021-04-19 11:38 | 13.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.9801 | μmol/L | 29.7796 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.799 | 94616.8218 | 211560.6869 | 27.3 | 43.4
92615 | 2021-04-19 11:38 | 13.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.2072 | μmol/L | 29.7612 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.794 | 94600.366 | 211557.702 | 27.3 | 43.4
92625 | 2021-04-19 11:38 | 14.3312 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.1225 | μmol/L | 29.7796 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.792 | 94584.8423 | 211559.1639 | 27.3 | 43.4
92635 | 2021-04-19 11:39 | 14.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.0219 | μmol/L | 29.7735 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.799 | 94575.9194 | 211553.4914 | 27.3 | 43.4
92645 | 2021-04-19 11:39 | 14.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.2479 | μmol/L | 29.7612 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.792 | 94570.2171 | 211545.9623 | 27.3 | 43.4
92655 | 2021-04-19 11:39 | 15.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.9779 | μmol/L | 29.7919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.795 | 94561.8821 | 211553.6348 | 27.3 | 43.4
92665 | 2021-04-19 11:40 | 15.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.9565 | μmol/L | 29.798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.794 | 94568.8068 | 211552.5606 | 27.3 | 43.4
92675 | 2021-04-19 11:40 | 15.9978 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.0786 | μmol/L | 29.798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.788 | 94557.2258 | 211550.0174 | 27.3 | 43.4
92685 | 2021-04-19 11:40 | 16.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.8493 | μmol/L | 29.8286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.789 | 94532.0545 | 211546.1937 | 27.3 | 43.4
92695 | 2021-04-19 11:41 | 16.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.6383 | μmol/L | 29.8715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.785 | 94543.6185 | 211535.8471 | 27.3 | 43.4
92705 | 2021-04-19 11:41 | 16.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.4758 | μmol/L | 29.8715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.793 | 94570.2273 | 211540.2195 | 27.3 | 43.4
92715 | 2021-04-19 11:41 | 17.3312 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.8878 | μmol/L | 29.8409 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.783 | 94531.2469 | 211526.195 | 27.3 | 43.4
92725 | 2021-04-19 11:42 | 17.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.8685 | μmol/L | 29.8348 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.786 | 94499.3414 | 211535.9311 | 27.3 | 43.4
92735 | 2021-04-19 11:42 | 17.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.7015 | μmol/L | 29.8593 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.786 | 94513.2777 | 211539.3733 | 27.3 | 43.4
92745 | 2021-04-19 11:42 | 18.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.9059 | μmol/L | 29.8532 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.778 | 94501.5586 | 211527.9532 | 27.3 | 43.4
92755 | 2021-04-19 11:43 | 18.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.4499 | μmol/L | 29.9022 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.784 | 94508.8334 | 211519.3761 | 27.3 | 43.4
92765 | 2021-04-19 11:43 | 18.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.7432 | μmol/L | 29.8532 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.786 | 94505.1561 | 211533.7806 | 27.3 | 43.4
92775 | 2021-04-19 11:43 | 19.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.6327 | μmol/L | 29.9022 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.775 | 94495.1628 | 211525.2509 | 27.3 | 43.4
92785 | 2021-04-19 11:44 | 19.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.6564 | μmol/L | 29.8838 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.78 | 94504.7487 | 211513.2084 | 27.3 | 43.4
92795 | 2021-04-19 11:44 | 19.9978 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.2887 | μmol/L | 29.8961 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.794 | 94559.8833 | 211511.7281 | 27.3 | 43.4
92805 | 2021-04-19 11:44 | 20.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.0409 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.798 | 94563.0491 | 211514.9602 | 27.3 | 43.4
92815 | 2021-04-19 11:45 | 20.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.0027 | μmol/L | 29.9083 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.804 | 94597.0677 | 211518.4029 | 27.3 | 43.4
92825 | 2021-04-19 11:45 | 20.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.0039 | μmol/L | 29.9022 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.806 | 94634.35 | 211530.803 | 27.3 | 43.4
92835 | 2021-04-19 11:45 | 21.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.691 | μmol/L | 29.9512 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.805 | 94635.87 | 211521.9615 | 27.3 | 43.4
92845 | 2021-04-19 11:46 | 21.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.716 | μmol/L | 29.9267 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.812 | 94657.7797 | 211513.0719 | 27.3 | 43.4
92855 | 2021-04-19 11:46 | 21.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.634 | μmol/L | 29.9328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.814 | 94683.6376 | 211515.7158 | 27.3 | 43.4
92865 | 2021-04-19 11:46 | 22.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.6328 | μmol/L | 29.939 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.812 | 94678.962 | 211510.1667 | 27.3 | 43.4
92875 | 2021-04-19 11:47 | 22.6645 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2432 | μmol/L | 29.9696 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.821 | 94707.6112 | 211507.8367 | 27.3 | 43.4
92885 | 2021-04-19 11:47 | 22.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.4094 | μmol/L | 29.9451 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.821 | 94703.1688 | 211498.8073 | 27.3 | 43.4
92895 | 2021-04-19 11:47 | 23.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2646 | μmol/L | 29.9635 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.822 | 94736.7726 | 211508.5556 | 27.3 | 43.4
92905 | 2021-04-19 11:48 | 23.6645 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.3061 | μmol/L | 29.9574 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.822 | 94723.0186 | 211511.7793 | 27.3 | 43.4
92915 | 2021-04-19 11:48 | 23.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2267 | μmol/L | 29.9512 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.828 | 94734.6503 | 211501.5321 | 27.3 | 43.4
92925 | 2021-04-19 11:48 | 24.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.0001 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.831 | 94759.4012 | 211490.2732 | 27.3 | 43.4
92935 | 2021-04-19 11:49 | 24.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.8391 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.839 | 94785.8641 | 211491.988 | 27.3 | 43.4
92945 | 2021-04-19 11:49 | 24.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.8227 | μmol/L | 29.9574 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.846 | 94835.076 | 211490.3087 | 27.3 | 43.4
92955 | 2021-04-19 11:49 | 25.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6166 | μmol/L | 29.9819 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.848 | 94845.6104 | 211488.3928 | 27.3 | 43.4
92965 | 2021-04-19 11:50 | 25.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.7574 | μmol/L | 29.9819 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.841 | 94822.234 | 211498.1532 | 27.3 | 43.4
92975 | 2021-04-19 11:50 | 25.9979 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.5137 | μmol/L | 29.9941 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.849 | 94851.3213 | 211488.8729 | 27.3 | 43.4
92985 | 2021-04-19 11:50 | 26.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.5375 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.854 | 94852.8717 | 211488.6427 | 27.3 | 43.4
92995 | 2021-04-19 11:51 | 26.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.5375 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.854 | 94863.6126 | 211489.9986 | 27.3 | 43.4
93005 | 2021-04-19 11:51 | 26.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4773 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.857 | 94909.4715 | 211492.4677 | 27.3 | 43.4
93015 | 2021-04-19 11:51 | 27.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.2365 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.869 | 94941.9889 | 211486.1848 | 27.3 | 43.4
93025 | 2021-04-19 11:52 | 27.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9961 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.881 | 95000.7362 | 211490.7115 | 27.3 | 43.4
93035 | 2021-04-19 11:52 | 27.9978 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.856 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.888 | 95048.2383 | 211485.4682 | 27.3 | 43.4
93045 | 2021-04-19 11:52 | 28.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.6135 | μmol/L | 29.988 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.896 | 95079.7961 | 211484.3359 | 27.3 | 43.4
93055 | 2021-04-19 11:53 | 28.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.531 | μmol/L | 30.0003 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.896 | 95078.4201 | 211474.9283 | 27.3 | 43.4
93065 | 2021-04-19 11:53 | 28.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.3288 | μmol/L | 30.0125 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.902 | 95113.9883 | 211467.666 | 27.3 | 43.4
93075 | 2021-04-19 11:53 | 29.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.4312 | μmol/L | 30.0003 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.901 | 95119.0755 | 211468.1535 | 27.3 | 43.4
93085 | 2021-04-19 11:54 | 29.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.4151 | μmol/L | 29.9819 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.908 | 95124.3854 | 211463.7224 | 27.3 | 43.4
93095 | 2021-04-19 11:54 | 29.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.3141 | μmol/L | 29.988 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.911 | 95165.7598 | 211465.6517 | 27.3 | 43.4
93105 | 2021-04-19 11:54 | 30.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.338 | μmol/L | 29.9696 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.916 | 95195.0209 | 211461.2901 | 27.3 | 43.4
93115 | 2021-04-19 11:55 | 30.6646 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.9913 | μmol/L | 30.0064 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.921 | 95216.7218 | 211465.7907 | 27.3 | 43.4
93125 | 2021-04-19 11:55 | 30.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.9966 | μmol/L | 29.9819 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.929 | 95245.9773 | 211464.2906 | 27.3 | 43.4
93135 | 2021-04-19 11:55 | 31.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.6744 | μmol/L | 30.0003 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.939 | 95297.9739 | 211469.709 | 27.3 | 43.4
93145 | 2021-04-19 11:56 | 31.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.8613 | μmol/L | 29.9635 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.942 | 95314.2936 | 211462.3328 | 27.3 | 43.4
93155 | 2021-04-19 11:56 | 31.9978 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4361 | μmol/L | 30.0003 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.951 | 95352.8133 | 211452.0878 | 27.3 | 43.4
93165 | 2021-04-19 11:56 | 32.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4601 | μmol/L | 29.9819 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.956 | 95384.225 | 211460.5912 | 27.3 | 43.4
93175 | 2021-04-19 11:57 | 32.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3622 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.963 | 95392.8724 | 211452.1319 | 27.3 | 43.4
93185 | 2021-04-19 11:57 | 32.9978 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4231 | μmol/L | 29.9696 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.962 | 95401.6449 | 211437.3885 | 27.3 | 43.4
93195 | 2021-04-19 11:57 | 33.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3875 | μmol/L | 29.9512 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.97 | 95438.4588 | 211450.9847 | 27.3 | 43.4
93205 | 2021-04-19 11:58 | 33.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0664 | μmol/L | 29.9696 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.98 | 95477.1255 | 211436.5098 | 27.3 | 43.4
93215 | 2021-04-19 11:58 | 33.9979 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0071 | μmol/L | 29.9696 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.983 | 95522.1853 | 211458.6093 | 27.3 | 43.4