## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 11:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
92197 | 2021-04-19 11:24 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.0886 | μmol/L | 29.1723 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.029 | 126467.367 | 266313.6113 | 36.4 | 83.1
92204 | 2021-04-19 11:25 | 0.53454 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.4935 | μmol/L | 29.2276 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.089 | 126934.7773 | 266323.0377 | 36.4 | 83.1
92217 | 2021-04-19 11:25 | 0.66488 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.2296 | μmol/L | 29.2338 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.1 | 127044.4003 | 266313.9892 | 36.4 | 83.1
92227 | 2021-04-19 11:25 | 0.99803 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.4028 | μmol/L | 29.2399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.139 | 127305.7112 | 266309.9233 | 36.4 | 83.1
92237 | 2021-04-19 11:25 | 1.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.1834 | μmol/L | 29.2338 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.152 | 127399.4313 | 266296.3904 | 36.4 | 83.1
92247 | 2021-04-19 11:26 | 1.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.0045 | μmol/L | 29.2276 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.163 | 127460.1712 | 266284.2691 | 36.4 | 83.1
92257 | 2021-04-19 11:26 | 1.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6198 | μmol/L | 29.2461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.176 | 127533.4659 | 266286.6117 | 36.4 | 83.1
92267 | 2021-04-19 11:26 | 2.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3357 | μmol/L | 29.2645 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.184 | 127617.7368 | 266289.4261 | 36.4 | 83.1
92277 | 2021-04-19 11:27 | 2.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3313 | μmol/L | 29.2829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.178 | 127619.2544 | 266280.6088 | 36.4 | 83.1
92287 | 2021-04-19 11:27 | 2.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.9508 | μmol/L | 29.2891 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.195 | 127700.0092 | 266266.8872 | 36.4 | 83.1
92297 | 2021-04-19 11:27 | 3.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.8313 | μmol/L | 29.2891 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.201 | 127769.4593 | 266268.4651 | 36.4 | 83.1
92307 | 2021-04-19 11:28 | 3.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4886 | μmol/L | 29.3075 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.212 | 127819.4606 | 266272.6846 | 36.4 | 83.1
92317 | 2021-04-19 11:28 | 3.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3862 | μmol/L | 29.3198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.213 | 127838.6461 | 266260.0446 | 36.4 | 83.1
92327 | 2021-04-19 11:28 | 4.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.1831 | μmol/L | 29.3382 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.217 | 127836.324 | 266252.2924 | 36.4 | 83.1
92337 | 2021-04-19 11:29 | 4.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.1006 | μmol/L | 29.3505 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.217 | 127854.0562 | 266251.7629 | 36.4 | 83.1
92347 | 2021-04-19 11:29 | 4.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.782 | μmol/L | 29.3567 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.231 | 127960.1878 | 266232.6749 | 36.4 | 83.1
92357 | 2021-04-19 11:29 | 5.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.9191 | μmol/L | 29.3628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.222 | 127893.3989 | 266231.0263 | 36.4 | 83.1
92367 | 2021-04-19 11:30 | 5.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.5596 | μmol/L | 29.3751 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.236 | 128001.6101 | 266235.1128 | 36.4 | 83.1
92377 | 2021-04-19 11:30 | 5.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.2157 | μmol/L | 29.4058 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.243 | 128038.1875 | 266222.3321 | 36.4 | 83.1
92387 | 2021-04-19 11:30 | 6.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.8543 | μmol/L | 29.4304 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.253 | 128066.9739 | 266226.302 | 36.4 | 83.1
92397 | 2021-04-19 11:31 | 6.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.0365 | μmol/L | 29.412 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.25 | 128070.9866 | 266200.2999 | 36.4 | 83.1
92407 | 2021-04-19 11:31 | 6.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.8888 | μmol/L | 29.4488 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.245 | 128053.0479 | 266210.2925 | 36.4 | 83.1
92417 | 2021-04-19 11:31 | 7.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.8937 | μmol/L | 29.4304 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.251 | 128071.512 | 266194.6509 | 36.4 | 83.1
92427 | 2021-04-19 11:32 | 7.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.6344 | μmol/L | 29.4427 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.26 | 128118.5328 | 266195.5438 | 36.4 | 83.1
92437 | 2021-04-19 11:32 | 7.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.7164 | μmol/L | 29.4304 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.26 | 128124.525 | 266195.3275 | 36.4 | 83.1
92447 | 2021-04-19 11:32 | 8.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.8788 | μmol/L | 29.412 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.258 | 128112.1498 | 266197.8561 | 36.4 | 83.1
92457 | 2021-04-19 11:33 | 8.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.8362 | μmol/L | 29.4242 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.256 | 128100.6212 | 266197.824 | 36.4 | 83.1
92467 | 2021-04-19 11:33 | 8.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.3591 | μmol/L | 29.4427 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.274 | 128208.7519 | 266205.7965 | 36.4 | 83.1
92477 | 2021-04-19 11:33 | 9.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.2592 | μmol/L | 29.4488 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.277 | 128213.279 | 266188.2406 | 36.4 | 83.1
92487 | 2021-04-19 11:34 | 9.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.1937 | μmol/L | 29.4734 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.272 | 128213.2597 | 266191.3285 | 36.4 | 83.1
92497 | 2021-04-19 11:34 | 9.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.2739 | μmol/L | 29.4673 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.27 | 128171.928 | 266179.9558 | 36.4 | 83.1
92507 | 2021-04-19 11:34 | 10.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.179 | μmol/L | 29.455 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.279 | 128215.98 | 266173.3971 | 36.4 | 83.1
92517 | 2021-04-19 11:35 | 10.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.1773 | μmol/L | 29.4611 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.277 | 128223.392 | 266173.6424 | 36.4 | 83.1
92527 | 2021-04-19 11:35 | 10.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.1527 | μmol/L | 29.4795 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.272 | 128191.7805 | 266174.8006 | 36.4 | 83.1
92537 | 2021-04-19 11:35 | 11.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.6329 | μmol/L | 29.5164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.286 | 128279.4412 | 266162.6657 | 36.4 | 83.1
92547 | 2021-04-19 11:36 | 11.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7146 | μmol/L | 29.5041 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.286 | 128275.4521 | 266154.4081 | 36.4 | 83.1
92557 | 2021-04-19 11:36 | 11.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7001 | μmol/L | 29.4857 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.293 | 126645.8529 | 266161.945 | 36.4 | 83.1
92567 | 2021-04-19 11:36 | 12.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.3361 | μmol/L | 29.5287 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.297 | 126788.522 | 266161.5637 | 36.4 | 83.1
92577 | 2021-04-19 11:37 | 12.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.3982 | μmol/L | 29.5164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.298 | 126702.6459 | 266145.3282 | 36.4 | 83.1
92587 | 2021-04-19 11:37 | 12.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.3591 | μmol/L | 29.5164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.3 | 127057.6534 | 266144.1423 | 36.4 | 83.1
92597 | 2021-04-19 11:37 | 13.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.4798 | μmol/L | 29.5041 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.298 | 126208.8794 | 266135.1586 | 36.4 | 83.1
92607 | 2021-04-19 11:38 | 13.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.3574 | μmol/L | 29.5226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.298 | 126012.6371 | 266130.5607 | 36.4 | 83.1
92617 | 2021-04-19 11:38 | 13.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.2987 | μmol/L | 29.5226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.301 | 125893.3349 | 266128.7536 | 36.4 | 83.1
92627 | 2021-04-19 11:38 | 14.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.2223 | μmol/L | 29.5164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.307 | 125459.795 | 266128.8514 | 36.4 | 83.1
92637 | 2021-04-19 11:39 | 14.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.3429 | μmol/L | 29.5041 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.305 | 125468.1322 | 266133.131 | 36.4 | 83.1
92647 | 2021-04-19 11:39 | 14.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.6576 | μmol/L | 29.498 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.291 | 125356.181 | 266115.7364 | 36.4 | 83.1
92657 | 2021-04-19 11:39 | 15.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.2223 | μmol/L | 29.5164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.307 | 125450.2902 | 266112.6561 | 36.4 | 83.1
92667 | 2021-04-19 11:40 | 15.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.6944 | μmol/L | 29.5901 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.309 | 125446.7441 | 266101.0904 | 36.4 | 83.1
92677 | 2021-04-19 11:40 | 15.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.8963 | μmol/L | 29.5656 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.307 | 125459.7289 | 266106.1357 | 36.4 | 83.1
92687 | 2021-04-19 11:40 | 16.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.8963 | μmol/L | 29.5656 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.307 | 125466.5136 | 266113.1777 | 36.4 | 83.1
92697 | 2021-04-19 11:41 | 16.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.9387 | μmol/L | 29.5533 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.309 | 125485.3366 | 266106.9383 | 36.4 | 83.1
92707 | 2021-04-19 11:41 | 16.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.5368 | μmol/L | 29.5963 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.315 | 125490.9706 | 266108.0556 | 36.4 | 83.1
92717 | 2021-04-19 11:41 | 17.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.9955 | μmol/L | 29.5594 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.304 | 125465.6252 | 266093.5441 | 36.4 | 83.1
92727 | 2021-04-19 11:42 | 17.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.7598 | μmol/L | 29.5656 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.314 | 125501.511 | 266088.4092 | 36.4 | 83.1
92737 | 2021-04-19 11:42 | 17.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.5581 | μmol/L | 29.5901 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.316 | 125502.3128 | 266085.0053 | 36.4 | 83.1
92747 | 2021-04-19 11:42 | 18.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.3936 | μmol/L | 29.6209 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.314 | 125490.4939 | 266071.6274 | 36.4 | 83.1
92757 | 2021-04-19 11:43 | 18.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.5475 | μmol/L | 29.627 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.304 | 125436.8793 | 266085.6839 | 36.4 | 83.1
92767 | 2021-04-19 11:43 | 18.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.6077 | μmol/L | 29.6209 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.303 | 125434.6969 | 266086.708 | 36.4 | 83.1
92777 | 2021-04-19 11:43 | 19.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.1373 | μmol/L | 29.6332 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.323 | 125549.3947 | 266077.5156 | 36.4 | 83.1
92787 | 2021-04-19 11:44 | 19.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.9554 | μmol/L | 29.6577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.324 | 125570.4544 | 266065.3811 | 36.4 | 83.1
92797 | 2021-04-19 11:44 | 19.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.0137 | μmol/L | 29.6577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.321 | 125550.7537 | 266067.3203 | 36.4 | 83.1
92807 | 2021-04-19 11:44 | 20.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.9148 | μmol/L | 29.6639 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.324 | 125529.0419 | 266069.3714 | 36.4 | 83.1
92817 | 2021-04-19 11:45 | 20.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.0313 | μmol/L | 29.6639 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.318 | 125532.6301 | 266063.8801 | 36.4 | 83.1
92827 | 2021-04-19 11:45 | 20.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.8336 | μmol/L | 29.6762 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.324 | 125542.9039 | 266060.782 | 36.4 | 83.1
92837 | 2021-04-19 11:45 | 21.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.83 | μmol/L | 29.6885 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.32 | 125537.0196 | 266068.2956 | 36.4 | 83.1
92847 | 2021-04-19 11:46 | 21.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.77 | μmol/L | 29.6946 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.321 | 125529.6337 | 266066.0332 | 36.4 | 83.1
92857 | 2021-04-19 11:46 | 21.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.7646 | μmol/L | 29.713 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.315 | 125537.5691 | 266063.6333 | 36.4 | 83.1
92867 | 2021-04-19 11:46 | 22.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.6428 | μmol/L | 29.7315 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.315 | 125507.1038 | 266053.2061 | 36.4 | 83.1
92877 | 2021-04-19 11:47 | 22.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3275 | μmol/L | 29.7499 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.325 | 125576.6835 | 266052.1628 | 36.4 | 83.1
92887 | 2021-04-19 11:47 | 22.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8774 | μmol/L | 29.7683 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.342 | 125683.3358 | 266047.4922 | 36.4 | 83.1
92897 | 2021-04-19 11:47 | 23.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9546 | μmol/L | 29.7683 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.338 | 125686.3171 | 266053.7763 | 36.4 | 83.1
92907 | 2021-04-19 11:48 | 23.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0144 | μmol/L | 29.7622 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.337 | 125682.7598 | 266049.7783 | 36.4 | 83.1
92917 | 2021-04-19 11:48 | 23.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0144 | μmol/L | 29.7622 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.337 | 125679.6255 | 266035.7368 | 36.4 | 83.1
92927 | 2021-04-19 11:48 | 24.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9353 | μmol/L | 29.7683 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.339 | 125676.9588 | 266040.3556 | 36.4 | 83.1
92937 | 2021-04-19 11:49 | 24.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.893 | μmol/L | 29.7806 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.337 | 125686.9211 | 266031.3999 | 36.4 | 83.1
92947 | 2021-04-19 11:49 | 24.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9141 | μmol/L | 29.7745 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.338 | 125696.5003 | 266040.1408 | 36.4 | 83.1
92957 | 2021-04-19 11:49 | 25.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.6017 | μmol/L | 29.7868 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.35 | 125770.1598 | 266031.8215 | 36.4 | 83.1
92967 | 2021-04-19 11:50 | 25.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.3034 | μmol/L | 29.8175 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.355 | 125785.7054 | 266023.2045 | 36.4 | 83.1
92977 | 2021-04-19 11:50 | 25.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2419 | μmol/L | 29.8298 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.354 | 125787.4414 | 266014.7352 | 36.4 | 83.1
92987 | 2021-04-19 11:50 | 26.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.3034 | μmol/L | 29.8175 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.355 | 125783.1648 | 266015.2858 | 36.4 | 83.1
92997 | 2021-04-19 11:51 | 26.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2226 | μmol/L | 29.8298 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.355 | 125787.6434 | 266008.796 | 36.4 | 83.1
93007 | 2021-04-19 11:51 | 26.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.1208 | μmol/L | 29.8482 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.354 | 125776.5748 | 266003.7818 | 36.4 | 83.1
93017 | 2021-04-19 11:51 | 27.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2804 | μmol/L | 29.8298 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.352 | 125771.5873 | 265994.2557 | 36.4 | 83.1
93027 | 2021-04-19 11:52 | 27.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.6403 | μmol/L | 29.7868 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.348 | 125767.3994 | 265987.6856 | 36.4 | 83.1
93037 | 2021-04-19 11:52 | 27.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8232 | μmol/L | 29.756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.349 | 125743.8455 | 265992.2868 | 36.4 | 83.1
93047 | 2021-04-19 11:52 | 28.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2072 | μmol/L | 29.8175 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.36 | 125817.744 | 265989.0183 | 36.4 | 83.1
93057 | 2021-04-19 11:53 | 28.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2129 | μmol/L | 29.7991 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.366 | 125849.3282 | 265992.3761 | 36.4 | 83.1
93067 | 2021-04-19 11:53 | 28.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.0726 | μmol/L | 29.8175 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.367 | 125874.4318 | 265986.9951 | 36.4 | 83.1
93077 | 2021-04-19 11:53 | 29.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8498 | μmol/L | 29.8544 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.366 | 125876.6039 | 265977.1512 | 36.4 | 83.1
93087 | 2021-04-19 11:54 | 29.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.6483 | μmol/L | 29.8851 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.366 | 125862.7106 | 265974.8694 | 36.4 | 83.1
93097 | 2021-04-19 11:54 | 29.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.5352 | μmol/L | 29.8789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.374 | 125916.7984 | 265969.1464 | 36.4 | 83.1
93107 | 2021-04-19 11:54 | 30.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.2592 | μmol/L | 29.9035 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.38 | 125964.7388 | 265967.1168 | 36.4 | 83.1
93117 | 2021-04-19 11:55 | 30.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3838 | μmol/L | 29.8728 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.384 | 126006.101 | 265960.6427 | 36.4 | 83.1
93127 | 2021-04-19 11:55 | 30.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.2096 | μmol/L | 29.8789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.391 | 126074.9598 | 265957.9715 | 36.4 | 83.1
93137 | 2021-04-19 11:55 | 31.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.2096 | μmol/L | 29.8789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.391 | 126069.4355 | 265964.6824 | 36.4 | 83.1
93147 | 2021-04-19 11:56 | 31.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.892 | μmol/L | 29.9158 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.395 | 126073.6435 | 265957.3421 | 36.4 | 83.1
93157 | 2021-04-19 11:56 | 31.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3955 | μmol/L | 29.8359 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.396 | 126073.1096 | 265953.8803 | 36.4 | 83.1
93167 | 2021-04-19 11:56 | 32.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.5162 | μmol/L | 29.8175 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.396 | 126077.3252 | 265939.8546 | 36.4 | 83.1
93177 | 2021-04-19 11:57 | 32.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3611 | μmol/L | 29.8236 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.402 | 126105.6184 | 265940.1037 | 36.4 | 83.1
93187 | 2021-04-19 11:57 | 32.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3228 | μmol/L | 29.8236 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.404 | 126120.9449 | 265935.4533 | 36.4 | 83.1
93197 | 2021-04-19 11:57 | 33.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.187 | μmol/L | 29.8298 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.409 | 126135.8406 | 265923.1426 | 36.4 | 83.1
93207 | 2021-04-19 11:58 | 33.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.1144 | μmol/L | 29.8175 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.417 | 126196.3527 | 265937.4146 | 36.4 | 83.1
93217 | 2021-04-19 11:58 | 33.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.7893 | μmol/L | 29.8789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.413 | 126182.7986 | 265924.568 | 36.4 | 83.1