## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 11:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
92198 | 2021-04-19 11:24 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.4722 | μmol/L | 29.2365 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.573 | 92386.7236 | 292383.4262 | 30.45 | 114.2
92207 | 2021-04-19 11:25 | 0.50076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.72 | μmol/L | 29.2674 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.659 | 92797.0046 | 292358.0014 | 30.45 | 114.2
92218 | 2021-04-19 11:25 | 0.66398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.157 | μmol/L | 29.2858 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.684 | 92917.6901 | 292358.6077 | 30.45 | 114.2
92228 | 2021-04-19 11:25 | 0.99707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.5466 | μmol/L | 29.2674 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.724 | 93148.1208 | 292351.2112 | 30.45 | 114.2
92238 | 2021-04-19 11:25 | 1.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.0797 | μmol/L | 29.2674 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.75 | 93262.4523 | 292331.2894 | 30.45 | 114.2
92248 | 2021-04-19 11:26 | 1.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.575 | μmol/L | 29.292 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.77 | 93345.0601 | 292346.5107 | 30.45 | 114.2
92258 | 2021-04-19 11:26 | 1.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.2875 | μmol/L | 29.3043 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.782 | 93417.2436 | 292338.6825 | 30.45 | 114.2
92268 | 2021-04-19 11:26 | 2.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.1635 | μmol/L | 29.2982 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.791 | 93487.4445 | 292338.649 | 30.45 | 114.2
92278 | 2021-04-19 11:27 | 2.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.7521 | μmol/L | 29.3105 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.81 | 93557.5975 | 292331.8551 | 30.45 | 114.2
92288 | 2021-04-19 11:27 | 2.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2857 | μmol/L | 29.3413 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.826 | 93636.6488 | 292319.1619 | 30.45 | 114.2
92298 | 2021-04-19 11:27 | 3.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0907 | μmol/L | 29.3413 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.837 | 93691.9757 | 292309.9405 | 30.45 | 114.2
92308 | 2021-04-19 11:28 | 3.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8764 | μmol/L | 29.3536 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.845 | 93705.6539 | 292290.8296 | 30.45 | 114.2
92318 | 2021-04-19 11:28 | 3.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8745 | μmol/L | 29.366 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.841 | 93705.627 | 292297.6941 | 30.45 | 114.2
92328 | 2021-04-19 11:28 | 4.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8577 | μmol/L | 29.3598 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.844 | 93710.1301 | 292294.5861 | 30.45 | 114.2
92338 | 2021-04-19 11:29 | 4.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.6781 | μmol/L | 29.3783 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.848 | 93720.2784 | 292286.488 | 30.45 | 114.2
92348 | 2021-04-19 11:29 | 4.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.5181 | μmol/L | 29.3844 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.855 | 93771.3603 | 292285.215 | 30.45 | 114.2
92358 | 2021-04-19 11:29 | 5.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4466 | μmol/L | 29.3906 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.857 | 93766.9327 | 292276.882 | 30.45 | 114.2
92368 | 2021-04-19 11:30 | 5.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1086 | μmol/L | 29.4091 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.87 | 93801.8989 | 292276.9723 | 30.45 | 114.2
92378 | 2021-04-19 11:30 | 5.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0382 | μmol/L | 29.4091 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.874 | 93833.2436 | 292259.8155 | 30.45 | 114.2
92388 | 2021-04-19 11:30 | 6.3309 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.913 | μmol/L | 29.4214 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.877 | 93875.2908 | 292264.042 | 30.45 | 114.2
92398 | 2021-04-19 11:31 | 6.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.578 | μmol/L | 29.4276 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.894 | 93938.3573 | 292247.3264 | 30.45 | 114.2
92408 | 2021-04-19 11:31 | 6.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4395 | μmol/L | 29.4153 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.906 | 93990.6672 | 292229.0222 | 30.45 | 114.2
92418 | 2021-04-19 11:31 | 7.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3654 | μmol/L | 29.4399 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.902 | 93995.5145 | 292237.6627 | 30.45 | 114.2
92428 | 2021-04-19 11:32 | 7.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2767 | μmol/L | 29.4461 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.905 | 94002.468 | 292225.1291 | 30.45 | 114.2
92438 | 2021-04-19 11:32 | 7.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3489 | μmol/L | 29.4337 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.905 | 94004.0663 | 292241.8979 | 30.45 | 114.2
92448 | 2021-04-19 11:32 | 8.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2953 | μmol/L | 29.4399 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.906 | 94015.2394 | 292231.0025 | 30.45 | 114.2
92458 | 2021-04-19 11:33 | 8.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9265 | μmol/L | 29.4461 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.925 | 94121.6863 | 292214.8631 | 30.45 | 114.2
92468 | 2021-04-19 11:33 | 8.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5227 | μmol/L | 29.4584 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.944 | 94198.0444 | 292221.7681 | 30.45 | 114.2
92478 | 2021-04-19 11:33 | 9.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3832 | μmol/L | 29.4584 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.952 | 94242.2096 | 292222.025 | 30.45 | 114.2
92488 | 2021-04-19 11:34 | 9.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4006 | μmol/L | 29.4584 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.951 | 94249.1468 | 292211.6217 | 30.45 | 114.2
92498 | 2021-04-19 11:34 | 9.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2406 | μmol/L | 29.4769 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.954 | 94274.9656 | 292207.4015 | 30.45 | 114.2
92508 | 2021-04-19 11:34 | 10.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2929 | μmol/L | 29.4769 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.951 | 94270.1182 | 292198.8359 | 30.45 | 114.2
92518 | 2021-04-19 11:35 | 10.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2058 | μmol/L | 29.4769 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.956 | 94273.1447 | 292195.4207 | 30.45 | 114.2
92528 | 2021-04-19 11:35 | 10.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3092 | μmol/L | 29.483 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.948 | 94235.8678 | 292191.7531 | 30.45 | 114.2
92538 | 2021-04-19 11:35 | 11.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8102 | μmol/L | 29.5508 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.954 | 94250.8477 | 292187.1793 | 30.45 | 114.2
92548 | 2021-04-19 11:36 | 11.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.0079 | μmol/L | 29.5139 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.955 | 94266.5537 | 292193.316 | 30.45 | 114.2
92558 | 2021-04-19 11:36 | 11.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.618 | μmol/L | 29.557 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.963 | 94310.7707 | 292168.0774 | 30.45 | 114.2
92568 | 2021-04-19 11:36 | 12.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7493 | μmol/L | 29.5015 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.974 | 94375.4525 | 292179.6042 | 30.45 | 114.2
92578 | 2021-04-19 11:37 | 12.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2193 | μmol/L | 29.557 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.986 | 94428.4799 | 292176.2355 | 30.45 | 114.2
92588 | 2021-04-19 11:37 | 12.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9263 | μmol/L | 29.5508 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.005 | 94505.6801 | 292163.726 | 30.45 | 114.2
92598 | 2021-04-19 11:37 | 13.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8054 | μmol/L | 29.5508 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.012 | 94567.806 | 292148.8468 | 30.45 | 114.2
92608 | 2021-04-19 11:38 | 13.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7041 | μmol/L | 29.5385 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.022 | 94604.0998 | 292155.808 | 30.45 | 114.2
92618 | 2021-04-19 11:38 | 13.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5282 | μmol/L | 29.557 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.026 | 94633.3665 | 292161.4237 | 30.45 | 114.2
92628 | 2021-04-19 11:38 | 14.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7202 | μmol/L | 29.5447 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.019 | 94618.8754 | 292147.306 | 30.45 | 114.2
92638 | 2021-04-19 11:39 | 14.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6467 | μmol/L | 29.5693 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.015 | 94634.5781 | 292150.5805 | 30.45 | 114.2
92648 | 2021-04-19 11:39 | 14.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6328 | μmol/L | 29.5508 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.022 | 94659.2154 | 292144.7925 | 30.45 | 114.2
92658 | 2021-04-19 11:39 | 15.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.611 | μmol/L | 29.5755 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.015 | 94652.6002 | 292126.9634 | 30.45 | 114.2
92668 | 2021-04-19 11:40 | 15.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5053 | μmol/L | 29.5878 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.017 | 94649.0775 | 292146.9405 | 30.45 | 114.2
92678 | 2021-04-19 11:40 | 15.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3181 | μmol/L | 29.5755 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.032 | 94711.8784 | 292119.9464 | 30.45 | 114.2
92688 | 2021-04-19 11:40 | 16.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2836 | μmol/L | 29.5755 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.034 | 94732.434 | 292121.8151 | 30.45 | 114.2
92698 | 2021-04-19 11:41 | 16.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6433 | μmol/L | 29.6001 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.063 | 94814.9691 | 292123.7665 | 30.45 | 114.2
92708 | 2021-04-19 11:41 | 16.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8445 | μmol/L | 29.6248 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.043 | 94804.1642 | 292125.6157 | 30.45 | 114.2
92718 | 2021-04-19 11:41 | 17.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6729 | μmol/L | 29.6248 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.053 | 94845.627 | 292108.4564 | 30.45 | 114.2
92728 | 2021-04-19 11:42 | 17.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5186 | μmol/L | 29.6248 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.062 | 94880.769 | 292112.1211 | 30.45 | 114.2
92738 | 2021-04-19 11:42 | 17.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.2423 | μmol/L | 29.6371 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.074 | 94927.8746 | 292109.3742 | 30.45 | 114.2
92748 | 2021-04-19 11:42 | 18.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.0115 | μmol/L | 29.6803 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.073 | 94924.7419 | 292087.4097 | 30.45 | 114.2
92758 | 2021-04-19 11:43 | 18.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6067 | μmol/L | 29.6125 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.061 | 94892.5084 | 292101.237 | 30.45 | 114.2
92768 | 2021-04-19 11:43 | 18.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.69 | μmol/L | 29.6248 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.052 | 94841.5189 | 292082.1711 | 30.45 | 114.2
92778 | 2021-04-19 11:43 | 19.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.9469 | μmol/L | 29.6618 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.083 | 94971.6435 | 292080.1968 | 30.45 | 114.2
92788 | 2021-04-19 11:44 | 19.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1385 | μmol/L | 29.6433 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.078 | 94944.9457 | 292076.7251 | 30.45 | 114.2
92798 | 2021-04-19 11:44 | 19.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1495 | μmol/L | 29.6741 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.067 | 94904.6378 | 292086.6311 | 30.45 | 114.2
92808 | 2021-04-19 11:44 | 20.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.6897 | μmol/L | 29.6679 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.096 | 95057.3012 | 292075.1912 | 30.45 | 114.2
92818 | 2021-04-19 11:45 | 20.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7359 | μmol/L | 29.6926 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.085 | 94987.0599 | 292070.9149 | 30.45 | 114.2
92828 | 2021-04-19 11:45 | 20.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.5301 | μmol/L | 29.6988 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.095 | 95013.4816 | 292072.4771 | 30.45 | 114.2
92838 | 2021-04-19 11:45 | 21.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3523 | μmol/L | 29.7357 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.093 | 95046.9022 | 292060.8662 | 30.45 | 114.2
92848 | 2021-04-19 11:46 | 21.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2673 | μmol/L | 29.7357 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.098 | 95062.8917 | 292060.8897 | 30.45 | 114.2
92858 | 2021-04-19 11:46 | 21.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3536 | μmol/L | 29.7296 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.095 | 95024.6108 | 292059.0114 | 30.45 | 114.2
92868 | 2021-04-19 11:46 | 22.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1899 | μmol/L | 29.6988 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.115 | 95132.096 | 292070.029 | 30.45 | 114.2
92878 | 2021-04-19 11:47 | 22.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1482 | μmol/L | 29.7357 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.105 | 95089.7336 | 292042.9226 | 30.45 | 114.2
92888 | 2021-04-19 11:47 | 22.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7018 | μmol/L | 29.7604 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.123 | 95145.337 | 292042.1562 | 30.45 | 114.2
92898 | 2021-04-19 11:47 | 23.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7344 | μmol/L | 29.7666 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.119 | 95138.9143 | 292042.3258 | 30.45 | 114.2
92908 | 2021-04-19 11:48 | 23.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.3085 | μmol/L | 29.7789 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.14 | 95252.2617 | 292049.4835 | 30.45 | 114.2
92918 | 2021-04-19 11:48 | 23.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.2356 | μmol/L | 29.8035 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.136 | 95227.7046 | 292028.1882 | 30.45 | 114.2
92928 | 2021-04-19 11:48 | 24.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0809 | μmol/L | 29.8159 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.141 | 95245.0588 | 292036.5355 | 30.45 | 114.2
92938 | 2021-04-19 11:49 | 24.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.1316 | μmol/L | 29.8159 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.138 | 95229.1478 | 292019.9313 | 30.45 | 114.2
92948 | 2021-04-19 11:49 | 24.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.116 | μmol/L | 29.8097 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.141 | 95231.4894 | 292033.9513 | 30.45 | 114.2
92958 | 2021-04-19 11:49 | 25.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6707 | μmol/L | 29.8405 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.157 | 95316.2624 | 292013.3114 | 30.45 | 114.2
92968 | 2021-04-19 11:50 | 25.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6411 | μmol/L | 29.822 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.165 | 95355.8039 | 292017.0103 | 30.45 | 114.2
92978 | 2021-04-19 11:50 | 25.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6707 | μmol/L | 29.8405 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.157 | 95344.4072 | 292011.7323 | 30.45 | 114.2
92988 | 2021-04-19 11:50 | 26.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.8278 | μmol/L | 29.8159 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.156 | 95321.0351 | 292008.6633 | 30.45 | 114.2
92998 | 2021-04-19 11:51 | 26.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6175 | μmol/L | 29.8528 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.156 | 95324.8937 | 292011.2999 | 30.45 | 114.2
93008 | 2021-04-19 11:51 | 26.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6088 | μmol/L | 29.8159 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.169 | 95372.9153 | 291993.7557 | 30.45 | 114.2
93018 | 2021-04-19 11:51 | 27.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2361 | μmol/L | 29.8282 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.187 | 95458.0154 | 291986.9356 | 30.45 | 114.2
93028 | 2021-04-19 11:52 | 27.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1844 | μmol/L | 29.8344 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.188 | 95458.7185 | 291989.105 | 30.45 | 114.2
93038 | 2021-04-19 11:52 | 27.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.3565 | μmol/L | 29.8159 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.184 | 95454.6203 | 291984.5241 | 30.45 | 114.2
93048 | 2021-04-19 11:52 | 28.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2488 | μmol/L | 29.8467 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.18 | 95425.5531 | 291978.4868 | 30.45 | 114.2
93058 | 2021-04-19 11:53 | 28.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9398 | μmol/L | 29.8775 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.188 | 95487.1787 | 291971.7701 | 30.45 | 114.2
93068 | 2021-04-19 11:53 | 28.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0655 | μmol/L | 29.8405 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.193 | 95485.9579 | 291979.8934 | 30.45 | 114.2
93078 | 2021-04-19 11:53 | 29.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.909 | μmol/L | 29.8652 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.194 | 95519.4026 | 291976.1607 | 30.45 | 114.2
93088 | 2021-04-19 11:54 | 29.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7317 | μmol/L | 29.8344 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.215 | 95571.7453 | 291976.9787 | 30.45 | 114.2
93098 | 2021-04-19 11:54 | 29.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3639 | μmol/L | 29.8344 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.237 | 95684.6299 | 291955.1882 | 30.45 | 114.2
93108 | 2021-04-19 11:54 | 30.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2414 | μmol/L | 29.859 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.236 | 95673.0675 | 291963.8618 | 30.45 | 114.2
93118 | 2021-04-19 11:55 | 30.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.0746 | μmol/L | 29.859 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.246 | 95725.9592 | 291968.3632 | 30.45 | 114.2
93128 | 2021-04-19 11:55 | 30.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.414 | μmol/L | 29.8344 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.234 | 95677.9416 | 291947.2484 | 30.45 | 114.2
93138 | 2021-04-19 11:55 | 31.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4279 | μmol/L | 29.8467 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.229 | 95682.1195 | 291949.7273 | 30.45 | 114.2
93148 | 2021-04-19 11:56 | 31.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1565 | μmol/L | 29.8652 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.239 | 95728.6959 | 291949.3565 | 30.45 | 114.2
93158 | 2021-04-19 11:56 | 31.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.208 | μmol/L | 29.859 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.238 | 95726.7881 | 291946.3101 | 30.45 | 114.2
93168 | 2021-04-19 11:56 | 32.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1399 | μmol/L | 29.8652 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.24 | 95723.33 | 291930.0917 | 30.45 | 114.2
93178 | 2021-04-19 11:57 | 32.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.076 | μmol/L | 29.8528 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.248 | 95747.9942 | 291948.9631 | 30.45 | 114.2
93188 | 2021-04-19 11:57 | 32.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.0217 | μmol/L | 29.8713 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.245 | 95755.436 | 291935.0278 | 30.45 | 114.2
93198 | 2021-04-19 11:57 | 33.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.7762 | μmol/L | 29.8528 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.266 | 95838.2573 | 291933.1242 | 30.45 | 114.2
93208 | 2021-04-19 11:58 | 33.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.8442 | μmol/L | 29.8467 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.264 | 95824.0973 | 291919.436 | 30.45 | 114.2
93218 | 2021-04-19 11:58 | 33.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4078 | μmol/L | 29.8652 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.284 | 95900.4559 | 291933.9484 | 30.45 | 114.2