## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 11:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
92199 | 2021-04-19 11:24 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2217 | μmol/L | 28.9968 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.329 | 136225.9863 | 289501.3485 | 59.9307 | 49.4
92205 | 2021-04-19 11:25 | 0.47565 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.2748 | μmol/L | 28.9845 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.383 | 135550.8366 | 289485.9735 | 59.9307 | 49.4
92219 | 2021-04-19 11:25 | 0.67264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.7651 | μmol/L | 28.9845 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.41 | 135815.9372 | 289496.7727 | 59.9307 | 49.4
92229 | 2021-04-19 11:25 | 1.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.7823 | μmol/L | 29.0402 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.444 | 136215.0715 | 289469.8566 | 59.9307 | 49.4
92239 | 2021-04-19 11:25 | 1.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.0675 | μmol/L | 29.0773 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.47 | 135890.7312 | 289457.0214 | 59.9307 | 49.4
92249 | 2021-04-19 11:26 | 1.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.1496 | μmol/L | 29.0092 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.488 | 135613.9477 | 289465.1829 | 59.9307 | 49.4
92259 | 2021-04-19 11:26 | 2.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.0583 | μmol/L | 28.9907 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.499 | 135183.6368 | 289447.8751 | 59.9307 | 49.4
92269 | 2021-04-19 11:26 | 2.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.8527 | μmol/L | 29.1268 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.519 | 135639.6754 | 289438.058 | 59.9307 | 49.4
92279 | 2021-04-19 11:27 | 2.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.646 | μmol/L | 29.1516 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.522 | 135090.367 | 289444.9757 | 59.9307 | 49.4
92289 | 2021-04-19 11:27 | 3.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.7275 | μmol/L | 29.0897 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.538 | 135195.8581 | 289433.8727 | 59.9307 | 49.4
92299 | 2021-04-19 11:27 | 3.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.458 | μmol/L | 29.1083 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.546 | 135240.6655 | 289420.9038 | 59.9307 | 49.4
92309 | 2021-04-19 11:28 | 3.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.3923 | μmol/L | 29.1083 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.55 | 135198.8316 | 289422.8722 | 59.9307 | 49.4
92319 | 2021-04-19 11:28 | 4.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.0015 | μmol/L | 29.133 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.563 | 135274.5381 | 289403.0932 | 59.9307 | 49.4
92329 | 2021-04-19 11:28 | 4.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.5139 | μmol/L | 29.2011 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.567 | 135313.8222 | 289416.6143 | 59.9307 | 49.4
92339 | 2021-04-19 11:29 | 4.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.0463 | μmol/L | 29.263 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.572 | 135317.595 | 289413.0574 | 59.9307 | 49.4
92349 | 2021-04-19 11:29 | 5.006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.9153 | μmol/L | 29.2816 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.573 | 135379.8434 | 289405.6962 | 59.9307 | 49.4
92359 | 2021-04-19 11:29 | 5.3392 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.6105 | μmol/L | 29.3063 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.581 | 135376.1755 | 289399.6618 | 59.9307 | 49.4
92369 | 2021-04-19 11:30 | 5.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.467 | μmol/L | 29.3435 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.577 | 135494.2787 | 289390.5363 | 59.9307 | 49.4
92379 | 2021-04-19 11:30 | 6.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.4871 | μmol/L | 29.3311 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.58 | 135514.4202 | 289378.1184 | 59.9307 | 49.4
92389 | 2021-04-19 11:30 | 6.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.3372 | μmol/L | 29.3559 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.58 | 136335.1876 | 289387.7557 | 59.9307 | 49.4
92399 | 2021-04-19 11:31 | 6.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.1883 | μmol/L | 29.3744 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.582 | 135729.5933 | 289365.4093 | 59.9307 | 49.4
92409 | 2021-04-19 11:31 | 7.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.0586 | μmol/L | 29.3868 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.585 | 135702.3059 | 289379.2405 | 59.9307 | 49.4
92419 | 2021-04-19 11:31 | 7.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.0385 | μmol/L | 29.3992 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.582 | 136471.7075 | 289380.6793 | 59.9307 | 49.4
92429 | 2021-04-19 11:32 | 7.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.0942 | μmol/L | 29.393 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.581 | 137254.5287 | 289372.0075 | 59.9307 | 49.4
92439 | 2021-04-19 11:32 | 8.006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.9473 | μmol/L | 29.3992 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.587 | 136843.959 | 289362.1767 | 59.9307 | 49.4
92449 | 2021-04-19 11:32 | 8.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.9637 | μmol/L | 29.4116 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.582 | 136698.8942 | 289369.714 | 59.9307 | 49.4
92459 | 2021-04-19 11:33 | 8.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.8898 | μmol/L | 29.4178 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.584 | 136747.9953 | 289355.2322 | 59.9307 | 49.4
92469 | 2021-04-19 11:33 | 9.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.8697 | μmol/L | 29.4301 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.581 | 137230.5776 | 289354.2045 | 59.9307 | 49.4
92479 | 2021-04-19 11:33 | 9.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.9427 | μmol/L | 29.4301 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.577 | 137908.0723 | 289348.3147 | 59.9307 | 49.4
92489 | 2021-04-19 11:34 | 9.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7009 | μmol/L | 29.4611 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.58 | 137714.67 | 289355.6228 | 59.9307 | 49.4
92499 | 2021-04-19 11:34 | 10.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.5868 | μmol/L | 29.4921 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.576 | 137923.0541 | 289328.6931 | 59.9307 | 49.4
92509 | 2021-04-19 11:34 | 10.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7556 | μmol/L | 29.4611 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.577 | 138215.5459 | 289338.1372 | 59.9307 | 49.4
92519 | 2021-04-19 11:35 | 10.6726 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7464 | μmol/L | 29.4673 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.575 | 138021.35 | 289326.2106 | 59.9307 | 49.4
92529 | 2021-04-19 11:35 | 11.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.6697 | μmol/L | 29.4921 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.571 | 138265.7385 | 289345.043 | 59.9307 | 49.4
92539 | 2021-04-19 11:35 | 11.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7336 | μmol/L | 29.4859 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.57 | 138512.7009 | 289323.7483 | 59.9307 | 49.4
92549 | 2021-04-19 11:36 | 11.6727 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.5485 | μmol/L | 29.5044 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.574 | 138247.5561 | 289319.6559 | 59.9307 | 49.4
92559 | 2021-04-19 11:36 | 12.0059 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7883 | μmol/L | 29.4859 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.567 | 138515.5228 | 289321.7596 | 59.9307 | 49.4
92569 | 2021-04-19 11:36 | 12.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7874 | μmol/L | 29.4921 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.565 | 138491.4674 | 289335.1403 | 59.9307 | 49.4
92579 | 2021-04-19 11:37 | 12.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7317 | μmol/L | 29.4982 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.566 | 138495.0275 | 289319.9653 | 59.9307 | 49.4
92589 | 2021-04-19 11:37 | 13.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.895 | μmol/L | 29.5044 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.555 | 138136.4607 | 289313.8799 | 59.9307 | 49.4
92599 | 2021-04-19 11:37 | 13.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.8767 | μmol/L | 29.5044 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.556 | 138391.7397 | 289305.0112 | 59.9307 | 49.4
92609 | 2021-04-19 11:38 | 13.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.8758 | μmol/L | 29.5106 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.554 | 138118.4109 | 289294.3693 | 59.9307 | 49.4
92619 | 2021-04-19 11:38 | 14.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.5427 | μmol/L | 29.5416 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.562 | 138296.1924 | 289315.0101 | 59.9307 | 49.4
92629 | 2021-04-19 11:38 | 14.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.5015 | μmol/L | 29.5725 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.554 | 137810.702 | 289307.9111 | 59.9307 | 49.4
92639 | 2021-04-19 11:39 | 14.6727 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.4528 | μmol/L | 29.5973 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.548 | 137665.2877 | 289295.4991 | 59.9307 | 49.4
92649 | 2021-04-19 11:39 | 15.0059 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.4966 | μmol/L | 29.6035 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.544 | 137167.8154 | 289283.6474 | 59.9307 | 49.4
92659 | 2021-04-19 11:39 | 15.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.6361 | μmol/L | 29.5911 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.54 | 136930.4822 | 289292.4248 | 59.9307 | 49.4
92669 | 2021-04-19 11:40 | 15.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.3297 | μmol/L | 29.6221 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.547 | 137021.06 | 289297.6998 | 59.9307 | 49.4
92679 | 2021-04-19 11:40 | 16.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.5897 | μmol/L | 29.5911 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.543 | 136543.8076 | 289278.7927 | 59.9307 | 49.4
92689 | 2021-04-19 11:40 | 16.3392 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.7942 | μmol/L | 29.6221 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.576 | 136804.9601 | 289268.8408 | 59.9307 | 49.4
92699 | 2021-04-19 11:41 | 16.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.5839 | μmol/L | 29.6282 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.586 | 136428.9936 | 289254.5673 | 59.9307 | 49.4
92709 | 2021-04-19 11:41 | 17.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.9605 | μmol/L | 29.6282 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.62 | 136701.5553 | 289247.1325 | 59.9307 | 49.4
92719 | 2021-04-19 11:41 | 17.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.8872 | μmol/L | 29.6344 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.622 | 136531.6571 | 289255.7642 | 59.9307 | 49.4
92729 | 2021-04-19 11:42 | 17.6726 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.7344 | μmol/L | 29.684 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.614 | 136387.5575 | 289269.8146 | 59.9307 | 49.4
92739 | 2021-04-19 11:42 | 18.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.7503 | μmol/L | 29.6963 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.609 | 136317.0549 | 289283.3341 | 59.9307 | 49.4
92749 | 2021-04-19 11:42 | 18.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.9531 | μmol/L | 29.6716 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.606 | 136323.1699 | 289264.0946 | 59.9307 | 49.4
92759 | 2021-04-19 11:43 | 18.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.409 | μmol/L | 29.6902 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.63 | 136470.6205 | 289241.4748 | 59.9307 | 49.4
92769 | 2021-04-19 11:43 | 19.006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1942 | μmol/L | 29.684 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.644 | 136628.0782 | 289257.0275 | 59.9307 | 49.4
92779 | 2021-04-19 11:43 | 19.3392 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.954 | μmol/L | 29.7211 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.645 | 136940.0966 | 289252.9942 | 59.9307 | 49.4
92789 | 2021-04-19 11:44 | 19.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.8165 | μmol/L | 29.7335 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.649 | 137016.399 | 289237.5368 | 59.9307 | 49.4
92799 | 2021-04-19 11:44 | 20.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6446 | μmol/L | 29.7459 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.654 | 136998.2623 | 289249.816 | 59.9307 | 49.4
92809 | 2021-04-19 11:44 | 20.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.8228 | μmol/L | 29.7521 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.642 | 136957.5836 | 289230.514 | 59.9307 | 49.4
92819 | 2021-04-19 11:45 | 20.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7308 | μmol/L | 29.7644 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.643 | 137187.7533 | 289226.7758 | 59.9307 | 49.4
92829 | 2021-04-19 11:45 | 21.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.5146 | μmol/L | 29.7706 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.653 | 137456.431 | 289226.677 | 59.9307 | 49.4
92839 | 2021-04-19 11:45 | 21.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.0294 | μmol/L | 29.783 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.676 | 137579.267 | 289237.805 | 59.9307 | 49.4
92849 | 2021-04-19 11:46 | 21.6726 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8129 | μmol/L | 29.7954 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.684 | 137835.3095 | 289217.2378 | 59.9307 | 49.4
92859 | 2021-04-19 11:46 | 22.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8308 | μmol/L | 29.7954 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.683 | 137608.3431 | 289214.9258 | 59.9307 | 49.4
92869 | 2021-04-19 11:46 | 22.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.0772 | μmol/L | 29.814 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.663 | 137797.8067 | 289214.6438 | 59.9307 | 49.4
92879 | 2021-04-19 11:47 | 22.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1117 | μmol/L | 29.8202 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.659 | 137781.7061 | 289211.0293 | 59.9307 | 49.4
92889 | 2021-04-19 11:47 | 23.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1654 | μmol/L | 29.8202 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.656 | 137767.3077 | 289191.2225 | 59.9307 | 49.4
92899 | 2021-04-19 11:47 | 23.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8391 | μmol/L | 29.8449 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.666 | 137784.5654 | 289191.5362 | 59.9307 | 49.4
92909 | 2021-04-19 11:48 | 23.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2121 | μmol/L | 29.8635 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.695 | 138069.34 | 289207.598 | 59.9307 | 49.4
92919 | 2021-04-19 11:48 | 24.0059 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.9659 | μmol/L | 29.8511 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.713 | 138263.5997 | 289205.4952 | 59.9307 | 49.4
92929 | 2021-04-19 11:48 | 24.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6216 | μmol/L | 29.8883 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.72 | 138336.8755 | 289202.8643 | 59.9307 | 49.4
92939 | 2021-04-19 11:49 | 24.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.5507 | μmol/L | 29.8883 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.724 | 138374.2277 | 289198.8462 | 59.9307 | 49.4
92949 | 2021-04-19 11:49 | 25.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.5343 | μmol/L | 29.8821 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.727 | 138461.5062 | 289200.5841 | 59.9307 | 49.4
92959 | 2021-04-19 11:49 | 25.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1996 | μmol/L | 29.8759 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.748 | 138616.1761 | 289207.5731 | 59.9307 | 49.4
92969 | 2021-04-19 11:50 | 25.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.2664 | μmol/L | 29.8945 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.738 | 138580.8427 | 289194.1581 | 59.9307 | 49.4
92979 | 2021-04-19 11:50 | 26.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.4269 | μmol/L | 29.8883 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.731 | 138504.4873 | 289191.2633 | 59.9307 | 49.4
92989 | 2021-04-19 11:50 | 26.3392 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1377 | μmol/L | 29.9192 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.737 | 138512.8579 | 289178.3321 | 59.9307 | 49.4
92999 | 2021-04-19 11:51 | 26.6726 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.9749 | μmol/L | 29.9378 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.74 | 138573.0032 | 289195.6652 | 59.9307 | 49.4
93009 | 2021-04-19 11:51 | 27.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.0089 | μmol/L | 29.944 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.736 | 138558.5958 | 289177.1529 | 59.9307 | 49.4
93019 | 2021-04-19 11:51 | 27.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.7581 | μmol/L | 29.9626 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.744 | 138588.8728 | 289188.4926 | 59.9307 | 49.4
93029 | 2021-04-19 11:52 | 27.6726 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.685 | μmol/L | 29.9749 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.744 | 138594.227 | 289177.7498 | 59.9307 | 49.4
93039 | 2021-04-19 11:52 | 28.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.9663 | μmol/L | 29.8945 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.755 | 138670.1484 | 289158.8842 | 59.9307 | 49.4
93049 | 2021-04-19 11:52 | 28.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6374 | μmol/L | 29.9502 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.755 | 138687.75 | 289144.5164 | 59.9307 | 49.4
93059 | 2021-04-19 11:53 | 28.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.4965 | μmol/L | 29.9502 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.763 | 138722.2167 | 289162.3733 | 59.9307 | 49.4
93069 | 2021-04-19 11:53 | 29.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.4424 | μmol/L | 29.9564 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.764 | 138751.9302 | 289173.2977 | 59.9307 | 49.4
93079 | 2021-04-19 11:53 | 29.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0614 | μmol/L | 30.0121 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.767 | 138764.9751 | 289144.2667 | 59.9307 | 49.4
93089 | 2021-04-19 11:54 | 29.6726 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3708 | μmol/L | 29.9626 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.766 | 138794.7515 | 289151.9305 | 59.9307 | 49.4
93099 | 2021-04-19 11:54 | 30.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6692 | μmol/L | 29.8821 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.776 | 138805.8971 | 289158.2442 | 59.9307 | 49.4
93109 | 2021-04-19 11:54 | 30.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3044 | μmol/L | 29.944 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.776 | 138790.8179 | 289149.3193 | 59.9307 | 49.4
93119 | 2021-04-19 11:55 | 30.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.9453 | μmol/L | 29.9811 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.784 | 138876.8704 | 289150.29 | 59.9307 | 49.4
93129 | 2021-04-19 11:55 | 31.0059 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0195 | μmol/L | 29.9626 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.786 | 138863.6365 | 289160.133 | 59.9307 | 49.4
93139 | 2021-04-19 11:55 | 31.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7728 | μmol/L | 29.9688 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.798 | 138973.1394 | 289155.4403 | 59.9307 | 49.4
93149 | 2021-04-19 11:56 | 31.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7728 | μmol/L | 29.9688 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.798 | 138972.4608 | 289141.9513 | 59.9307 | 49.4
93159 | 2021-04-19 11:56 | 32.0059 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.669 | μmol/L | 29.9626 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.806 | 139017.7561 | 289148.7147 | 59.9307 | 49.4
93169 | 2021-04-19 11:56 | 32.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.5479 | μmol/L | 29.9564 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.815 | 139064.9861 | 289139.116 | 59.9307 | 49.4
93179 | 2021-04-19 11:57 | 32.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.131 | μmol/L | 30.0245 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.816 | 139113.9414 | 289138.6804 | 59.9307 | 49.4
93189 | 2021-04-19 11:57 | 33.006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.3355 | μmol/L | 29.9688 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.823 | 139135.4268 | 289132.1109 | 59.9307 | 49.4
93199 | 2021-04-19 11:57 | 33.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.9447 | μmol/L | 29.9997 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.835 | 139216.2223 | 289123.0536 | 59.9307 | 49.4
93209 | 2021-04-19 11:58 | 33.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7343 | μmol/L | 30.0059 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.845 | 139296.9108 | 289117.0106 | 59.9307 | 49.4
93219 | 2021-04-19 11:58 | 34.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7747 | μmol/L | 29.9811 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.851 | 139324.8886 | 289117.1987 | 59.9307 | 49.4