## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98196 | 2021-04-19 16:17 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.4527 | μmol/L | 30.7455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.559 | 120681.2807 | 263115.0909 | 36.4 | 83.1
98206 | 2021-04-19 16:17 | 0.32997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.0351 | μmol/L | 30.6963 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.599 | 120935.9833 | 263122.866 | 36.4 | 83.1
98216 | 2021-04-19 16:17 | 0.66357 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7562 | μmol/L | 30.6226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.64 | 121221.742 | 263127.3384 | 36.4 | 83.1
98226 | 2021-04-19 16:18 | 0.99644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.9225 | μmol/L | 30.6226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.686 | 121497.8982 | 263123.0541 | 36.4 | 83.1
98236 | 2021-04-19 16:18 | 1.3298 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.1935 | μmol/L | 30.598 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.735 | 121792.7074 | 263108.6071 | 36.4 | 83.1
98246 | 2021-04-19 16:18 | 1.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.3477 | μmol/L | 30.5734 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.735 | 121822.9409 | 263117.0196 | 36.4 | 83.1
98256 | 2021-04-19 16:19 | 1.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.2141 | μmol/L | 30.5488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.751 | 121893.1252 | 263111.9904 | 36.4 | 83.1
98266 | 2021-04-19 16:19 | 2.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.11 | μmol/L | 30.6164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.789 | 122142.7649 | 263110.3961 | 36.4 | 83.1
98276 | 2021-04-19 16:19 | 2.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.1906 | μmol/L | 30.641 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.832 | 122372.7796 | 263105.6439 | 36.4 | 83.1
98286 | 2021-04-19 16:20 | 2.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.6419 | μmol/L | 30.598 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.878 | 122679.2039 | 263112.1312 | 36.4 | 83.1
98296 | 2021-04-19 16:20 | 3.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.5903 | μmol/L | 30.6226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.929 | 123015.6196 | 263115.4539 | 36.4 | 83.1
98306 | 2021-04-19 16:20 | 3.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.8673 | μmol/L | 30.5918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.981 | 123341.0642 | 263123.145 | 36.4 | 83.1
98316 | 2021-04-19 16:21 | 3.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1001 | μmol/L | 30.6287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.012 | 123542.2768 | 263121.5078 | 36.4 | 83.1
98326 | 2021-04-19 16:21 | 4.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.0562 | μmol/L | 30.6103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.021 | 123614.3078 | 263126.7307 | 36.4 | 83.1
98336 | 2021-04-19 16:21 | 4.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1801 | μmol/L | 30.5673 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.029 | 123648.363 | 263131.1517 | 36.4 | 83.1
98346 | 2021-04-19 16:22 | 4.9963 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.0353 | μmol/L | 30.5795 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.033 | 123698.4315 | 263119.7287 | 36.4 | 83.1
98356 | 2021-04-19 16:22 | 5.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.1447 | μmol/L | 30.5918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.08 | 124014.0474 | 263131.629 | 36.4 | 83.1
98366 | 2021-04-19 16:22 | 5.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.4442 | μmol/L | 30.5427 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.08 | 123989.9212 | 263133.3347 | 36.4 | 83.1
98376 | 2021-04-19 16:23 | 5.9964 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.4928 | μmol/L | 30.5119 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.088 | 124030.7672 | 263146.7103 | 36.4 | 83.1
98386 | 2021-04-19 16:23 | 6.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.1527 | μmol/L | 30.5365 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.099 | 124101.5153 | 263144.8831 | 36.4 | 83.1
98396 | 2021-04-19 16:23 | 6.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.7353 | μmol/L | 30.5427 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.121 | 124237.9283 | 263144.8158 | 36.4 | 83.1
98406 | 2021-04-19 16:24 | 6.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.4164 | μmol/L | 30.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.146 | 124401.6192 | 263137.2187 | 36.4 | 83.1
98416 | 2021-04-19 16:24 | 7.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.0899 | μmol/L | 30.5611 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.152 | 124465.1451 | 263147.4093 | 36.4 | 83.1
98426 | 2021-04-19 16:24 | 7.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9494 | μmol/L | 30.4935 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.184 | 124669.6768 | 263154.8187 | 36.4 | 83.1
98436 | 2021-04-19 16:25 | 7.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.8891 | μmol/L | 30.4382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.207 | 124816.4472 | 263147.2716 | 36.4 | 83.1
98446 | 2021-04-19 16:25 | 8.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.2686 | μmol/L | 30.4812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.346 | 125715.9892 | 263138.6101 | 36.4 | 83.1
98456 | 2021-04-19 16:25 | 8.6631 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.2599 | μmol/L | 30.4996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.34 | 125671.954 | 263143.9469 | 36.4 | 83.1
98466 | 2021-04-19 16:26 | 8.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.069 | μmol/L | 30.432 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.316 | 125513.5551 | 263131.8664 | 36.4 | 83.1
98476 | 2021-04-19 16:26 | 9.3298 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.0446 | μmol/L | 30.4566 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.368 | 125822.6712 | 263143.9462 | 36.4 | 83.1
98486 | 2021-04-19 16:26 | 9.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.5801 | μmol/L | 30.4443 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.4 | 126042.8518 | 263138.2436 | 36.4 | 83.1
98496 | 2021-04-19 16:27 | 9.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.5117 | μmol/L | 30.3767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.428 | 126222.3357 | 263141.6275 | 36.4 | 83.1
98506 | 2021-04-19 16:27 | 10.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.0246 | μmol/L | 30.4505 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.431 | 126258.2706 | 263143.8656 | 36.4 | 83.1
98516 | 2021-04-19 16:27 | 10.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.0669 | μmol/L | 30.432 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.435 | 126265.6037 | 263141.8763 | 36.4 | 83.1
98526 | 2021-04-19 16:28 | 10.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.1928 | μmol/L | 30.4136 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.434 | 126282.7985 | 263142.296 | 36.4 | 83.1
98536 | 2021-04-19 16:28 | 11.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.947 | μmol/L | 30.4382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.44 | 126286.2941 | 263146.3154 | 36.4 | 83.1
98546 | 2021-04-19 16:28 | 11.6631 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.123 | μmol/L | 30.4197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.436 | 126281.2822 | 263147.5156 | 36.4 | 83.1
98556 | 2021-04-19 16:29 | 11.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.1347 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.444 | 126315.1399 | 263154.936 | 36.4 | 83.1
98566 | 2021-04-19 16:29 | 12.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.1907 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.445 | 126328.2922 | 263143.0577 | 36.4 | 83.1
98576 | 2021-04-19 16:29 | 12.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.8341 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.462 | 126433.4566 | 263146.3027 | 36.4 | 83.1
98586 | 2021-04-19 16:30 | 12.9963 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.7939 | μmol/L | 30.3399 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.484 | 126584.225 | 263139.3566 | 36.4 | 83.1
98596 | 2021-04-19 16:30 | 13.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.2407 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.502 | 126687.5896 | 263124.972 | 36.4 | 83.1
98606 | 2021-04-19 16:30 | 13.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.2769 | μmol/L | 30.3767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.502 | 126686.9598 | 263128.7326 | 36.4 | 83.1
98616 | 2021-04-19 16:31 | 13.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.3024 | μmol/L | 30.3583 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.507 | 126714.8751 | 263143.4357 | 36.4 | 83.1
98626 | 2021-04-19 16:31 | 14.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.0687 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.508 | 126755.6852 | 263142.1427 | 36.4 | 83.1
98636 | 2021-04-19 16:31 | 14.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.8148 | μmol/L | 30.303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.556 | 127033.4265 | 263144.1518 | 36.4 | 83.1
98646 | 2021-04-19 16:32 | 14.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.3654 | μmol/L | 30.3091 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.581 | 127188.7403 | 263131.2741 | 36.4 | 83.1
98656 | 2021-04-19 16:32 | 15.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.9443 | μmol/L | 30.3276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.6 | 127308.9569 | 263140.1807 | 36.4 | 83.1
98666 | 2021-04-19 16:32 | 15.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.5735 | μmol/L | 30.346 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.616 | 127432.1466 | 263137.0605 | 36.4 | 83.1
98676 | 2021-04-19 16:33 | 15.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.3691 | μmol/L | 30.3276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.635 | 127544.8567 | 263139.0229 | 36.4 | 83.1
98686 | 2021-04-19 16:33 | 16.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.9076 | μmol/L | 30.3337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.661 | 127718.4695 | 263125.8393 | 36.4 | 83.1
98696 | 2021-04-19 16:33 | 16.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.483 | μmol/L | 30.3337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.687 | 127883.0482 | 263128.5535 | 36.4 | 83.1
98706 | 2021-04-19 16:34 | 16.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.317 | μmol/L | 30.3399 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.695 | 127941.5265 | 263116.7967 | 36.4 | 83.1
98716 | 2021-04-19 16:34 | 17.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.1044 | μmol/L | 30.3091 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.719 | 128052.802 | 263114.2739 | 36.4 | 83.1
98726 | 2021-04-19 16:34 | 17.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.9551 | μmol/L | 30.3153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.726 | 128104.493 | 263107.6776 | 36.4 | 83.1
98736 | 2021-04-19 16:35 | 17.9965 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.454 | μmol/L | 30.3767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.735 | 128180.8142 | 263120.9057 | 36.4 | 83.1
98746 | 2021-04-19 16:35 | 18.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.8757 | μmol/L | 30.4013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.762 | 128352.3979 | 263118.3643 | 36.4 | 83.1
98756 | 2021-04-19 16:35 | 18.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.5532 | μmol/L | 30.4013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.782 | 128480.367 | 263121.6697 | 36.4 | 83.1
98766 | 2021-04-19 16:36 | 18.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.2538 | μmol/L | 30.389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.805 | 128617.2688 | 263111.8968 | 36.4 | 83.1
98776 | 2021-04-19 16:36 | 19.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.1285 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.815 | 128695.6619 | 263112.2822 | 36.4 | 83.1
98786 | 2021-04-19 16:36 | 19.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.939 | μmol/L | 30.3767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.829 | 128770.684 | 263114.8537 | 36.4 | 83.1
98796 | 2021-04-19 16:37 | 19.9965 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.7784 | μmol/L | 30.346 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.85 | 128909.3131 | 263105.3106 | 36.4 | 83.1
98806 | 2021-04-19 16:37 | 20.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.4043 | μmol/L | 30.3583 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.869 | 129021.726 | 263108.2274 | 36.4 | 83.1
98816 | 2021-04-19 16:37 | 20.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.1844 | μmol/L | 30.4136 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.863 | 128999.1284 | 263097.6471 | 36.4 | 83.1
98826 | 2021-04-19 16:38 | 20.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.1236 | μmol/L | 30.3767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.88 | 129093.8769 | 263102.3625 | 36.4 | 83.1
98836 | 2021-04-19 16:38 | 21.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.2125 | μmol/L | 30.3276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.892 | 129199.4059 | 263088.7284 | 36.4 | 83.1
98846 | 2021-04-19 16:38 | 21.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.9928 | μmol/L | 30.3521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.897 | 129226.8763 | 263092.6764 | 36.4 | 83.1
98856 | 2021-04-19 16:39 | 21.9966 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.9194 | μmol/L | 30.3399 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.906 | 129294.1289 | 263093.2082 | 36.4 | 83.1
98866 | 2021-04-19 16:39 | 22.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.8598 | μmol/L | 30.3644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.964 | 129651.3295 | 263099.4084 | 36.4 | 83.1
98876 | 2021-04-19 16:39 | 22.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.8189 | μmol/L | 30.3214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.982 | 129783.0966 | 263106.7682 | 36.4 | 83.1
98886 | 2021-04-19 16:40 | 22.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.6421 | μmol/L | 30.3276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.991 | 129853.5537 | 263107.4878 | 36.4 | 83.1
98896 | 2021-04-19 16:40 | 23.3297 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.3581 | μmol/L | 30.3583 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.998 | 129860.8595 | 263112.2642 | 36.4 | 83.1
98906 | 2021-04-19 16:40 | 23.6631 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.2004 | μmol/L | 30.389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.997 | 129882.9859 | 263108.3887 | 36.4 | 83.1
98916 | 2021-04-19 16:41 | 23.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.9045 | μmol/L | 30.4136 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.007 | 129922.4896 | 263108.207 | 36.4 | 83.1
98926 | 2021-04-19 16:41 | 24.3297 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.9327 | μmol/L | 30.4197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.003 | 129918.1246 | 263105.4772 | 36.4 | 83.1
98936 | 2021-04-19 16:41 | 24.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.3677 | μmol/L | 30.3399 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.004 | 129933.8778 | 263095.2648 | 36.4 | 83.1
98946 | 2021-04-19 16:42 | 24.9964 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.6413 | μmol/L | 30.3767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.037 | 130124.5439 | 263110.8778 | 36.4 | 83.1
98956 | 2021-04-19 16:42 | 25.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.6349 | μmol/L | 30.389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.033 | 130111.5789 | 263110.5158 | 36.4 | 83.1
98966 | 2021-04-19 16:42 | 25.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.6321 | μmol/L | 30.3644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.042 | 130138.5886 | 263110.1148 | 36.4 | 83.1
98976 | 2021-04-19 16:43 | 25.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.1998 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.063 | 130292.5638 | 263094.8188 | 36.4 | 83.1
98986 | 2021-04-19 16:43 | 26.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.7596 | μmol/L | 30.389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.089 | 130460.191 | 263101.1708 | 36.4 | 83.1
98996 | 2021-04-19 16:43 | 26.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.5383 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.101 | 130548.8167 | 263108.7918 | 36.4 | 83.1
99006 | 2021-04-19 16:44 | 26.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.2111 | μmol/L | 30.4259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.111 | 130585.0503 | 263095.4965 | 36.4 | 83.1
99016 | 2021-04-19 16:44 | 27.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.1278 | μmol/L | 30.4075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.123 | 130683.111 | 263095.2481 | 36.4 | 83.1
99026 | 2021-04-19 16:44 | 27.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.9196 | μmol/L | 30.4197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.132 | 130746.2611 | 263099.13 | 36.4 | 83.1
99036 | 2021-04-19 16:45 | 27.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.7647 | μmol/L | 30.4197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.142 | 130808.9236 | 263077.984 | 36.4 | 83.1
99046 | 2021-04-19 16:45 | 28.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.7249 | μmol/L | 30.4075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.149 | 130854.7327 | 263090.6082 | 36.4 | 83.1
99056 | 2021-04-19 16:45 | 28.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.3937 | μmol/L | 30.4197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.166 | 130935.5701 | 263088.8538 | 36.4 | 83.1
99066 | 2021-04-19 16:46 | 28.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.4134 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.178 | 131028.2872 | 263085.8139 | 36.4 | 83.1
99076 | 2021-04-19 16:46 | 29.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.0302 | μmol/L | 30.4075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.194 | 131134.945 | 263088.7046 | 36.4 | 83.1
99086 | 2021-04-19 16:46 | 29.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.9906 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.201 | 131176.9326 | 263078.874 | 36.4 | 83.1
99096 | 2021-04-19 16:47 | 29.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.5876 | μmol/L | 30.4013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.225 | 131332.3173 | 263078.7742 | 36.4 | 83.1
99106 | 2021-04-19 16:47 | 30.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.9442 | μmol/L | 30.4013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.267 | 131605.9371 | 263080.5501 | 36.4 | 83.1
99116 | 2021-04-19 16:47 | 30.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.7271 | μmol/L | 30.4075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.279 | 131693.7838 | 263085.1044 | 36.4 | 83.1
99126 | 2021-04-19 16:48 | 30.9966 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.7066 | μmol/L | 30.389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.287 | 131741.9002 | 263077.2025 | 36.4 | 83.1
99136 | 2021-04-19 16:48 | 31.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.4812 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.304 | 131846.4308 | 263089.8221 | 36.4 | 83.1
99146 | 2021-04-19 16:48 | 31.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.3442 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.313 | 131919.0569 | 263095.5984 | 36.4 | 83.1
99156 | 2021-04-19 16:49 | 31.9963 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.9542 | μmol/L | 30.4013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.332 | 132039.9956 | 263086.3593 | 36.4 | 83.1
99166 | 2021-04-19 16:49 | 32.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.7671 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.351 | 132166.1839 | 263088.0159 | 36.4 | 83.1
99176 | 2021-04-19 16:49 | 32.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.5333 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.362 | 132234.2299 | 263094.4379 | 36.4 | 83.1
99186 | 2021-04-19 16:50 | 32.9964 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.4996 | μmol/L | 30.346 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.382 | 132347.2662 | 263079.6906 | 36.4 | 83.1
99196 | 2021-04-19 16:50 | 33.3298 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.2746 | μmol/L | 30.3706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.388 | 132387.1253 | 263093.467 | 36.4 | 83.1
99206 | 2021-04-19 16:50 | 33.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.1387 | μmol/L | 30.3706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.397 | 132458.9392 | 263096.315 | 36.4 | 83.1
99216 | 2021-04-19 16:51 | 33.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.8306 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 132551.0768 | 263094.5174 | 36.4 | 83.1
99226 | 2021-04-19 16:51 | 34.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.6583 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.42 | 132593.5419 | 263094.5146 | 36.4 | 83.1
99236 | 2021-04-19 16:51 | 34.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.7722 | μmol/L | 30.3521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.428 | 132632.8539 | 263089.6472 | 36.4 | 83.1
99246 | 2021-04-19 16:52 | 34.9965 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.5966 | μmol/L | 30.3706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.433 | 132690.2107 | 263094.1391 | 36.4 | 83.1
99256 | 2021-04-19 16:52 | 35.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.3481 | μmol/L | 30.3583 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.454 | 132786.8706 | 263093.7366 | 36.4 | 83.1