## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 12:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
93223 | 2021-04-19 12:11 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.3002 | μmol/L | 29.383 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.234 | 122466.3088 | 268890.2431 | 33.25 | 75.7
93233 | 2021-04-19 12:12 | 0.33949 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.5831 | μmol/L | 29.3892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.217 | 122352.2924 | 268896.8904 | 33.25 | 75.7
93243 | 2021-04-19 12:12 | 0.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.6962 | μmol/L | 29.3953 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.209 | 122280.7217 | 268885.8281 | 33.25 | 75.7
93253 | 2021-04-19 12:12 | 1.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.808 | μmol/L | 29.4261 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.246 | 122519.2359 | 268877.2701 | 33.25 | 75.7
93263 | 2021-04-19 12:13 | 1.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.3917 | μmol/L | 29.4753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.252 | 122560.7151 | 268873.3487 | 33.25 | 75.7
93273 | 2021-04-19 12:13 | 1.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.4708 | μmol/L | 29.4076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.27 | 122688.1922 | 268855.7477 | 33.25 | 75.7
93283 | 2021-04-19 12:13 | 2.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.5498 | μmol/L | 29.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.288 | 122785.1334 | 268852.6544 | 33.25 | 75.7
93293 | 2021-04-19 12:14 | 2.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.7949 | μmol/L | 29.4322 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.298 | 122875.4947 | 268835.0707 | 33.25 | 75.7
93303 | 2021-04-19 12:14 | 2.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.6072 | μmol/L | 29.4445 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.304 | 122932.0069 | 268827.4679 | 33.25 | 75.7
93313 | 2021-04-19 12:14 | 3.0061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.1188 | μmol/L | 29.4938 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.314 | 122958.9386 | 268831.7905 | 33.25 | 75.7
93323 | 2021-04-19 12:15 | 3.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8564 | μmol/L | 29.5184 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.32 | 123008.4598 | 268834.1832 | 33.25 | 75.7
93333 | 2021-04-19 12:15 | 3.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5753 | μmol/L | 29.5491 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.325 | 123044.6167 | 268838.8628 | 33.25 | 75.7
93343 | 2021-04-19 12:15 | 4.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.988 | μmol/L | 29.4999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.319 | 123017.7233 | 268825.4319 | 33.25 | 75.7
93353 | 2021-04-19 12:16 | 4.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.775 | μmol/L | 29.4507 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.293 | 122840.2189 | 268826.6852 | 33.25 | 75.7
93363 | 2021-04-19 12:16 | 4.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4727 | μmol/L | 29.4999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.293 | 122825.1405 | 268801.5801 | 33.25 | 75.7
93373 | 2021-04-19 12:16 | 5.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0053 | μmol/L | 29.5184 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.312 | 122922.5369 | 268797.0161 | 33.25 | 75.7
93383 | 2021-04-19 12:17 | 5.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9476 | μmol/L | 29.543 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.307 | 122891.7353 | 268792.2802 | 33.25 | 75.7
93393 | 2021-04-19 12:17 | 5.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.908 | μmol/L | 29.5737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.299 | 122839.3928 | 268787.7204 | 33.25 | 75.7
93403 | 2021-04-19 12:17 | 6.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0561 | μmol/L | 29.586 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.287 | 122763.328 | 268803.2992 | 33.25 | 75.7
93413 | 2021-04-19 12:18 | 6.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4918 | μmol/L | 29.4938 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.294 | 122800.4416 | 268799.0711 | 33.25 | 75.7
93423 | 2021-04-19 12:18 | 6.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.925 | μmol/L | 29.4445 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.287 | 122763.5363 | 268785.0987 | 33.25 | 75.7
93433 | 2021-04-19 12:18 | 7.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0044 | μmol/L | 29.5307 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.308 | 122935.3717 | 268768.7337 | 33.25 | 75.7
93443 | 2021-04-19 12:19 | 7.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4062 | μmol/L | 29.5737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.326 | 123053.8568 | 268776.4746 | 33.25 | 75.7
93453 | 2021-04-19 12:19 | 7.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.7348 | μmol/L | 29.6291 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.344 | 123149.3968 | 268772.4793 | 33.25 | 75.7
93463 | 2021-04-19 12:19 | 8.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.0859 | μmol/L | 29.6353 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.323 | 123036.1385 | 268765.7871 | 33.25 | 75.7
93473 | 2021-04-19 12:20 | 8.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.569 | μmol/L | 29.623 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.355 | 123231.1536 | 268763.7673 | 33.25 | 75.7
93483 | 2021-04-19 12:20 | 8.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.625 | μmol/L | 29.6168 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.354 | 123239.893 | 268753.1396 | 33.25 | 75.7
93493 | 2021-04-19 12:20 | 9.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7752 | μmol/L | 29.6414 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.392 | 123463.8906 | 268753.0459 | 33.25 | 75.7
93503 | 2021-04-19 12:21 | 9.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.3873 | μmol/L | 29.666 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.405 | 123563.1239 | 268760.8934 | 33.25 | 75.7
93513 | 2021-04-19 12:21 | 9.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.5359 | μmol/L | 29.6476 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.403 | 123580.2541 | 268748.6925 | 33.25 | 75.7
93523 | 2021-04-19 12:21 | 10.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.4619 | μmol/L | 29.6537 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.405 | 123589.8369 | 268742.1037 | 33.25 | 75.7
93533 | 2021-04-19 12:22 | 10.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.3513 | μmol/L | 29.6599 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.409 | 123595.0842 | 268735.0717 | 33.25 | 75.7
93543 | 2021-04-19 12:22 | 10.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.8591 | μmol/L | 29.6414 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.442 | 123788.5311 | 268729.4652 | 33.25 | 75.7
93553 | 2021-04-19 12:22 | 11.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.4139 | μmol/L | 29.7091 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.444 | 123831.746 | 268740.3181 | 33.25 | 75.7
93563 | 2021-04-19 12:23 | 11.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.1211 | μmol/L | 29.7214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.456 | 123886.1978 | 268714.7277 | 33.25 | 75.7
93573 | 2021-04-19 12:23 | 11.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.3437 | μmol/L | 29.6845 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.456 | 123880.9958 | 268715.2363 | 33.25 | 75.7
93583 | 2021-04-19 12:23 | 12.0067 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.5969 | μmol/L | 29.7029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.436 | 123780.3665 | 268717.9384 | 33.25 | 75.7
93593 | 2021-04-19 12:24 | 12.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.8728 | μmol/L | 29.6845 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.427 | 123708.1953 | 268710.014 | 33.25 | 75.7
93603 | 2021-04-19 12:24 | 12.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.4337 | μmol/L | 29.5676 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.435 | 123777.0088 | 268698.175 | 33.25 | 75.7
93613 | 2021-04-19 12:24 | 13.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.3801 | μmol/L | 29.6845 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.454 | 123898.1883 | 268700.7571 | 33.25 | 75.7
93623 | 2021-04-19 12:25 | 13.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.0385 | μmol/L | 29.6476 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.485 | 124083.4045 | 268695.2533 | 33.25 | 75.7
93633 | 2021-04-19 12:25 | 13.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.7305 | μmol/L | 29.6414 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.504 | 124235.6522 | 268679.8898 | 33.25 | 75.7
93643 | 2021-04-19 12:25 | 14.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.0001 | μmol/L | 29.6968 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.526 | 124368.837 | 268690.2317 | 33.25 | 75.7
93653 | 2021-04-19 12:26 | 14.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.4029 | μmol/L | 29.7152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.553 | 124520.2886 | 268676.048 | 33.25 | 75.7
93663 | 2021-04-19 12:26 | 14.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.3309 | μmol/L | 29.7152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.557 | 124583.008 | 268664.0906 | 33.25 | 75.7
93673 | 2021-04-19 12:26 | 15.0065 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.8127 | μmol/L | 29.6968 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.592 | 124769.5937 | 268667.4642 | 33.25 | 75.7
93683 | 2021-04-19 12:27 | 15.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.9896 | μmol/L | 29.7152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.576 | 124705.6423 | 268652.985 | 33.25 | 75.7
93693 | 2021-04-19 12:27 | 15.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.0231 | μmol/L | 29.7337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.568 | 124643.8784 | 268645.338 | 33.25 | 75.7
93703 | 2021-04-19 12:27 | 16.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.0239 | μmol/L | 29.7275 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.57 | 124645.6857 | 268641.2412 | 33.25 | 75.7
93713 | 2021-04-19 12:28 | 16.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.2215 | μmol/L | 29.7275 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.559 | 124563.7419 | 268636.9243 | 33.25 | 75.7
93723 | 2021-04-19 12:28 | 16.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6941 | μmol/L | 29.6906 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.545 | 124476.4582 | 268640.6584 | 33.25 | 75.7
93733 | 2021-04-19 12:28 | 17.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.3841 | μmol/L | 29.7214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.552 | 124508.8177 | 268636.4962 | 33.25 | 75.7
93743 | 2021-04-19 12:29 | 17.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.9513 | μmol/L | 29.7337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.572 | 124656.6832 | 268625.7937 | 33.25 | 75.7
93753 | 2021-04-19 12:29 | 17.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.041 | μmol/L | 29.7337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.567 | 124655.6951 | 268618.6379 | 33.25 | 75.7
93763 | 2021-04-19 12:29 | 18.0067 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6005 | μmol/L | 29.5737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.589 | 124774.5178 | 268611.0042 | 33.25 | 75.7
93773 | 2021-04-19 12:30 | 18.3398 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.5375 | μmol/L | 29.746 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.591 | 124825.3826 | 268603.7217 | 33.25 | 75.7
93783 | 2021-04-19 12:30 | 18.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3391 | μmol/L | 29.7583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.598 | 124814.3056 | 268596.9163 | 33.25 | 75.7
93793 | 2021-04-19 12:30 | 19.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2531 | μmol/L | 29.7337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.611 | 124896.4943 | 268589.5653 | 33.25 | 75.7
93803 | 2021-04-19 12:31 | 19.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2148 | μmol/L | 29.7522 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.607 | 124889.1819 | 268599.7637 | 33.25 | 75.7
93813 | 2021-04-19 12:31 | 19.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3731 | μmol/L | 29.7706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.592 | 124785.192 | 268586.9575 | 33.25 | 75.7
93823 | 2021-04-19 12:31 | 20.0061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4078 | μmol/L | 29.7891 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.64 | 125076.3777 | 268575.8869 | 33.25 | 75.7
93833 | 2021-04-19 12:32 | 20.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4141 | μmol/L | 29.746 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.654 | 125192.0952 | 268580.5246 | 33.25 | 75.7
93843 | 2021-04-19 12:32 | 20.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8252 | μmol/L | 29.7706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.679 | 125370.6016 | 268586.3024 | 33.25 | 75.7
93853 | 2021-04-19 12:32 | 21.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.4501 | μmol/L | 29.7952 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.692 | 125484.1055 | 268581.2396 | 33.25 | 75.7
93863 | 2021-04-19 12:33 | 21.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.0982 | μmol/L | 29.7891 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.714 | 125628.7096 | 268578.8518 | 33.25 | 75.7
93873 | 2021-04-19 12:33 | 21.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.1335 | μmol/L | 29.7891 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.712 | 125618.6684 | 268571.3146 | 33.25 | 75.7
93883 | 2021-04-19 12:33 | 22.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.9426 | μmol/L | 29.7706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.729 | 125726.1531 | 268564.4825 | 33.25 | 75.7
93893 | 2021-04-19 12:34 | 22.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.8302 | μmol/L | 29.8137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.721 | 125700.5595 | 268572.6371 | 33.25 | 75.7
93903 | 2021-04-19 12:34 | 22.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.8449 | μmol/L | 29.8321 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.714 | 125651.7456 | 268554.2367 | 33.25 | 75.7
93913 | 2021-04-19 12:34 | 23.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.547 | μmol/L | 29.826 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.733 | 125753.377 | 268558.3977 | 33.25 | 75.7
93923 | 2021-04-19 12:35 | 23.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2467 | μmol/L | 29.8383 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.746 | 125836.1665 | 268547.5991 | 33.25 | 75.7
93933 | 2021-04-19 12:35 | 23.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.3138 | μmol/L | 29.8568 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.736 | 125791.1471 | 268538.0585 | 33.25 | 75.7
93943 | 2021-04-19 12:35 | 24.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.9593 | μmol/L | 29.8814 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.748 | 125883.7715 | 268543.4234 | 33.25 | 75.7
93953 | 2021-04-19 12:36 | 24.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.59 | μmol/L | 29.8937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.765 | 125976.7827 | 268528.7303 | 33.25 | 75.7
93963 | 2021-04-19 12:36 | 24.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8049 | μmol/L | 29.8629 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.763 | 125969.323 | 268526.2567 | 33.25 | 75.7
93973 | 2021-04-19 12:36 | 25.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.087 | μmol/L | 29.8506 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.751 | 125907.4995 | 268510.6869 | 33.25 | 75.7
93983 | 2021-04-19 12:37 | 25.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6159 | μmol/L | 29.8445 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.78 | 126089.6511 | 268501.7955 | 33.25 | 75.7
93993 | 2021-04-19 12:37 | 25.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3901 | μmol/L | 29.8383 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.795 | 126173.0878 | 268493.519 | 33.25 | 75.7
94003 | 2021-04-19 12:37 | 26.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.0703 | μmol/L | 29.8752 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.801 | 126209.5964 | 268495.1741 | 33.25 | 75.7
94013 | 2021-04-19 12:38 | 26.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.9419 | μmol/L | 29.8137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.829 | 126392.9297 | 268487.8632 | 33.25 | 75.7
94023 | 2021-04-19 12:38 | 26.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5665 | μmol/L | 29.8752 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.83 | 126415.4586 | 268477.444 | 33.25 | 75.7
94033 | 2021-04-19 12:38 | 27.0067 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.8699 | μmol/L | 29.8998 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.862 | 126570.9736 | 268477.864 | 33.25 | 75.7
94043 | 2021-04-19 12:39 | 27.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.2212 | μmol/L | 29.8691 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.852 | 126541.8687 | 268458.2102 | 33.25 | 75.7
94053 | 2021-04-19 12:39 | 27.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.0911 | μmol/L | 29.9183 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.843 | 126504.4385 | 268445.3665 | 33.25 | 75.7
94063 | 2021-04-19 12:39 | 28.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.0404 | μmol/L | 29.9121 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.848 | 126479.7093 | 268427.7971 | 33.25 | 75.7
94073 | 2021-04-19 12:40 | 28.3476 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5417 | μmol/L | 29.8198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.85 | 126529.2824 | 268444.3509 | 33.25 | 75.7
94083 | 2021-04-19 12:40 | 28.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.0103 | μmol/L | 29.8875 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.858 | 126552.7015 | 268434.5067 | 33.25 | 75.7
94093 | 2021-04-19 12:40 | 29.0065 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.3367 | μmol/L | 29.8937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.895 | 126748.2586 | 268425.4934 | 33.25 | 75.7