## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 12:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
93224 | 2021-04-19 12:11 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7259 | μmol/L | 29.3121 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.827 | 122790.518 | 292227.0689 | 59.9307 | 38.1
93234 | 2021-04-19 12:12 | 0.33018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.926 | μmol/L | 29.2631 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.832 | 122812.0423 | 292227.6536 | 59.9307 | 38.1
93244 | 2021-04-19 12:12 | 0.66336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3067 | μmol/L | 29.2631 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.867 | 123041.6937 | 292222.7684 | 59.9307 | 38.1
93254 | 2021-04-19 12:12 | 0.99736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.5104 | μmol/L | 29.2937 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.902 | 123278.5241 | 292209.6188 | 59.9307 | 38.1
93264 | 2021-04-19 12:13 | 1.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0673 | μmol/L | 29.3304 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.915 | 123371.8433 | 292203.2733 | 59.9307 | 38.1
93274 | 2021-04-19 12:13 | 1.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1732 | μmol/L | 29.3243 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.911 | 123352.1473 | 292189.5558 | 59.9307 | 38.1
93284 | 2021-04-19 12:13 | 1.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1908 | μmol/L | 29.3243 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.91 | 123360.8743 | 292189.6696 | 59.9307 | 38.1
93294 | 2021-04-19 12:14 | 2.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.247 | μmol/L | 29.2937 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.917 | 123399.2702 | 292178.9003 | 59.9307 | 38.1
93304 | 2021-04-19 12:14 | 2.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8008 | μmol/L | 29.3611 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.92 | 123409.5405 | 292166.1321 | 59.9307 | 38.1
93314 | 2021-04-19 12:14 | 2.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5354 | μmol/L | 29.3856 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.927 | 123450.1551 | 292163.2878 | 59.9307 | 38.1
93324 | 2021-04-19 12:15 | 3.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.1442 | μmol/L | 29.4407 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.931 | 123485.5378 | 292169.54 | 59.9307 | 38.1
93334 | 2021-04-19 12:15 | 3.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2734 | μmol/L | 29.3856 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.942 | 123554.6884 | 292163.5046 | 59.9307 | 38.1
93344 | 2021-04-19 12:15 | 3.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5612 | μmol/L | 29.3182 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.948 | 123611.6931 | 292154.5439 | 59.9307 | 38.1
93354 | 2021-04-19 12:16 | 4.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.5919 | μmol/L | 29.404 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.975 | 123764.4658 | 292152.28 | 59.9307 | 38.1
93364 | 2021-04-19 12:16 | 4.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.4522 | μmol/L | 29.4101 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.981 | 123840.5001 | 292150.4929 | 59.9307 | 38.1
93374 | 2021-04-19 12:16 | 4.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.5423 | μmol/L | 29.3856 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.984 | 123868.7742 | 292151.7723 | 59.9307 | 38.1
93384 | 2021-04-19 12:17 | 5.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0336 | μmol/L | 29.4285 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.999 | 123932.8252 | 292140.6014 | 59.9307 | 38.1
93394 | 2021-04-19 12:17 | 5.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9643 | μmol/L | 29.4285 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.003 | 123964.4671 | 292141.2615 | 59.9307 | 38.1
93404 | 2021-04-19 12:17 | 5.9971 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.8778 | μmol/L | 29.4285 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.008 | 124001.5893 | 292138.9693 | 59.9307 | 38.1
93414 | 2021-04-19 12:18 | 6.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6142 | μmol/L | 29.4591 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.013 | 124039.6365 | 292131.9758 | 59.9307 | 38.1
93424 | 2021-04-19 12:18 | 6.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5244 | μmol/L | 29.4836 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.01 | 124022.9933 | 292122.2191 | 59.9307 | 38.1
93434 | 2021-04-19 12:18 | 6.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5598 | μmol/L | 29.4775 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.01 | 124014.3998 | 292111.8382 | 59.9307 | 38.1
93444 | 2021-04-19 12:19 | 7.3308 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9314 | μmol/L | 29.4162 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.009 | 124013.173 | 292117.2096 | 59.9307 | 38.1
93454 | 2021-04-19 12:19 | 7.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7369 | μmol/L | 29.4468 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.01 | 124010.6982 | 292093.8572 | 59.9307 | 38.1
93464 | 2021-04-19 12:19 | 7.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7636 | μmol/L | 29.4468 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.008 | 123994.2009 | 292096.1516 | 59.9307 | 38.1
93474 | 2021-04-19 12:20 | 8.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.508 | μmol/L | 29.4775 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.013 | 124034.5353 | 292086.1638 | 59.9307 | 38.1
93484 | 2021-04-19 12:20 | 8.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0481 | μmol/L | 29.5571 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.013 | 124049.7039 | 292084.7743 | 59.9307 | 38.1
93494 | 2021-04-19 12:20 | 8.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7255 | μmol/L | 29.4713 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.002 | 123997.2985 | 292099.5522 | 59.9307 | 38.1
93504 | 2021-04-19 12:21 | 9.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0173 | μmol/L | 29.5326 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.023 | 124110.3432 | 292100.2212 | 59.9307 | 38.1
93514 | 2021-04-19 12:21 | 9.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5712 | μmol/L | 29.5877 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.03 | 124127.6054 | 292080.585 | 59.9307 | 38.1
93524 | 2021-04-19 12:21 | 9.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.1786 | μmol/L | 29.4897 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.028 | 124141.7654 | 292078.537 | 59.9307 | 38.1
93534 | 2021-04-19 12:22 | 10.3308 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8606 | μmol/L | 29.5449 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.028 | 124151.6917 | 292075.0755 | 59.9307 | 38.1
93544 | 2021-04-19 12:22 | 10.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3208 | μmol/L | 29.5939 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.043 | 124213.433 | 292089.5631 | 59.9307 | 38.1
93554 | 2021-04-19 12:22 | 10.9971 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4682 | μmol/L | 29.5877 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.036 | 124183.9626 | 292076.0565 | 59.9307 | 38.1
93564 | 2021-04-19 12:23 | 11.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6265 | μmol/L | 29.5632 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.035 | 124191.5613 | 292062.3454 | 59.9307 | 38.1
93574 | 2021-04-19 12:23 | 11.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4943 | μmol/L | 29.5816 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.037 | 124204.8164 | 292048.6701 | 59.9307 | 38.1
93584 | 2021-04-19 12:23 | 11.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7026 | μmol/L | 29.5142 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.047 | 124256.9043 | 292061.3846 | 59.9307 | 38.1
93594 | 2021-04-19 12:24 | 12.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8335 | μmol/L | 29.4958 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.046 | 124258.0653 | 292044.891 | 59.9307 | 38.1
93604 | 2021-04-19 12:24 | 12.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5179 | μmol/L | 29.5387 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.05 | 124268.1653 | 292048.2134 | 59.9307 | 38.1
93614 | 2021-04-19 12:24 | 12.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9998 | μmol/L | 29.6245 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.051 | 124284.5299 | 292045.1659 | 59.9307 | 38.1
93624 | 2021-04-19 12:25 | 13.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9202 | μmol/L | 29.6367 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.052 | 124274.1963 | 292035.2853 | 59.9307 | 38.1
93634 | 2021-04-19 12:25 | 13.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3519 | μmol/L | 29.5632 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.051 | 124290.2314 | 292026.3371 | 59.9307 | 38.1
93644 | 2021-04-19 12:25 | 13.9971 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.0188 | μmol/L | 29.6122 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.054 | 124312.663 | 292024.3347 | 59.9307 | 38.1
93654 | 2021-04-19 12:26 | 14.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2157 | μmol/L | 29.5571 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.061 | 124330.141 | 292015.1925 | 59.9307 | 38.1
93664 | 2021-04-19 12:26 | 14.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3014 | μmol/L | 29.5571 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.056 | 124318.7533 | 292020.3526 | 59.9307 | 38.1
93674 | 2021-04-19 12:26 | 14.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.073 | μmol/L | 29.5939 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.057 | 124343.4531 | 292009.855 | 59.9307 | 38.1
93684 | 2021-04-19 12:27 | 15.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2462 | μmol/L | 29.5816 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.051 | 124316.9606 | 292010.4523 | 59.9307 | 38.1
93694 | 2021-04-19 12:27 | 15.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6769 | μmol/L | 29.6122 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.074 | 124449.3001 | 292002.6166 | 59.9307 | 38.1
93704 | 2021-04-19 12:27 | 15.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3858 | μmol/L | 29.6184 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.089 | 124529.8582 | 291990.5695 | 59.9307 | 38.1
93714 | 2021-04-19 12:28 | 16.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9115 | μmol/L | 29.5326 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.087 | 124514.3418 | 291993.1138 | 59.9307 | 38.1
93724 | 2021-04-19 12:28 | 16.6641 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1824 | μmol/L | 29.6122 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.103 | 124623.5882 | 291985.6616 | 59.9307 | 38.1
93734 | 2021-04-19 12:28 | 16.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1874 | μmol/L | 29.5816 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.113 | 124682.6382 | 291983.038 | 59.9307 | 38.1
93744 | 2021-04-19 12:29 | 17.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2054 | μmol/L | 29.5755 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.114 | 124678.5551 | 291981.6714 | 59.9307 | 38.1
93754 | 2021-04-19 12:29 | 17.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1563 | μmol/L | 29.5632 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.121 | 124723.0468 | 291972.1978 | 59.9307 | 38.1
93764 | 2021-04-19 12:29 | 17.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9663 | μmol/L | 29.5816 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.126 | 124764.731 | 291960.9813 | 59.9307 | 38.1
93774 | 2021-04-19 12:30 | 18.3306 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9203 | μmol/L | 29.551 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.139 | 124845.9261 | 291975.374 | 59.9307 | 38.1
93784 | 2021-04-19 12:30 | 18.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8514 | μmol/L | 29.5571 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.141 | 124852.7008 | 291972.9177 | 59.9307 | 38.1
93794 | 2021-04-19 12:30 | 18.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6807 | μmol/L | 29.5632 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.149 | 124908.2606 | 291969.3693 | 59.9307 | 38.1
93804 | 2021-04-19 12:31 | 19.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9691 | μmol/L | 29.6674 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.156 | 124921.8746 | 291952.1274 | 59.9307 | 38.1
93814 | 2021-04-19 12:31 | 19.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.56 | μmol/L | 29.5755 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.152 | 124901.0547 | 291946.7295 | 59.9307 | 38.1
93824 | 2021-04-19 12:31 | 19.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3039 | μmol/L | 29.5877 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.163 | 124981.7424 | 291956.4315 | 59.9307 | 38.1
93834 | 2021-04-19 12:32 | 20.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7844 | μmol/L | 29.6613 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.169 | 125018.7903 | 291958.1994 | 59.9307 | 38.1
93844 | 2021-04-19 12:32 | 20.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2521 | μmol/L | 29.5939 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.164 | 124990.0378 | 291961.4041 | 59.9307 | 38.1
93854 | 2021-04-19 12:32 | 20.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7855 | μmol/L | 29.6551 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.171 | 125056.7253 | 291956.5913 | 59.9307 | 38.1
93864 | 2021-04-19 12:33 | 21.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9617 | μmol/L | 29.6122 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.175 | 125057.1307 | 291968.5664 | 59.9307 | 38.1
93874 | 2021-04-19 12:33 | 21.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.776 | μmol/L | 29.6122 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.186 | 125126.8558 | 291960.3043 | 59.9307 | 38.1
93884 | 2021-04-19 12:33 | 21.9974 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.6201 | μmol/L | 29.6367 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.187 | 125147.1808 | 291947.7722 | 59.9307 | 38.1
93894 | 2021-04-19 12:34 | 22.3306 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.4652 | μmol/L | 29.6551 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.19 | 125172.8238 | 291941.3451 | 59.9307 | 38.1
93904 | 2021-04-19 12:34 | 22.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1278 | μmol/L | 29.6613 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.208 | 125273.6115 | 291945.8344 | 59.9307 | 38.1
93914 | 2021-04-19 12:34 | 22.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.942 | μmol/L | 29.6674 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.217 | 125330.0263 | 291934.6039 | 59.9307 | 38.1
93924 | 2021-04-19 12:35 | 23.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7397 | μmol/L | 29.6735 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.227 | 125399.0908 | 291927.7155 | 59.9307 | 38.1
93934 | 2021-04-19 12:35 | 23.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.6068 | μmol/L | 29.6674 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.237 | 125460.4624 | 291923.4407 | 59.9307 | 38.1
93944 | 2021-04-19 12:35 | 23.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5409 | μmol/L | 29.6613 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.243 | 125506.3134 | 291928.613 | 59.9307 | 38.1
93954 | 2021-04-19 12:36 | 24.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.1296 | μmol/L | 29.7164 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.249 | 125562.0244 | 291928.8341 | 59.9307 | 38.1
93964 | 2021-04-19 12:36 | 24.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.9449 | μmol/L | 29.7225 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.258 | 125628.0614 | 291917.6496 | 59.9307 | 38.1
93974 | 2021-04-19 12:36 | 24.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.7104 | μmol/L | 29.7286 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.27 | 125679.584 | 291911.2233 | 59.9307 | 38.1
93984 | 2021-04-19 12:37 | 25.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5618 | μmol/L | 29.7225 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.281 | 125728.4802 | 291900.0131 | 59.9307 | 38.1
93994 | 2021-04-19 12:37 | 25.6638 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5417 | μmol/L | 29.7409 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.276 | 125723.049 | 291904.2481 | 59.9307 | 38.1
94004 | 2021-04-19 12:37 | 25.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.3932 | μmol/L | 29.7348 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.287 | 125802.8706 | 291903.7198 | 59.9307 | 38.1
94014 | 2021-04-19 12:38 | 26.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.0884 | μmol/L | 29.7654 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.295 | 125861.6986 | 291875.9165 | 59.9307 | 38.1
94024 | 2021-04-19 12:38 | 26.6641 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.0387 | μmol/L | 29.7654 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.298 | 125901.4089 | 291876.0601 | 59.9307 | 38.1
94034 | 2021-04-19 12:38 | 26.9974 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.8931 | μmol/L | 29.747 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.313 | 125945.1135 | 291876.87 | 59.9307 | 38.1
94044 | 2021-04-19 12:39 | 27.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.8091 | μmol/L | 29.7532 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.316 | 125966.4566 | 291876.8051 | 59.9307 | 38.1
94054 | 2021-04-19 12:39 | 27.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.7618 | μmol/L | 29.7409 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.323 | 126015.1317 | 291844.2093 | 59.9307 | 38.1
94064 | 2021-04-19 12:39 | 27.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.4429 | μmol/L | 29.7654 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.334 | 126078.5419 | 291859.0243 | 59.9307 | 38.1
94074 | 2021-04-19 12:40 | 28.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3108 | μmol/L | 29.7654 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.342 | 126131.316 | 291855.9288 | 59.9307 | 38.1
94084 | 2021-04-19 12:40 | 28.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.9877 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.345 | 126174.1063 | 291879.8093 | 59.9307 | 38.1
94094 | 2021-04-19 12:40 | 28.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.9572 | μmol/L | 29.8022 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.351 | 126200.5065 | 291848.6032 | 59.9307 | 38.1