## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 12:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
93225 | 2021-04-19 12:11 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.9725 | μmol/L | 29.3199 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.758 | 90394.6778 | 211369.9511 | 27.3 | 43.4
93235 | 2021-04-19 12:12 | 0.33879 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3099 | μmol/L | 29.326 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.788 | 90524.5569 | 211377.2719 | 27.3 | 43.4
93245 | 2021-04-19 12:12 | 0.67212 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.9404 | μmol/L | 29.3138 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.81 | 90623.7049 | 211354.3259 | 27.3 | 43.4
93255 | 2021-04-19 12:12 | 1.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.6711 | μmol/L | 29.326 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.819 | 90672.3819 | 211370.2855 | 27.3 | 43.4
93265 | 2021-04-19 12:13 | 1.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.4655 | μmol/L | 29.326 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.829 | 90690.5033 | 211370.0936 | 27.3 | 43.4
93275 | 2021-04-19 12:13 | 1.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.4262 | μmol/L | 29.3138 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.835 | 90720.8868 | 211359.4093 | 27.3 | 43.4
93285 | 2021-04-19 12:13 | 2.005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.3003 | μmol/L | 29.3322 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.835 | 90713.3988 | 211363.4275 | 27.3 | 43.4
93295 | 2021-04-19 12:14 | 2.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.1362 | μmol/L | 29.3322 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.843 | 90745.3502 | 211358.7355 | 27.3 | 43.4
93305 | 2021-04-19 12:14 | 2.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.8875 | μmol/L | 29.3506 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.849 | 90776.2408 | 211357.1291 | 27.3 | 43.4
93315 | 2021-04-19 12:14 | 3.005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.5174 | μmol/L | 29.3628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.863 | 90832.3588 | 211361.3709 | 27.3 | 43.4
93325 | 2021-04-19 12:15 | 3.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.3112 | μmol/L | 29.3751 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.869 | 90877.8385 | 211359.3676 | 27.3 | 43.4
93335 | 2021-04-19 12:15 | 3.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.2713 | μmol/L | 29.369 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.873 | 90906.5503 | 211361.6899 | 27.3 | 43.4
93345 | 2021-04-19 12:15 | 4.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.2295 | μmol/L | 29.3751 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.873 | 90907.1471 | 211355.1174 | 27.3 | 43.4
93355 | 2021-04-19 12:16 | 4.3383 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.7975 | μmol/L | 29.3996 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.886 | 90952.4116 | 211352.8022 | 27.3 | 43.4
93365 | 2021-04-19 12:16 | 4.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.9217 | μmol/L | 29.3873 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.884 | 90954.4235 | 211348.7296 | 27.3 | 43.4
93375 | 2021-04-19 12:16 | 5.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.7975 | μmol/L | 29.3996 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.886 | 90975.3836 | 211350.4359 | 27.3 | 43.4
93385 | 2021-04-19 12:17 | 5.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.6347 | μmol/L | 29.3996 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.894 | 91004.564 | 211341.6234 | 27.3 | 43.4
93395 | 2021-04-19 12:17 | 5.6716 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.4294 | μmol/L | 29.4119 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.9 | 91033.9193 | 211348.3068 | 27.3 | 43.4
93405 | 2021-04-19 12:17 | 6.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.3898 | μmol/L | 29.4057 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.904 | 91050.9997 | 211351.385 | 27.3 | 43.4
93415 | 2021-04-19 12:18 | 6.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.0843 | μmol/L | 29.4119 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.917 | 91096.4955 | 211345.4704 | 27.3 | 43.4
93425 | 2021-04-19 12:18 | 6.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.7986 | μmol/L | 29.4241 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.927 | 91140.8293 | 211346.9303 | 27.3 | 43.4
93435 | 2021-04-19 12:18 | 7.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.5164 | μmol/L | 29.418 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.943 | 91208.8894 | 211325.433 | 27.3 | 43.4
93445 | 2021-04-19 12:19 | 7.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.4951 | μmol/L | 29.4241 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.942 | 91232.4436 | 211338.9967 | 27.3 | 43.4
93455 | 2021-04-19 12:19 | 7.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.1901 | μmol/L | 29.4364 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.953 | 91273.3447 | 211334.8669 | 27.3 | 43.4
93465 | 2021-04-19 12:19 | 8.005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.1699 | μmol/L | 29.4364 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.954 | 91296.1 | 211329.9476 | 27.3 | 43.4
93475 | 2021-04-19 12:20 | 8.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.0859 | μmol/L | 29.4548 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.952 | 91290.1595 | 211334.9823 | 27.3 | 43.4
93485 | 2021-04-19 12:20 | 8.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.9448 | μmol/L | 29.4548 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.959 | 91299.6723 | 211325.1363 | 27.3 | 43.4
93495 | 2021-04-19 12:20 | 9.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.9258 | μmol/L | 29.4486 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.962 | 91306.7883 | 211325.8308 | 27.3 | 43.4
93505 | 2021-04-19 12:21 | 9.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.6629 | μmol/L | 29.4548 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.973 | 91365.7197 | 211327.8196 | 27.3 | 43.4
93515 | 2021-04-19 12:21 | 9.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.5366 | μmol/L | 29.4854 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.969 | 91356.6619 | 211314.3979 | 27.3 | 43.4
93525 | 2021-04-19 12:21 | 10.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.5389 | μmol/L | 29.4731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.973 | 91396.3266 | 211318.3001 | 27.3 | 43.4
93535 | 2021-04-19 12:22 | 10.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.358 | μmol/L | 29.4731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.982 | 91427.3531 | 211320.3407 | 27.3 | 43.4
93545 | 2021-04-19 12:22 | 10.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2777 | μmol/L | 29.4731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.986 | 91444.4168 | 211303.3403 | 27.3 | 43.4
93555 | 2021-04-19 12:22 | 11.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2822 | μmol/L | 29.4486 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.994 | 91492.0458 | 211305.7286 | 27.3 | 43.4
93565 | 2021-04-19 12:23 | 11.3383 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.9991 | μmol/L | 29.4609 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.004 | 91532.4353 | 211310.3076 | 27.3 | 43.4
93575 | 2021-04-19 12:23 | 11.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.939 | μmol/L | 29.4609 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.007 | 91553.3915 | 211310.8663 | 27.3 | 43.4
93585 | 2021-04-19 12:23 | 12.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6764 | μmol/L | 29.4731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.016 | 91584.2244 | 211301.5152 | 27.3 | 43.4
93595 | 2021-04-19 12:24 | 12.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4965 | μmol/L | 29.4731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.025 | 91626.8068 | 211298.8542 | 27.3 | 43.4
93605 | 2021-04-19 12:24 | 12.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4166 | μmol/L | 29.4731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.029 | 91651.0192 | 211310.938 | 27.3 | 43.4
93615 | 2021-04-19 12:24 | 13.005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.2568 | μmol/L | 29.4731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.037 | 91699.958 | 211293.6713 | 27.3 | 43.4
93625 | 2021-04-19 12:25 | 13.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.8919 | μmol/L | 29.5038 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.045 | 91739.8163 | 211294.6996 | 27.3 | 43.4
93635 | 2021-04-19 12:25 | 13.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.8159 | μmol/L | 29.4854 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.055 | 91770.4162 | 211302.8613 | 27.3 | 43.4
93645 | 2021-04-19 12:25 | 14.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.8569 | μmol/L | 29.4793 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.055 | 91793.7348 | 211293.192 | 27.3 | 43.4
93655 | 2021-04-19 12:26 | 14.3383 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.4965 | μmol/L | 29.4915 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.069 | 91828.978 | 211279.3942 | 27.3 | 43.4
93665 | 2021-04-19 12:26 | 14.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.4567 | μmol/L | 29.4915 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.071 | 91858.0502 | 211294.0036 | 27.3 | 43.4
93675 | 2021-04-19 12:26 | 15.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.2768 | μmol/L | 29.4977 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.078 | 91877.4141 | 211281.5139 | 27.3 | 43.4
93685 | 2021-04-19 12:27 | 15.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.2979 | μmol/L | 29.4915 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.079 | 91899.902 | 211279.373 | 27.3 | 43.4
93695 | 2021-04-19 12:27 | 15.6717 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.8803 | μmol/L | 29.4977 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.098 | 91989.7179 | 211276.5981 | 27.3 | 43.4
93705 | 2021-04-19 12:27 | 16.0049 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.7393 | μmol/L | 29.5099 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.101 | 92020.1217 | 211279.976 | 27.3 | 43.4
93715 | 2021-04-19 12:28 | 16.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.5836 | μmol/L | 29.4977 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.113 | 92063.9439 | 211262.7649 | 27.3 | 43.4
93725 | 2021-04-19 12:28 | 16.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4217 | μmol/L | 29.516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.115 | 92058.6993 | 211271.2574 | 27.3 | 43.4
93735 | 2021-04-19 12:28 | 17.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3217 | μmol/L | 29.5222 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.118 | 92091.3957 | 211265.2841 | 27.3 | 43.4
93745 | 2021-04-19 12:29 | 17.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0653 | μmol/L | 29.5222 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.131 | 92131.5898 | 211256.134 | 27.3 | 43.4
93755 | 2021-04-19 12:29 | 17.6716 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.4394 | μmol/L | 29.5957 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.138 | 92171.1592 | 211259.0641 | 27.3 | 43.4
93765 | 2021-04-19 12:29 | 18.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.9484 | μmol/L | 29.516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.139 | 92172.0652 | 211252.7954 | 27.3 | 43.4
93775 | 2021-04-19 12:30 | 18.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8893 | μmol/L | 29.516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.142 | 92190.1466 | 211246.774 | 27.3 | 43.4
93785 | 2021-04-19 12:30 | 18.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.5943 | μmol/L | 29.516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.157 | 92278.0227 | 211253.5073 | 27.3 | 43.4
93795 | 2021-04-19 12:30 | 19.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.4358 | μmol/L | 29.5222 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.163 | 92306.9257 | 211252.2385 | 27.3 | 43.4
93805 | 2021-04-19 12:31 | 19.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.1963 | μmol/L | 29.5406 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.169 | 92310.0015 | 211251.0135 | 27.3 | 43.4
93815 | 2021-04-19 12:31 | 19.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.2605 | μmol/L | 29.516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.174 | 92347.5429 | 211241.2271 | 27.3 | 43.4
93825 | 2021-04-19 12:31 | 20.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.199 | μmol/L | 29.5283 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.173 | 92332.9085 | 211244.6832 | 27.3 | 43.4
93835 | 2021-04-19 12:32 | 20.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0773 | μmol/L | 29.5467 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.173 | 92374.2705 | 211249.7473 | 27.3 | 43.4
93845 | 2021-04-19 12:32 | 20.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.5867 | μmol/L | 29.5528 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.196 | 92460.4993 | 211260.5071 | 27.3 | 43.4
93855 | 2021-04-19 12:32 | 21.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.4918 | μmol/L | 29.5406 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.205 | 92494.6645 | 211244.1371 | 27.3 | 43.4
93865 | 2021-04-19 12:33 | 21.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.4709 | μmol/L | 29.5467 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.204 | 92509.3776 | 211243.6723 | 27.3 | 43.4
93875 | 2021-04-19 12:33 | 21.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7067 | μmol/L | 29.5406 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.194 | 92456.0628 | 211238.6067 | 27.3 | 43.4
93885 | 2021-04-19 12:33 | 22.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.6244 | μmol/L | 29.5589 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.192 | 92447.1717 | 211236.9748 | 27.3 | 43.4
93895 | 2021-04-19 12:34 | 22.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.5058 | μmol/L | 29.5651 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.196 | 92454.1028 | 211232.4537 | 27.3 | 43.4
93905 | 2021-04-19 12:34 | 22.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.6467 | μmol/L | 29.5467 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.195 | 92484.8697 | 211239.8275 | 27.3 | 43.4
93915 | 2021-04-19 12:34 | 23.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.4095 | μmol/L | 29.5589 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.203 | 92515.9671 | 211226.4321 | 27.3 | 43.4
93925 | 2021-04-19 12:35 | 23.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3106 | μmol/L | 29.5651 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.206 | 92527.9639 | 211214.9511 | 27.3 | 43.4
93935 | 2021-04-19 12:35 | 23.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.9109 | μmol/L | 29.608 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.212 | 92544.8734 | 211220.0362 | 27.3 | 43.4
93945 | 2021-04-19 12:35 | 24.005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7162 | μmol/L | 29.608 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.222 | 92588.9818 | 211226.6478 | 27.3 | 43.4
93955 | 2021-04-19 12:36 | 24.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.776 | μmol/L | 29.6019 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.221 | 92608.4211 | 211214.9216 | 27.3 | 43.4
93965 | 2021-04-19 12:36 | 24.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.5233 | μmol/L | 29.6019 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.234 | 92629.1548 | 211203.5639 | 27.3 | 43.4
93975 | 2021-04-19 12:36 | 25.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4398 | μmol/L | 29.6264 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.23 | 92632.1306 | 211198.056 | 27.3 | 43.4
93985 | 2021-04-19 12:37 | 25.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8657 | μmol/L | 29.6754 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.243 | 92670.6618 | 211216.7787 | 27.3 | 43.4
93995 | 2021-04-19 12:37 | 25.6717 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.0877 | μmol/L | 29.6386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.244 | 92694.5099 | 211196.084 | 27.3 | 43.4
94005 | 2021-04-19 12:37 | 26.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9729 | μmol/L | 29.6325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.252 | 92740.4136 | 211191.0353 | 27.3 | 43.4
94015 | 2021-04-19 12:38 | 26.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.7183 | μmol/L | 29.6448 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.261 | 92762.2999 | 211198.2059 | 27.3 | 43.4
94025 | 2021-04-19 12:38 | 26.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8359 | μmol/L | 29.6386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.257 | 92776.9008 | 211185.1424 | 27.3 | 43.4
94035 | 2021-04-19 12:38 | 27.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8225 | μmol/L | 29.6141 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.266 | 92793.9179 | 211183.253 | 27.3 | 43.4
94045 | 2021-04-19 12:39 | 27.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6261 | μmol/L | 29.6264 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.272 | 92828.5089 | 211198.9783 | 27.3 | 43.4
94055 | 2021-04-19 12:39 | 27.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.43 | μmol/L | 29.6386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.278 | 92849.4755 | 211174.4189 | 27.3 | 43.4
94065 | 2021-04-19 12:39 | 28.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0783 | μmol/L | 29.657 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.29 | 92870.3945 | 211174.7476 | 27.3 | 43.4
94075 | 2021-04-19 12:40 | 28.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9982 | μmol/L | 29.6693 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.29 | 92898.41 | 211168.9977 | 27.3 | 43.4
94085 | 2021-04-19 12:40 | 28.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8665 | μmol/L | 29.657 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.301 | 92939.1195 | 211158.1128 | 27.3 | 43.4
94095 | 2021-04-19 12:40 | 29.005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6311 | μmol/L | 29.6754 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.307 | 92969.7754 | 211160.1795 | 27.3 | 43.4