## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 12:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
93226 | 2021-04-19 12:11 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.4489 | μmol/L | 29.3254 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.597 | 90438.8056 | 288671.2353 | 28.7 | 67.6
93236 | 2021-04-19 12:12 | 0.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.7057 | μmol/L | 29.301 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.591 | 90440.6355 | 288676.773 | 28.7 | 67.6
93246 | 2021-04-19 12:12 | 0.66378 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.5611 | μmol/L | 29.2766 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.607 | 90469.9934 | 288679.3472 | 28.7 | 67.6
93256 | 2021-04-19 12:12 | 0.99711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.8173 | μmol/L | 29.2643 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.597 | 90451.7859 | 288686.7798 | 28.7 | 67.6
93266 | 2021-04-19 12:13 | 1.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.2668 | μmol/L | 29.3254 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.607 | 90472.6115 | 288671.3772 | 28.7 | 67.6
93276 | 2021-04-19 12:13 | 1.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.1382 | μmol/L | 29.3437 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.608 | 90460.9105 | 288668.6286 | 28.7 | 67.6
93286 | 2021-04-19 12:13 | 1.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.0655 | μmol/L | 29.3437 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.612 | 90483.7989 | 288666.8106 | 28.7 | 67.6
93296 | 2021-04-19 12:14 | 2.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.9912 | μmol/L | 29.3681 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.608 | 90467.3842 | 288666.4659 | 28.7 | 67.6
93306 | 2021-04-19 12:14 | 2.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.8273 | μmol/L | 29.3742 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.615 | 90496.9101 | 288660.6982 | 28.7 | 67.6
93316 | 2021-04-19 12:14 | 2.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.0094 | μmol/L | 29.3681 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.607 | 90498.3094 | 288666.6809 | 28.7 | 67.6
93326 | 2021-04-19 12:15 | 3.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.0272 | μmol/L | 29.3742 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.604 | 90460.8727 | 288654.3745 | 28.7 | 67.6
93336 | 2021-04-19 12:15 | 3.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.9719 | μmol/L | 29.3864 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.603 | 90471.7801 | 288659.9358 | 28.7 | 67.6
93346 | 2021-04-19 12:15 | 3.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.9355 | μmol/L | 29.3864 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.605 | 90476.5223 | 288665.8587 | 28.7 | 67.6
93356 | 2021-04-19 12:16 | 4.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.9169 | μmol/L | 29.3925 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.604 | 90445.4384 | 288656.0296 | 28.7 | 67.6
93366 | 2021-04-19 12:16 | 4.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.7881 | μmol/L | 29.4169 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.603 | 90474.5343 | 288646.6803 | 28.7 | 67.6
93376 | 2021-04-19 12:16 | 4.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.6788 | μmol/L | 29.423 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.607 | 90493.303 | 288647.9115 | 28.7 | 67.6
93386 | 2021-04-19 12:17 | 5.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.4965 | μmol/L | 29.4352 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.613 | 90496.1512 | 288660.8763 | 28.7 | 67.6
93396 | 2021-04-19 12:17 | 5.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.5694 | μmol/L | 29.4291 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.611 | 90485.0504 | 288654.277 | 28.7 | 67.6
93406 | 2021-04-19 12:17 | 5.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.5323 | μmol/L | 29.4413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.609 | 90483.266 | 288642.4302 | 28.7 | 67.6
93416 | 2021-04-19 12:18 | 6.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.3506 | μmol/L | 29.4474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.617 | 90490.4322 | 288656.2669 | 28.7 | 67.6
93426 | 2021-04-19 12:18 | 6.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.2207 | μmol/L | 29.4901 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.61 | 90487.1871 | 288644.7373 | 28.7 | 67.6
93436 | 2021-04-19 12:18 | 6.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.0031 | μmol/L | 29.4962 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.62 | 90534.091 | 288648.0569 | 28.7 | 67.6
93446 | 2021-04-19 12:19 | 7.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.0944 | μmol/L | 29.484 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.619 | 90529.7906 | 288630.8446 | 28.7 | 67.6
93456 | 2021-04-19 12:19 | 7.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.9108 | μmol/L | 29.5206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.617 | 90510.7785 | 288627.5514 | 28.7 | 67.6
93466 | 2021-04-19 12:19 | 7.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.9859 | μmol/L | 29.484 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.625 | 90541.9067 | 288626.6639 | 28.7 | 67.6
93476 | 2021-04-19 12:20 | 8.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4735 | μmol/L | 29.5694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.625 | 90547.4379 | 288608.4982 | 28.7 | 67.6
93486 | 2021-04-19 12:20 | 8.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.5861 | μmol/L | 29.5145 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.637 | 90598.167 | 288611.4198 | 28.7 | 67.6
93496 | 2021-04-19 12:20 | 8.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4779 | μmol/L | 29.5145 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.643 | 90635.975 | 288608.0343 | 28.7 | 67.6
93506 | 2021-04-19 12:21 | 9.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2572 | μmol/L | 29.5694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.637 | 90635.4462 | 288602.6532 | 28.7 | 67.6
93516 | 2021-04-19 12:21 | 9.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4048 | μmol/L | 29.5267 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.643 | 90652.4627 | 288620.1238 | 28.7 | 67.6
93526 | 2021-04-19 12:21 | 9.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2802 | μmol/L | 29.5084 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.656 | 90708.3611 | 288599.7383 | 28.7 | 67.6
93536 | 2021-04-19 12:22 | 10.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1902 | μmol/L | 29.5084 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.661 | 90725.2104 | 288596.2947 | 28.7 | 67.6
93546 | 2021-04-19 12:22 | 10.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1162 | μmol/L | 29.5328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.657 | 90709.7128 | 288591.6275 | 28.7 | 67.6
93556 | 2021-04-19 12:22 | 10.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.5013 | μmol/L | 29.5817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.675 | 90775.482 | 288581.3348 | 28.7 | 67.6
93566 | 2021-04-19 12:23 | 11.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.7177 | μmol/L | 29.5694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.667 | 90782.3066 | 288576.2859 | 28.7 | 67.6
93576 | 2021-04-19 12:23 | 11.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.6132 | μmol/L | 29.5328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.685 | 90835.2758 | 288583.7 | 28.7 | 67.6
93586 | 2021-04-19 12:23 | 11.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.5067 | μmol/L | 29.5206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.695 | 90885.0926 | 288582.5337 | 28.7 | 67.6
93596 | 2021-04-19 12:24 | 12.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.5045 | μmol/L | 29.545 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.687 | 90867.5151 | 288577.8115 | 28.7 | 67.6
93606 | 2021-04-19 12:24 | 12.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2738 | μmol/L | 29.5206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.708 | 90954.0291 | 288569.3586 | 28.7 | 67.6
93616 | 2021-04-19 12:24 | 12.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.3997 | μmol/L | 29.5145 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.703 | 90934.8637 | 288569.9494 | 28.7 | 67.6
93626 | 2021-04-19 12:25 | 13.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.019 | μmol/L | 29.5694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.706 | 90953.4205 | 288564.4452 | 28.7 | 67.6
93636 | 2021-04-19 12:25 | 13.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0414 | μmol/L | 29.5206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.721 | 91004.0482 | 288570.1518 | 28.7 | 67.6
93646 | 2021-04-19 12:25 | 13.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.7161 | μmol/L | 29.5633 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.725 | 91028.0752 | 288565.7541 | 28.7 | 67.6
93656 | 2021-04-19 12:26 | 14.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.7172 | μmol/L | 29.5511 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.729 | 91047.0126 | 288558.8868 | 28.7 | 67.6
93666 | 2021-04-19 12:26 | 14.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.8617 | μmol/L | 29.5328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.727 | 91044.2931 | 288539.759 | 28.7 | 67.6
93676 | 2021-04-19 12:26 | 14.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.7903 | μmol/L | 29.5328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.731 | 91070.2832 | 288557.2992 | 28.7 | 67.6
93686 | 2021-04-19 12:27 | 15.3306 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.4694 | μmol/L | 29.5328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.749 | 91115.9695 | 288529.817 | 28.7 | 67.6
93696 | 2021-04-19 12:27 | 15.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.5763 | μmol/L | 29.5328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.743 | 91111.8736 | 288528.6801 | 28.7 | 67.6
93706 | 2021-04-19 12:27 | 15.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.4849 | μmol/L | 29.5572 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.74 | 91081.7127 | 288532.564 | 28.7 | 67.6
93716 | 2021-04-19 12:28 | 16.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.3603 | μmol/L | 29.5572 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.747 | 91121.8662 | 288528.1141 | 28.7 | 67.6
93726 | 2021-04-19 12:28 | 16.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.4872 | μmol/L | 29.5328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.748 | 91135.644 | 288545.5415 | 28.7 | 67.6
93736 | 2021-04-19 12:28 | 16.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.1492 | μmol/L | 29.5328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.767 | 91211.5603 | 288545.4072 | 28.7 | 67.6
93746 | 2021-04-19 12:29 | 17.3306 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.0776 | μmol/L | 29.5389 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.769 | 91230.4498 | 288529.8404 | 28.7 | 67.6
93756 | 2021-04-19 12:29 | 17.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.0035 | μmol/L | 29.5694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.763 | 91201.8404 | 288520.9832 | 28.7 | 67.6
93766 | 2021-04-19 12:29 | 17.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.8468 | μmol/L | 29.5389 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.782 | 91254.9356 | 288507.2186 | 28.7 | 67.6
93776 | 2021-04-19 12:30 | 18.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.812 | μmol/L | 29.5328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.786 | 91287.3687 | 288501.0865 | 28.7 | 67.6
93786 | 2021-04-19 12:30 | 18.6642 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.0586 | μmol/L | 29.5511 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.766 | 91228.7957 | 288513.9188 | 28.7 | 67.6
93796 | 2021-04-19 12:30 | 18.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.8107 | μmol/L | 29.545 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.782 | 91295.0947 | 288487.1715 | 28.7 | 67.6
93806 | 2021-04-19 12:31 | 19.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.4881 | μmol/L | 29.5817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.788 | 91314.1436 | 288475.8961 | 28.7 | 67.6
93816 | 2021-04-19 12:31 | 19.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.7753 | μmol/L | 29.545 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.784 | 91298.8043 | 288479.0945 | 28.7 | 67.6
93826 | 2021-04-19 12:31 | 19.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.8095 | μmol/L | 29.5572 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.778 | 91266.1836 | 288482.5266 | 28.7 | 67.6
93836 | 2021-04-19 12:32 | 20.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.6493 | μmol/L | 29.5633 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.785 | 91293.8798 | 288488.5479 | 28.7 | 67.6
93846 | 2021-04-19 12:32 | 20.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3636 | μmol/L | 29.5878 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.793 | 91356.198 | 288508.6724 | 28.7 | 67.6
93856 | 2021-04-19 12:32 | 20.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3105 | μmol/L | 29.5878 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.796 | 91364.5336 | 288495.8257 | 28.7 | 67.6
93866 | 2021-04-19 12:33 | 21.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.0468 | μmol/L | 29.5756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.815 | 91437.2109 | 288488.2349 | 28.7 | 67.6
93876 | 2021-04-19 12:33 | 21.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8704 | μmol/L | 29.5756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.825 | 91485.7451 | 288482.6725 | 28.7 | 67.6
93886 | 2021-04-19 12:33 | 21.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.6738 | μmol/L | 29.6 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.828 | 91505.5995 | 288486.7475 | 28.7 | 67.6
93896 | 2021-04-19 12:34 | 22.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.6935 | μmol/L | 29.5817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.833 | 91570.1534 | 288475.1187 | 28.7 | 67.6
93906 | 2021-04-19 12:34 | 22.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2875 | μmol/L | 29.5939 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.852 | 91677.7636 | 288479.7147 | 28.7 | 67.6
93916 | 2021-04-19 12:34 | 22.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2538 | μmol/L | 29.5817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.858 | 91670.1284 | 288476.8106 | 28.7 | 67.6
93926 | 2021-04-19 12:35 | 23.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.7956 | μmol/L | 29.6 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.878 | 91778.09 | 288464.725 | 28.7 | 67.6
93936 | 2021-04-19 12:35 | 23.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5849 | μmol/L | 29.6061 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.888 | 91817.3087 | 288452.3638 | 28.7 | 67.6
93946 | 2021-04-19 12:35 | 23.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.0595 | μmol/L | 29.6183 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.914 | 91949.9774 | 288446.8856 | 28.7 | 67.6
93956 | 2021-04-19 12:36 | 24.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9535 | μmol/L | 29.6305 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.916 | 91958.0371 | 288434.6806 | 28.7 | 67.6
93966 | 2021-04-19 12:36 | 24.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7944 | μmol/L | 29.6488 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.919 | 91942.4265 | 288430.6252 | 28.7 | 67.6
93976 | 2021-04-19 12:36 | 24.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2667 | μmol/L | 29.6366 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.896 | 91865.4187 | 288432.026 | 28.7 | 67.6
93986 | 2021-04-19 12:37 | 25.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5486 | μmol/L | 29.6671 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.927 | 92008.2717 | 288428.2271 | 28.7 | 67.6
93996 | 2021-04-19 12:37 | 25.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3006 | μmol/L | 29.7037 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.929 | 92003.2389 | 288421.7171 | 28.7 | 67.6
94006 | 2021-04-19 12:37 | 25.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3172 | μmol/L | 29.7098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.926 | 92008.5407 | 288410.6622 | 28.7 | 67.6
94016 | 2021-04-19 12:38 | 26.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7376 | μmol/L | 29.6854 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.91 | 91933.5297 | 288394.063 | 28.7 | 67.6
94026 | 2021-04-19 12:38 | 26.664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5478 | μmol/L | 29.6732 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.925 | 91957.7239 | 288394.9992 | 28.7 | 67.6
94036 | 2021-04-19 12:38 | 26.9975 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3227 | μmol/L | 29.6671 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.94 | 92023.3016 | 288387.5871 | 28.7 | 67.6
94046 | 2021-04-19 12:39 | 27.3307 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0428 | μmol/L | 29.6854 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.95 | 92075.6898 | 288373.6031 | 28.7 | 67.6
94056 | 2021-04-19 12:39 | 27.6642 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2864 | μmol/L | 29.6793 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.938 | 92032.8901 | 288366.7368 | 28.7 | 67.6
94066 | 2021-04-19 12:39 | 27.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0799 | μmol/L | 29.6671 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.954 | 92086.1555 | 288356.3632 | 28.7 | 67.6
94076 | 2021-04-19 12:40 | 28.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.7493 | μmol/L | 29.6793 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.969 | 92162.0263 | 288345.5048 | 28.7 | 67.6
94086 | 2021-04-19 12:40 | 28.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.9735 | μmol/L | 29.6854 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.954 | 92111.6404 | 288345.9485 | 28.7 | 67.6
94096 | 2021-04-19 12:40 | 28.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8845 | μmol/L | 29.7037 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.953 | 92086.7424 | 288343.4225 | 28.7 | 67.6