## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 12:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
93229 | 2021-04-19 12:11 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.4434 | μmol/L | 29.2259 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.508 | 135649.35 | 289045.1267 | 59.9307 | 49.4
93239 | 2021-04-19 12:12 | 0.33151 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.2962 | μmol/L | 29.2197 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.518 | 135826.2982 | 289026.769 | 59.9307 | 49.4
93249 | 2021-04-19 12:12 | 0.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.0721 | μmol/L | 29.2382 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.524 | 136389.3053 | 289004.2061 | 59.9307 | 49.4
93259 | 2021-04-19 12:12 | 0.99781 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.979 | μmol/L | 29.2444 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.527 | 136459.3227 | 289013.5034 | 59.9307 | 49.4
93269 | 2021-04-19 12:13 | 1.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.4356 | μmol/L | 29.3125 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.534 | 136963.0849 | 289006.5014 | 59.9307 | 49.4
93279 | 2021-04-19 12:13 | 1.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.6263 | μmol/L | 29.263 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.54 | 136930.0634 | 289019.674 | 59.9307 | 49.4
93289 | 2021-04-19 12:13 | 1.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.2282 | μmol/L | 29.3497 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.533 | 137261.2553 | 289006.5359 | 59.9307 | 49.4
93299 | 2021-04-19 12:14 | 2.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.0023 | μmol/L | 29.2073 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.538 | 137324.9044 | 288992.8972 | 59.9307 | 49.4
93309 | 2021-04-19 12:14 | 2.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.495 | μmol/L | 29.2816 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.541 | 137438.2505 | 288986.4314 | 59.9307 | 49.4
93319 | 2021-04-19 12:14 | 2.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.8915 | μmol/L | 29.393 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.537 | 137472.5726 | 289006.9738 | 59.9307 | 49.4
93329 | 2021-04-19 12:15 | 3.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.3979 | μmol/L | 29.3187 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.534 | 137303.6793 | 288986.0611 | 59.9307 | 49.4
93339 | 2021-04-19 12:15 | 3.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.5268 | μmol/L | 29.3187 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.527 | 137166.5434 | 288998.1584 | 59.9307 | 49.4
93349 | 2021-04-19 12:15 | 3.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.0286 | μmol/L | 29.3311 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.55 | 137505.4076 | 288974.5215 | 59.9307 | 49.4
93359 | 2021-04-19 12:16 | 4.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.6678 | μmol/L | 29.4178 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.541 | 137217.4876 | 288979.2588 | 59.9307 | 49.4
93369 | 2021-04-19 12:16 | 4.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.7403 | μmol/L | 29.424 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.535 | 136577.2441 | 288974.3099 | 59.9307 | 49.4
93379 | 2021-04-19 12:16 | 4.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.1617 | μmol/L | 29.4982 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.542 | 136426.2802 | 288970.6908 | 59.9307 | 49.4
93389 | 2021-04-19 12:17 | 5.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.757 | μmol/L | 29.5168 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.558 | 136973.6327 | 288966.8072 | 59.9307 | 49.4
93399 | 2021-04-19 12:17 | 5.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.8231 | μmol/L | 29.4425 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.579 | 136809.3751 | 288966.303 | 59.9307 | 49.4
93409 | 2021-04-19 12:17 | 5.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.5689 | μmol/L | 29.4363 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.595 | 136681.9746 | 288964.1702 | 59.9307 | 49.4
93419 | 2021-04-19 12:18 | 6.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7622 | μmol/L | 29.3621 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.609 | 136766.1506 | 288970.1002 | 59.9307 | 49.4
93429 | 2021-04-19 12:18 | 6.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.0702 | μmol/L | 29.4859 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.606 | 136423.5101 | 288962.5314 | 59.9307 | 49.4
93439 | 2021-04-19 12:18 | 6.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.9947 | μmol/L | 29.5044 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.604 | 136775.628 | 288963.572 | 59.9307 | 49.4
93449 | 2021-04-19 12:19 | 7.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.0673 | μmol/L | 29.5044 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.6 | 135986.5841 | 288942.652 | 59.9307 | 49.4
93459 | 2021-04-19 12:19 | 7.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.9726 | μmol/L | 29.5292 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.597 | 135972.1352 | 288961.2743 | 59.9307 | 49.4
93469 | 2021-04-19 12:19 | 7.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.7327 | μmol/L | 29.554 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.602 | 136063.7669 | 288937.1343 | 59.9307 | 49.4
93479 | 2021-04-19 12:20 | 8.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.8093 | μmol/L | 29.5292 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.606 | 135881.1314 | 288959.3802 | 59.9307 | 49.4
93489 | 2021-04-19 12:20 | 8.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.1439 | μmol/L | 29.4797 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.604 | 135685.4081 | 288955.4186 | 59.9307 | 49.4
93499 | 2021-04-19 12:20 | 8.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.5304 | μmol/L | 29.5725 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.607 | 135992.752 | 288943.8033 | 59.9307 | 49.4
93509 | 2021-04-19 12:21 | 9.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.3613 | μmol/L | 29.6097 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.604 | 135894.3775 | 288934.2992 | 59.9307 | 49.4
93519 | 2021-04-19 12:21 | 9.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.3613 | μmol/L | 29.6097 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.604 | 135598.1605 | 288931.4315 | 59.9307 | 49.4
93529 | 2021-04-19 12:21 | 9.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.9059 | μmol/L | 29.4921 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.613 | 135659.0748 | 288931.6896 | 59.9307 | 49.4
93539 | 2021-04-19 12:22 | 10.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.4057 | μmol/L | 29.5601 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.618 | 135897.7905 | 288925.2588 | 59.9307 | 49.4
93549 | 2021-04-19 12:22 | 10.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.4791 | μmol/L | 29.554 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.616 | 135648.4557 | 288920.7442 | 59.9307 | 49.4
93559 | 2021-04-19 12:22 | 10.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.4788 | μmol/L | 29.7025 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.622 | 135583.405 | 288921.2983 | 59.9307 | 49.4
93569 | 2021-04-19 12:23 | 11.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1392 | μmol/L | 29.6902 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.645 | 135721.6088 | 288924.6708 | 59.9307 | 49.4
93579 | 2021-04-19 12:23 | 11.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.368 | μmol/L | 29.6159 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.657 | 135904.6998 | 288909.9391 | 59.9307 | 49.4
93589 | 2021-04-19 12:23 | 11.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.5321 | μmol/L | 29.6035 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.652 | 135861.3509 | 288912.7822 | 59.9307 | 49.4
93599 | 2021-04-19 12:24 | 12.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.1979 | μmol/L | 29.5044 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.648 | 135724.758 | 288909.028 | 59.9307 | 49.4
93609 | 2021-04-19 12:24 | 12.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.1267 | μmol/L | 29.4982 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.654 | 135835.9614 | 288886.0541 | 59.9307 | 49.4
93619 | 2021-04-19 12:24 | 12.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.3691 | μmol/L | 29.6097 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.659 | 135784.8456 | 288904.3216 | 59.9307 | 49.4
93629 | 2021-04-19 12:25 | 13.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.9842 | μmol/L | 29.653 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.666 | 135821.1042 | 288905.3962 | 59.9307 | 49.4
93639 | 2021-04-19 12:25 | 13.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.0614 | μmol/L | 29.6221 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.672 | 135871.1104 | 288900.4467 | 59.9307 | 49.4
93649 | 2021-04-19 12:25 | 13.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1153 | μmol/L | 29.6221 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.669 | 135828.6578 | 288880.4162 | 59.9307 | 49.4
93659 | 2021-04-19 12:26 | 14.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.9091 | μmol/L | 29.6716 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.664 | 135806.1795 | 288871.132 | 59.9307 | 49.4
93669 | 2021-04-19 12:26 | 14.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.0973 | μmol/L | 29.6221 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.67 | 135812.2267 | 288856.5197 | 59.9307 | 49.4
93679 | 2021-04-19 12:26 | 14.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.6919 | μmol/L | 29.5106 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.674 | 135844.3603 | 288864.7667 | 59.9307 | 49.4
93689 | 2021-04-19 12:27 | 15.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1599 | μmol/L | 29.5725 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.683 | 135913.3756 | 288866.1551 | 59.9307 | 49.4
93699 | 2021-04-19 12:27 | 15.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.8315 | μmol/L | 29.6035 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.691 | 135968.6962 | 288855.1025 | 59.9307 | 49.4
93709 | 2021-04-19 12:27 | 15.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1462 | μmol/L | 29.5478 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.692 | 136008.8863 | 288850.8166 | 59.9307 | 49.4
93719 | 2021-04-19 12:28 | 16.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3505 | μmol/L | 29.6902 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.689 | 136085.1992 | 288853.6191 | 59.9307 | 49.4
93729 | 2021-04-19 12:28 | 16.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.5618 | μmol/L | 29.6097 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.704 | 136142.8087 | 288864.0527 | 59.9307 | 49.4
93739 | 2021-04-19 12:28 | 16.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1182 | μmol/L | 29.6902 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.702 | 136222.0714 | 288850.8597 | 59.9307 | 49.4
93749 | 2021-04-19 12:29 | 17.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.5629 | μmol/L | 29.6035 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.706 | 136390.6182 | 288839.5904 | 59.9307 | 49.4
93759 | 2021-04-19 12:29 | 17.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.8962 | μmol/L | 29.5416 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.708 | 136597.9378 | 288824.4623 | 59.9307 | 49.4
93769 | 2021-04-19 12:29 | 17.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6061 | μmol/L | 29.7583 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.708 | 136726.071 | 288837.6373 | 59.9307 | 49.4
93779 | 2021-04-19 12:30 | 18.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.9944 | μmol/L | 29.684 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.711 | 136712.0093 | 288824.973 | 59.9307 | 49.4
93789 | 2021-04-19 12:30 | 18.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5788 | μmol/L | 29.7149 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.724 | 136640.8471 | 288819.9417 | 59.9307 | 49.4
93799 | 2021-04-19 12:30 | 18.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1307 | μmol/L | 29.6221 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.724 | 136925.152 | 288796.0207 | 59.9307 | 49.4
93809 | 2021-04-19 12:31 | 19.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.2267 | μmol/L | 29.5849 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.731 | 137037.06 | 288803.3474 | 59.9307 | 49.4
93819 | 2021-04-19 12:31 | 19.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3843 | μmol/L | 29.7087 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.737 | 137261.4997 | 288801.3792 | 59.9307 | 49.4
93829 | 2021-04-19 12:31 | 19.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6048 | μmol/L | 29.6716 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.737 | 137277.7402 | 288801.1672 | 59.9307 | 49.4
93839 | 2021-04-19 12:32 | 20.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.9702 | μmol/L | 29.6221 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.733 | 137403.6605 | 288798.5567 | 59.9307 | 49.4
93849 | 2021-04-19 12:32 | 20.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7673 | μmol/L | 29.6592 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.732 | 137578.3911 | 288803.5058 | 59.9307 | 49.4
93859 | 2021-04-19 12:32 | 20.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.1628 | μmol/L | 29.7521 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.735 | 137569.0627 | 288820.643 | 59.9307 | 49.4
93869 | 2021-04-19 12:33 | 21.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6719 | μmol/L | 29.814 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.742 | 137629.0033 | 288794.6525 | 59.9307 | 49.4
93879 | 2021-04-19 12:33 | 21.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6744 | μmol/L | 29.8016 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.746 | 137654.7728 | 288812.5491 | 59.9307 | 49.4
93889 | 2021-04-19 12:33 | 21.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2007 | μmol/L | 29.7397 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.737 | 137635.9617 | 288784.6705 | 59.9307 | 49.4
93899 | 2021-04-19 12:34 | 22.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.9096 | μmol/L | 29.7768 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.741 | 137645.0933 | 288777.375 | 59.9307 | 49.4
93909 | 2021-04-19 12:34 | 22.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0729 | μmol/L | 29.7583 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.738 | 137634.4379 | 288789.9608 | 59.9307 | 49.4
93919 | 2021-04-19 12:34 | 22.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3658 | μmol/L | 29.7521 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.78 | 137845.2004 | 288783.0158 | 59.9307 | 49.4
93929 | 2021-04-19 12:35 | 23.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6536 | μmol/L | 29.7273 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.772 | 137587.2502 | 288791.4157 | 59.9307 | 49.4
93939 | 2021-04-19 12:35 | 23.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.7373 | μmol/L | 29.7521 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.759 | 137783.7498 | 288792.6216 | 59.9307 | 49.4
93949 | 2021-04-19 12:35 | 23.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6072 | μmol/L | 29.783 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.756 | 137761.5254 | 288771.4675 | 59.9307 | 49.4
93959 | 2021-04-19 12:36 | 24.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6994 | μmol/L | 29.7644 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.757 | 137760.7133 | 288765.7267 | 59.9307 | 49.4
93969 | 2021-04-19 12:36 | 24.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.409 | μmol/L | 29.8016 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.761 | 137758.3105 | 288752.8839 | 59.9307 | 49.4
93979 | 2021-04-19 12:36 | 24.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.2084 | μmol/L | 29.8325 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.762 | 137741.4254 | 288750.9606 | 59.9307 | 49.4
93989 | 2021-04-19 12:37 | 25.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.284 | μmol/L | 29.8078 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.766 | 137786.9341 | 288740.6804 | 59.9307 | 49.4
93999 | 2021-04-19 12:37 | 25.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3584 | μmol/L | 29.7892 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.768 | 137808.5948 | 288714.0848 | 59.9307 | 49.4
94009 | 2021-04-19 12:37 | 25.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.595 | μmol/L | 29.9007 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.774 | 137848.1975 | 288708.777 | 59.9307 | 49.4
94019 | 2021-04-19 12:38 | 26.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6856 | μmol/L | 29.8883 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.773 | 137804.0897 | 288716.2957 | 59.9307 | 49.4
94029 | 2021-04-19 12:38 | 26.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6856 | μmol/L | 29.8883 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.773 | 137811.9478 | 288696.7999 | 59.9307 | 49.4
94039 | 2021-04-19 12:38 | 26.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8669 | μmol/L | 29.8635 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.771 | 137766.6388 | 288704.8775 | 59.9307 | 49.4
94049 | 2021-04-19 12:39 | 27.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6705 | μmol/L | 29.8759 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.778 | 137798.81 | 288689.8281 | 59.9307 | 49.4
94059 | 2021-04-19 12:39 | 27.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.5435 | μmol/L | 29.8945 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.779 | 137792.2116 | 288670.1288 | 59.9307 | 49.4
94069 | 2021-04-19 12:39 | 27.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3976 | μmol/L | 29.9192 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.779 | 137797.2211 | 288671.1228 | 59.9307 | 49.4
94079 | 2021-04-19 12:40 | 28.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7808 | μmol/L | 29.9316 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.81 | 138082.195 | 288686.0858 | 59.9307 | 49.4
94089 | 2021-04-19 12:40 | 28.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6606 | μmol/L | 29.8387 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.791 | 137862.4204 | 288671.6546 | 59.9307 | 49.4
94099 | 2021-04-19 12:40 | 28.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6833 | μmol/L | 29.814 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.798 | 137894.5427 | 288666.431 | 59.9307 | 49.4