## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 12:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
93230 | 2021-04-19 12:11 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3119 | μmol/L | 29.3107 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.607 | 131306.8268 | 300101.0882 | 33.25 | 68.6
93240 | 2021-04-19 12:12 | 0.33689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3607 | μmol/L | 29.3168 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.602 | 131265.8273 | 300120.5755 | 33.25 | 68.6
93250 | 2021-04-19 12:12 | 0.67007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1652 | μmol/L | 29.3351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.607 | 131254.1455 | 300124.8134 | 33.25 | 68.6
93260 | 2021-04-19 12:12 | 1.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1994 | μmol/L | 29.3351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.605 | 131260.299 | 300107.2882 | 33.25 | 68.6
93270 | 2021-04-19 12:13 | 1.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9161 | μmol/L | 29.3595 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.613 | 131295.331 | 300114.6669 | 33.25 | 68.6
93280 | 2021-04-19 12:13 | 1.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.899 | μmol/L | 29.3595 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.614 | 131300.4355 | 300114.959 | 33.25 | 68.6
93290 | 2021-04-19 12:13 | 2.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9402 | μmol/L | 29.3839 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.603 | 131233.7381 | 300099.1089 | 33.25 | 68.6
93300 | 2021-04-19 12:14 | 2.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.6497 | μmol/L | 29.4267 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.605 | 131246.6121 | 300089.6514 | 33.25 | 68.6
93310 | 2021-04-19 12:14 | 2.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.6863 | μmol/L | 29.4206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.605 | 131241.0093 | 300088.4953 | 33.25 | 68.6
93320 | 2021-04-19 12:14 | 3.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.5133 | μmol/L | 29.4267 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.613 | 131274.6975 | 300074.9355 | 33.25 | 68.6
93330 | 2021-04-19 12:15 | 3.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.384 | μmol/L | 29.4511 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.612 | 131281.1042 | 300081.6276 | 33.25 | 68.6
93340 | 2021-04-19 12:15 | 3.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1817 | μmol/L | 29.4877 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.611 | 131271.716 | 300076.1401 | 33.25 | 68.6
93350 | 2021-04-19 12:15 | 4.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.9794 | μmol/L | 29.5243 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.61 | 131266.6906 | 300076.6097 | 33.25 | 68.6
93360 | 2021-04-19 12:16 | 4.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0474 | μmol/L | 29.5243 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.606 | 131244.6244 | 300073.3221 | 33.25 | 68.6
93370 | 2021-04-19 12:16 | 4.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1035 | μmol/L | 29.5121 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.607 | 131258.1966 | 300080.2202 | 33.25 | 68.6
93380 | 2021-04-19 12:16 | 5.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2837 | μmol/L | 29.4877 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.605 | 131237.4369 | 300064.9869 | 33.25 | 68.6
93390 | 2021-04-19 12:17 | 5.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0984 | μmol/L | 29.5243 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.603 | 131235.0613 | 300060.3484 | 33.25 | 68.6
93400 | 2021-04-19 12:17 | 5.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7695 | μmol/L | 29.5793 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.603 | 131229.1351 | 300060.1918 | 33.25 | 68.6
93410 | 2021-04-19 12:17 | 6.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7186 | μmol/L | 29.5793 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.606 | 131238.2655 | 300048.8318 | 33.25 | 68.6
93420 | 2021-04-19 12:18 | 6.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7135 | μmol/L | 29.5915 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.602 | 131247.4234 | 300046.8515 | 33.25 | 68.6
93430 | 2021-04-19 12:18 | 6.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6065 | μmol/L | 29.6037 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.604 | 131241.889 | 300040.3755 | 33.25 | 68.6
93440 | 2021-04-19 12:18 | 7.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.57 | μmol/L | 29.6098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.604 | 131243.4511 | 300048.5835 | 33.25 | 68.6
93450 | 2021-04-19 12:19 | 7.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4605 | μmol/L | 29.6281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.604 | 131237.2954 | 300030.4374 | 33.25 | 68.6
93460 | 2021-04-19 12:19 | 7.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4071 | μmol/L | 29.6342 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.605 | 131234.2378 | 300022.7413 | 33.25 | 68.6
93470 | 2021-04-19 12:19 | 8.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3368 | μmol/L | 29.6403 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.607 | 131238.7028 | 300026.251 | 33.25 | 68.6
93480 | 2021-04-19 12:20 | 8.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0985 | μmol/L | 29.6831 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.606 | 131218.7353 | 300009.7442 | 33.25 | 68.6
93490 | 2021-04-19 12:20 | 8.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4436 | μmol/L | 29.6281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.605 | 131232.5788 | 300013.8746 | 33.25 | 68.6
93500 | 2021-04-19 12:20 | 9.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2469 | μmol/L | 29.6525 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.608 | 131219.8156 | 300019.792 | 33.25 | 68.6
93510 | 2021-04-19 12:21 | 9.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3224 | μmol/L | 29.6342 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.61 | 131224.9352 | 300006.0978 | 33.25 | 68.6
93520 | 2021-04-19 12:21 | 9.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3485 | μmol/L | 29.6525 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.602 | 131245.874 | 300005.247 | 33.25 | 68.6
93530 | 2021-04-19 12:21 | 10.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3394 | μmol/L | 29.6342 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.609 | 131248.9908 | 300004.7415 | 33.25 | 68.6
93540 | 2021-04-19 12:22 | 10.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5608 | μmol/L | 29.5915 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.611 | 131244.6161 | 299988.9563 | 33.25 | 68.6
93550 | 2021-04-19 12:22 | 10.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1766 | μmol/L | 29.6586 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.61 | 131261.6961 | 299990.612 | 33.25 | 68.6
93560 | 2021-04-19 12:22 | 11.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9463 | μmol/L | 29.6831 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.615 | 131269.7047 | 299986.6043 | 33.25 | 68.6
93570 | 2021-04-19 12:23 | 11.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5099 | μmol/L | 29.5915 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.614 | 131268.3049 | 299962.9248 | 33.25 | 68.6
93580 | 2021-04-19 12:23 | 11.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2573 | μmol/L | 29.6281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.616 | 131304.6463 | 299978.6062 | 33.25 | 68.6
93590 | 2021-04-19 12:23 | 12.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8112 | μmol/L | 29.6831 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.623 | 131320.7855 | 299972.6105 | 33.25 | 68.6
93600 | 2021-04-19 12:24 | 12.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5007 | μmol/L | 29.738 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.622 | 131343.2897 | 299978.8902 | 33.25 | 68.6
93610 | 2021-04-19 12:24 | 12.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7047 | μmol/L | 29.6953 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.625 | 131335.0092 | 299967.2801 | 33.25 | 68.6
93620 | 2021-04-19 12:24 | 13.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0881 | μmol/L | 29.6281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.626 | 131341.7107 | 299970.9953 | 33.25 | 68.6
93630 | 2021-04-19 12:25 | 13.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8892 | μmol/L | 29.6586 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.627 | 131348.5836 | 299962.2989 | 33.25 | 68.6
93640 | 2021-04-19 12:25 | 13.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0998 | μmol/L | 29.6403 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.621 | 131325.6969 | 299943.1501 | 33.25 | 68.6
93650 | 2021-04-19 12:25 | 14.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9035 | μmol/L | 29.6647 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.624 | 131318.668 | 299936.8715 | 33.25 | 68.6
93660 | 2021-04-19 12:26 | 14.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.654 | μmol/L | 29.6953 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.628 | 131351.636 | 299922.7928 | 33.25 | 68.6
93670 | 2021-04-19 12:26 | 14.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.4828 | μmol/L | 29.7014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.636 | 131365.6673 | 299945.4887 | 33.25 | 68.6
93680 | 2021-04-19 12:26 | 15.0031 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5555 | μmol/L | 29.6892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.636 | 131380.9259 | 299944.3777 | 33.25 | 68.6
93690 | 2021-04-19 12:27 | 15.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9966 | μmol/L | 29.7746 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.639 | 131376.9374 | 299926.1143 | 33.25 | 68.6
93700 | 2021-04-19 12:27 | 15.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2896 | μmol/L | 29.7197 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.641 | 131392.6059 | 299932.2764 | 33.25 | 68.6
93710 | 2021-04-19 12:27 | 16.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5686 | μmol/L | 29.6586 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.646 | 131407.4202 | 299921.3587 | 33.25 | 68.6
93720 | 2021-04-19 12:28 | 16.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2197 | μmol/L | 29.7258 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.643 | 131425.1788 | 299912.0423 | 33.25 | 68.6
93730 | 2021-04-19 12:28 | 16.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1887 | μmol/L | 29.7197 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.647 | 131435.2712 | 299915.5795 | 33.25 | 68.6
93740 | 2021-04-19 12:28 | 17.0029 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9374 | μmol/L | 29.7563 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.649 | 131460.7483 | 299902.3167 | 33.25 | 68.6
93750 | 2021-04-19 12:29 | 17.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1046 | μmol/L | 29.7197 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.652 | 131468.222 | 299898.7456 | 33.25 | 68.6
93760 | 2021-04-19 12:29 | 17.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0683 | μmol/L | 29.7258 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.652 | 131477.996 | 299889.1303 | 33.25 | 68.6
93770 | 2021-04-19 12:29 | 18.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8534 | μmol/L | 29.7563 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.654 | 131500.9765 | 299881.8229 | 33.25 | 68.6
93780 | 2021-04-19 12:30 | 18.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8561 | μmol/L | 29.7502 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.656 | 131491.4368 | 299872.2637 | 33.25 | 68.6
93790 | 2021-04-19 12:30 | 18.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5327 | μmol/L | 29.799 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.658 | 131497.2106 | 299867.933 | 33.25 | 68.6
93800 | 2021-04-19 12:30 | 19.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8587 | μmol/L | 29.7441 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.658 | 131517.7061 | 299867.8368 | 33.25 | 68.6
93810 | 2021-04-19 12:31 | 19.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8278 | μmol/L | 29.738 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.662 | 131518.6676 | 299867.8822 | 33.25 | 68.6
93820 | 2021-04-19 12:31 | 19.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5602 | μmol/L | 29.7746 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.665 | 131518.5361 | 299850.2872 | 33.25 | 68.6
93830 | 2021-04-19 12:31 | 20.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1817 | μmol/L | 29.8357 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.666 | 131539.3475 | 299863.4909 | 33.25 | 68.6
93840 | 2021-04-19 12:32 | 20.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0063 | μmol/L | 29.854 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.67 | 131563.5107 | 299864.4532 | 33.25 | 68.6
93850 | 2021-04-19 12:32 | 20.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2761 | μmol/L | 29.8113 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 131576.3232 | 299865.2944 | 33.25 | 68.6
93860 | 2021-04-19 12:32 | 21.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3263 | μmol/L | 29.8113 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.666 | 131568.48 | 299863.6674 | 33.25 | 68.6
93870 | 2021-04-19 12:33 | 21.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0231 | μmol/L | 29.854 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 131600.1534 | 299876.7668 | 33.25 | 68.6
93880 | 2021-04-19 12:33 | 21.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9201 | μmol/L | 29.8601 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.673 | 131610.1476 | 299851.9868 | 33.25 | 68.6
93890 | 2021-04-19 12:33 | 22.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8785 | μmol/L | 29.8784 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 131619.3035 | 299841.2012 | 33.25 | 68.6
93900 | 2021-04-19 12:34 | 22.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4536 | μmol/L | 29.9334 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.675 | 131647.6399 | 299837.7777 | 33.25 | 68.6
93910 | 2021-04-19 12:34 | 22.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.584 | μmol/L | 29.9028 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.678 | 131652.2651 | 299850.2615 | 33.25 | 68.6
93920 | 2021-04-19 12:34 | 23.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4591 | μmol/L | 29.9211 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.679 | 131679.0927 | 299817.534 | 33.25 | 68.6
93930 | 2021-04-19 12:35 | 23.3364 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.412 | μmol/L | 29.9517 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.671 | 131644.0232 | 299829.4091 | 33.25 | 68.6
93940 | 2021-04-19 12:35 | 23.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4118 | μmol/L | 29.915 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.684 | 131694.1616 | 299810.2164 | 33.25 | 68.6
93950 | 2021-04-19 12:35 | 24.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4201 | μmol/L | 29.8967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.69 | 131742.9062 | 299806.9985 | 33.25 | 68.6
93960 | 2021-04-19 12:36 | 24.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0459 | μmol/L | 29.9517 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.693 | 131750.0134 | 299808.5109 | 33.25 | 68.6
93970 | 2021-04-19 12:36 | 24.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9186 | μmol/L | 29.9761 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.692 | 131753.9194 | 299801.5628 | 33.25 | 68.6
93980 | 2021-04-19 12:36 | 25.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8355 | μmol/L | 29.9761 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.697 | 131765.5501 | 299779.6015 | 33.25 | 68.6
93990 | 2021-04-19 12:37 | 25.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8577 | μmol/L | 29.9639 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.7 | 131795.2289 | 299786.2772 | 33.25 | 68.6
94000 | 2021-04-19 12:37 | 25.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8023 | μmol/L | 29.9761 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.699 | 131793.5399 | 299763.8246 | 33.25 | 68.6
94010 | 2021-04-19 12:37 | 26.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8411 | μmol/L | 29.9639 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.701 | 131809.515 | 299771.1362 | 33.25 | 68.6
94020 | 2021-04-19 12:38 | 26.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.7 | μmol/L | 29.9822 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.703 | 131817.4741 | 299756.9092 | 33.25 | 68.6
94030 | 2021-04-19 12:38 | 26.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6143 | μmol/L | 29.9883 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.706 | 131822.206 | 299735.9025 | 33.25 | 68.6
94040 | 2021-04-19 12:38 | 27.0032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4015 | μmol/L | 30.0188 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.708 | 131846.0555 | 299728.9659 | 33.25 | 68.6
94050 | 2021-04-19 12:39 | 27.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2663 | μmol/L | 30.0249 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.714 | 131861.7254 | 299712.5472 | 33.25 | 68.6
94060 | 2021-04-19 12:39 | 27.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2139 | μmol/L | 30.031 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.715 | 131866.2664 | 299706.7303 | 33.25 | 68.6
94070 | 2021-04-19 12:39 | 28.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1365 | μmol/L | 30.0555 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.711 | 131867.2518 | 299711.1103 | 33.25 | 68.6
94080 | 2021-04-19 12:40 | 28.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1034 | μmol/L | 30.0555 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.713 | 131874.0879 | 299684.4737 | 33.25 | 68.6
94090 | 2021-04-19 12:40 | 28.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1506 | μmol/L | 30.0249 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.721 | 131896.2507 | 299688.6989 | 33.25 | 68.6
94100 | 2021-04-19 12:40 | 29.0029 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9217 | μmol/L | 30.0555 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.724 | 131920.4882 | 299684.4795 | 33.25 | 68.6