## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 12:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
93231 | 2021-04-19 12:11 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.2987 | μmol/L | 29.2485 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.765 | 116558.825 | 264327.5587 | 26.25 | 74
93241 | 2021-04-19 12:12 | 0.32642 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8396 | μmol/L | 29.3035 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.772 | 116603.7825 | 264335.5005 | 26.25 | 74
93251 | 2021-04-19 12:12 | 0.65977 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.5468 | μmol/L | 29.334 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.778 | 116641.6576 | 264324.4068 | 26.25 | 74
93261 | 2021-04-19 12:12 | 0.99378 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.5671 | μmol/L | 29.3157 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.783 | 116700.2187 | 264332.6076 | 26.25 | 74
93271 | 2021-04-19 12:13 | 1.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.3844 | μmol/L | 29.334 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.787 | 116704.7883 | 264308.0744 | 26.25 | 74
93281 | 2021-04-19 12:13 | 1.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.2192 | μmol/L | 29.3585 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.788 | 116745.23 | 264303.4649 | 26.25 | 74
93291 | 2021-04-19 12:13 | 1.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.0391 | μmol/L | 29.3585 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.798 | 116839.4167 | 264298.8758 | 26.25 | 74
93301 | 2021-04-19 12:14 | 2.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.7138 | μmol/L | 29.3707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.812 | 116937.154 | 264306.0169 | 26.25 | 74
93311 | 2021-04-19 12:14 | 2.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.571 | μmol/L | 29.3646 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.822 | 116989.8333 | 264301.2929 | 26.25 | 74
93321 | 2021-04-19 12:14 | 2.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.5187 | μmol/L | 29.3524 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.829 | 117028.3331 | 264287.2085 | 26.25 | 74
93331 | 2021-04-19 12:15 | 3.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.3354 | μmol/L | 29.3829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.829 | 117066.4011 | 264302.0721 | 26.25 | 74
93341 | 2021-04-19 12:15 | 3.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0056 | μmol/L | 29.4379 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.829 | 117102.0202 | 264290.9374 | 26.25 | 74
93351 | 2021-04-19 12:15 | 3.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.8422 | μmol/L | 29.4563 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.832 | 117129.1481 | 264292.6113 | 26.25 | 74
93361 | 2021-04-19 12:16 | 4.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.9341 | μmol/L | 29.4379 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.833 | 117094.1108 | 264285.2955 | 26.25 | 74
93371 | 2021-04-19 12:16 | 4.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.7519 | μmol/L | 29.4624 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.835 | 117111.5223 | 264278.0707 | 26.25 | 74
93381 | 2021-04-19 12:16 | 4.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.8251 | μmol/L | 29.4501 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.835 | 117116.3956 | 264282.9576 | 26.25 | 74
93391 | 2021-04-19 12:17 | 5.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6643 | μmol/L | 29.4501 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.844 | 117193.3061 | 264282.3895 | 26.25 | 74
93401 | 2021-04-19 12:17 | 5.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.5946 | μmol/L | 29.4379 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.852 | 117240.5956 | 264273.8161 | 26.25 | 74
93411 | 2021-04-19 12:17 | 5.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3415 | μmol/L | 29.4624 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.858 | 117262.8161 | 264271.4593 | 26.25 | 74
93421 | 2021-04-19 12:18 | 6.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.1786 | μmol/L | 29.4807 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.861 | 117288.8815 | 264275.0327 | 26.25 | 74
93431 | 2021-04-19 12:18 | 6.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.1786 | μmol/L | 29.4807 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.861 | 117300.0065 | 264285.8722 | 26.25 | 74
93441 | 2021-04-19 12:18 | 6.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.9063 | μmol/L | 29.5174 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.864 | 117289.4432 | 264275.348 | 26.25 | 74
93451 | 2021-04-19 12:19 | 7.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.8867 | μmol/L | 29.5296 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.861 | 117312.908 | 264265.9336 | 26.25 | 74
93461 | 2021-04-19 12:19 | 7.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7054 | μmol/L | 29.554 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.863 | 117325.184 | 264267.7441 | 26.25 | 74
93471 | 2021-04-19 12:19 | 7.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7418 | μmol/L | 29.5479 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.863 | 117332.8849 | 264255.3799 | 26.25 | 74
93481 | 2021-04-19 12:20 | 8.3265 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.9624 | μmol/L | 29.499 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.867 | 117361.3213 | 264251.3044 | 26.25 | 74
93491 | 2021-04-19 12:20 | 8.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.608 | μmol/L | 29.4929 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.889 | 117511.7791 | 264239.8009 | 26.25 | 74
93501 | 2021-04-19 12:20 | 8.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9473 | μmol/L | 29.5296 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.914 | 117648.7384 | 264237.7884 | 26.25 | 74
93511 | 2021-04-19 12:21 | 9.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7836 | μmol/L | 29.5602 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.913 | 117641.0589 | 264235.816 | 26.25 | 74
93521 | 2021-04-19 12:21 | 9.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4396 | μmol/L | 29.6152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.914 | 117664.3009 | 264247.0185 | 26.25 | 74
93531 | 2021-04-19 12:21 | 9.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5669 | μmol/L | 29.5907 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.915 | 117685.2257 | 264233.736 | 26.25 | 74
93541 | 2021-04-19 12:22 | 10.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.423 | μmol/L | 29.609 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.917 | 117695.0706 | 264226.8832 | 26.25 | 74
93551 | 2021-04-19 12:22 | 10.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3691 | μmol/L | 29.6152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.918 | 117710.0508 | 264212.6998 | 26.25 | 74
93561 | 2021-04-19 12:22 | 10.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7335 | μmol/L | 29.5418 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.922 | 117735.3881 | 264229.1736 | 26.25 | 74
93571 | 2021-04-19 12:23 | 11.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.61 | μmol/L | 29.5418 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.929 | 117782.4628 | 264216.7435 | 26.25 | 74
93581 | 2021-04-19 12:23 | 11.6597 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.0407 | μmol/L | 29.5785 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.949 | 117878.3332 | 264215.012 | 26.25 | 74
93591 | 2021-04-19 12:23 | 11.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7392 | μmol/L | 29.5968 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.96 | 117993.2172 | 264213.9968 | 26.25 | 74
93601 | 2021-04-19 12:24 | 12.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.8135 | μmol/L | 29.5724 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.964 | 118012.7185 | 264218.973 | 26.25 | 74
93611 | 2021-04-19 12:24 | 12.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.4732 | μmol/L | 29.6152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.969 | 118032.3238 | 264207.4205 | 26.25 | 74
93621 | 2021-04-19 12:24 | 12.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.6195 | μmol/L | 29.5785 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.973 | 118059.7331 | 264206.2165 | 26.25 | 74
93631 | 2021-04-19 12:25 | 13.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.5123 | μmol/L | 29.5907 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.975 | 118086.9696 | 264193.7794 | 26.25 | 74
93641 | 2021-04-19 12:25 | 13.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1397 | μmol/L | 29.6213 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.986 | 118124.3495 | 264183.2769 | 26.25 | 74
93651 | 2021-04-19 12:25 | 13.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2704 | μmol/L | 29.5724 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.995 | 118183.0893 | 264189.6361 | 26.25 | 74
93661 | 2021-04-19 12:26 | 14.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.147 | μmol/L | 29.5785 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21 | 118212.8588 | 264186.4908 | 26.25 | 74
93671 | 2021-04-19 12:26 | 14.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.146 | μmol/L | 29.5846 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.998 | 118211.3336 | 264175.9815 | 26.25 | 74
93681 | 2021-04-19 12:26 | 14.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.218 | μmol/L | 29.5724 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.998 | 118196.6831 | 264188.241 | 26.25 | 74
93691 | 2021-04-19 12:27 | 15.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8048 | μmol/L | 29.6396 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.999 | 118187.8506 | 264176.747 | 26.25 | 74
93701 | 2021-04-19 12:27 | 15.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.9507 | μmol/L | 29.6029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.003 | 118218.6999 | 264160.8012 | 26.25 | 74
93711 | 2021-04-19 12:27 | 15.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.6304 | μmol/L | 29.6396 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.009 | 118247.6661 | 264168.8207 | 26.25 | 74
93721 | 2021-04-19 12:28 | 16.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5249 | μmol/L | 29.6457 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.013 | 118272.1812 | 264162.0336 | 26.25 | 74
93731 | 2021-04-19 12:28 | 16.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.7055 | μmol/L | 29.609 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.015 | 118319.9919 | 264154.6863 | 26.25 | 74
93741 | 2021-04-19 12:28 | 16.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.478 | μmol/L | 29.6152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.026 | 118372.7667 | 264152.419 | 26.25 | 74
93751 | 2021-04-19 12:29 | 17.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3921 | μmol/L | 29.609 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.033 | 118425.3375 | 264141.4646 | 26.25 | 74
93761 | 2021-04-19 12:29 | 17.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.7388 | μmol/L | 29.6702 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.05 | 118518.3725 | 264129.6198 | 26.25 | 74
93771 | 2021-04-19 12:29 | 17.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4446 | μmol/L | 29.6702 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.067 | 118640.9049 | 264130.1092 | 26.25 | 74
93781 | 2021-04-19 12:30 | 18.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0267 | μmol/L | 29.6885 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.085 | 118751.6959 | 264136.4247 | 26.25 | 74
93791 | 2021-04-19 12:30 | 18.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8738 | μmol/L | 29.6763 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.098 | 118847.7945 | 264128.6858 | 26.25 | 74
93801 | 2021-04-19 12:30 | 18.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8773 | μmol/L | 29.6579 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.104 | 118881.3768 | 264124.2189 | 26.25 | 74
93811 | 2021-04-19 12:31 | 19.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7177 | μmol/L | 29.6824 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.105 | 118883.8744 | 264118.721 | 26.25 | 74
93821 | 2021-04-19 12:31 | 19.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6844 | μmol/L | 29.6763 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.109 | 118893.0726 | 264102.8699 | 26.25 | 74
93831 | 2021-04-19 12:31 | 19.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9646 | μmol/L | 29.6518 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.101 | 118884.2317 | 264105.4967 | 26.25 | 74
93841 | 2021-04-19 12:32 | 20.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5398 | μmol/L | 29.7129 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.105 | 118941.7868 | 264116.5554 | 26.25 | 74
93851 | 2021-04-19 12:32 | 20.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4378 | μmol/L | 29.7068 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.113 | 118956.4438 | 264110.9331 | 26.25 | 74
93861 | 2021-04-19 12:32 | 20.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3655 | μmol/L | 29.7252 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.111 | 118965.9311 | 264117.3106 | 26.25 | 74
93871 | 2021-04-19 12:33 | 21.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3287 | μmol/L | 29.7374 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.109 | 118958.6187 | 264115.9747 | 26.25 | 74
93881 | 2021-04-19 12:33 | 21.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4698 | μmol/L | 29.7191 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.107 | 118963.1014 | 264091.7162 | 26.25 | 74
93891 | 2021-04-19 12:33 | 21.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9954 | μmol/L | 29.7741 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.116 | 119002.3822 | 264100.2347 | 26.25 | 74
93901 | 2021-04-19 12:34 | 22.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9073 | μmol/L | 29.7863 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.117 | 119041.6012 | 264092.5108 | 26.25 | 74
93911 | 2021-04-19 12:34 | 22.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9795 | μmol/L | 29.768 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.119 | 119061.5973 | 264085.2323 | 26.25 | 74
93921 | 2021-04-19 12:34 | 22.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.7165 | μmol/L | 29.7985 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.124 | 119075.9065 | 264089.7497 | 26.25 | 74
93931 | 2021-04-19 12:35 | 23.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.6822 | μmol/L | 29.7985 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.126 | 119115.8091 | 264081.6456 | 26.25 | 74
93941 | 2021-04-19 12:35 | 23.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4733 | μmol/L | 29.8169 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.132 | 119154.6305 | 264069.3553 | 26.25 | 74
93951 | 2021-04-19 12:35 | 23.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.372 | μmol/L | 29.8107 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.14 | 119172.6337 | 264067.0771 | 26.25 | 74
93961 | 2021-04-19 12:36 | 24.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.3025 | μmol/L | 29.8169 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.142 | 119204.9972 | 264068.0111 | 26.25 | 74
93971 | 2021-04-19 12:36 | 24.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.9891 | μmol/L | 29.8474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.15 | 119223.4484 | 264047.4138 | 26.25 | 74
93981 | 2021-04-19 12:36 | 24.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.9039 | μmol/L | 29.8474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.155 | 119259.9395 | 264060.1429 | 26.25 | 74
93991 | 2021-04-19 12:37 | 25.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7167 | μmol/L | 29.8474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.166 | 119325.7775 | 264056.8569 | 26.25 | 74
94001 | 2021-04-19 12:37 | 25.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.5298 | μmol/L | 29.8474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.177 | 119400.3186 | 264038.6516 | 26.25 | 74
94011 | 2021-04-19 12:37 | 25.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.45 | μmol/L | 29.823 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.19 | 119479.2023 | 264049.1817 | 26.25 | 74
94021 | 2021-04-19 12:38 | 26.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.1748 | μmol/L | 29.8413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.2 | 119533.3999 | 264028.6926 | 26.25 | 74
94031 | 2021-04-19 12:38 | 26.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.0157 | μmol/L | 29.8719 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.199 | 119535.2926 | 264023.7229 | 26.25 | 74
94041 | 2021-04-19 12:38 | 26.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.1578 | μmol/L | 29.8413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.201 | 119533.3271 | 264021.9736 | 26.25 | 74
94051 | 2021-04-19 12:39 | 27.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.437 | μmol/L | 29.8046 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.197 | 119536.5241 | 264001.8437 | 26.25 | 74
94061 | 2021-04-19 12:39 | 27.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.3287 | μmol/L | 29.8352 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.193 | 119511.6085 | 263988.5492 | 26.25 | 74
94071 | 2021-04-19 12:39 | 27.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2243 | μmol/L | 29.8474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.195 | 119494.2666 | 263982.3557 | 26.25 | 74
94081 | 2021-04-19 12:40 | 28.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.9649 | μmol/L | 29.8719 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.202 | 119529.2742 | 263974.2807 | 26.25 | 74
94091 | 2021-04-19 12:40 | 28.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6369 | μmol/L | 29.9024 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.211 | 119569.2226 | 263981.6721 | 26.25 | 74
94101 | 2021-04-19 12:40 | 28.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.7139 | μmol/L | 29.8596 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.221 | 119607.2593 | 263965.7586 | 26.25 | 74