## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94104 | 2021-04-19 12:55 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9571 | μmol/L | 28.8282 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.031 | 122101.481 | 291565.2144 | 59.9307 | 38.1
94114 | 2021-04-19 12:55 | 0.33209 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.5869 | μmol/L | 28.8465 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.046 | 122188.9227 | 291571.2354 | 59.9307 | 38.1
94124 | 2021-04-19 12:56 | 0.66543 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.2497 | μmol/L | 28.8894 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.051 | 122243.328 | 291563.1679 | 59.9307 | 38.1
94134 | 2021-04-19 12:56 | 0.99862 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.2847 | μmol/L | 28.8894 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.049 | 122265.1717 | 291540.4328 | 59.9307 | 38.1
94144 | 2021-04-19 12:56 | 1.3317 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1078 | μmol/L | 28.9078 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.053 | 122281.8524 | 291543.7423 | 59.9307 | 38.1
94154 | 2021-04-19 12:57 | 1.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.7412 | μmol/L | 28.9078 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.074 | 122384.7974 | 291540.1335 | 59.9307 | 38.1
94164 | 2021-04-19 12:57 | 1.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.4903 | μmol/L | 28.969 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.068 | 122394.2346 | 291528.599 | 59.9307 | 38.1
94174 | 2021-04-19 12:57 | 2.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2466 | μmol/L | 28.969 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.082 | 122461.5362 | 291518.0759 | 59.9307 | 38.1
94184 | 2021-04-19 12:58 | 2.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.999 | μmol/L | 29.0058 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.084 | 122456.5474 | 291494.0856 | 59.9307 | 38.1
94194 | 2021-04-19 12:58 | 2.9986 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8383 | μmol/L | 29.0425 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.081 | 122460.2147 | 291496.162 | 59.9307 | 38.1
94204 | 2021-04-19 12:58 | 3.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7847 | μmol/L | 29.0548 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.08 | 122451.8557 | 291474.8775 | 59.9307 | 38.1
94214 | 2021-04-19 12:59 | 3.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6973 | μmol/L | 29.0609 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.083 | 122475.3273 | 291483.797 | 59.9307 | 38.1
94224 | 2021-04-19 12:59 | 3.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.5744 | μmol/L | 29.0732 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.086 | 122497.7772 | 291482.0898 | 59.9307 | 38.1
94234 | 2021-04-19 12:59 | 4.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.4493 | μmol/L | 29.1038 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.083 | 122474.069 | 291466.9747 | 59.9307 | 38.1
94244 | 2021-04-19 13:00 | 4.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3635 | μmol/L | 29.0977 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.09 | 122492.2402 | 291451.178 | 59.9307 | 38.1
94254 | 2021-04-19 13:00 | 4.9986 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3266 | μmol/L | 29.1161 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.086 | 122488.1009 | 291453.9217 | 59.9307 | 38.1
94264 | 2021-04-19 13:00 | 5.3319 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1143 | μmol/L | 29.1528 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.086 | 122487.418 | 291441.9642 | 59.9307 | 38.1
94274 | 2021-04-19 13:01 | 5.6652 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9407 | μmol/L | 29.1589 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.094 | 122520.9007 | 291447.6892 | 59.9307 | 38.1
94284 | 2021-04-19 13:01 | 5.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.87 | μmol/L | 29.1712 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.094 | 122530.9206 | 291444.079 | 59.9307 | 38.1
94294 | 2021-04-19 13:01 | 6.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.8495 | μmol/L | 29.1957 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.087 | 122495.2865 | 291421.49 | 59.9307 | 38.1
94304 | 2021-04-19 13:02 | 6.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6926 | μmol/L | 29.2079 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.092 | 122512.6386 | 291408.3644 | 59.9307 | 38.1
94314 | 2021-04-19 13:02 | 6.9985 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3422 | μmol/L | 29.2508 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.098 | 122536.8465 | 291398.6245 | 59.9307 | 38.1
94324 | 2021-04-19 13:02 | 7.332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7394 | μmol/L | 29.2447 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.077 | 122423.564 | 291384.1456 | 59.9307 | 38.1
94334 | 2021-04-19 13:03 | 7.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0653 | μmol/L | 29.2631 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.11 | 122602.1899 | 291368.4663 | 59.9307 | 38.1
94344 | 2021-04-19 13:03 | 7.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0085 | μmol/L | 29.2998 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.101 | 122562.1823 | 291370.3228 | 59.9307 | 38.1
94354 | 2021-04-19 13:03 | 8.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.9561 | μmol/L | 29.3059 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.102 | 122580.4406 | 291370.6557 | 59.9307 | 38.1
94364 | 2021-04-19 13:04 | 8.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.678 | μmol/L | 29.3304 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.11 | 122604.4022 | 291347.8789 | 59.9307 | 38.1
94374 | 2021-04-19 13:04 | 8.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8126 | μmol/L | 29.3488 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.096 | 122550.2635 | 291350.6 | 59.9307 | 38.1
94384 | 2021-04-19 13:04 | 9.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3272 | μmol/L | 29.3856 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.112 | 122628.2893 | 291347.7817 | 59.9307 | 38.1
94394 | 2021-04-19 13:05 | 9.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.503 | μmol/L | 29.3549 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.112 | 122634.1227 | 291335.4117 | 59.9307 | 38.1
94404 | 2021-04-19 13:05 | 9.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1912 | μmol/L | 29.3795 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.122 | 122670.7759 | 291336.5187 | 59.9307 | 38.1
94414 | 2021-04-19 13:05 | 10.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9293 | μmol/L | 29.4162 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.125 | 122693.6969 | 291323.5957 | 59.9307 | 38.1
94424 | 2021-04-19 13:06 | 10.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1463 | μmol/L | 29.3366 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.139 | 122760.6651 | 291308.2506 | 59.9307 | 38.1
94434 | 2021-04-19 13:06 | 10.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9446 | μmol/L | 29.4285 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.12 | 122672.5997 | 291286.9637 | 59.9307 | 38.1
94444 | 2021-04-19 13:06 | 11.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9473 | μmol/L | 29.4101 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.126 | 122724.4562 | 291298.0307 | 59.9307 | 38.1
94454 | 2021-04-19 13:07 | 11.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.7928 | μmol/L | 29.4162 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.133 | 122760.1566 | 291299.5959 | 59.9307 | 38.1
94464 | 2021-04-19 13:07 | 11.9986 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3761 | μmol/L | 29.4652 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.141 | 122801.827 | 291295.0933 | 59.9307 | 38.1
94474 | 2021-04-19 13:07 | 12.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.4291 | μmol/L | 29.453 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.142 | 122805.8531 | 291296.3362 | 59.9307 | 38.1
94484 | 2021-04-19 13:08 | 12.6653 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6808 | μmol/L | 29.3672 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.156 | 122872.9185 | 291283.419 | 59.9307 | 38.1
94494 | 2021-04-19 13:08 | 12.9985 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.5569 | μmol/L | 29.3978 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.153 | 122878.2571 | 291290.9049 | 59.9307 | 38.1
94504 | 2021-04-19 13:08 | 13.3319 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2949 | μmol/L | 29.4407 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.154 | 122881.9181 | 291279.2302 | 59.9307 | 38.1
94514 | 2021-04-19 13:09 | 13.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.5219 | μmol/L | 29.404 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.153 | 122877.1612 | 291268.0544 | 59.9307 | 38.1
94524 | 2021-04-19 13:09 | 13.9986 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.643 | μmol/L | 29.3917 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.15 | 122888.7865 | 291264.9015 | 59.9307 | 38.1
94534 | 2021-04-19 13:09 | 14.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3545 | μmol/L | 29.3856 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.169 | 122985.1125 | 291273.4473 | 59.9307 | 38.1
94544 | 2021-04-19 13:10 | 14.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.004 | μmol/L | 29.453 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.167 | 122981.3909 | 291249.948 | 59.9307 | 38.1
94554 | 2021-04-19 13:10 | 14.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9152 | μmol/L | 29.4775 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.164 | 122962.1828 | 291262.1518 | 59.9307 | 38.1
94564 | 2021-04-19 13:10 | 15.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3858 | μmol/L | 29.502 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.187 | 123081.9343 | 291246.163 | 59.9307 | 38.1
94574 | 2021-04-19 13:11 | 15.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4773 | μmol/L | 29.5632 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.161 | 122947.0025 | 291241.4401 | 59.9307 | 38.1
94584 | 2021-04-19 13:11 | 15.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2065 | μmol/L | 29.5632 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.177 | 123016.7178 | 291239.2058 | 59.9307 | 38.1
94594 | 2021-04-19 13:11 | 16.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5475 | μmol/L | 29.5694 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.214 | 123205.1699 | 291219.7152 | 59.9307 | 38.1
94604 | 2021-04-19 13:12 | 16.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5138 | μmol/L | 29.5694 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.216 | 123240.7304 | 291222.6295 | 59.9307 | 38.1
94614 | 2021-04-19 13:12 | 16.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.4802 | μmol/L | 29.5694 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.218 | 123265.4988 | 291223.8289 | 59.9307 | 38.1
94624 | 2021-04-19 13:12 | 17.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4307 | μmol/L | 29.4346 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.207 | 123212.2488 | 291223.9937 | 59.9307 | 38.1
94634 | 2021-04-19 13:13 | 17.6653 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2854 | μmol/L | 29.4958 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.195 | 123140.3098 | 291205.3377 | 59.9307 | 38.1
94644 | 2021-04-19 13:13 | 17.9985 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.6074 | μmol/L | 29.5142 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.229 | 123320.5632 | 291203.6115 | 59.9307 | 38.1
94654 | 2021-04-19 13:13 | 18.3317 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7222 | μmol/L | 29.5326 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.216 | 123264.0071 | 291191.463 | 59.9307 | 38.1
94664 | 2021-04-19 13:14 | 18.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7759 | μmol/L | 29.5142 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.219 | 123287.3538 | 291180.6988 | 59.9307 | 38.1
94674 | 2021-04-19 13:14 | 18.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.2669 | μmol/L | 29.5387 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.241 | 123414.812 | 291182.1878 | 59.9307 | 38.1
94684 | 2021-04-19 13:14 | 19.332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.0351 | μmol/L | 29.5203 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.261 | 123504.5418 | 291180.2386 | 59.9307 | 38.1
94694 | 2021-04-19 13:15 | 19.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1211 | μmol/L | 29.5081 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.26 | 123525.4992 | 291164.3732 | 59.9307 | 38.1
94704 | 2021-04-19 13:15 | 19.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5909 | μmol/L | 29.5694 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.271 | 123587.6608 | 291158.7134 | 59.9307 | 38.1
94714 | 2021-04-19 13:15 | 20.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.3402 | μmol/L | 29.5694 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.286 | 123640.6173 | 291149.2623 | 59.9307 | 38.1
94724 | 2021-04-19 13:16 | 20.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.3068 | μmol/L | 29.5694 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.288 | 123668.2684 | 291150.579 | 59.9307 | 38.1
94734 | 2021-04-19 13:16 | 20.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.8296 | μmol/L | 29.5449 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.265 | 123558.7401 | 291158.2698 | 59.9307 | 38.1
94744 | 2021-04-19 13:16 | 21.3319 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1515 | μmol/L | 29.5265 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.252 | 123505.1015 | 291143.5006 | 59.9307 | 38.1
94754 | 2021-04-19 13:17 | 21.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.0707 | μmol/L | 29.5081 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.263 | 123546.7724 | 291139.7391 | 59.9307 | 38.1
94764 | 2021-04-19 13:17 | 21.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1179 | μmol/L | 29.5265 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.254 | 123516.8142 | 291133.4943 | 59.9307 | 38.1