## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98197 | 2021-04-19 16:17 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4152 | μmol/L | 30.6789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.828 | 92553.5294 | 288702.4482 | 30.45 | 114.2
98207 | 2021-04-19 16:17 | 0.33682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.8355 | μmol/L | 30.6172 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.883 | 92843.5039 | 288721.13 | 30.45 | 114.2
98217 | 2021-04-19 16:17 | 0.67059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.5553 | μmol/L | 30.6665 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.942 | 93113.8213 | 288723.544 | 30.45 | 114.2
98227 | 2021-04-19 16:18 | 1.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6423 | μmol/L | 30.6295 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.009 | 93448.1834 | 288724.7221 | 30.45 | 114.2
98237 | 2021-04-19 16:18 | 1.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7769 | μmol/L | 30.6234 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.063 | 93740.9687 | 288728.5187 | 30.45 | 114.2
98247 | 2021-04-19 16:18 | 1.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1217 | μmol/L | 30.5926 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.113 | 93955.0841 | 288725.1057 | 30.45 | 114.2
98257 | 2021-04-19 16:19 | 2.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5699 | μmol/L | 30.722 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.163 | 94219.9268 | 288725.0649 | 30.45 | 114.2
98267 | 2021-04-19 16:19 | 2.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.6908 | μmol/L | 30.7652 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.202 | 94430.9796 | 288733.5446 | 30.45 | 114.2
98277 | 2021-04-19 16:19 | 2.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.0926 | μmol/L | 30.7528 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.243 | 94635.2185 | 288727.9428 | 30.45 | 114.2
98287 | 2021-04-19 16:20 | 3.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.5435 | μmol/L | 30.7467 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.279 | 94830.1498 | 288727.0673 | 30.45 | 114.2
98297 | 2021-04-19 16:20 | 3.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.9928 | μmol/L | 30.7528 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.311 | 94986.0129 | 288732.1877 | 30.45 | 114.2
98307 | 2021-04-19 16:20 | 3.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.6038 | μmol/L | 30.7097 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.35 | 95159.0958 | 288730.6652 | 30.45 | 114.2
98317 | 2021-04-19 16:21 | 4.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.9589 | μmol/L | 30.722 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.386 | 95359.1719 | 288738.2107 | 30.45 | 114.2
98327 | 2021-04-19 16:21 | 4.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3881 | μmol/L | 30.7097 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.426 | 95582.7002 | 288743.4514 | 30.45 | 114.2
98337 | 2021-04-19 16:21 | 4.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.0101 | μmol/L | 30.6974 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.454 | 95733.1776 | 288731.2121 | 30.45 | 114.2
98347 | 2021-04-19 16:22 | 5.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.7144 | μmol/L | 30.6789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.479 | 95867.0932 | 288750.5799 | 30.45 | 114.2
98357 | 2021-04-19 16:22 | 5.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.0975 | μmol/L | 30.6789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.518 | 96054.2198 | 288761.8913 | 30.45 | 114.2
98367 | 2021-04-19 16:22 | 5.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.5323 | μmol/L | 30.6727 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.556 | 96254.9854 | 288764.3724 | 30.45 | 114.2
98377 | 2021-04-19 16:23 | 6.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.3615 | μmol/L | 30.6665 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.569 | 96353.5147 | 288773.1555 | 30.45 | 114.2
98387 | 2021-04-19 16:23 | 6.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.0085 | μmol/L | 30.6912 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.583 | 96395.0034 | 288781.8829 | 30.45 | 114.2
98397 | 2021-04-19 16:23 | 6.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8872 | μmol/L | 30.6789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.595 | 96479.5361 | 288769.7128 | 30.45 | 114.2
98407 | 2021-04-19 16:24 | 7.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7211 | μmol/L | 30.6604 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.612 | 96556.3597 | 288770.7084 | 30.45 | 114.2
98417 | 2021-04-19 16:24 | 7.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7078 | μmol/L | 30.6049 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.632 | 96666.582 | 288775.5874 | 30.45 | 114.2
98427 | 2021-04-19 16:24 | 7.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.6163 | μmol/L | 30.5494 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.657 | 96795.4087 | 288776.3172 | 30.45 | 114.2
98437 | 2021-04-19 16:25 | 8.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1369 | μmol/L | 30.5864 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.675 | 96892.0859 | 288779.2971 | 30.45 | 114.2
98447 | 2021-04-19 16:25 | 8.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.6554 | μmol/L | 30.5864 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.706 | 97029.6567 | 288777.8564 | 30.45 | 114.2
98457 | 2021-04-19 16:25 | 8.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.2548 | μmol/L | 30.5802 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.734 | 97168.2639 | 288772.4123 | 30.45 | 114.2
98467 | 2021-04-19 16:26 | 9.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.3967 | μmol/L | 30.5247 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.744 | 97231.3372 | 288762.3037 | 30.45 | 114.2
98477 | 2021-04-19 16:26 | 9.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.1762 | μmol/L | 30.5371 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.754 | 97285.4823 | 288767.2659 | 30.45 | 114.2
98487 | 2021-04-19 16:26 | 9.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.9098 | μmol/L | 30.5494 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.767 | 97340.4173 | 288761.6824 | 30.45 | 114.2
98497 | 2021-04-19 16:27 | 10.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.5576 | μmol/L | 30.5432 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.792 | 97475.0745 | 288756.6212 | 30.45 | 114.2
98507 | 2021-04-19 16:27 | 10.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.3598 | μmol/L | 30.5371 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.807 | 97562.1718 | 288751.8851 | 30.45 | 114.2
98517 | 2021-04-19 16:27 | 10.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.1776 | μmol/L | 30.5309 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.821 | 97622.9856 | 288759.7493 | 30.45 | 114.2
98527 | 2021-04-19 16:28 | 11.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.8885 | μmol/L | 30.5247 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.842 | 97693.2037 | 288769.4196 | 30.45 | 114.2
98537 | 2021-04-19 16:28 | 11.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.7467 | μmol/L | 30.5371 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.847 | 97758.2372 | 288754.7163 | 30.45 | 114.2
98547 | 2021-04-19 16:28 | 11.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.9141 | μmol/L | 30.4939 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.851 | 97782.305 | 288759.8082 | 30.45 | 114.2
98557 | 2021-04-19 16:29 | 12.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.5257 | μmol/L | 30.5124 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.87 | 97850.4006 | 288758.8453 | 30.45 | 114.2
98567 | 2021-04-19 16:29 | 12.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.3162 | μmol/L | 30.5001 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.888 | 97955.5564 | 288753.6454 | 30.45 | 114.2
98577 | 2021-04-19 16:29 | 12.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.533 | μmol/L | 30.4446 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.893 | 98013.3866 | 288759.2396 | 30.45 | 114.2
98587 | 2021-04-19 16:30 | 13.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.0961 | μmol/L | 30.4754 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.911 | 98078.1079 | 288764.2636 | 30.45 | 114.2
98597 | 2021-04-19 16:30 | 13.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.6947 | μmol/L | 30.4939 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.931 | 98158.3161 | 288753.4004 | 30.45 | 114.2
98607 | 2021-04-19 16:30 | 13.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.7355 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.939 | 98232.9952 | 288770.4398 | 30.45 | 114.2
98617 | 2021-04-19 16:31 | 14.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.7182 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.938 | 98249.9543 | 288760.1652 | 30.45 | 114.2
98627 | 2021-04-19 16:31 | 14.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.4516 | μmol/L | 30.4508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.962 | 98342.2644 | 288757.9276 | 30.45 | 114.2
98637 | 2021-04-19 16:31 | 14.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.3284 | μmol/L | 30.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.968 | 98381.3711 | 288759.201 | 30.45 | 114.2
98647 | 2021-04-19 16:32 | 15.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.9875 | μmol/L | 30.4816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.982 | 98433.1231 | 288762.2217 | 30.45 | 114.2
98657 | 2021-04-19 16:32 | 15.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.0865 | μmol/L | 30.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.984 | 98486.1336 | 288767.3807 | 30.45 | 114.2
98667 | 2021-04-19 16:32 | 15.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.6921 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.008 | 98582.2954 | 288766.6477 | 30.45 | 114.2
98677 | 2021-04-19 16:33 | 16.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.2623 | μmol/L | 30.4446 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.043 | 98738.2291 | 288761.2754 | 30.45 | 114.2
98687 | 2021-04-19 16:33 | 16.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.7527 | μmol/L | 30.4446 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.077 | 98913.7895 | 288760.2401 | 30.45 | 114.2
98697 | 2021-04-19 16:33 | 16.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.6266 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.079 | 98960.5216 | 288755.056 | 30.45 | 114.2
98707 | 2021-04-19 16:34 | 17.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.6309 | μmol/L | 30.4508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.083 | 98979.571 | 288752.9286 | 30.45 | 114.2
98717 | 2021-04-19 16:34 | 17.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.4815 | μmol/L | 30.4508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.093 | 99011.874 | 288751.8462 | 30.45 | 114.2
98727 | 2021-04-19 16:34 | 17.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.6053 | μmol/L | 30.4384 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.089 | 99026.9276 | 288759.7455 | 30.45 | 114.2
98737 | 2021-04-19 16:35 | 18.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.5156 | μmol/L | 30.4384 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.095 | 99044.7077 | 288736.0174 | 30.45 | 114.2
98747 | 2021-04-19 16:35 | 18.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.4836 | μmol/L | 30.4446 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.095 | 99036.903 | 288751.2835 | 30.45 | 114.2
98757 | 2021-04-19 16:35 | 18.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.3642 | μmol/L | 30.4446 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.103 | 99067.2878 | 288763.6153 | 30.45 | 114.2
98767 | 2021-04-19 16:36 | 19.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.3621 | μmol/L | 30.4508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.101 | 99077.4487 | 288746.7397 | 30.45 | 114.2
98777 | 2021-04-19 16:36 | 19.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.2406 | μmol/L | 30.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.107 | 99121.8695 | 288752.2674 | 30.45 | 114.2
98787 | 2021-04-19 16:36 | 19.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.1043 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.114 | 99160.8891 | 288755.9178 | 30.45 | 114.2
98797 | 2021-04-19 16:37 | 20.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.8833 | μmol/L | 30.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.131 | 99225.5024 | 288758.7073 | 30.45 | 114.2
98807 | 2021-04-19 16:37 | 20.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7325 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.139 | 99265.6483 | 288746.6519 | 30.45 | 114.2
98817 | 2021-04-19 16:37 | 20.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5268 | μmol/L | 30.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.155 | 99349.7778 | 288739.0608 | 30.45 | 114.2
98827 | 2021-04-19 16:38 | 21.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.3128 | μmol/L | 30.4754 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.163 | 99419.0795 | 288748.0155 | 30.45 | 114.2
98837 | 2021-04-19 16:38 | 21.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.0739 | μmol/L | 30.4816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.177 | 99486.1391 | 288739.242 | 30.45 | 114.2
98847 | 2021-04-19 16:38 | 21.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9578 | μmol/L | 30.4754 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.187 | 99548.2857 | 288754.1484 | 30.45 | 114.2
98857 | 2021-04-19 16:39 | 22.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.8271 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.198 | 99599.4369 | 288746.616 | 30.45 | 114.2
98867 | 2021-04-19 16:39 | 22.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.6627 | μmol/L | 30.4754 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.207 | 99617.3926 | 288750.5948 | 30.45 | 114.2
98877 | 2021-04-19 16:39 | 22.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.391 | μmol/L | 30.4939 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.219 | 99698.5402 | 288758.7426 | 30.45 | 114.2
98887 | 2021-04-19 16:40 | 23.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.299 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.236 | 99754.7789 | 288761.0371 | 30.45 | 114.2
98897 | 2021-04-19 16:40 | 23.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.1205 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.246 | 99823.9981 | 288763.5745 | 30.45 | 114.2
98907 | 2021-04-19 16:40 | 23.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6931 | μmol/L | 30.4754 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.273 | 99958.0804 | 288762.2081 | 30.45 | 114.2
98917 | 2021-04-19 16:41 | 24.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.7934 | μmol/L | 30.4816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.264 | 99962.5734 | 288744.3058 | 30.45 | 114.2
98927 | 2021-04-19 16:41 | 24.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6785 | μmol/L | 30.4754 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.274 | 99987.8159 | 288756.2179 | 30.45 | 114.2
98937 | 2021-04-19 16:41 | 24.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6616 | μmol/L | 30.4816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.273 | 100009.6412 | 288746.2271 | 30.45 | 114.2
98947 | 2021-04-19 16:42 | 25.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.4569 | μmol/L | 30.4816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.287 | 100063.1298 | 288750.9344 | 30.45 | 114.2
98957 | 2021-04-19 16:42 | 25.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.4029 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.295 | 100096.8965 | 288742.5661 | 30.45 | 114.2
98967 | 2021-04-19 16:42 | 25.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.4052 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.297 | 100138.7735 | 288741.1303 | 30.45 | 114.2
98977 | 2021-04-19 16:43 | 26.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1257 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.314 | 100208.2276 | 288741.0695 | 30.45 | 114.2
98987 | 2021-04-19 16:43 | 26.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8344 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.334 | 100293.8188 | 288742.8914 | 30.45 | 114.2
98997 | 2021-04-19 16:43 | 26.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8994 | μmol/L | 30.4508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.336 | 100336.5546 | 288737.524 | 30.45 | 114.2
99007 | 2021-04-19 16:44 | 27.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.7136 | μmol/L | 30.4816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.338 | 100354.8113 | 288734.5386 | 30.45 | 114.2
99017 | 2021-04-19 16:44 | 27.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.6477 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.349 | 100397.4448 | 288738.0679 | 30.45 | 114.2
99027 | 2021-04-19 16:44 | 27.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.4445 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.363 | 100468.8467 | 288728.4939 | 30.45 | 114.2
99037 | 2021-04-19 16:45 | 28.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.314 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.372 | 100505.4042 | 288724.9189 | 30.45 | 114.2
99047 | 2021-04-19 16:45 | 28.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.1525 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.381 | 100555.7343 | 288713.411 | 30.45 | 114.2
99057 | 2021-04-19 16:45 | 28.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0078 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.391 | 100621.3473 | 288722.9716 | 30.45 | 114.2
99067 | 2021-04-19 16:46 | 29.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.8823 | μmol/L | 30.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.404 | 100673.3504 | 288720.7334 | 30.45 | 114.2
99077 | 2021-04-19 16:46 | 29.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.7501 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.411 | 100702.4697 | 288725.9257 | 30.45 | 114.2
99087 | 2021-04-19 16:46 | 29.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.6536 | μmol/L | 30.4508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.422 | 100757.687 | 288717.3893 | 30.45 | 114.2
99097 | 2021-04-19 16:47 | 30.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.5459 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.423 | 100789.0061 | 288710.4229 | 30.45 | 114.2
99107 | 2021-04-19 16:47 | 30.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.4208 | μmol/L | 30.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.436 | 100844.5475 | 288710.7345 | 30.45 | 114.2
99117 | 2021-04-19 16:47 | 30.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.2557 | μmol/L | 30.4754 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.441 | 100860.0733 | 288700.4781 | 30.45 | 114.2
99127 | 2021-04-19 16:48 | 31.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.2338 | μmol/L | 30.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.449 | 100900.0147 | 288698.1072 | 30.45 | 114.2
99137 | 2021-04-19 16:48 | 31.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.0281 | μmol/L | 30.4693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.459 | 100963.1915 | 288705.0354 | 30.45 | 114.2
99147 | 2021-04-19 16:48 | 31.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.8061 | μmol/L | 30.4878 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.468 | 101012.643 | 288709.1581 | 30.45 | 114.2
99157 | 2021-04-19 16:49 | 32.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.5958 | μmol/L | 30.4754 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.487 | 101090.0624 | 288706.3928 | 30.45 | 114.2
99167 | 2021-04-19 16:49 | 32.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.5575 | μmol/L | 30.4631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.494 | 101132.78 | 288701.9239 | 30.45 | 114.2
99177 | 2021-04-19 16:49 | 32.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.5501 | μmol/L | 30.4446 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.501 | 101182.269 | 288708.4993 | 30.45 | 114.2
99187 | 2021-04-19 16:50 | 33.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.3998 | μmol/L | 30.4261 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.518 | 101258.2056 | 288704.6507 | 30.45 | 114.2
99197 | 2021-04-19 16:50 | 33.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.9819 | μmol/L | 30.4754 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.53 | 101328.3832 | 288716.9786 | 30.45 | 114.2
99207 | 2021-04-19 16:50 | 33.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.0316 | μmol/L | 30.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.533 | 101348.653 | 288715.4512 | 30.45 | 114.2
99217 | 2021-04-19 16:51 | 34.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.9485 | μmol/L | 30.4508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.541 | 101393.8919 | 288722.4892 | 30.45 | 114.2
99227 | 2021-04-19 16:51 | 34.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.9577 | μmol/L | 30.4261 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.549 | 101441.2406 | 288709.3417 | 30.45 | 114.2
99237 | 2021-04-19 16:51 | 34.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.7727 | μmol/L | 30.4261 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.562 | 101491.1156 | 288720.4607 | 30.45 | 114.2
99247 | 2021-04-19 16:52 | 35.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.4863 | μmol/L | 30.4323 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.58 | 101558.7279 | 288713.231 | 30.45 | 114.2
99257 | 2021-04-19 16:52 | 35.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.4343 | μmol/L | 30.4199 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.588 | 101608.9206 | 288726.5015 | 30.45 | 114.2