## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94108 | 2021-04-19 12:55 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4609 | μmol/L | 28.8791 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.026 | 95433.383 | 290934.8735 | 30.45 | 114.2
94118 | 2021-04-19 12:56 | 0.33023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.337 | μmol/L | 28.8853 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.031 | 95457.0973 | 290925.6111 | 30.45 | 114.2
94128 | 2021-04-19 12:56 | 0.66352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1956 | μmol/L | 28.8915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.037 | 95480.8824 | 290939.5424 | 30.45 | 114.2
94138 | 2021-04-19 12:56 | 0.99667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1411 | μmol/L | 28.9038 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.036 | 95485.8022 | 290922.5155 | 30.45 | 114.2
94148 | 2021-04-19 12:57 | 1.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9428 | μmol/L | 28.9408 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.035 | 95488.1581 | 290913.1388 | 30.45 | 114.2
94158 | 2021-04-19 12:57 | 1.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.763 | μmol/L | 28.9716 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.035 | 95495.4291 | 290914.626 | 30.45 | 114.2
94168 | 2021-04-19 12:57 | 1.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.494 | μmol/L | 29.0147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.036 | 95498.8533 | 290898.5144 | 30.45 | 114.2
94178 | 2021-04-19 12:58 | 2.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3338 | μmol/L | 29.0332 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.039 | 95486.3805 | 290896.3239 | 30.45 | 114.2
94188 | 2021-04-19 12:58 | 2.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3485 | μmol/L | 29.0517 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.032 | 95483.5891 | 290883.3628 | 30.45 | 114.2
94198 | 2021-04-19 12:58 | 2.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.168 | μmol/L | 29.0886 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.03 | 95479.1452 | 290871.9453 | 30.45 | 114.2
94208 | 2021-04-19 12:59 | 3.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.007 | μmol/L | 29.1133 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.031 | 95469.8623 | 290848.0177 | 30.45 | 114.2
94218 | 2021-04-19 12:59 | 3.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.881 | μmol/L | 29.1379 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.03 | 95477.4322 | 290858.4308 | 30.45 | 114.2
94228 | 2021-04-19 12:59 | 3.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7715 | μmol/L | 29.1688 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.026 | 95465.2977 | 290838.3211 | 30.45 | 114.2
94238 | 2021-04-19 13:00 | 4.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7521 | μmol/L | 29.1811 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.023 | 95445.1252 | 290836.2353 | 30.45 | 114.2
94248 | 2021-04-19 13:00 | 4.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6251 | μmol/L | 29.2119 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.02 | 95439.4337 | 290818.6516 | 30.45 | 114.2
94258 | 2021-04-19 13:00 | 4.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4255 | μmol/L | 29.2612 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.015 | 95419.7851 | 290809.0437 | 30.45 | 114.2
94268 | 2021-04-19 13:01 | 5.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3354 | μmol/L | 29.2797 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.014 | 95393.545 | 290797.1543 | 30.45 | 114.2
94278 | 2021-04-19 13:01 | 5.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1574 | μmol/L | 29.3043 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.016 | 95384.1324 | 290799.2147 | 30.45 | 114.2
94288 | 2021-04-19 13:01 | 5.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1195 | μmol/L | 29.3228 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.012 | 95368.5275 | 290784.2215 | 30.45 | 114.2
94298 | 2021-04-19 13:02 | 6.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9569 | μmol/L | 29.3598 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.009 | 95363.2493 | 290771.1906 | 30.45 | 114.2
94308 | 2021-04-19 13:02 | 6.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9732 | μmol/L | 29.366 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.006 | 95349.0695 | 290765.5964 | 30.45 | 114.2
94318 | 2021-04-19 13:02 | 6.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8485 | μmol/L | 29.3844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.007 | 95341.7054 | 290761.4354 | 30.45 | 114.2
94328 | 2021-04-19 13:03 | 7.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7922 | μmol/L | 29.4091 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.002 | 95318.2601 | 290743.3245 | 30.45 | 114.2
94338 | 2021-04-19 13:03 | 7.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6653 | μmol/L | 29.4399 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.999 | 95307.5362 | 290749.9659 | 30.45 | 114.2
94348 | 2021-04-19 13:03 | 7.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5938 | μmol/L | 29.4522 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.999 | 95295.5051 | 290749.1758 | 30.45 | 114.2
94358 | 2021-04-19 13:04 | 8.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7337 | μmol/L | 29.4461 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.993 | 95295.1404 | 290732.0555 | 30.45 | 114.2
94368 | 2021-04-19 13:04 | 8.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5385 | μmol/L | 29.4707 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.996 | 95290.3466 | 290714.1455 | 30.45 | 114.2
94378 | 2021-04-19 13:04 | 8.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5537 | μmol/L | 29.483 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.991 | 95282.8665 | 290710.8831 | 30.45 | 114.2
94388 | 2021-04-19 13:05 | 9.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.4464 | μmol/L | 29.5015 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.991 | 95276.9599 | 290712.9195 | 30.45 | 114.2
94398 | 2021-04-19 13:05 | 9.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.3391 | μmol/L | 29.52 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.991 | 95289.882 | 290703.3512 | 30.45 | 114.2
94408 | 2021-04-19 13:05 | 9.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1454 | μmol/L | 29.5385 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.996 | 95286.3233 | 290686.4748 | 30.45 | 114.2
94418 | 2021-04-19 13:06 | 10.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2688 | μmol/L | 29.5262 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.993 | 95290.91 | 290673.8468 | 30.45 | 114.2
94428 | 2021-04-19 13:06 | 10.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.338 | μmol/L | 29.5262 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.989 | 95280.9722 | 290674.036 | 30.45 | 114.2
94438 | 2021-04-19 13:06 | 10.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2308 | μmol/L | 29.5447 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.989 | 95267.0305 | 290667.7587 | 30.45 | 114.2
94448 | 2021-04-19 13:07 | 11.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2425 | μmol/L | 29.5755 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.978 | 95251.7288 | 290664.3464 | 30.45 | 114.2
94458 | 2021-04-19 13:07 | 11.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9934 | μmol/L | 29.6125 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.98 | 95249.91 | 290663.2922 | 30.45 | 114.2
94468 | 2021-04-19 13:07 | 11.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8517 | μmol/L | 29.631 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.982 | 95247.8734 | 290655.3452 | 30.45 | 114.2
94478 | 2021-04-19 13:08 | 12.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9577 | μmol/L | 29.6186 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.98 | 95257.5191 | 290639.9017 | 30.45 | 114.2
94488 | 2021-04-19 13:08 | 12.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9231 | μmol/L | 29.6186 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.982 | 95245.2778 | 290635.6454 | 30.45 | 114.2
94498 | 2021-04-19 13:08 | 12.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8678 | μmol/L | 29.6371 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.979 | 95251.83 | 290633.7252 | 30.45 | 114.2
94508 | 2021-04-19 13:09 | 13.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6743 | μmol/L | 29.6556 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.984 | 95240.5135 | 290626.6579 | 30.45 | 114.2
94518 | 2021-04-19 13:09 | 13.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6709 | μmol/L | 29.6741 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.978 | 95223.0161 | 290616.4077 | 30.45 | 114.2
94528 | 2021-04-19 13:09 | 13.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5822 | μmol/L | 29.6864 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.979 | 95217.6795 | 290616.3043 | 30.45 | 114.2
94538 | 2021-04-19 13:10 | 14.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5787 | μmol/L | 29.7049 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.973 | 95195.5406 | 290609.9459 | 30.45 | 114.2
94548 | 2021-04-19 13:10 | 14.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4395 | μmol/L | 29.7111 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.979 | 95211.8114 | 290604.3812 | 30.45 | 114.2
94558 | 2021-04-19 13:10 | 14.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3348 | μmol/L | 29.7172 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.983 | 95216.4517 | 290599.4609 | 30.45 | 114.2
94568 | 2021-04-19 13:11 | 15.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1934 | μmol/L | 29.7357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.985 | 95244.3925 | 290593.2919 | 30.45 | 114.2
94578 | 2021-04-19 13:11 | 15.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0545 | μmol/L | 29.7419 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.991 | 95252.8366 | 290589.8268 | 30.45 | 114.2
94588 | 2021-04-19 13:11 | 15.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8801 | μmol/L | 29.7542 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.997 | 95262.4011 | 290560.102 | 30.45 | 114.2
94598 | 2021-04-19 13:12 | 16.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8101 | μmol/L | 29.7604 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.999 | 95281.3029 | 290567.0204 | 30.45 | 114.2
94608 | 2021-04-19 13:12 | 16.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7266 | μmol/L | 29.7481 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.008 | 95335.1325 | 290569.5062 | 30.45 | 114.2
94618 | 2021-04-19 13:12 | 16.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5378 | μmol/L | 29.7481 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.019 | 95404.1388 | 290568.4087 | 30.45 | 114.2
94628 | 2021-04-19 13:13 | 17.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.085 | μmol/L | 29.785 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.033 | 95460.4007 | 290553.2431 | 30.45 | 114.2
94638 | 2021-04-19 13:13 | 17.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7015 | μmol/L | 29.822 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.043 | 95493.7278 | 290558.0742 | 30.45 | 114.2
94648 | 2021-04-19 13:13 | 17.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7382 | μmol/L | 29.8097 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.045 | 95516.4749 | 290536.0432 | 30.45 | 114.2
94658 | 2021-04-19 13:14 | 18.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7736 | μmol/L | 29.8035 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.045 | 95507.7919 | 290531.3175 | 30.45 | 114.2
94668 | 2021-04-19 13:14 | 18.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.6187 | μmol/L | 29.8097 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.052 | 95539.4887 | 290532.4571 | 30.45 | 114.2
94678 | 2021-04-19 13:14 | 18.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.5335 | μmol/L | 29.8097 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.057 | 95570.7639 | 290525.1723 | 30.45 | 114.2
94688 | 2021-04-19 13:15 | 19.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2741 | μmol/L | 29.8282 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.066 | 95622.2588 | 290514.9998 | 30.45 | 114.2
94698 | 2021-04-19 13:15 | 19.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0504 | μmol/L | 29.8405 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.075 | 95645.978 | 290514.4067 | 30.45 | 114.2
94708 | 2021-04-19 13:15 | 19.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0687 | μmol/L | 29.8344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.076 | 95689.0243 | 290504.1809 | 30.45 | 114.2
94718 | 2021-04-19 13:16 | 20.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.8491 | μmol/L | 29.8282 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.091 | 95715.7653 | 290498.791 | 30.45 | 114.2
94728 | 2021-04-19 13:16 | 20.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5881 | μmol/L | 29.859 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.096 | 95763.4775 | 290496.3543 | 30.45 | 114.2
94738 | 2021-04-19 13:16 | 20.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.6951 | μmol/L | 29.8344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.098 | 95783.9575 | 290471.386 | 30.45 | 114.2
94748 | 2021-04-19 13:17 | 21.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5269 | μmol/L | 29.8282 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.11 | 95826.0605 | 290473.9133 | 30.45 | 114.2
94758 | 2021-04-19 13:17 | 21.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.1622 | μmol/L | 29.8713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.117 | 95854.7059 | 290459.7773 | 30.45 | 114.2
94768 | 2021-04-19 13:17 | 21.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0582 | μmol/L | 29.8837 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.119 | 95874.7863 | 290456.8678 | 30.45 | 114.2