## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94110 | 2021-04-19 12:55 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.0991 | μmol/L | 28.8285 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.672 | 133497.5239 | 299267.5179 | 33.25 | 68.6
94120 | 2021-04-19 12:56 | 0.32648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.9299 | μmol/L | 28.8652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 133474.6026 | 299259.7513 | 33.25 | 68.6
94130 | 2021-04-19 12:56 | 0.66026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.8783 | μmol/L | 28.8652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.672 | 133488.454 | 299276.3722 | 33.25 | 68.6
94140 | 2021-04-19 12:56 | 0.99332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.7679 | μmol/L | 28.8835 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.672 | 133495.8039 | 299264.6727 | 33.25 | 68.6
94150 | 2021-04-19 12:57 | 1.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.6552 | μmol/L | 28.9079 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.67 | 133487.5144 | 299244.6801 | 33.25 | 68.6
94160 | 2021-04-19 12:57 | 1.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.4714 | μmol/L | 28.9384 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.67 | 133487.9974 | 299234.0311 | 33.25 | 68.6
94170 | 2021-04-19 12:57 | 1.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.2901 | μmol/L | 28.9628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.672 | 133480.515 | 299220.2508 | 33.25 | 68.6
94180 | 2021-04-19 12:58 | 2.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.1457 | μmol/L | 28.9811 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.674 | 133450.2749 | 299209.7909 | 33.25 | 68.6
94190 | 2021-04-19 12:58 | 2.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.087 | μmol/L | 28.9994 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.671 | 133448.5404 | 299207.166 | 33.25 | 68.6
94200 | 2021-04-19 12:58 | 2.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.977 | μmol/L | 29.0177 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.671 | 133424.5336 | 299201.4868 | 33.25 | 68.6
94210 | 2021-04-19 12:59 | 3.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.8278 | μmol/L | 29.0482 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 133415.8837 | 299200.7983 | 33.25 | 68.6
94220 | 2021-04-19 12:59 | 3.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.6641 | μmol/L | 29.0727 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.67 | 133347.7251 | 299191.6063 | 33.25 | 68.6
94230 | 2021-04-19 12:59 | 3.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4271 | μmol/L | 29.1093 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.671 | 133277.3491 | 299180.0429 | 33.25 | 68.6
94240 | 2021-04-19 13:00 | 4.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.349 | μmol/L | 29.1337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.667 | 133246.6751 | 299163.6698 | 33.25 | 68.6
94250 | 2021-04-19 13:00 | 4.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3466 | μmol/L | 29.1398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.665 | 133232.5826 | 299156.1677 | 33.25 | 68.6
94260 | 2021-04-19 13:00 | 4.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1855 | μmol/L | 29.1581 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.668 | 133216.4792 | 299174.4792 | 33.25 | 68.6
94270 | 2021-04-19 13:01 | 5.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.0587 | μmol/L | 29.1764 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 133202.2897 | 299136.8289 | 33.25 | 68.6
94280 | 2021-04-19 13:01 | 5.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8978 | μmol/L | 29.1947 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.672 | 133210.0323 | 299125.9206 | 33.25 | 68.6
94290 | 2021-04-19 13:01 | 5.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8027 | μmol/L | 29.2191 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 133201.8817 | 299117.7161 | 33.25 | 68.6
94300 | 2021-04-19 13:02 | 6.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.693 | μmol/L | 29.2375 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 133197.2966 | 299112.1279 | 33.25 | 68.6
94310 | 2021-04-19 13:02 | 6.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.5884 | μmol/L | 29.2436 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.673 | 133190.1642 | 299112.0585 | 33.25 | 68.6
94320 | 2021-04-19 13:02 | 6.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4909 | μmol/L | 29.2741 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.668 | 133191.5086 | 299103.0165 | 33.25 | 68.6
94330 | 2021-04-19 13:03 | 7.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.3813 | μmol/L | 29.2924 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.668 | 133173.4162 | 299100.3698 | 33.25 | 68.6
94340 | 2021-04-19 13:03 | 7.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.3303 | μmol/L | 29.2924 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.671 | 133166.8088 | 299087.2985 | 33.25 | 68.6
94350 | 2021-04-19 13:03 | 7.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2378 | μmol/L | 29.3107 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.67 | 133162.6991 | 299076.6614 | 33.25 | 68.6
94360 | 2021-04-19 13:04 | 8.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2209 | μmol/L | 29.3107 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.671 | 133156.1232 | 299076.8468 | 33.25 | 68.6
94370 | 2021-04-19 13:04 | 8.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.9876 | μmol/L | 29.3412 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.674 | 133147.371 | 299069.0856 | 33.25 | 68.6
94380 | 2021-04-19 13:04 | 8.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.9995 | μmol/L | 29.3534 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 133149.7448 | 299054.4596 | 33.25 | 68.6
94390 | 2021-04-19 13:05 | 9.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8901 | μmol/L | 29.3717 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 133145.8283 | 299045.4959 | 33.25 | 68.6
94400 | 2021-04-19 13:05 | 9.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7444 | μmol/L | 29.3962 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 133141.6596 | 299043.9856 | 33.25 | 68.6
94410 | 2021-04-19 13:05 | 9.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6571 | μmol/L | 29.4023 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.672 | 133146.683 | 299034.9798 | 33.25 | 68.6
94420 | 2021-04-19 13:06 | 10.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6571 | μmol/L | 29.4023 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.672 | 133130.4091 | 299020.446 | 33.25 | 68.6
94430 | 2021-04-19 13:06 | 10.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5335 | μmol/L | 29.4145 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.675 | 133126.7166 | 299004.5951 | 33.25 | 68.6
94440 | 2021-04-19 13:06 | 10.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4556 | μmol/L | 29.4389 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.671 | 133114.0701 | 299001.9925 | 33.25 | 68.6
94450 | 2021-04-19 13:07 | 11.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.349 | μmol/L | 29.4511 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.673 | 133103.9236 | 298997.6429 | 33.25 | 68.6
94460 | 2021-04-19 13:07 | 11.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4361 | μmol/L | 29.445 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.67 | 133103.5366 | 298988.2236 | 33.25 | 68.6
94470 | 2021-04-19 13:07 | 11.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2762 | μmol/L | 29.4633 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.673 | 133092.2174 | 298972.873 | 33.25 | 68.6
94480 | 2021-04-19 13:08 | 12.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1021 | μmol/L | 29.4755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.679 | 133109.608 | 298985.3359 | 33.25 | 68.6
94490 | 2021-04-19 13:08 | 12.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1722 | μmol/L | 29.4694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.677 | 133128.1298 | 298980.6406 | 33.25 | 68.6
94500 | 2021-04-19 13:08 | 12.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.923 | μmol/L | 29.4999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.681 | 133138.4727 | 298953.4732 | 33.25 | 68.6
94510 | 2021-04-19 13:09 | 13.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8361 | μmol/L | 29.506 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.684 | 133145.4847 | 298959.796 | 33.25 | 68.6
94520 | 2021-04-19 13:09 | 13.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7518 | μmol/L | 29.506 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.689 | 133174.5722 | 298975.4812 | 33.25 | 68.6
94530 | 2021-04-19 13:09 | 13.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.766 | μmol/L | 29.5121 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.686 | 133175.0725 | 298955.9914 | 33.25 | 68.6
94540 | 2021-04-19 13:10 | 14.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7271 | μmol/L | 29.5243 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.684 | 133196.5738 | 298961.6389 | 33.25 | 68.6
94550 | 2021-04-19 13:10 | 14.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5535 | μmol/L | 29.5366 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.69 | 133210.1622 | 298944.3853 | 33.25 | 68.6
94560 | 2021-04-19 13:10 | 14.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.4499 | μmol/L | 29.5427 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.694 | 133237.4477 | 298944.1472 | 33.25 | 68.6
94570 | 2021-04-19 13:11 | 15.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.4136 | μmol/L | 29.5488 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.694 | 133259.5113 | 298930.1507 | 33.25 | 68.6
94580 | 2021-04-19 13:11 | 15.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.38 | μmol/L | 29.5488 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.696 | 133272.4497 | 298914.1975 | 33.25 | 68.6
94590 | 2021-04-19 13:11 | 15.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3826 | μmol/L | 29.5427 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.698 | 133285.5835 | 298918.4177 | 33.25 | 68.6
94600 | 2021-04-19 13:12 | 16.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1704 | μmol/L | 29.5671 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.702 | 133291.1382 | 298914.6628 | 33.25 | 68.6
94610 | 2021-04-19 13:12 | 16.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9611 | μmol/L | 29.5854 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.708 | 133346.8411 | 298916.1214 | 33.25 | 68.6
94620 | 2021-04-19 13:12 | 16.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9999 | μmol/L | 29.5732 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.71 | 133368.9925 | 298906.6071 | 33.25 | 68.6
94630 | 2021-04-19 13:13 | 17.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9663 | μmol/L | 29.5732 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.712 | 133411.4035 | 298890.7318 | 33.25 | 68.6
94640 | 2021-04-19 13:13 | 17.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7714 | μmol/L | 29.5976 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.715 | 133458.6839 | 298891.1739 | 33.25 | 68.6
94650 | 2021-04-19 13:13 | 17.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5069 | μmol/L | 29.6281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.72 | 133482.1437 | 298879.738 | 33.25 | 68.6
94660 | 2021-04-19 13:14 | 18.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5316 | μmol/L | 29.6098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.725 | 133492.3114 | 298865.8825 | 33.25 | 68.6
94670 | 2021-04-19 13:14 | 18.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.462 | μmol/L | 29.6159 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.727 | 133504.3816 | 298863.1116 | 33.25 | 68.6
94680 | 2021-04-19 13:14 | 18.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3951 | μmol/L | 29.6159 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.731 | 133517.004 | 298854.5158 | 33.25 | 68.6
94690 | 2021-04-19 13:15 | 19.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2314 | μmol/L | 29.6464 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.73 | 133513.3027 | 298844.8183 | 33.25 | 68.6
94700 | 2021-04-19 13:15 | 19.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1285 | μmol/L | 29.6525 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.734 | 133536.0855 | 298844.4192 | 33.25 | 68.6
94710 | 2021-04-19 13:15 | 19.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2561 | μmol/L | 29.6281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.735 | 133556.7309 | 298832.934 | 33.25 | 68.6
94720 | 2021-04-19 13:16 | 20.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0891 | μmol/L | 29.6281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.745 | 133579.2861 | 298823.4678 | 33.25 | 68.6
94730 | 2021-04-19 13:16 | 20.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0364 | μmol/L | 29.6342 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.746 | 133625.4018 | 298820.8125 | 33.25 | 68.6
94740 | 2021-04-19 13:16 | 20.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9283 | μmol/L | 29.6525 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.746 | 133636.6449 | 298816.155 | 33.25 | 68.6
94750 | 2021-04-19 13:17 | 21.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7976 | μmol/L | 29.6464 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.756 | 133670.5688 | 298796.8738 | 33.25 | 68.6
94760 | 2021-04-19 13:17 | 21.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8836 | μmol/L | 29.6403 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.753 | 133686.1576 | 298788.3133 | 33.25 | 68.6
94770 | 2021-04-19 13:17 | 21.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8363 | μmol/L | 29.6342 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.758 | 133702.7792 | 298784.4876 | 33.25 | 68.6