## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94112 | 2021-04-19 12:55 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.3235 | μmol/L | 28.7413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.89 | 118733.0417 | 266345.9011 | 32.55 | 27.7
94122 | 2021-04-19 12:56 | 0.32939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.1032 | μmol/L | 28.7843 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.888 | 118729.6712 | 266326.2535 | 32.55 | 27.7
94132 | 2021-04-19 12:56 | 0.66254 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0273 | μmol/L | 28.8211 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.88 | 118710.015 | 266308.914 | 32.55 | 27.7
94142 | 2021-04-19 12:56 | 0.99567 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.1537 | μmol/L | 28.8149 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.875 | 118694.6672 | 266272.1491 | 32.55 | 27.7
94152 | 2021-04-19 12:57 | 1.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9893 | μmol/L | 28.8395 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.876 | 118687.1368 | 266274.5551 | 32.55 | 27.7
94162 | 2021-04-19 12:57 | 1.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.7319 | μmol/L | 28.8947 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.872 | 118689.9705 | 266241.8704 | 32.55 | 27.7
94172 | 2021-04-19 12:57 | 1.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6022 | μmol/L | 28.9315 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.867 | 118678.8582 | 266214.1163 | 32.55 | 27.7
94182 | 2021-04-19 12:58 | 2.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.5269 | μmol/L | 28.9622 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.861 | 118657.7297 | 266208.1703 | 32.55 | 27.7
94192 | 2021-04-19 12:58 | 2.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.651 | μmol/L | 28.9744 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.85 | 118643.965 | 266194.586 | 32.55 | 27.7
94202 | 2021-04-19 12:58 | 2.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6847 | μmol/L | 28.9928 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.842 | 118612.7601 | 266187.9538 | 32.55 | 27.7
94212 | 2021-04-19 12:59 | 3.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.3935 | μmol/L | 29.0296 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.846 | 118621.2939 | 266174.2704 | 32.55 | 27.7
94222 | 2021-04-19 12:59 | 3.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.2272 | μmol/L | 29.0726 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.841 | 118622.8207 | 266164.4288 | 32.55 | 27.7
94232 | 2021-04-19 12:59 | 3.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.207 | μmol/L | 29.091 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.836 | 118623.1682 | 266151.0158 | 32.55 | 27.7
94242 | 2021-04-19 13:00 | 4.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.9505 | μmol/L | 29.14 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.834 | 118612.3421 | 266131.3495 | 32.55 | 27.7
94252 | 2021-04-19 13:00 | 4.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.8215 | μmol/L | 29.1707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.831 | 118618.5798 | 266124.9441 | 32.55 | 27.7
94262 | 2021-04-19 13:00 | 4.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.8744 | μmol/L | 29.1769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.826 | 118614.7858 | 266123.3315 | 32.55 | 27.7
94272 | 2021-04-19 13:01 | 5.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.9094 | μmol/L | 29.183 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.822 | 118614.0464 | 266121.8477 | 32.55 | 27.7
94282 | 2021-04-19 13:01 | 5.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.6902 | μmol/L | 29.2198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.822 | 118603.9128 | 266091.9675 | 32.55 | 27.7
94292 | 2021-04-19 13:01 | 5.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.5798 | μmol/L | 29.2443 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.82 | 118605.338 | 266092.5329 | 32.55 | 27.7
94302 | 2021-04-19 13:02 | 6.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.3876 | μmol/L | 29.2873 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.816 | 118608.6447 | 266089.246 | 32.55 | 27.7
94312 | 2021-04-19 13:02 | 6.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.3398 | μmol/L | 29.3057 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.813 | 118599.664 | 266067.7726 | 32.55 | 27.7
94322 | 2021-04-19 13:02 | 6.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2757 | μmol/L | 29.3241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.81 | 118595.2053 | 266075.985 | 32.55 | 27.7
94332 | 2021-04-19 13:03 | 7.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2108 | μmol/L | 29.3363 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.81 | 118588.422 | 266066.5064 | 32.55 | 27.7
94342 | 2021-04-19 13:03 | 7.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.1646 | μmol/L | 29.3548 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.806 | 118585.2045 | 266074.1627 | 32.55 | 27.7
94352 | 2021-04-19 13:03 | 7.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.6992 | μmol/L | 29.3732 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.826 | 118766.7197 | 266064.32 | 32.55 | 27.7
94362 | 2021-04-19 13:04 | 8.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.344 | μmol/L | 29.3732 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.846 | 118873.2321 | 266054.379 | 32.55 | 27.7
94372 | 2021-04-19 13:04 | 8.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5872 | μmol/L | 29.3425 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.843 | 118860.7034 | 266036.6247 | 32.55 | 27.7
94382 | 2021-04-19 13:04 | 8.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.2315 | μmol/L | 29.4161 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.838 | 118829.7425 | 266033.7197 | 32.55 | 27.7
94392 | 2021-04-19 13:05 | 9.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3565 | μmol/L | 29.41 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.833 | 118805.7649 | 266028.4451 | 32.55 | 27.7
94402 | 2021-04-19 13:05 | 9.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3352 | μmol/L | 29.4345 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.826 | 118799.171 | 266023.3876 | 32.55 | 27.7
94412 | 2021-04-19 13:05 | 9.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.2457 | μmol/L | 29.4406 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.829 | 118830.4578 | 266018.4264 | 32.55 | 27.7
94422 | 2021-04-19 13:06 | 10.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.0312 | μmol/L | 29.4529 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.837 | 118881.6619 | 266007.1059 | 32.55 | 27.7
94432 | 2021-04-19 13:06 | 10.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.9958 | μmol/L | 29.4529 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.839 | 118914.524 | 266003.6868 | 32.55 | 27.7
94442 | 2021-04-19 13:06 | 10.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.8523 | μmol/L | 29.4652 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.843 | 118964.5916 | 265995.5666 | 32.55 | 27.7
94452 | 2021-04-19 13:07 | 11.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.1562 | μmol/L | 29.5143 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.866 | 119052.3784 | 265999.1773 | 32.55 | 27.7
94462 | 2021-04-19 13:07 | 11.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3892 | μmol/L | 29.4897 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.861 | 119069.2572 | 265987.9125 | 32.55 | 27.7
94472 | 2021-04-19 13:07 | 11.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.7993 | μmol/L | 29.5449 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.876 | 119169.9943 | 265974.2958 | 32.55 | 27.7
94482 | 2021-04-19 13:08 | 12.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.7827 | μmol/L | 29.5388 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.879 | 119228.424 | 265960.5926 | 32.55 | 27.7
94492 | 2021-04-19 13:08 | 12.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5718 | μmol/L | 29.5388 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.891 | 119294.7383 | 265973.1919 | 32.55 | 27.7
94502 | 2021-04-19 13:08 | 12.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.6255 | μmol/L | 29.5327 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.89 | 119320.6352 | 265952.5092 | 32.55 | 27.7
94512 | 2021-04-19 13:09 | 13.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3377 | μmol/L | 29.5756 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.892 | 119328.5716 | 265972.1019 | 32.55 | 27.7
94522 | 2021-04-19 13:09 | 13.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.215 | μmol/L | 29.5756 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.899 | 119377.7789 | 265938.9097 | 32.55 | 27.7
94532 | 2021-04-19 13:09 | 13.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7724 | μmol/L | 29.6063 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.914 | 119456.3279 | 265958.8946 | 32.55 | 27.7
94542 | 2021-04-19 13:10 | 14.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.5988 | μmol/L | 29.6001 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.926 | 119571.1284 | 265948.3969 | 32.55 | 27.7
94552 | 2021-04-19 13:10 | 14.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4961 | μmol/L | 29.5879 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.936 | 119669.8933 | 265935.2634 | 32.55 | 27.7
94562 | 2021-04-19 13:10 | 14.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4849 | μmol/L | 29.5511 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.949 | 119747.7443 | 265937.2512 | 32.55 | 27.7
94572 | 2021-04-19 13:11 | 15.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.2347 | μmol/L | 29.5879 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.951 | 119771.2188 | 265926.5427 | 32.55 | 27.7
94582 | 2021-04-19 13:11 | 15.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.2009 | μmol/L | 29.5817 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.955 | 119793.1569 | 265913.1125 | 32.55 | 27.7
94592 | 2021-04-19 13:11 | 15.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8662 | μmol/L | 29.6063 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.966 | 119876.9228 | 265909.6619 | 32.55 | 27.7
94602 | 2021-04-19 13:12 | 16.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5787 | μmol/L | 29.6615 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.964 | 119824.1032 | 265918.3291 | 32.55 | 27.7
94612 | 2021-04-19 13:12 | 16.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5917 | μmol/L | 29.686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.955 | 119769.1654 | 265917.2433 | 32.55 | 27.7
94622 | 2021-04-19 13:12 | 16.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8587 | μmol/L | 29.6492 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.952 | 119776.0323 | 265895.1469 | 32.55 | 27.7
94632 | 2021-04-19 13:13 | 17.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5244 | μmol/L | 29.6738 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.963 | 119841.5369 | 265898.1144 | 32.55 | 27.7
94642 | 2021-04-19 13:13 | 17.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4333 | μmol/L | 29.6983 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.96 | 119859.3965 | 265899.5101 | 32.55 | 27.7
94652 | 2021-04-19 13:13 | 17.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5602 | μmol/L | 29.6676 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.963 | 119825.4662 | 265884.3182 | 32.55 | 27.7
94662 | 2021-04-19 13:14 | 18.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2936 | μmol/L | 29.7044 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.966 | 119869.9941 | 265883.255 | 32.55 | 27.7
94672 | 2021-04-19 13:14 | 18.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9245 | μmol/L | 29.7351 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.977 | 119938.1667 | 265857.8999 | 32.55 | 27.7
94682 | 2021-04-19 13:14 | 18.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1919 | μmol/L | 29.6922 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.976 | 119940.9674 | 265861.6428 | 32.55 | 27.7
94692 | 2021-04-19 13:15 | 19.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1087 | μmol/L | 29.6738 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.987 | 119973.5365 | 265862.8915 | 32.55 | 27.7
94702 | 2021-04-19 13:15 | 19.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9186 | μmol/L | 29.6738 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.998 | 120084.0269 | 265857.9571 | 32.55 | 27.7
94712 | 2021-04-19 13:15 | 19.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7459 | μmol/L | 29.6738 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.008 | 120127.85 | 265849.4869 | 32.55 | 27.7
94722 | 2021-04-19 13:16 | 20.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4597 | μmol/L | 29.729 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.006 | 120116.9599 | 265850.7119 | 32.55 | 27.7
94732 | 2021-04-19 13:16 | 20.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.2092 | μmol/L | 29.7781 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.004 | 120107.6329 | 265843.5769 | 32.55 | 27.7
94742 | 2021-04-19 13:16 | 20.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.1439 | μmol/L | 29.7597 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.014 | 120222.5176 | 265848.5274 | 32.55 | 27.7
94752 | 2021-04-19 13:17 | 21.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.0615 | μmol/L | 29.7413 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.025 | 120260.5862 | 265843.1881 | 32.55 | 27.7
94762 | 2021-04-19 13:17 | 21.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8873 | μmol/L | 29.7535 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.031 | 120287.4502 | 265823.2115 | 32.55 | 27.7
94772 | 2021-04-19 13:17 | 21.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.5088 | μmol/L | 29.7597 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.051 | 120432.764 | 265814.9745 | 32.55 | 27.7