## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98198 | 2021-04-19 16:17 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.3418 | μmol/L | 30.6189 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.603 | 116433.524 | 286478.6433 | 59.9307 | 49.4
98208 | 2021-04-19 16:17 | 0.34036 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6808 | μmol/L | 30.6251 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.696 | 116566.5863 | 286485.3811 | 59.9307 | 49.4
98218 | 2021-04-19 16:17 | 0.67431 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8161 | μmol/L | 30.687 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.783 | 116860.9164 | 286470.7762 | 59.9307 | 49.4
98228 | 2021-04-19 16:18 | 1.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.7486 | μmol/L | 30.6499 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.858 | 117099.5397 | 286467.7953 | 59.9307 | 49.4
98238 | 2021-04-19 16:18 | 1.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.2267 | μmol/L | 30.5694 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.916 | 116550.7203 | 286460.6475 | 59.9307 | 49.4
98248 | 2021-04-19 16:18 | 1.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.8922 | μmol/L | 30.6251 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.976 | 116147.32 | 286448.5431 | 59.9307 | 49.4
98258 | 2021-04-19 16:19 | 2.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.1343 | μmol/L | 30.5756 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.038 | 116160.7337 | 286457.0311 | 59.9307 | 49.4
98268 | 2021-04-19 16:19 | 2.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.8579 | μmol/L | 30.6065 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.104 | 116828.1751 | 286467.2946 | 59.9307 | 49.4
98278 | 2021-04-19 16:19 | 2.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.2929 | μmol/L | 30.557 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.155 | 117338.4004 | 286468.7012 | 59.9307 | 49.4
98288 | 2021-04-19 16:20 | 3.0076 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.4317 | μmol/L | 30.5694 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.203 | 117751.3859 | 286456.0197 | 59.9307 | 49.4
98298 | 2021-04-19 16:20 | 3.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.5348 | μmol/L | 30.6065 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.245 | 118030.2562 | 286467.7682 | 59.9307 | 49.4
98308 | 2021-04-19 16:20 | 3.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.7867 | μmol/L | 30.6003 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.293 | 118490.3485 | 286481.9953 | 59.9307 | 49.4
98318 | 2021-04-19 16:21 | 4.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.9496 | μmol/L | 30.6313 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.334 | 118862.4503 | 286478.0444 | 59.9307 | 49.4
98328 | 2021-04-19 16:21 | 4.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.7272 | μmol/L | 30.5694 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.369 | 119012.5702 | 286489.6198 | 59.9307 | 49.4
98338 | 2021-04-19 16:21 | 4.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.3443 | μmol/L | 30.557 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.397 | 119231.6197 | 286476.6926 | 59.9307 | 49.4
98348 | 2021-04-19 16:22 | 5.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.6817 | μmol/L | 30.5694 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.434 | 119636.2311 | 286477.1756 | 59.9307 | 49.4
98358 | 2021-04-19 16:22 | 5.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.2697 | μmol/L | 30.557 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.464 | 119820.941 | 286473.5029 | 59.9307 | 49.4
98368 | 2021-04-19 16:22 | 5.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.5101 | μmol/L | 30.588 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.501 | 120483.1074 | 286471.5593 | 59.9307 | 49.4
98378 | 2021-04-19 16:23 | 6.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1152 | μmol/L | 30.5818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.528 | 120681.2655 | 286493.6524 | 59.9307 | 49.4
98388 | 2021-04-19 16:23 | 6.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.6308 | μmol/L | 30.5632 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.565 | 121009.9167 | 286474.8869 | 59.9307 | 49.4
98398 | 2021-04-19 16:23 | 6.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.0924 | μmol/L | 30.5694 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.597 | 121404.3949 | 286484.2335 | 59.9307 | 49.4
98408 | 2021-04-19 16:24 | 7.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.69 | μmol/L | 30.5508 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.629 | 121513.9424 | 286496.7952 | 59.9307 | 49.4
98418 | 2021-04-19 16:24 | 7.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1864 | μmol/L | 30.557 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.659 | 121812.5546 | 286503.9767 | 59.9307 | 49.4
98428 | 2021-04-19 16:24 | 7.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1473 | μmol/L | 30.4889 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.685 | 122230.0452 | 286498.2807 | 59.9307 | 49.4
98438 | 2021-04-19 16:25 | 8.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.7125 | μmol/L | 30.4827 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.715 | 122730.1304 | 286509.1292 | 59.9307 | 49.4
98448 | 2021-04-19 16:25 | 8.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9959 | μmol/L | 30.3836 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.731 | 122687.4405 | 286494.5312 | 59.9307 | 49.4
98458 | 2021-04-19 16:25 | 8.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.3518 | μmol/L | 30.4455 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.751 | 122795.0172 | 286507.9558 | 59.9307 | 49.4
98468 | 2021-04-19 16:26 | 9.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.8269 | μmol/L | 30.4827 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.772 | 122922.2397 | 286490.6136 | 59.9307 | 49.4
98478 | 2021-04-19 16:26 | 9.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.3917 | μmol/L | 30.4889 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.798 | 123290.4485 | 286464.9106 | 59.9307 | 49.4
98488 | 2021-04-19 16:26 | 9.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.2549 | μmol/L | 30.4393 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.824 | 123472.8142 | 286474.7266 | 59.9307 | 49.4
98498 | 2021-04-19 16:27 | 10.0076 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.0478 | μmol/L | 30.4146 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.846 | 123595.7499 | 286465.5612 | 59.9307 | 49.4
98508 | 2021-04-19 16:27 | 10.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.725 | μmol/L | 30.4579 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.852 | 123612.6599 | 286471.7198 | 59.9307 | 49.4
98518 | 2021-04-19 16:27 | 10.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8698 | μmol/L | 30.396 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.864 | 123740.9342 | 286477.4697 | 59.9307 | 49.4
98528 | 2021-04-19 16:28 | 11.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5823 | μmol/L | 30.3836 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.887 | 123923.3379 | 286481.7324 | 59.9307 | 49.4
98538 | 2021-04-19 16:28 | 11.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.453 | μmol/L | 30.3588 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.904 | 124041.5621 | 286495.3683 | 59.9307 | 49.4
98548 | 2021-04-19 16:28 | 11.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.8018 | μmol/L | 30.427 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.923 | 124123.2406 | 286480.887 | 59.9307 | 49.4
98558 | 2021-04-19 16:29 | 12.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.6188 | μmol/L | 30.427 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.935 | 124233.0867 | 286473.3339 | 59.9307 | 49.4
98568 | 2021-04-19 16:29 | 12.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.5036 | μmol/L | 30.4084 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.949 | 124305.086 | 286483.9963 | 59.9307 | 49.4
98578 | 2021-04-19 16:29 | 12.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.506 | μmol/L | 30.3588 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.966 | 124386.656 | 286479.0783 | 59.9307 | 49.4
98588 | 2021-04-19 16:30 | 13.0076 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.2887 | μmol/L | 30.3712 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.976 | 124481.4858 | 286481.9264 | 59.9307 | 49.4
98598 | 2021-04-19 16:30 | 13.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.0345 | μmol/L | 30.4022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.982 | 124499.8281 | 286480.1156 | 59.9307 | 49.4
98608 | 2021-04-19 16:30 | 13.6743 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.8873 | μmol/L | 30.3898 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.996 | 124603.873 | 286473.7277 | 59.9307 | 49.4
98618 | 2021-04-19 16:31 | 14.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.6125 | μmol/L | 30.396 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.012 | 124672.6236 | 286485.268 | 59.9307 | 49.4
98628 | 2021-04-19 16:31 | 14.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.2777 | μmol/L | 30.4022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.032 | 124785.8647 | 286485.2079 | 59.9307 | 49.4
98638 | 2021-04-19 16:31 | 14.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.4209 | μmol/L | 30.3403 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.044 | 124851.6212 | 286472.7575 | 59.9307 | 49.4
98648 | 2021-04-19 16:32 | 15.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.5823 | μmol/L | 30.2907 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.05 | 124838.4246 | 286482.3328 | 59.9307 | 49.4
98658 | 2021-04-19 16:32 | 15.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.5165 | μmol/L | 30.2845 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.057 | 124867.9366 | 286488.3496 | 59.9307 | 49.4
98668 | 2021-04-19 16:32 | 15.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.9557 | μmol/L | 30.3341 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.077 | 125070.2062 | 286484.2615 | 59.9307 | 49.4
98678 | 2021-04-19 16:33 | 16.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.477 | μmol/L | 30.3898 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.089 | 125079.0755 | 286484.7219 | 59.9307 | 49.4
98688 | 2021-04-19 16:33 | 16.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.3592 | μmol/L | 30.3836 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.099 | 125089.6869 | 286480.6264 | 59.9307 | 49.4
98698 | 2021-04-19 16:33 | 16.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.2514 | μmol/L | 30.3712 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.111 | 124980.1333 | 286500.2974 | 59.9307 | 49.4
98708 | 2021-04-19 16:34 | 17.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.277 | μmol/L | 30.3217 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.126 | 125039.5307 | 286480.5037 | 59.9307 | 49.4
98718 | 2021-04-19 16:34 | 17.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.0083 | μmol/L | 30.3403 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.138 | 125036.9176 | 286481.7766 | 59.9307 | 49.4
98728 | 2021-04-19 16:34 | 17.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.8342 | μmol/L | 30.3465 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.147 | 125123.4223 | 286475.3383 | 59.9307 | 49.4
98738 | 2021-04-19 16:35 | 18.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.6401 | μmol/L | 30.3465 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.16 | 125220.7498 | 286494.9012 | 59.9307 | 49.4
98748 | 2021-04-19 16:35 | 18.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.3181 | μmol/L | 30.3712 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.173 | 125091.3833 | 286490.8422 | 59.9307 | 49.4
98758 | 2021-04-19 16:35 | 18.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.1076 | μmol/L | 30.3774 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.185 | 125179.0885 | 286497.4871 | 59.9307 | 49.4
98768 | 2021-04-19 16:36 | 19.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.927 | μmol/L | 30.3836 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.195 | 125283.6349 | 286480.6812 | 59.9307 | 49.4
98778 | 2021-04-19 16:36 | 19.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.0712 | μmol/L | 30.3155 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.209 | 125274.3466 | 286466.6296 | 59.9307 | 49.4
98788 | 2021-04-19 16:36 | 19.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.5611 | μmol/L | 30.3712 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.224 | 125407.4439 | 286481.3229 | 59.9307 | 49.4
98798 | 2021-04-19 16:37 | 20.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.2044 | μmol/L | 30.396 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.24 | 125584.6114 | 286479.471 | 59.9307 | 49.4
98808 | 2021-04-19 16:37 | 20.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.912 | μmol/L | 30.4084 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.255 | 125694.1107 | 286463.3406 | 59.9307 | 49.4
98818 | 2021-04-19 16:37 | 20.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.5468 | μmol/L | 30.4208 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.276 | 125882.0193 | 286478.6913 | 59.9307 | 49.4
98828 | 2021-04-19 16:38 | 21.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.3678 | μmol/L | 30.4084 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.292 | 125639.376 | 286477.8817 | 59.9307 | 49.4
98838 | 2021-04-19 16:38 | 21.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.3527 | μmol/L | 30.3712 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.306 | 125946.3957 | 286474.4245 | 59.9307 | 49.4
98848 | 2021-04-19 16:38 | 21.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.3621 | μmol/L | 30.3465 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.314 | 125770.1473 | 286476.9231 | 59.9307 | 49.4
98858 | 2021-04-19 16:39 | 22.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.9037 | μmol/L | 30.396 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.328 | 125744.355 | 286470.3067 | 59.9307 | 49.4
98868 | 2021-04-19 16:39 | 22.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.57 | μmol/L | 30.3898 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.353 | 126394.0368 | 286465.1967 | 59.9307 | 49.4
98878 | 2021-04-19 16:39 | 22.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.1985 | μmol/L | 30.4084 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.372 | 126271.3625 | 286474.0583 | 59.9307 | 49.4
98888 | 2021-04-19 16:40 | 23.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.4019 | μmol/L | 30.3341 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.384 | 126110.5592 | 286484.4575 | 59.9307 | 49.4
98898 | 2021-04-19 16:40 | 23.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.3409 | μmol/L | 30.3031 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.399 | 126250.2883 | 286490.0262 | 59.9307 | 49.4
98908 | 2021-04-19 16:40 | 23.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.905 | μmol/L | 30.3403 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.416 | 126407.1488 | 286479.3231 | 59.9307 | 49.4
98918 | 2021-04-19 16:41 | 24.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.8009 | μmol/L | 30.3093 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.434 | 126684.7677 | 286480.0061 | 59.9307 | 49.4
98928 | 2021-04-19 16:41 | 24.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.1449 | μmol/L | 30.396 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.449 | 126780.1753 | 286484.6484 | 59.9307 | 49.4
98938 | 2021-04-19 16:41 | 24.6743 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.0777 | μmol/L | 30.3465 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.471 | 126909.7205 | 286489.6842 | 59.9307 | 49.4
98948 | 2021-04-19 16:42 | 25.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.5804 | μmol/L | 30.4022 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.486 | 127145.0152 | 286503.316 | 59.9307 | 49.4
98958 | 2021-04-19 16:42 | 25.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.4535 | μmol/L | 30.396 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.497 | 126969.8796 | 286473.2512 | 59.9307 | 49.4
98968 | 2021-04-19 16:42 | 25.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.25 | μmol/L | 30.4022 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.509 | 126877.8459 | 286480.112 | 59.9307 | 49.4
98978 | 2021-04-19 16:43 | 26.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.315 | μmol/L | 30.3465 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.524 | 127146.4157 | 286495.9188 | 59.9307 | 49.4
98988 | 2021-04-19 16:43 | 26.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.1956 | μmol/L | 30.3217 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.541 | 127271.2036 | 286495.6216 | 59.9307 | 49.4
98998 | 2021-04-19 16:43 | 26.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.5419 | μmol/L | 30.3836 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.565 | 127546.1159 | 286493.265 | 59.9307 | 49.4
99008 | 2021-04-19 16:44 | 27.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.1855 | μmol/L | 30.3836 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.59 | 127802.3483 | 286489.1814 | 59.9307 | 49.4
99018 | 2021-04-19 16:44 | 27.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.9679 | μmol/L | 30.3588 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.614 | 127857.035 | 286491.7113 | 59.9307 | 49.4
99028 | 2021-04-19 16:44 | 27.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.3716 | μmol/L | 30.396 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.643 | 128006.2421 | 286490.5712 | 59.9307 | 49.4
99038 | 2021-04-19 16:45 | 28.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.0108 | μmol/L | 30.4146 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.662 | 128269.6507 | 286478.7621 | 59.9307 | 49.4
99048 | 2021-04-19 16:45 | 28.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.665 | μmol/L | 30.4331 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.68 | 128375.8248 | 286487.1935 | 59.9307 | 49.4
99058 | 2021-04-19 16:45 | 28.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.4961 | μmol/L | 30.4331 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.692 | 128503.5077 | 286483.3862 | 59.9307 | 49.4
99068 | 2021-04-19 16:46 | 29.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.2724 | μmol/L | 30.396 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.721 | 128848.1681 | 286464.053 | 59.9307 | 49.4
99078 | 2021-04-19 16:46 | 29.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.0519 | μmol/L | 30.4208 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.728 | 128603.1582 | 286466.807 | 59.9307 | 49.4
99088 | 2021-04-19 16:46 | 29.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.6131 | μmol/L | 30.4331 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.755 | 128988.2464 | 286490.0656 | 59.9307 | 49.4
99098 | 2021-04-19 16:47 | 30.0077 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.2643 | μmol/L | 30.4331 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.78 | 129259.2866 | 286492.6507 | 59.9307 | 49.4
99108 | 2021-04-19 16:47 | 30.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.2543 | μmol/L | 30.3898 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.796 | 129125.2778 | 286481.1932 | 59.9307 | 49.4
99118 | 2021-04-19 16:47 | 30.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.2467 | μmol/L | 30.3403 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.814 | 129392.7677 | 286499.9211 | 59.9307 | 49.4
99128 | 2021-04-19 16:48 | 31.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.1922 | μmol/L | 30.3031 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.831 | 129519.2384 | 286479.552 | 59.9307 | 49.4
99138 | 2021-04-19 16:48 | 31.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.8928 | μmol/L | 30.3217 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.846 | 129371.7368 | 286484.9515 | 59.9307 | 49.4
99148 | 2021-04-19 16:48 | 31.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.5738 | μmol/L | 30.3217 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.869 | 129799.4346 | 286483.3758 | 59.9307 | 49.4
99158 | 2021-04-19 16:49 | 32.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.5751 | μmol/L | 30.2845 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.882 | 129597.7445 | 286489.4216 | 59.9307 | 49.4
99168 | 2021-04-19 16:49 | 32.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.1251 | μmol/L | 30.3031 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.908 | 129865.7176 | 286485.3086 | 59.9307 | 49.4
99178 | 2021-04-19 16:49 | 32.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.4034 | μmol/L | 30.3836 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.932 | 130188.3894 | 286496.4784 | 59.9307 | 49.4
99188 | 2021-04-19 16:50 | 33.0076 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.3381 | μmol/L | 30.3093 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.963 | 130366.7571 | 286495.4161 | 59.9307 | 49.4
99198 | 2021-04-19 16:50 | 33.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.8869 | μmol/L | 30.3403 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.985 | 130648.738 | 286505.1011 | 59.9307 | 49.4
99208 | 2021-04-19 16:50 | 33.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.6025 | μmol/L | 30.3341 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.008 | 130859.4154 | 286489.018 | 59.9307 | 49.4
99218 | 2021-04-19 16:51 | 34.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.3402 | μmol/L | 30.3093 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.036 | 130869.4147 | 286494.8798 | 59.9307 | 49.4
99228 | 2021-04-19 16:51 | 34.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.8003 | μmol/L | 30.365 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.056 | 131147.4394 | 286496.6448 | 59.9307 | 49.4
99238 | 2021-04-19 16:51 | 34.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.7158 | μmol/L | 30.3403 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.071 | 131254.793 | 286501.3701 | 59.9307 | 49.4
99248 | 2021-04-19 16:52 | 35.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.7501 | μmol/L | 30.2907 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.086 | 131294.7882 | 286499.0455 | 59.9307 | 49.4
99258 | 2021-04-19 16:52 | 35.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.2234 | μmol/L | 30.3526 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.103 | 131470.7506 | 286502.8257 | 59.9307 | 49.4