## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98199 | 2021-04-19 16:17 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.1934 | μmol/L | 30.7393 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.831 | 135353.422 | 296904.5308 | 33.25 | 68.6
98209 | 2021-04-19 16:17 | 0.33011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.2696 | μmol/L | 30.7088 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.9 | 135813.0501 | 296911.0225 | 33.25 | 68.6
98219 | 2021-04-19 16:17 | 0.66306 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.2827 | μmol/L | 30.6599 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.98 | 136320.3679 | 296895.1954 | 33.25 | 68.6
98229 | 2021-04-19 16:18 | 0.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.487 | μmol/L | 30.6782 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.024 | 136680.8459 | 296904.8423 | 33.25 | 68.6
98239 | 2021-04-19 16:18 | 1.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.0955 | μmol/L | 30.6782 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.049 | 136850.0408 | 296895.4682 | 33.25 | 68.6
98249 | 2021-04-19 16:18 | 1.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.4312 | μmol/L | 30.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.096 | 137146.22 | 296893.415 | 33.25 | 68.6
98259 | 2021-04-19 16:19 | 1.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.673 | μmol/L | 30.6905 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.136 | 137408.369 | 296899.9089 | 33.25 | 68.6
98269 | 2021-04-19 16:19 | 2.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.2587 | μmol/L | 30.6844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.165 | 137606.6954 | 296898.4769 | 33.25 | 68.6
98279 | 2021-04-19 16:19 | 2.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.969 | μmol/L | 30.6782 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.186 | 137778.6382 | 296912.274 | 33.25 | 68.6
98289 | 2021-04-19 16:20 | 2.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.6238 | μmol/L | 30.6905 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.204 | 137903.2821 | 296919.2443 | 33.25 | 68.6
98299 | 2021-04-19 16:20 | 3.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0714 | μmol/L | 30.6905 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.24 | 138050.8143 | 296918.383 | 33.25 | 68.6
98309 | 2021-04-19 16:20 | 3.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.148 | μmol/L | 30.6905 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.235 | 138088.9289 | 296925.8522 | 33.25 | 68.6
98319 | 2021-04-19 16:21 | 3.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0048 | μmol/L | 30.6721 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.251 | 138220.5255 | 296937.4243 | 33.25 | 68.6
98329 | 2021-04-19 16:21 | 4.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.794 | μmol/L | 30.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.267 | 138337.3514 | 296923.1885 | 33.25 | 68.6
98339 | 2021-04-19 16:21 | 4.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.792 | μmol/L | 30.6416 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.276 | 138396.0473 | 296937.0579 | 33.25 | 68.6
98349 | 2021-04-19 16:22 | 4.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3954 | μmol/L | 30.6416 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.302 | 138561.8696 | 296932.8197 | 33.25 | 68.6
98359 | 2021-04-19 16:22 | 5.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.8997 | μmol/L | 30.5744 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.359 | 138956.9305 | 296951.3948 | 33.25 | 68.6
98369 | 2021-04-19 16:22 | 5.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.5783 | μmol/L | 30.6355 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.358 | 138959.3638 | 296955.768 | 33.25 | 68.6
98379 | 2021-04-19 16:23 | 5.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.7987 | μmol/L | 30.5928 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.359 | 138973.8449 | 296960.6492 | 33.25 | 68.6
98389 | 2021-04-19 16:23 | 6.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.876 | μmol/L | 30.5622 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.365 | 139002.2996 | 296957.9395 | 33.25 | 68.6
98399 | 2021-04-19 16:23 | 6.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.7902 | μmol/L | 30.5805 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.364 | 139009.4744 | 296963.7981 | 33.25 | 68.6
98409 | 2021-04-19 16:24 | 6.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.1028 | μmol/L | 30.5928 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.405 | 139259.9834 | 296954.6173 | 33.25 | 68.6
98419 | 2021-04-19 16:24 | 7.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.0787 | μmol/L | 30.5683 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.482 | 139823.4641 | 296945.5912 | 33.25 | 68.6
98429 | 2021-04-19 16:24 | 7.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.9091 | μmol/L | 30.55 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.5 | 139941.7845 | 296959.8416 | 33.25 | 68.6
98439 | 2021-04-19 16:25 | 7.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.7349 | μmol/L | 30.5134 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.525 | 140116.2054 | 296964.27 | 33.25 | 68.6
98449 | 2021-04-19 16:25 | 8.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.6684 | μmol/L | 30.5256 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.525 | 140130.4722 | 296959.0062 | 33.25 | 68.6
98459 | 2021-04-19 16:25 | 8.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.4677 | μmol/L | 30.5378 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.534 | 140186.0263 | 296961.8153 | 33.25 | 68.6
98469 | 2021-04-19 16:26 | 8.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.4763 | μmol/L | 30.4951 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.549 | 140312.5437 | 296956.317 | 33.25 | 68.6
98479 | 2021-04-19 16:26 | 9.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.1366 | μmol/L | 30.5439 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.554 | 140332.1353 | 296950.1541 | 33.25 | 68.6
98489 | 2021-04-19 16:26 | 9.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.1366 | μmol/L | 30.5439 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.554 | 140330.3379 | 296952.176 | 33.25 | 68.6
98499 | 2021-04-19 16:27 | 9.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.3341 | μmol/L | 30.4828 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.563 | 140386.1169 | 296956.0924 | 33.25 | 68.6
98509 | 2021-04-19 16:27 | 10.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.2183 | μmol/L | 30.4767 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.573 | 140478.0785 | 296965.606 | 33.25 | 68.6
98519 | 2021-04-19 16:27 | 10.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.8596 | μmol/L | 30.5073 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.586 | 140556.4158 | 296972.9815 | 33.25 | 68.6
98529 | 2021-04-19 16:28 | 10.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.946 | μmol/L | 30.4584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.598 | 140661.7208 | 296961.6178 | 33.25 | 68.6
98539 | 2021-04-19 16:28 | 11.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.5948 | μmol/L | 30.4767 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.615 | 140750.8656 | 296969.1366 | 33.25 | 68.6
98549 | 2021-04-19 16:28 | 11.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.2472 | μmol/L | 30.4096 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.663 | 141120.2385 | 296963.7982 | 33.25 | 68.6
98559 | 2021-04-19 16:29 | 11.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.9193 | μmol/L | 30.4157 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.683 | 141210.1872 | 296970.6811 | 33.25 | 68.6
98569 | 2021-04-19 16:29 | 12.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.8469 | μmol/L | 30.4401 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.679 | 141216.7149 | 296958.8724 | 33.25 | 68.6
98579 | 2021-04-19 16:29 | 12.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.6815 | μmol/L | 30.4462 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.688 | 141274.5811 | 296962.5395 | 33.25 | 68.6
98589 | 2021-04-19 16:30 | 12.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.496 | μmol/L | 30.4096 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.714 | 141404.6065 | 296970.7203 | 33.25 | 68.6
98599 | 2021-04-19 16:30 | 13.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.0458 | μmol/L | 30.4279 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.738 | 141591.2354 | 296964.7826 | 33.25 | 68.6
98609 | 2021-04-19 16:30 | 13.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.5676 | μmol/L | 30.4462 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.764 | 141788.9327 | 296963.2038 | 33.25 | 68.6
98619 | 2021-04-19 16:31 | 13.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.5647 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.791 | 141965.2103 | 296958.1807 | 33.25 | 68.6
98629 | 2021-04-19 16:31 | 14.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.6478 | μmol/L | 30.3546 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.792 | 141996.9622 | 296962.171 | 33.25 | 68.6
98639 | 2021-04-19 16:31 | 14.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.7153 | μmol/L | 30.3119 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.803 | 142076.1038 | 296974.7196 | 33.25 | 68.6
98649 | 2021-04-19 16:32 | 14.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.7474 | μmol/L | 30.2997 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.874 | 142564.3745 | 296969.5497 | 33.25 | 68.6
98659 | 2021-04-19 16:32 | 15.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9587 | μmol/L | 30.3913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.895 | 142724.1197 | 296971.2845 | 33.25 | 68.6
98669 | 2021-04-19 16:32 | 15.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.7685 | μmol/L | 30.4218 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.897 | 142737.6883 | 296963.4647 | 33.25 | 68.6
98679 | 2021-04-19 16:33 | 15.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.8722 | μmol/L | 30.3913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.901 | 142745.4321 | 296954.5003 | 33.25 | 68.6
98689 | 2021-04-19 16:33 | 16.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9717 | μmol/L | 30.3424 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.912 | 142852.1175 | 296961.0041 | 33.25 | 68.6
98699 | 2021-04-19 16:33 | 16.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1679 | μmol/L | 30.2753 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.923 | 142949.4229 | 296958.8737 | 33.25 | 68.6
98709 | 2021-04-19 16:34 | 16.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.7973 | μmol/L | 30.2936 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.942 | 143035.9317 | 296950.5802 | 33.25 | 68.6
98719 | 2021-04-19 16:34 | 17.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.4426 | μmol/L | 30.3363 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.951 | 143116.4696 | 296954.4716 | 33.25 | 68.6
98729 | 2021-04-19 16:34 | 17.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.0994 | μmol/L | 30.3852 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.957 | 143160.0677 | 296951.862 | 33.25 | 68.6
98739 | 2021-04-19 16:35 | 17.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.9635 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.962 | 143209.1949 | 296951.7631 | 33.25 | 68.6
98749 | 2021-04-19 16:35 | 18.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8949 | μmol/L | 30.3668 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.978 | 143289.3936 | 296944.1825 | 33.25 | 68.6
98759 | 2021-04-19 16:35 | 18.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.7913 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.983 | 143336.8205 | 296950.9175 | 33.25 | 68.6
98769 | 2021-04-19 16:36 | 18.9969 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5774 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.989 | 143381.7537 | 296958.2366 | 33.25 | 68.6
98779 | 2021-04-19 16:36 | 19.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.4489 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.998 | 143441.9148 | 296945.2279 | 33.25 | 68.6
98789 | 2021-04-19 16:36 | 19.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5056 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.003 | 143470.2494 | 296947.8626 | 33.25 | 68.6
98799 | 2021-04-19 16:37 | 19.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.3772 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.012 | 143519.8879 | 296957.2448 | 33.25 | 68.6
98809 | 2021-04-19 16:37 | 20.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.0219 | μmol/L | 30.4218 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.019 | 143604.6398 | 296959.28 | 33.25 | 68.6
98819 | 2021-04-19 16:37 | 20.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.0212 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.037 | 143720.409 | 296951.5242 | 33.25 | 68.6
98829 | 2021-04-19 16:38 | 20.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.4997 | μmol/L | 30.3913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.067 | 143947.5307 | 296948.6094 | 33.25 | 68.6
98839 | 2021-04-19 16:38 | 21.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.7332 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.119 | 144300.6547 | 296956.0607 | 33.25 | 68.6
98849 | 2021-04-19 16:38 | 21.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.3885 | μmol/L | 30.4096 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.139 | 144457.3808 | 296956.6103 | 33.25 | 68.6
98859 | 2021-04-19 16:39 | 21.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.3182 | μmol/L | 30.3852 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.153 | 144546.1972 | 296954.5434 | 33.25 | 68.6
98869 | 2021-04-19 16:39 | 22.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.3709 | μmol/L | 30.3913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.147 | 144505.7931 | 296953.7103 | 33.25 | 68.6
98879 | 2021-04-19 16:39 | 22.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.269 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.152 | 144523.0699 | 296946.199 | 33.25 | 68.6
98889 | 2021-04-19 16:40 | 22.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.2444 | μmol/L | 30.3913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.156 | 144539.1492 | 296952.5008 | 33.25 | 68.6
98899 | 2021-04-19 16:40 | 23.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.2515 | μmol/L | 30.4035 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.151 | 144531.4991 | 296962.1803 | 33.25 | 68.6
98909 | 2021-04-19 16:40 | 23.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.2936 | μmol/L | 30.379 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.157 | 144590.4365 | 296965.0826 | 33.25 | 68.6
98919 | 2021-04-19 16:41 | 23.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.2233 | μmol/L | 30.3546 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.171 | 144668.8533 | 296971.3468 | 33.25 | 68.6
98929 | 2021-04-19 16:41 | 24.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.4233 | μmol/L | 30.3241 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.168 | 144667.405 | 296961.1139 | 33.25 | 68.6
98939 | 2021-04-19 16:41 | 24.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.8484 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.191 | 144813.5869 | 296969.0347 | 33.25 | 68.6
98949 | 2021-04-19 16:42 | 24.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.4289 | μmol/L | 30.4218 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.203 | 144931.5646 | 296974.3187 | 33.25 | 68.6
98959 | 2021-04-19 16:42 | 25.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.5548 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.212 | 145010.2767 | 296963.8619 | 33.25 | 68.6
98969 | 2021-04-19 16:42 | 25.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.4991 | μmol/L | 30.3241 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.234 | 145143.3662 | 296953.2011 | 33.25 | 68.6
98979 | 2021-04-19 16:43 | 25.9969 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.5874 | μmol/L | 30.3852 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.277 | 145435.3322 | 296958.4786 | 33.25 | 68.6
98989 | 2021-04-19 16:43 | 26.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.0266 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.313 | 145697.975 | 296950.576 | 33.25 | 68.6
98999 | 2021-04-19 16:43 | 26.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.4894 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.361 | 146048.8572 | 296950.576 | 33.25 | 68.6
99009 | 2021-04-19 16:44 | 26.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.297 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.375 | 146136.1329 | 296955.0366 | 33.25 | 68.6
99019 | 2021-04-19 16:44 | 27.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.2177 | μmol/L | 30.3913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.374 | 146135.8292 | 296956.6945 | 33.25 | 68.6
99029 | 2021-04-19 16:44 | 27.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.3927 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.359 | 146010.5714 | 296944.1106 | 33.25 | 68.6
99039 | 2021-04-19 16:45 | 27.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.0769 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.382 | 146183.5674 | 296956.8834 | 33.25 | 68.6
99049 | 2021-04-19 16:45 | 28.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.9433 | μmol/L | 30.3913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.394 | 146298.2979 | 296950.2385 | 33.25 | 68.6
99059 | 2021-04-19 16:45 | 28.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.5703 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.419 | 146433.6709 | 296963.8118 | 33.25 | 68.6
99069 | 2021-04-19 16:46 | 28.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.8302 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.4 | 146319.7359 | 296963.2995 | 33.25 | 68.6
99079 | 2021-04-19 16:46 | 29.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.8987 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.395 | 146280.7677 | 296982.1303 | 33.25 | 68.6
99089 | 2021-04-19 16:46 | 29.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.9814 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.398 | 146303.8945 | 296968.6335 | 33.25 | 68.6
99099 | 2021-04-19 16:47 | 29.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.7243 | μmol/L | 30.3913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.41 | 146401.6059 | 296978.6309 | 33.25 | 68.6
99109 | 2021-04-19 16:47 | 30.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.052 | μmol/L | 30.3974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.457 | 146733.601 | 296959.4534 | 33.25 | 68.6
99119 | 2021-04-19 16:47 | 30.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.9403 | μmol/L | 30.379 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.472 | 146820.7758 | 296968.4047 | 33.25 | 68.6
99129 | 2021-04-19 16:48 | 30.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4823 | μmol/L | 30.3729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.508 | 147098.2035 | 296977.9583 | 33.25 | 68.6
99139 | 2021-04-19 16:48 | 31.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.235 | μmol/L | 30.379 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.524 | 147213.1152 | 296969.6074 | 33.25 | 68.6
99149 | 2021-04-19 16:48 | 31.6633 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4046 | μmol/L | 30.3668 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.516 | 147145.5918 | 296977.883 | 33.25 | 68.6
99159 | 2021-04-19 16:49 | 31.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.5702 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.501 | 147070.0651 | 296982.8227 | 33.25 | 68.6
99169 | 2021-04-19 16:49 | 32.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.1775 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.53 | 147233.5966 | 296981.2706 | 33.25 | 68.6
99179 | 2021-04-19 16:49 | 32.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.918 | μmol/L | 30.3668 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.552 | 147394.8241 | 296971.3296 | 33.25 | 68.6
99189 | 2021-04-19 16:50 | 32.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.9728 | μmol/L | 30.3424 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.557 | 147405.7299 | 296971.0021 | 33.25 | 68.6
99199 | 2021-04-19 16:50 | 33.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.803 | μmol/L | 30.3668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.56 | 147455.6401 | 296987.443 | 33.25 | 68.6
99209 | 2021-04-19 16:50 | 33.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.6825 | μmol/L | 30.3546 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.574 | 147575.6574 | 296975.9842 | 33.25 | 68.6
99219 | 2021-04-19 16:51 | 33.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.1208 | μmol/L | 30.3607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.613 | 147847.4475 | 296986.6653 | 33.25 | 68.6
99229 | 2021-04-19 16:51 | 34.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7493 | μmol/L | 30.3546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.643 | 148043.1261 | 296986.6398 | 33.25 | 68.6
99239 | 2021-04-19 16:51 | 34.6635 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.5016 | μmol/L | 30.3668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.657 | 148137.6034 | 296983.147 | 33.25 | 68.6
99249 | 2021-04-19 16:52 | 34.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4118 | μmol/L | 30.3607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.666 | 148224.8894 | 296987.0721 | 33.25 | 68.6
99259 | 2021-04-19 16:52 | 35.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.7669 | μmol/L | 30.3485 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.719 | 148587.5915 | 296992.4614 | 33.25 | 68.6