## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97516 | 2021-04-19 15:42 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.9505 | μmol/L | 32.9098 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.647 | 119886.9755 | 289445.3446 | 59.9307 | 38.1
97526 | 2021-04-19 15:42 | 0.33665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.9673 | μmol/L | 32.8669 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.723 | 120364.7853 | 289458.2985 | 59.9307 | 38.1
97536 | 2021-04-19 15:42 | 0.67 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.2253 | μmol/L | 32.7994 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.793 | 120792.0213 | 289442.7346 | 59.9307 | 38.1
97546 | 2021-04-19 15:43 | 1.0032 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.1972 | μmol/L | 32.781 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.864 | 121266.5403 | 289429.7917 | 59.9307 | 38.1
97556 | 2021-04-19 15:43 | 1.3365 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.2424 | μmol/L | 32.7565 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.933 | 121706.229 | 289422.1936 | 59.9307 | 38.1
97566 | 2021-04-19 15:43 | 1.67 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.553 | μmol/L | 32.7136 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.992 | 122122.1348 | 289413.8681 | 59.9307 | 38.1
97576 | 2021-04-19 15:44 | 2.0033 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.6412 | μmol/L | 32.689 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.059 | 122530.6957 | 289410.3539 | 59.9307 | 38.1
97586 | 2021-04-19 15:44 | 2.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.1361 | μmol/L | 32.6339 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.111 | 122901.6953 | 289410.5246 | 59.9307 | 38.1
97596 | 2021-04-19 15:44 | 2.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.5454 | μmol/L | 32.6032 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.16 | 123235.6788 | 289408.3603 | 59.9307 | 38.1
97606 | 2021-04-19 15:45 | 3.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.8574 | μmol/L | 32.5909 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.209 | 123557.2818 | 289414.2949 | 59.9307 | 38.1
97616 | 2021-04-19 15:45 | 3.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.4208 | μmol/L | 32.5358 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.257 | 123854.5556 | 289385.9039 | 59.9307 | 38.1
97626 | 2021-04-19 15:45 | 3.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.8759 | μmol/L | 32.5235 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.297 | 124107.3774 | 289399.8623 | 59.9307 | 38.1
97636 | 2021-04-19 15:46 | 4.0032 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.6609 | μmol/L | 32.456 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.335 | 124342.6615 | 289421.3176 | 59.9307 | 38.1
97646 | 2021-04-19 15:46 | 4.3366 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.0206 | μmol/L | 32.4622 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.375 | 124565.7495 | 289421.6078 | 59.9307 | 38.1
97656 | 2021-04-19 15:46 | 4.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.5269 | μmol/L | 32.4499 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.412 | 124762.3053 | 289415.8513 | 59.9307 | 38.1
97666 | 2021-04-19 15:47 | 5.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.1961 | μmol/L | 32.4131 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.447 | 124983.8013 | 289396.9464 | 59.9307 | 38.1
97676 | 2021-04-19 15:47 | 5.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.9941 | μmol/L | 32.3579 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.48 | 125200.5527 | 289405.4924 | 59.9307 | 38.1
97686 | 2021-04-19 15:47 | 5.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.5969 | μmol/L | 32.3395 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.513 | 125410.5244 | 289384.1362 | 59.9307 | 38.1
97696 | 2021-04-19 15:48 | 6.0031 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.5254 | μmol/L | 32.2966 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.533 | 125533.8203 | 289402.6421 | 59.9307 | 38.1
97706 | 2021-04-19 15:48 | 6.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.2018 | μmol/L | 32.2844 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.559 | 125711.6618 | 289388.5488 | 59.9307 | 38.1
97716 | 2021-04-19 15:48 | 6.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.8492 | μmol/L | 32.2721 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.587 | 125903.1824 | 289407.4553 | 59.9307 | 38.1
97726 | 2021-04-19 15:49 | 7.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.6146 | μmol/L | 32.2292 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.618 | 126088.19 | 289398.3419 | 59.9307 | 38.1
97736 | 2021-04-19 15:49 | 7.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.2515 | μmol/L | 32.2108 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.649 | 126277.9954 | 289407.0223 | 59.9307 | 38.1
97746 | 2021-04-19 15:49 | 7.67 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.1467 | μmol/L | 32.1434 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.68 | 126465.9954 | 289388.6296 | 59.9307 | 38.1
97756 | 2021-04-19 15:50 | 8.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.8493 | μmol/L | 32.1127 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.711 | 126641.8593 | 289388.1827 | 59.9307 | 38.1
97766 | 2021-04-19 15:50 | 8.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.5154 | μmol/L | 32.1004 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.738 | 126829.969 | 289387.9441 | 59.9307 | 38.1
97776 | 2021-04-19 15:50 | 8.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.1185 | μmol/L | 32.1004 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.765 | 126977.8938 | 289383.8928 | 59.9307 | 38.1
97786 | 2021-04-19 15:51 | 9.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.8209 | μmol/L | 32.0759 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.794 | 127135.4429 | 289386.3315 | 59.9307 | 38.1
97796 | 2021-04-19 15:51 | 9.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.6462 | μmol/L | 32.0391 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.819 | 127296.3214 | 289380.9126 | 59.9307 | 38.1
97806 | 2021-04-19 15:51 | 9.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.4545 | μmol/L | 32.0085 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.843 | 127447.496 | 289393.1763 | 59.9307 | 38.1
97816 | 2021-04-19 15:52 | 10.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.2778 | μmol/L | 31.9778 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.866 | 127582.5799 | 289396.4468 | 59.9307 | 38.1
97826 | 2021-04-19 15:52 | 10.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.0645 | μmol/L | 31.9656 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.885 | 127707.015 | 289395.1436 | 59.9307 | 38.1
97836 | 2021-04-19 15:52 | 10.67 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.0558 | μmol/L | 31.9165 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.903 | 127820.5322 | 289386.2937 | 59.9307 | 38.1
97846 | 2021-04-19 15:53 | 11.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.7123 | μmol/L | 31.9043 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.931 | 128017.3772 | 289382.9351 | 59.9307 | 38.1
97856 | 2021-04-19 15:53 | 11.3365 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.4642 | μmol/L | 31.8736 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.959 | 128182.7123 | 289383.5493 | 59.9307 | 38.1
97866 | 2021-04-19 15:53 | 11.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.1733 | μmol/L | 31.8429 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.99 | 128349.1499 | 289393.7633 | 59.9307 | 38.1
97876 | 2021-04-19 15:54 | 12.003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.984 | μmol/L | 31.8123 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.014 | 128532.9799 | 289388.4677 | 59.9307 | 38.1
97886 | 2021-04-19 15:54 | 12.3365 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.7324 | μmol/L | 31.7939 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.038 | 128716.3249 | 289406.656 | 59.9307 | 38.1
97896 | 2021-04-19 15:54 | 12.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.4044 | μmol/L | 31.7878 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.063 | 128847.3454 | 289381.7012 | 59.9307 | 38.1
97906 | 2021-04-19 15:55 | 13.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.3192 | μmol/L | 31.751 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.082 | 128997.425 | 289400.7242 | 59.9307 | 38.1
97916 | 2021-04-19 15:55 | 13.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.069 | μmol/L | 31.7326 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.106 | 129165.5911 | 289402.1399 | 59.9307 | 38.1
97926 | 2021-04-19 15:55 | 13.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.8361 | μmol/L | 31.7081 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.131 | 129334.312 | 289398.1286 | 59.9307 | 38.1
97936 | 2021-04-19 15:56 | 14.0033 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.4871 | μmol/L | 31.6897 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.162 | 129482.162 | 289391.4461 | 59.9307 | 38.1
97946 | 2021-04-19 15:56 | 14.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.3122 | μmol/L | 31.6652 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.183 | 129637.9992 | 289391.9753 | 59.9307 | 38.1
97956 | 2021-04-19 15:56 | 14.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.0331 | μmol/L | 31.6529 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.207 | 129777.7118 | 289384.1701 | 59.9307 | 38.1
97966 | 2021-04-19 15:57 | 15.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.828 | μmol/L | 31.6345 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.228 | 129884.5837 | 289381.7582 | 59.9307 | 38.1
97976 | 2021-04-19 15:57 | 15.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.6232 | μmol/L | 31.6161 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.249 | 129998.5914 | 289371.5732 | 59.9307 | 38.1
97986 | 2021-04-19 15:57 | 15.6699 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4214 | μmol/L | 31.5916 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.272 | 130149.4437 | 289370.1126 | 59.9307 | 38.1
97996 | 2021-04-19 15:58 | 16.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.1891 | μmol/L | 31.5732 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.295 | 130298.5639 | 289369.1845 | 59.9307 | 38.1
98006 | 2021-04-19 15:58 | 16.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.9548 | μmol/L | 31.561 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.316 | 130412.8621 | 289362.8075 | 59.9307 | 38.1
98016 | 2021-04-19 15:58 | 16.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.6954 | μmol/L | 31.5426 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.341 | 130563.8472 | 289346.6758 | 59.9307 | 38.1
98026 | 2021-04-19 15:59 | 17.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.4391 | μmol/L | 31.5181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.368 | 130716.6723 | 289352.3867 | 59.9307 | 38.1
98036 | 2021-04-19 15:59 | 17.3365 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2037 | μmol/L | 31.5119 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.387 | 130854.3901 | 289334.5791 | 59.9307 | 38.1
98046 | 2021-04-19 15:59 | 17.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.0182 | μmol/L | 31.4874 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.409 | 130999.7469 | 289336.9182 | 59.9307 | 38.1
98056 | 2021-04-19 16:00 | 18.003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.8305 | μmol/L | 31.469 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.429 | 131147.0345 | 289319.0673 | 59.9307 | 38.1
98066 | 2021-04-19 16:00 | 18.3366 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.485 | μmol/L | 31.4629 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.456 | 131290.3751 | 289308.6618 | 59.9307 | 38.1
98076 | 2021-04-19 16:00 | 18.6698 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.3031 | μmol/L | 31.4322 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.48 | 131462.6038 | 289320.1967 | 59.9307 | 38.1
98086 | 2021-04-19 16:01 | 19.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.0611 | μmol/L | 31.4139 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.504 | 131623.9906 | 289308.8846 | 59.9307 | 38.1
98096 | 2021-04-19 16:01 | 19.3366 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.7895 | μmol/L | 31.4016 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.528 | 131751.4584 | 289297.6299 | 59.9307 | 38.1
98106 | 2021-04-19 16:01 | 19.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.5899 | μmol/L | 31.3832 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.549 | 131867.1526 | 289293.5667 | 59.9307 | 38.1
98116 | 2021-04-19 16:02 | 20.0034 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.2892 | μmol/L | 31.3771 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.573 | 131997.7293 | 289281.738 | 59.9307 | 38.1
98126 | 2021-04-19 16:02 | 20.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.2029 | μmol/L | 31.3526 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.588 | 132082.5167 | 289272.2984 | 59.9307 | 38.1
98136 | 2021-04-19 16:02 | 20.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.0867 | μmol/L | 31.3342 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.603 | 132167.4875 | 289276.3279 | 59.9307 | 38.1
98146 | 2021-04-19 16:03 | 21.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.831 | μmol/L | 31.3219 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.626 | 132329.215 | 289269.9464 | 59.9307 | 38.1
98156 | 2021-04-19 16:03 | 21.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.4911 | μmol/L | 31.3158 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.653 | 132498.102 | 289272.1806 | 59.9307 | 38.1
98166 | 2021-04-19 16:03 | 21.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.2826 | μmol/L | 31.2913 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.677 | 132587.1473 | 289273.9399 | 59.9307 | 38.1
98176 | 2021-04-19 16:04 | 22.0031 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.1648 | μmol/L | 31.279 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.69 | 132682.9147 | 289273.9995 | 59.9307 | 38.1
98186 | 2021-04-19 16:04 | 22.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.8454 | μmol/L | 31.2606 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.72 | 132875.6277 | 289267.2579 | 59.9307 | 38.1