## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97517 | 2021-04-19 15:42 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.5281 | μmol/L | 32.631 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.985 | 94280.7641 | 209821.3887 | 27.3 | 43.4
97527 | 2021-04-19 15:42 | 0.32959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6231 | μmol/L | 32.5881 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.05 | 94595.2811 | 209833.4891 | 27.3 | 43.4
97537 | 2021-04-19 15:42 | 0.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.871 | μmol/L | 32.539 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.109 | 94899.0701 | 209828.3806 | 27.3 | 43.4
97547 | 2021-04-19 15:43 | 0.99697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9739 | μmol/L | 32.5022 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.172 | 95170.2747 | 209829.3192 | 27.3 | 43.4
97557 | 2021-04-19 15:43 | 1.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.2426 | μmol/L | 32.4654 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.226 | 95429.6655 | 209818.4882 | 27.3 | 43.4
97567 | 2021-04-19 15:43 | 1.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.6987 | μmol/L | 32.4163 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.274 | 95677.3132 | 209826.6198 | 27.3 | 43.4
97577 | 2021-04-19 15:44 | 1.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.1509 | μmol/L | 32.3795 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.318 | 95890.8546 | 209820.3305 | 27.3 | 43.4
97587 | 2021-04-19 15:44 | 2.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.5526 | μmol/L | 32.3427 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.365 | 96116.087 | 209821.1299 | 27.3 | 43.4
97597 | 2021-04-19 15:44 | 2.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.9302 | μmol/L | 32.3243 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.407 | 96311.5956 | 209822.7358 | 27.3 | 43.4
97607 | 2021-04-19 15:45 | 2.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.518 | μmol/L | 32.2752 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.448 | 96520.7738 | 209834.6835 | 27.3 | 43.4
97617 | 2021-04-19 15:45 | 3.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.0376 | μmol/L | 32.2262 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.493 | 96737.6555 | 209824.9008 | 27.3 | 43.4
97627 | 2021-04-19 15:45 | 3.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.4977 | μmol/L | 32.1955 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.535 | 96947.0315 | 209832.1194 | 27.3 | 43.4
97637 | 2021-04-19 15:46 | 3.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.1672 | μmol/L | 32.1648 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.565 | 97091.2071 | 209837.4349 | 27.3 | 43.4
97647 | 2021-04-19 15:46 | 4.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.8407 | μmol/L | 32.128 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.597 | 97217.5742 | 209840.4585 | 27.3 | 43.4
97657 | 2021-04-19 15:46 | 4.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.5776 | μmol/L | 32.1035 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.621 | 97352.625 | 209833.5462 | 27.3 | 43.4
97667 | 2021-04-19 15:47 | 4.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.3477 | μmol/L | 32.0483 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.654 | 97492.1516 | 209826.5078 | 27.3 | 43.4
97677 | 2021-04-19 15:47 | 5.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.123 | μmol/L | 32.0176 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.678 | 97599.3567 | 209836.2857 | 27.3 | 43.4
97687 | 2021-04-19 15:47 | 5.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.9501 | μmol/L | 31.9869 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.699 | 97719.7182 | 209833.0735 | 27.3 | 43.4
97697 | 2021-04-19 15:48 | 5.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.3849 | μmol/L | 31.9563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.743 | 97888.6564 | 209830.6922 | 27.3 | 43.4
97707 | 2021-04-19 15:48 | 6.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.9317 | μmol/L | 31.944 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.774 | 98047.523 | 209829.0021 | 27.3 | 43.4
97717 | 2021-04-19 15:48 | 6.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.6002 | μmol/L | 31.8949 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.811 | 98217.8821 | 209814.091 | 27.3 | 43.4
97727 | 2021-04-19 15:49 | 6.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.3003 | μmol/L | 31.852 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.844 | 98390.6917 | 209810.5636 | 27.3 | 43.4
97737 | 2021-04-19 15:49 | 7.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.0962 | μmol/L | 31.8213 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.867 | 98499.0166 | 209808.1858 | 27.3 | 43.4
97747 | 2021-04-19 15:49 | 7.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.9461 | μmol/L | 31.7845 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.889 | 98603.0526 | 209804.5996 | 27.3 | 43.4
97757 | 2021-04-19 15:50 | 7.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.6156 | μmol/L | 31.7723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.913 | 98715.7117 | 209806.1405 | 27.3 | 43.4
97767 | 2021-04-19 15:50 | 8.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.4493 | μmol/L | 31.7355 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.936 | 98857.8494 | 209811.7034 | 27.3 | 43.4
97777 | 2021-04-19 15:50 | 8.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.1995 | μmol/L | 31.6987 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.964 | 98972.9007 | 209809.3457 | 27.3 | 43.4
97787 | 2021-04-19 15:51 | 8.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.0946 | μmol/L | 31.6742 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.979 | 99059.3248 | 209799.8187 | 27.3 | 43.4
97797 | 2021-04-19 15:51 | 9.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.8529 | μmol/L | 31.6558 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21 | 99114.2699 | 209808.2434 | 27.3 | 43.4
97807 | 2021-04-19 15:51 | 9.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.7848 | μmol/L | 31.6251 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.015 | 99195.8944 | 209810.2757 | 27.3 | 43.4
97817 | 2021-04-19 15:52 | 9.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.5968 | μmol/L | 31.6006 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.035 | 99285.7239 | 209809.7012 | 27.3 | 43.4
97827 | 2021-04-19 15:52 | 10.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.3185 | μmol/L | 31.5576 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.067 | 99445.7954 | 209809.8039 | 27.3 | 43.4
97837 | 2021-04-19 15:52 | 10.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.0212 | μmol/L | 31.5208 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.098 | 99574.6829 | 209817.0551 | 27.3 | 43.4
97847 | 2021-04-19 15:53 | 10.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.735 | μmol/L | 31.4963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.124 | 99695.4562 | 209804.8624 | 27.3 | 43.4
97857 | 2021-04-19 15:53 | 11.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.4495 | μmol/L | 31.4718 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.15 | 99803.1716 | 209803.4547 | 27.3 | 43.4
97867 | 2021-04-19 15:53 | 11.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.175 | μmol/L | 31.4595 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.171 | 99905.5166 | 209811.4413 | 27.3 | 43.4
97877 | 2021-04-19 15:54 | 11.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.1964 | μmol/L | 31.4166 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.185 | 99971.9246 | 209809.5387 | 27.3 | 43.4
97887 | 2021-04-19 15:54 | 12.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.2806 | μmol/L | 31.3798 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.193 | 100029.6567 | 209802.4975 | 27.3 | 43.4
97897 | 2021-04-19 15:54 | 12.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.9243 | μmol/L | 31.3675 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.219 | 100163.8834 | 209816.5241 | 27.3 | 43.4
97907 | 2021-04-19 15:55 | 12.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.5885 | μmol/L | 31.3491 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.246 | 100315.7831 | 209814.2596 | 27.3 | 43.4
97917 | 2021-04-19 15:55 | 13.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.3087 | μmol/L | 31.3185 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.274 | 100435.9071 | 209805.2477 | 27.3 | 43.4
97927 | 2021-04-19 15:55 | 13.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.1797 | μmol/L | 31.2817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.295 | 100535.8009 | 209812.9933 | 27.3 | 43.4
97937 | 2021-04-19 15:56 | 13.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.0109 | μmol/L | 31.2265 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.325 | 100691.7317 | 209812.2172 | 27.3 | 43.4
97947 | 2021-04-19 15:56 | 14.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.5544 | μmol/L | 31.2265 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.353 | 100835.9424 | 209803.0665 | 27.3 | 43.4
97957 | 2021-04-19 15:56 | 14.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.3155 | μmol/L | 31.1835 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.383 | 100957.6951 | 209807.9515 | 27.3 | 43.4
97967 | 2021-04-19 15:57 | 14.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.0356 | μmol/L | 31.159 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.409 | 101097.2622 | 209810.0388 | 27.3 | 43.4
97977 | 2021-04-19 15:57 | 15.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.6502 | μmol/L | 31.1529 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.435 | 101210.5986 | 209809.654 | 27.3 | 43.4
97987 | 2021-04-19 15:57 | 15.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.4563 | μmol/L | 31.1529 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.447 | 101279.0121 | 209808.5031 | 27.3 | 43.4
97997 | 2021-04-19 15:58 | 15.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.0693 | μmol/L | 31.1529 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.471 | 101376.5506 | 209799.4626 | 27.3 | 43.4
98007 | 2021-04-19 15:58 | 16.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.8434 | μmol/L | 31.1222 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.496 | 101495.9667 | 209795.5194 | 27.3 | 43.4
98017 | 2021-04-19 15:58 | 16.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.6461 | μmol/L | 31.067 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.528 | 101639.994 | 209785.6572 | 27.3 | 43.4
98027 | 2021-04-19 15:59 | 16.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.4148 | μmol/L | 31.0486 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.549 | 101757.1164 | 209779.5917 | 27.3 | 43.4
98037 | 2021-04-19 15:59 | 17.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.1201 | μmol/L | 31.0303 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.574 | 101870.9647 | 209777.551 | 27.3 | 43.4
98047 | 2021-04-19 15:59 | 17.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.8069 | μmol/L | 31.018 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.598 | 101982.0533 | 209775.1797 | 27.3 | 43.4
98057 | 2021-04-19 16:00 | 17.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.8786 | μmol/L | 30.9383 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.622 | 102104.3329 | 209778.9176 | 27.3 | 43.4
98067 | 2021-04-19 16:00 | 18.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.7473 | μmol/L | 30.9137 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.639 | 102182.9 | 209768.7819 | 27.3 | 43.4
98077 | 2021-04-19 16:00 | 18.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.2802 | μmol/L | 30.926 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.664 | 102278.3393 | 209763.0414 | 27.3 | 43.4
98087 | 2021-04-19 16:01 | 18.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.9789 | μmol/L | 30.926 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.683 | 102376.7162 | 209757.9945 | 27.3 | 43.4
98097 | 2021-04-19 16:01 | 19.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.7476 | μmol/L | 30.9137 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.702 | 102500.782 | 209766.1501 | 27.3 | 43.4
98107 | 2021-04-19 16:01 | 19.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.1951 | μmol/L | 30.9137 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.737 | 102663.4101 | 209763.0946 | 27.3 | 43.4
98117 | 2021-04-19 16:02 | 19.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.7012 | μmol/L | 30.8954 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.775 | 102835.629 | 209758.9334 | 27.3 | 43.4
98127 | 2021-04-19 16:02 | 20.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.4189 | μmol/L | 30.8954 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.793 | 102926.5072 | 209753.4781 | 27.3 | 43.4
98137 | 2021-04-19 16:02 | 20.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.1059 | μmol/L | 30.8954 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.813 | 102995.0145 | 209739.2129 | 27.3 | 43.4
98147 | 2021-04-19 16:03 | 20.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.6501 | μmol/L | 30.9015 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.84 | 103149.9128 | 209740.1536 | 27.3 | 43.4
98157 | 2021-04-19 16:03 | 21.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.2674 | μmol/L | 30.8892 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.869 | 103283.6152 | 209744.2816 | 27.3 | 43.4
98167 | 2021-04-19 16:03 | 21.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.9508 | μmol/L | 30.8708 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.896 | 103419.7526 | 209738.132 | 27.3 | 43.4
98177 | 2021-04-19 16:04 | 21.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.7465 | μmol/L | 30.8463 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.918 | 103506.9933 | 209739.4364 | 27.3 | 43.4
98187 | 2021-04-19 16:04 | 22.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.3569 | μmol/L | 30.8524 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.941 | 103628.7899 | 209745.5467 | 27.3 | 43.4