## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97518 | 2021-04-19 15:42 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.2529 | μmol/L | 32.9335 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.596 | 85559.1047 | 285691.7535 | 28.7 | 67.6
97528 | 2021-04-19 15:42 | 0.33877 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7653 | μmol/L | 32.9152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.694 | 86002.6416 | 285703.6636 | 28.7 | 67.6
97538 | 2021-04-19 15:42 | 0.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9643 | μmol/L | 32.8236 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.776 | 86392.4736 | 285708.9329 | 28.7 | 67.6
97548 | 2021-04-19 15:43 | 1.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.7857 | μmol/L | 32.8113 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.854 | 86727.2643 | 285704.3074 | 28.7 | 67.6
97558 | 2021-04-19 15:43 | 1.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.8567 | μmol/L | 32.793 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.919 | 87017.5238 | 285717.3327 | 28.7 | 67.6
97568 | 2021-04-19 15:43 | 1.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.1825 | μmol/L | 32.7441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.979 | 87304.6889 | 285705.2595 | 28.7 | 67.6
97578 | 2021-04-19 15:44 | 2.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.6579 | μmol/L | 32.6831 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.034 | 87549.2519 | 285707.1765 | 28.7 | 67.6
97588 | 2021-04-19 15:44 | 2.3392 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.2422 | μmol/L | 32.6281 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.08 | 87761.7052 | 285694.7567 | 28.7 | 67.6
97598 | 2021-04-19 15:44 | 2.6726 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4896 | μmol/L | 32.6403 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.124 | 87973.7636 | 285706.5051 | 28.7 | 67.6
97608 | 2021-04-19 15:45 | 3.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.9491 | μmol/L | 32.5976 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.174 | 88166.9888 | 285708.0133 | 28.7 | 67.6
97618 | 2021-04-19 15:45 | 3.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.6372 | μmol/L | 32.567 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.205 | 88348.2579 | 285713.1843 | 28.7 | 67.6
97628 | 2021-04-19 15:45 | 3.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.3078 | μmol/L | 32.5059 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.248 | 88505.4304 | 285711.8549 | 28.7 | 67.6
97638 | 2021-04-19 15:46 | 4.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.0282 | μmol/L | 32.4754 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.277 | 88658.4933 | 285713.4525 | 28.7 | 67.6
97648 | 2021-04-19 15:46 | 4.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.647 | μmol/L | 32.4327 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.317 | 88803.3597 | 285725.1645 | 28.7 | 67.6
97658 | 2021-04-19 15:46 | 4.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5114 | μmol/L | 32.3899 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.341 | 88925.1035 | 285723.2083 | 28.7 | 67.6
97668 | 2021-04-19 15:47 | 5.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.3325 | μmol/L | 32.341 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.37 | 89073.7084 | 285720.0149 | 28.7 | 67.6
97678 | 2021-04-19 15:47 | 5.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.2373 | μmol/L | 32.2739 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.4 | 89190.9877 | 285736.5505 | 28.7 | 67.6
97688 | 2021-04-19 15:47 | 5.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.945 | μmol/L | 32.2433 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.43 | 89326.4232 | 285724.2914 | 28.7 | 67.6
97698 | 2021-04-19 15:48 | 6.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.6157 | μmol/L | 32.2311 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.456 | 89439.2965 | 285707.5279 | 28.7 | 67.6
97708 | 2021-04-19 15:48 | 6.3394 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.1289 | μmol/L | 32.2372 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.486 | 89557.8102 | 285712.2421 | 28.7 | 67.6
97718 | 2021-04-19 15:48 | 6.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.9097 | μmol/L | 32.2189 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.507 | 89663.9414 | 285718.978 | 28.7 | 67.6
97728 | 2021-04-19 15:49 | 7.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.6928 | μmol/L | 32.1578 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.543 | 89789.9213 | 285704.0339 | 28.7 | 67.6
97738 | 2021-04-19 15:49 | 7.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4619 | μmol/L | 32.1334 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.567 | 89899.6906 | 285708.8892 | 28.7 | 67.6
97748 | 2021-04-19 15:49 | 7.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.516 | μmol/L | 32.0723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.585 | 89968.0062 | 285696.5553 | 28.7 | 67.6
97758 | 2021-04-19 15:50 | 8.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.0659 | μmol/L | 32.0723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.615 | 90088.515 | 285690.7612 | 28.7 | 67.6
97768 | 2021-04-19 15:50 | 8.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.9905 | μmol/L | 32.0357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.633 | 90197.0683 | 285689.2112 | 28.7 | 67.6
97778 | 2021-04-19 15:50 | 8.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.9395 | μmol/L | 31.9746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.658 | 90290.9933 | 285694.3314 | 28.7 | 67.6
97788 | 2021-04-19 15:51 | 9.0061 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.8413 | μmol/L | 31.9197 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.684 | 90429.695 | 285687.8903 | 28.7 | 67.6
97798 | 2021-04-19 15:51 | 9.3393 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5076 | μmol/L | 31.8952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.715 | 90558.0052 | 285695.9295 | 28.7 | 67.6
97808 | 2021-04-19 15:51 | 9.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.1678 | μmol/L | 31.8891 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.74 | 90663.0305 | 285689.8246 | 28.7 | 67.6
97818 | 2021-04-19 15:52 | 10.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.9842 | μmol/L | 31.8647 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.761 | 90752.1658 | 285690.6409 | 28.7 | 67.6
97828 | 2021-04-19 15:52 | 10.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.1005 | μmol/L | 31.7548 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.792 | 90874.5843 | 285688.5473 | 28.7 | 67.6
97838 | 2021-04-19 15:52 | 10.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.6172 | μmol/L | 31.7792 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.816 | 90994.7608 | 285678.1967 | 28.7 | 67.6
97848 | 2021-04-19 15:53 | 11.0061 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.096 | μmol/L | 31.7914 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.847 | 91112.8446 | 285689.1339 | 28.7 | 67.6
97858 | 2021-04-19 15:53 | 11.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.0682 | μmol/L | 31.7487 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.864 | 91212.275 | 285699.2541 | 28.7 | 67.6
97868 | 2021-04-19 15:53 | 11.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3558 | μmol/L | 31.651 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.879 | 91280.6575 | 285709.6687 | 28.7 | 67.6
97878 | 2021-04-19 15:54 | 12.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.9707 | μmol/L | 31.6571 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.903 | 91368.2539 | 285697.7756 | 28.7 | 67.6
97888 | 2021-04-19 15:54 | 12.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.6816 | μmol/L | 31.6449 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.927 | 91479.9107 | 285700.9793 | 28.7 | 67.6
97898 | 2021-04-19 15:54 | 12.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7001 | μmol/L | 31.596 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.943 | 91581.4973 | 285710.5132 | 28.7 | 67.6
97908 | 2021-04-19 15:55 | 13.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.5878 | μmol/L | 31.5044 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.983 | 91740.2136 | 285720.6726 | 28.7 | 67.6
97918 | 2021-04-19 15:55 | 13.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.892 | μmol/L | 31.5289 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.022 | 91914.6168 | 285736.4043 | 28.7 | 67.6
97928 | 2021-04-19 15:55 | 13.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.6951 | μmol/L | 31.5105 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.042 | 92025.755 | 285723.9969 | 28.7 | 67.6
97938 | 2021-04-19 15:56 | 14.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.6506 | μmol/L | 31.4739 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.058 | 92097.1923 | 285727.8968 | 28.7 | 67.6
97948 | 2021-04-19 15:56 | 14.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.5535 | μmol/L | 31.4617 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.069 | 92151.2826 | 285717.9389 | 28.7 | 67.6
97958 | 2021-04-19 15:56 | 14.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.4296 | μmol/L | 31.4434 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.084 | 92199.9242 | 285714.6842 | 28.7 | 67.6
97968 | 2021-04-19 15:57 | 15.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.2837 | μmol/L | 31.4067 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.107 | 92294.6625 | 285715.2066 | 28.7 | 67.6
97978 | 2021-04-19 15:57 | 15.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.0702 | μmol/L | 31.3579 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.139 | 92415.4551 | 285696.8539 | 28.7 | 67.6
97988 | 2021-04-19 15:57 | 15.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.0904 | μmol/L | 31.303 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.157 | 92529.8576 | 285682.6625 | 28.7 | 67.6
97998 | 2021-04-19 15:58 | 16.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.6118 | μmol/L | 31.3091 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.188 | 92650.0301 | 285682.7999 | 28.7 | 67.6
98008 | 2021-04-19 15:58 | 16.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4934 | μmol/L | 31.2785 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.207 | 92711.1457 | 285677.1911 | 28.7 | 67.6
98018 | 2021-04-19 15:58 | 16.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.2723 | μmol/L | 31.2541 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.231 | 92831.9342 | 285674.2384 | 28.7 | 67.6
98028 | 2021-04-19 15:59 | 17.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.8584 | μmol/L | 31.248 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.262 | 92933.3196 | 285659.6562 | 28.7 | 67.6
98038 | 2021-04-19 15:59 | 17.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.7363 | μmol/L | 31.2297 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.277 | 93057.2135 | 285662.0376 | 28.7 | 67.6
98048 | 2021-04-19 15:59 | 17.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.3693 | μmol/L | 31.2175 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.307 | 93190.3879 | 285653.688 | 28.7 | 67.6
98058 | 2021-04-19 16:00 | 18.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.0056 | μmol/L | 31.1992 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.339 | 93352.9131 | 285649.0152 | 28.7 | 67.6
98068 | 2021-04-19 16:00 | 18.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.8194 | μmol/L | 31.1259 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.378 | 93525.3226 | 285654.4224 | 28.7 | 67.6
98078 | 2021-04-19 16:00 | 18.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.2622 | μmol/L | 31.1381 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.413 | 93678.6762 | 285652.0001 | 28.7 | 67.6
98088 | 2021-04-19 16:01 | 19.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.1513 | μmol/L | 31.132 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.423 | 93722.4457 | 285628.7304 | 28.7 | 67.6
98098 | 2021-04-19 16:01 | 19.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.1389 | μmol/L | 31.0893 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.439 | 93783.907 | 285643.7451 | 28.7 | 67.6
98108 | 2021-04-19 16:01 | 19.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.2089 | μmol/L | 31.0526 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.447 | 93838.0821 | 285639.9098 | 28.7 | 67.6
98118 | 2021-04-19 16:02 | 20.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.1821 | μmol/L | 31.0099 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.464 | 93876.764 | 285623.4993 | 28.7 | 67.6
98128 | 2021-04-19 16:02 | 20.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.0217 | μmol/L | 30.9855 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.484 | 93950.1989 | 285628.6299 | 28.7 | 67.6
98138 | 2021-04-19 16:02 | 20.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.5644 | μmol/L | 31.0038 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.51 | 94066.9412 | 285601.8802 | 28.7 | 67.6
98148 | 2021-04-19 16:03 | 21.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.3716 | μmol/L | 30.955 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.541 | 94211.0374 | 285611.0728 | 28.7 | 67.6
98158 | 2021-04-19 16:03 | 21.3394 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.9423 | μmol/L | 30.9794 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.563 | 94283.4995 | 285595.0573 | 28.7 | 67.6
98168 | 2021-04-19 16:03 | 21.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.8908 | μmol/L | 30.9672 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.571 | 94338.0198 | 285608.5443 | 28.7 | 67.6
98178 | 2021-04-19 16:04 | 22.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.7159 | μmol/L | 30.9489 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.59 | 94428.5809 | 285597.7215 | 28.7 | 67.6
98188 | 2021-04-19 16:04 | 22.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.5664 | μmol/L | 30.9 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.618 | 94557.9011 | 285602.3624 | 28.7 | 67.6