## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 12:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
93232 | 2021-04-19 12:11 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.9367 | μmol/L | 28.8272 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.555 | 115121.8578 | 266937.7484 | 32.55 | 27.7
93242 | 2021-04-19 12:12 | 0.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.1874 | μmol/L | 28.907 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.569 | 115287.8587 | 266929.4563 | 32.55 | 27.7
93252 | 2021-04-19 12:12 | 0.66537 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.4968 | μmol/L | 28.9744 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.584 | 115402.9252 | 266897.4531 | 32.55 | 27.7
93262 | 2021-04-19 12:12 | 0.99848 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.1982 | μmol/L | 29.0112 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.588 | 115480.3372 | 266885.4227 | 32.55 | 27.7
93272 | 2021-04-19 12:13 | 1.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.1054 | μmol/L | 29.0174 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.591 | 115555.1868 | 266860.8304 | 32.55 | 27.7
93282 | 2021-04-19 12:13 | 1.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.9937 | μmol/L | 29.0296 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.593 | 115578.7021 | 266841.9334 | 32.55 | 27.7
93292 | 2021-04-19 12:13 | 1.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.8815 | μmol/L | 29.048 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.593 | 115590.2801 | 266836.7961 | 32.55 | 27.7
93302 | 2021-04-19 12:14 | 2.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.8636 | μmol/L | 29.0419 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.596 | 115632.4084 | 266821.0049 | 32.55 | 27.7
93312 | 2021-04-19 12:14 | 2.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.9733 | μmol/L | 29.0542 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.586 | 115595.4987 | 266809.838 | 32.55 | 27.7
93322 | 2021-04-19 12:14 | 2.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.3429 | μmol/L | 29.1032 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.604 | 115692.8108 | 266814.2157 | 32.55 | 27.7
93332 | 2021-04-19 12:15 | 3.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.9528 | μmol/L | 29.1523 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.609 | 115740.5968 | 266810.9701 | 32.55 | 27.7
93342 | 2021-04-19 12:15 | 3.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.9517 | μmol/L | 29.1646 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.605 | 115786.7017 | 266799.2315 | 32.55 | 27.7
93352 | 2021-04-19 12:15 | 3.9986 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.8227 | μmol/L | 29.1707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.61 | 115818.8857 | 266797.392 | 32.55 | 27.7
93362 | 2021-04-19 12:16 | 4.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.6365 | μmol/L | 29.2014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.61 | 115849.0506 | 266785.6905 | 32.55 | 27.7
93372 | 2021-04-19 12:16 | 4.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.5993 | μmol/L | 29.2075 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.61 | 115871.7176 | 266779.418 | 32.55 | 27.7
93382 | 2021-04-19 12:16 | 4.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.7098 | μmol/L | 29.2014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.606 | 115901.9555 | 266770.7163 | 32.55 | 27.7
93392 | 2021-04-19 12:17 | 5.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2822 | μmol/L | 29.2689 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.607 | 115932.9594 | 266777.1432 | 32.55 | 27.7
93402 | 2021-04-19 12:17 | 5.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2438 | μmol/L | 29.2873 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.603 | 115945.5258 | 266765.9123 | 32.55 | 27.7
93412 | 2021-04-19 12:17 | 5.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.8564 | μmol/L | 29.3241 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.612 | 116017.7381 | 266751.0174 | 32.55 | 27.7
93422 | 2021-04-19 12:18 | 6.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.8551 | μmol/L | 29.3363 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.608 | 116004.8702 | 266744.5742 | 32.55 | 27.7
93432 | 2021-04-19 12:18 | 6.6654 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.633 | μmol/L | 29.367 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.61 | 115997.4739 | 266743.1472 | 32.55 | 27.7
93442 | 2021-04-19 12:18 | 6.9986 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.6323 | μmol/L | 29.3732 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.608 | 116003.0505 | 266741.9724 | 32.55 | 27.7
93452 | 2021-04-19 12:19 | 7.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.6681 | μmol/L | 29.3793 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.604 | 116002.4454 | 266716.0105 | 32.55 | 27.7
93462 | 2021-04-19 12:19 | 7.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.3934 | μmol/L | 29.3916 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.615 | 116049.4867 | 266724.1171 | 32.55 | 27.7
93472 | 2021-04-19 12:19 | 7.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2822 | μmol/L | 29.41 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.615 | 116075.1933 | 266717.9503 | 32.55 | 27.7
93482 | 2021-04-19 12:20 | 8.332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1319 | μmol/L | 29.4529 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.609 | 116074.9979 | 266720.5336 | 32.55 | 27.7
93492 | 2021-04-19 12:20 | 8.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.0578 | μmol/L | 29.4652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.609 | 116065.7624 | 266711.9498 | 32.55 | 27.7
93502 | 2021-04-19 12:20 | 8.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.0557 | μmol/L | 29.4836 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.603 | 116069.2975 | 266702.9009 | 32.55 | 27.7
93512 | 2021-04-19 12:21 | 9.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2208 | μmol/L | 29.4713 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.598 | 116039.2991 | 266707.0417 | 32.55 | 27.7
93522 | 2021-04-19 12:21 | 9.6654 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1264 | μmol/L | 29.502 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.593 | 116028.4522 | 266708.5369 | 32.55 | 27.7
93532 | 2021-04-19 12:21 | 9.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.9068 | μmol/L | 29.5143 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.601 | 116087.5921 | 266704.6805 | 32.55 | 27.7
93542 | 2021-04-19 12:22 | 10.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.67 | μmol/L | 29.5204 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.612 | 116140.3805 | 266695.171 | 32.55 | 27.7
93552 | 2021-04-19 12:22 | 10.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.5423 | μmol/L | 29.5265 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.617 | 116187.9525 | 266682.5644 | 32.55 | 27.7
93562 | 2021-04-19 12:22 | 10.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4698 | μmol/L | 29.5265 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.621 | 116220.9774 | 266668.1685 | 32.55 | 27.7
93572 | 2021-04-19 12:23 | 11.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.214 | μmol/L | 29.5449 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.629 | 116267.8921 | 266677.1577 | 32.55 | 27.7
93582 | 2021-04-19 12:23 | 11.6652 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0128 | μmol/L | 29.5633 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.634 | 116317.5867 | 266673.7504 | 32.55 | 27.7
93592 | 2021-04-19 12:23 | 11.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9751 | μmol/L | 29.5756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.632 | 116325.1242 | 266677.1403 | 32.55 | 27.7
93602 | 2021-04-19 12:24 | 12.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9578 | μmol/L | 29.5695 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.635 | 116312.6032 | 266680.0929 | 32.55 | 27.7
93612 | 2021-04-19 12:24 | 12.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9382 | μmol/L | 29.5817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.632 | 116325.0495 | 266675.6563 | 32.55 | 27.7
93622 | 2021-04-19 12:24 | 12.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.7733 | μmol/L | 29.6001 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.635 | 116362.157 | 266673.019 | 32.55 | 27.7
93632 | 2021-04-19 12:25 | 13.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6109 | μmol/L | 29.6001 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.644 | 116401.2525 | 266660.2877 | 32.55 | 27.7
93642 | 2021-04-19 12:25 | 13.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.4471 | μmol/L | 29.6124 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.649 | 116462.5561 | 266649.1708 | 32.55 | 27.7
93652 | 2021-04-19 12:25 | 13.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.4299 | μmol/L | 29.6063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.652 | 116500.5099 | 266645.2828 | 32.55 | 27.7
93662 | 2021-04-19 12:26 | 14.332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.249 | μmol/L | 29.6124 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.66 | 116540.6879 | 266650.3202 | 32.55 | 27.7
93672 | 2021-04-19 12:26 | 14.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.8519 | μmol/L | 29.6247 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.678 | 116652.462 | 266635.137 | 32.55 | 27.7
93682 | 2021-04-19 12:26 | 14.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.6725 | μmol/L | 29.6247 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.688 | 116714.1952 | 266636.2909 | 32.55 | 27.7
93692 | 2021-04-19 12:27 | 15.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2947 | μmol/L | 29.637 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.705 | 116831.0452 | 266636.5797 | 32.55 | 27.7
93702 | 2021-04-19 12:27 | 15.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.4047 | μmol/L | 29.6186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.705 | 116865.8286 | 266647.0735 | 32.55 | 27.7
93712 | 2021-04-19 12:27 | 15.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2419 | μmol/L | 29.6308 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.71 | 116872.8157 | 266617.8515 | 32.55 | 27.7
93722 | 2021-04-19 12:28 | 16.3319 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0436 | μmol/L | 29.6431 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.717 | 116947.1531 | 266615.3487 | 32.55 | 27.7
93732 | 2021-04-19 12:28 | 16.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5781 | μmol/L | 29.6554 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.739 | 117098.4907 | 266604.1172 | 32.55 | 27.7
93742 | 2021-04-19 12:28 | 16.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.1261 | μmol/L | 29.7044 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.748 | 117157.0385 | 266617.8833 | 32.55 | 27.7
93752 | 2021-04-19 12:29 | 17.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.071 | μmol/L | 29.7167 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.747 | 117157.3122 | 266606.0181 | 32.55 | 27.7
93762 | 2021-04-19 12:29 | 17.6654 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.0346 | μmol/L | 29.7229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.747 | 117163.6981 | 266599.6716 | 32.55 | 27.7
93772 | 2021-04-19 12:29 | 17.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.0187 | μmol/L | 29.7106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.752 | 117158.5228 | 266590.3485 | 32.55 | 27.7
93782 | 2021-04-19 12:30 | 18.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.9262 | μmol/L | 29.7351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.749 | 117185.8653 | 266589.1561 | 32.55 | 27.7
93792 | 2021-04-19 12:30 | 18.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.8178 | μmol/L | 29.7474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.751 | 117189.2861 | 266589.9634 | 32.55 | 27.7
93802 | 2021-04-19 12:30 | 18.9986 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.6023 | μmol/L | 29.7658 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.757 | 117238.3333 | 266571.8537 | 32.55 | 27.7
93812 | 2021-04-19 12:31 | 19.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.4577 | μmol/L | 29.7842 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.759 | 117251.4734 | 266574.4434 | 32.55 | 27.7
93822 | 2021-04-19 12:31 | 19.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3515 | μmol/L | 29.7842 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.765 | 117282.3966 | 266567.074 | 32.55 | 27.7
93832 | 2021-04-19 12:31 | 19.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.496 | μmol/L | 29.7658 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.763 | 117270.2322 | 266569.3546 | 32.55 | 27.7
93842 | 2021-04-19 12:32 | 20.332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3682 | μmol/L | 29.7903 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.762 | 117301.4049 | 266561.7437 | 32.55 | 27.7
93852 | 2021-04-19 12:32 | 20.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.1904 | μmol/L | 29.7965 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.77 | 117346.2014 | 266565.7741 | 32.55 | 27.7
93862 | 2021-04-19 12:32 | 20.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.9755 | μmol/L | 29.8149 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.776 | 117423.5851 | 266573.7705 | 32.55 | 27.7
93872 | 2021-04-19 12:33 | 21.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.8137 | μmol/L | 29.8333 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.779 | 117440.9896 | 266569.4707 | 32.55 | 27.7
93882 | 2021-04-19 12:33 | 21.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.6676 | μmol/L | 29.864 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.777 | 117430.975 | 266534.0205 | 32.55 | 27.7
93892 | 2021-04-19 12:33 | 21.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5961 | μmol/L | 29.8701 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.779 | 117421.7816 | 266549.9321 | 32.55 | 27.7
93902 | 2021-04-19 12:34 | 22.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.594 | μmol/L | 29.8824 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.775 | 117445.843 | 266549.004 | 32.55 | 27.7
93912 | 2021-04-19 12:34 | 22.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5215 | μmol/L | 29.8946 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.775 | 117433.519 | 266546.1622 | 32.55 | 27.7
93922 | 2021-04-19 12:34 | 22.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.6272 | μmol/L | 29.8946 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.769 | 117441.7021 | 266536.0355 | 32.55 | 27.7
93932 | 2021-04-19 12:35 | 23.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.6086 | μmol/L | 29.9008 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.768 | 117443.1975 | 266538.8459 | 32.55 | 27.7
93942 | 2021-04-19 12:35 | 23.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5174 | μmol/L | 29.9192 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.767 | 117439.4281 | 266530.2974 | 32.55 | 27.7
93952 | 2021-04-19 12:35 | 23.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.4656 | μmol/L | 29.9131 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.772 | 117468.4137 | 266514.3258 | 32.55 | 27.7
93962 | 2021-04-19 12:36 | 24.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.1612 | μmol/L | 29.9437 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.779 | 117521.8271 | 266513.2087 | 32.55 | 27.7
93972 | 2021-04-19 12:36 | 24.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.0021 | μmol/L | 29.9499 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.786 | 117569.0568 | 266511.6768 | 32.55 | 27.7
93982 | 2021-04-19 12:36 | 24.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.877 | μmol/L | 29.9621 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.789 | 117582.0984 | 266503.4658 | 32.55 | 27.7
93992 | 2021-04-19 12:37 | 25.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7872 | μmol/L | 29.9744 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.79 | 117624.2927 | 266493.2162 | 32.55 | 27.7
94002 | 2021-04-19 12:37 | 25.6654 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7335 | μmol/L | 29.9805 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.791 | 117640.7693 | 266492.9651 | 32.55 | 27.7
94012 | 2021-04-19 12:37 | 25.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.6798 | μmol/L | 29.9867 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.792 | 117613.3501 | 266484.4933 | 32.55 | 27.7
94022 | 2021-04-19 12:38 | 26.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.59 | μmol/L | 29.999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.793 | 117617.5644 | 266483.6734 | 32.55 | 27.7
94032 | 2021-04-19 12:38 | 26.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4816 | μmol/L | 30.0174 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.793 | 117611.4408 | 266471.2349 | 32.55 | 27.7
94042 | 2021-04-19 12:38 | 26.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.5516 | μmol/L | 30.0174 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.789 | 117627.1296 | 266473.3633 | 32.55 | 27.7
94052 | 2021-04-19 12:39 | 27.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4104 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.795 | 117623.3002 | 266447.7701 | 32.55 | 27.7
94062 | 2021-04-19 12:39 | 27.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4082 | μmol/L | 30.0358 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.791 | 117606.8339 | 266451.2515 | 32.55 | 27.7
94072 | 2021-04-19 12:39 | 27.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.5099 | μmol/L | 30.0542 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.779 | 117567.8498 | 266442.1616 | 32.55 | 27.7
94082 | 2021-04-19 12:40 | 28.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.3851 | μmol/L | 30.0665 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.782 | 117561.3763 | 266444.6001 | 32.55 | 27.7
94092 | 2021-04-19 12:40 | 28.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.174 | μmol/L | 30.0726 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.792 | 117625.9847 | 266447.2805 | 32.55 | 27.7
94102 | 2021-04-19 12:40 | 28.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.1577 | μmol/L | 30.0665 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.795 | 117643.2516 | 266441.8793 | 32.55 | 27.7