## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101377 | 2021-04-20 16:19 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.6934 | μmol/L | 14.785 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.383 | 141332.8114 | 267890.7289 | 33.25 | 75.7
101387 | 2021-04-20 16:20 | 0.34185 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3092 | μmol/L | 14.5032 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.414 | 141481.6574 | 267901.501 | 33.25 | 75.7
101397 | 2021-04-20 16:20 | 0.67555 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.27 | μmol/L | 14.442 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.438 | 141633.5209 | 267894.1669 | 33.25 | 75.7
101407 | 2021-04-20 16:20 | 1.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.0357 | μmol/L | 14.4236 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.455 | 141756.5062 | 267896.8409 | 33.25 | 75.7
101417 | 2021-04-20 16:21 | 1.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.7737 | μmol/L | 14.4113 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.471 | 141866.2904 | 267890.0646 | 33.25 | 75.7
101427 | 2021-04-20 16:21 | 1.6755 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.3605 | μmol/L | 14.4175 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.487 | 141976.9442 | 267879.3678 | 33.25 | 75.7
101437 | 2021-04-20 16:21 | 2.009 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.0663 | μmol/L | 14.4175 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.5 | 142084.6791 | 267869.4067 | 33.25 | 75.7
101447 | 2021-04-20 16:22 | 2.342 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.7831 | μmol/L | 14.4052 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.517 | 142193.0393 | 267862.1754 | 33.25 | 75.7
101457 | 2021-04-20 16:22 | 2.675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.2936 | μmol/L | 14.4236 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.532 | 142282.7316 | 267852.8271 | 33.25 | 75.7
101467 | 2021-04-20 16:22 | 3.0089 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.0909 | μmol/L | 14.4236 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.541 | 142380.4522 | 267846.2568 | 33.25 | 75.7
101477 | 2021-04-20 16:23 | 3.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.7086 | μmol/L | 14.4236 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.558 | 142472.4436 | 267835.0601 | 33.25 | 75.7
101487 | 2021-04-20 16:23 | 3.6749 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.3217 | μmol/L | 14.4297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.573 | 142574.6047 | 267828.7464 | 33.25 | 75.7
101497 | 2021-04-20 16:23 | 4.0086 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.1701 | μmol/L | 14.4236 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.582 | 142660.1315 | 267833.7568 | 33.25 | 75.7
101507 | 2021-04-20 16:24 | 4.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.7788 | μmol/L | 14.4358 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.595 | 142751.3592 | 267828.3359 | 33.25 | 75.7
101517 | 2021-04-20 16:24 | 4.6755 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.4935 | μmol/L | 14.4297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.61 | 142845.1952 | 267837.7939 | 33.25 | 75.7
101527 | 2021-04-20 16:24 | 5.0087 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.2203 | μmol/L | 14.4358 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.62 | 142920.6779 | 267809.8521 | 33.25 | 75.7
101537 | 2021-04-20 16:25 | 5.3415 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.0418 | μmol/L | 14.4358 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.628 | 142999.1226 | 267814.0201 | 33.25 | 75.7
101547 | 2021-04-20 16:25 | 5.6755 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.697 | μmol/L | 14.4481 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.639 | 143064.7905 | 267817.501 | 33.25 | 75.7
101557 | 2021-04-20 16:25 | 6.0086 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.5244 | μmol/L | 14.442 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.649 | 143128.9672 | 267812.8606 | 33.25 | 75.7
101567 | 2021-04-20 16:26 | 6.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.1857 | μmol/L | 14.4481 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.662 | 143188.1216 | 267793.6562 | 33.25 | 75.7
101577 | 2021-04-20 16:26 | 6.6755 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.9585 | μmol/L | 14.4542 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.67 | 143247.579 | 267806.4632 | 33.25 | 75.7
101587 | 2021-04-20 16:26 | 7.0087 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.7368 | μmol/L | 14.4542 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.68 | 143308.0408 | 267806.4301 | 33.25 | 75.7
101597 | 2021-04-20 16:27 | 7.3416 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.6207 | μmol/L | 14.4603 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.683 | 143363.9184 | 267789.9208 | 33.25 | 75.7
101607 | 2021-04-20 16:27 | 7.6756 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.3772 | μmol/L | 14.4603 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.694 | 143433.706 | 267809.1406 | 33.25 | 75.7
101617 | 2021-04-20 16:27 | 8.0087 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.195 | μmol/L | 14.4665 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.7 | 143483.5148 | 267799.3842 | 33.25 | 75.7
101627 | 2021-04-20 16:28 | 8.3419 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.0457 | μmol/L | 14.4603 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.709 | 143535.8571 | 267799.0336 | 33.25 | 75.7
101637 | 2021-04-20 16:28 | 8.6751 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.8858 | μmol/L | 14.4665 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.714 | 143590.1488 | 267800.859 | 33.25 | 75.7
101647 | 2021-04-20 16:28 | 9.0082 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.6819 | μmol/L | 14.4726 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.721 | 143640.4817 | 267807.3165 | 33.25 | 75.7
101657 | 2021-04-20 16:29 | 9.3422 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.5002 | μmol/L | 14.4787 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.727 | 143686.332 | 267787.5903 | 33.25 | 75.7
101667 | 2021-04-20 16:29 | 9.6754 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.4562 | μmol/L | 14.4787 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.729 | 143728.962 | 267798.3308 | 33.25 | 75.7
101677 | 2021-04-20 16:29 | 10.0083 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.2361 | μmol/L | 14.4787 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.739 | 143761.9247 | 267789.9226 | 33.25 | 75.7
101687 | 2021-04-20 16:30 | 10.3423 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.1207 | μmol/L | 14.4848 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.742 | 143799.3581 | 267794.6185 | 33.25 | 75.7
101697 | 2021-04-20 16:30 | 10.6749 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.0821 | μmol/L | 14.4787 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.746 | 143834.0942 | 267793.1652 | 33.25 | 75.7
101707 | 2021-04-20 16:30 | 11.0089 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.857 | μmol/L | 14.4848 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.754 | 143866.9885 | 267778.7997 | 33.25 | 75.7
101717 | 2021-04-20 16:31 | 11.3421 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.835 | μmol/L | 14.4848 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.755 | 143890.6267 | 267784.3631 | 33.25 | 75.7
101727 | 2021-04-20 16:31 | 11.675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.676 | μmol/L | 14.491 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.76 | 143913.5314 | 267794.1074 | 33.25 | 75.7
101737 | 2021-04-20 16:31 | 12.0088 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.5882 | μmol/L | 14.491 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.764 | 143937.1646 | 267783.4452 | 33.25 | 75.7
101747 | 2021-04-20 16:32 | 12.3421 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.5224 | μmol/L | 14.491 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.767 | 143970.0949 | 267780.3717 | 33.25 | 75.7
101757 | 2021-04-20 16:32 | 12.6752 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.4075 | μmol/L | 14.4971 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.77 | 143997.564 | 267777.3594 | 33.25 | 75.7
101767 | 2021-04-20 16:32 | 13.0083 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.2269 | μmol/L | 14.5032 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.776 | 144028.1402 | 267767.6736 | 33.25 | 75.7
101777 | 2021-04-20 16:33 | 13.3415 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.0901 | μmol/L | 14.5093 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.78 | 144057.8688 | 267767.0113 | 33.25 | 75.7