## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101378 | 2021-04-20 16:19 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.6748 | μmol/L | 14.5936 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 23.12 | 129802.064 | 291455.2316 | 59.9307 | 38.1
101388 | 2021-04-20 16:20 | 0.33553 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.7491 | μmol/L | 14.4716 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 23.161 | 129996.9863 | 291424.5682 | 59.9307 | 38.1
101398 | 2021-04-20 16:20 | 0.66855 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.4555 | μmol/L | 14.435 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.188 | 130143.732 | 291430.3967 | 59.9307 | 38.1
101408 | 2021-04-20 16:20 | 1.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.2049 | μmol/L | 14.435 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 23.2 | 130234.3961 | 291428.0256 | 59.9307 | 38.1
101418 | 2021-04-20 16:21 | 1.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.9865 | μmol/L | 14.4167 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 23.217 | 130310.303 | 291416.6192 | 59.9307 | 38.1
101428 | 2021-04-20 16:21 | 1.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.796 | μmol/L | 14.4167 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 23.226 | 130386.6529 | 291423.6288 | 59.9307 | 38.1
101438 | 2021-04-20 16:21 | 2.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5845 | μmol/L | 14.4167 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 23.236 | 130462.3809 | 291410.6225 | 59.9307 | 38.1
101448 | 2021-04-20 16:22 | 2.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.3059 | μmol/L | 14.4167 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.249 | 130525.2366 | 291402.3484 | 59.9307 | 38.1
101458 | 2021-04-20 16:22 | 2.6686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.0528 | μmol/L | 14.4167 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.261 | 130604.3817 | 291402.1608 | 59.9307 | 38.1
101468 | 2021-04-20 16:22 | 3.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.8632 | μmol/L | 14.4167 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.27 | 130673.3236 | 291387.9385 | 59.9307 | 38.1
101478 | 2021-04-20 16:23 | 3.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.6106 | μmol/L | 14.4167 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.282 | 130720.9155 | 291394.5048 | 59.9307 | 38.1
101488 | 2021-04-20 16:23 | 3.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.3324 | μmol/L | 14.4228 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.293 | 130780.816 | 291387.5653 | 59.9307 | 38.1
101498 | 2021-04-20 16:23 | 4.002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.2063 | μmol/L | 14.4228 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.299 | 130828.5483 | 291381.3331 | 59.9307 | 38.1
101508 | 2021-04-20 16:24 | 4.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.0385 | μmol/L | 14.4228 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.307 | 130872.596 | 291379.4857 | 59.9307 | 38.1
101518 | 2021-04-20 16:24 | 4.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.8239 | μmol/L | 14.4289 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.315 | 130921.6431 | 291370.0861 | 59.9307 | 38.1
101528 | 2021-04-20 16:24 | 5.002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.745 | μmol/L | 14.4228 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.321 | 130960.0426 | 291372.943 | 59.9307 | 38.1
101538 | 2021-04-20 16:25 | 5.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.6144 | μmol/L | 14.4289 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.325 | 130988.7835 | 291372.1541 | 59.9307 | 38.1
101548 | 2021-04-20 16:25 | 5.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.4679 | μmol/L | 14.4289 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.332 | 131017.9817 | 291366.2433 | 59.9307 | 38.1
101558 | 2021-04-20 16:25 | 6.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.2539 | μmol/L | 14.435 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.34 | 131043.8865 | 291357.1033 | 59.9307 | 38.1
101568 | 2021-04-20 16:26 | 6.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.1494 | μmol/L | 14.435 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.345 | 131073.7702 | 291362.9371 | 59.9307 | 38.1
101578 | 2021-04-20 16:26 | 6.6686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.0818 | μmol/L | 14.4411 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.346 | 131103.5434 | 291359.6206 | 59.9307 | 38.1
101588 | 2021-04-20 16:26 | 7.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 246.0241 | μmol/L | 14.435 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.351 | 131122.8252 | 291344.0398 | 59.9307 | 38.1
101598 | 2021-04-20 16:27 | 7.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.8572 | μmol/L | 14.435 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.359 | 131161.2591 | 291358.1496 | 59.9307 | 38.1
101608 | 2021-04-20 16:27 | 7.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.8314 | μmol/L | 14.4411 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.358 | 131186.6936 | 291363.669 | 59.9307 | 38.1
101618 | 2021-04-20 16:27 | 8.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.5971 | μmol/L | 14.4472 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.367 | 131217.9805 | 291357.1708 | 59.9307 | 38.1
101628 | 2021-04-20 16:28 | 8.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.5089 | μmol/L | 14.4533 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.369 | 131237.8679 | 291346.5358 | 59.9307 | 38.1
101638 | 2021-04-20 16:28 | 8.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.4722 | μmol/L | 14.4472 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.373 | 131267.5428 | 291354.3749 | 59.9307 | 38.1
101648 | 2021-04-20 16:28 | 9.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.384 | μmol/L | 14.4533 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.375 | 131295.5831 | 291358.405 | 59.9307 | 38.1
101658 | 2021-04-20 16:29 | 9.3353 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.2799 | μmol/L | 14.4533 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.38 | 131317.1614 | 291343.1591 | 59.9307 | 38.1
101668 | 2021-04-20 16:29 | 9.6686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.2799 | μmol/L | 14.4533 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.38 | 131339.4296 | 291365.4792 | 59.9307 | 38.1
101678 | 2021-04-20 16:29 | 10.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.1294 | μmol/L | 14.4594 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.385 | 131362.9931 | 291354.1057 | 59.9307 | 38.1
101688 | 2021-04-20 16:30 | 10.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.0414 | μmol/L | 14.4655 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.387 | 131383.2784 | 291348.7455 | 59.9307 | 38.1
101698 | 2021-04-20 16:30 | 10.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.0048 | μmol/L | 14.4594 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.391 | 131396.3462 | 291346.2274 | 59.9307 | 38.1
101708 | 2021-04-20 16:30 | 11.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.9632 | μmol/L | 14.4594 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.393 | 131420.1621 | 291355.5548 | 59.9307 | 38.1
101718 | 2021-04-20 16:31 | 11.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.808 | μmol/L | 14.4716 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.396 | 131405.1434 | 291336.3562 | 59.9307 | 38.1
101728 | 2021-04-20 16:31 | 11.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.8545 | μmol/L | 14.4655 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.396 | 131433.1819 | 291345.2119 | 59.9307 | 38.1
101738 | 2021-04-20 16:31 | 12.002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.6677 | μmol/L | 14.4655 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.405 | 131446.8085 | 291344.3606 | 59.9307 | 38.1
101748 | 2021-04-20 16:32 | 12.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.6884 | μmol/L | 14.4655 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.404 | 131456.5575 | 291349.6395 | 59.9307 | 38.1
101758 | 2021-04-20 16:32 | 12.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.5127 | μmol/L | 14.4777 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.408 | 131471.6625 | 291338.1432 | 59.9307 | 38.1
101768 | 2021-04-20 16:32 | 13.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.5591 | μmol/L | 14.4716 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.408 | 131491.2333 | 291341.6391 | 59.9307 | 38.1
101778 | 2021-04-20 16:33 | 13.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.4505 | μmol/L | 14.4777 | °C | 1020 | hPa | Humid | 28 | 1 | 0 | 23.411 | 131507.8337 | 291331.8652 | 59.9307 | 38.1