## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101382 | 2021-04-20 16:20 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.669 | μmol/L | 14.4853 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.152 | 101041.7708 | 290706.6606 | 30.45 | 114.2
101392 | 2021-04-20 16:20 | 0.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.3264 | μmol/L | 14.4669 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.175 | 101153.0658 | 290710.2969 | 30.45 | 114.2
101402 | 2021-04-20 16:20 | 0.67362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.9175 | μmol/L | 14.473 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.192 | 101247.4035 | 290705.6491 | 30.45 | 114.2
101412 | 2021-04-20 16:21 | 1.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.5316 | μmol/L | 14.473 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.21 | 101321.5618 | 290707.4878 | 30.45 | 114.2
101422 | 2021-04-20 16:21 | 1.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.3672 | μmol/L | 14.4669 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.22 | 101395.4221 | 290708.0144 | 30.45 | 114.2
101432 | 2021-04-20 16:21 | 1.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9601 | μmol/L | 14.473 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.237 | 101456.1595 | 290691.5327 | 30.45 | 114.2
101442 | 2021-04-20 16:22 | 2.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8122 | μmol/L | 14.473 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.244 | 101506.9503 | 290675.2646 | 30.45 | 114.2
101452 | 2021-04-20 16:22 | 2.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.3588 | μmol/L | 14.4853 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.261 | 101563.7176 | 290680.4586 | 30.45 | 114.2
101462 | 2021-04-20 16:22 | 2.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.2586 | μmol/L | 14.4791 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.268 | 101608.784 | 290682.3916 | 30.45 | 114.2
101472 | 2021-04-20 16:23 | 3.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.9377 | μmol/L | 14.4853 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.281 | 101638.3594 | 290667.1822 | 30.45 | 114.2
101482 | 2021-04-20 16:23 | 3.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7747 | μmol/L | 14.4791 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.291 | 101676.9503 | 290670.0193 | 30.45 | 114.2
101492 | 2021-04-20 16:23 | 3.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.5543 | μmol/L | 14.4914 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.297 | 101718.0201 | 290660.3492 | 30.45 | 114.2
101502 | 2021-04-20 16:24 | 4.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.5017 | μmol/L | 14.4791 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.304 | 101750.6237 | 290649.5568 | 30.45 | 114.2
101512 | 2021-04-20 16:24 | 4.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1977 | μmol/L | 14.4914 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.314 | 101785.9174 | 290645.5056 | 30.45 | 114.2
101522 | 2021-04-20 16:24 | 4.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1348 | μmol/L | 14.4914 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.317 | 101816.2676 | 290646.9494 | 30.45 | 114.2
101532 | 2021-04-20 16:25 | 5.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9882 | μmol/L | 14.4914 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.324 | 101841.6773 | 290638.2923 | 30.45 | 114.2
101542 | 2021-04-20 16:25 | 5.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.7999 | μmol/L | 14.4914 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.333 | 101871.2388 | 290631.2061 | 30.45 | 114.2
101552 | 2021-04-20 16:25 | 5.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.7162 | μmol/L | 14.4914 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.337 | 101902.5497 | 290628.9573 | 30.45 | 114.2
101562 | 2021-04-20 16:26 | 6.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.5229 | μmol/L | 14.4975 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.344 | 101918.2214 | 290618.0419 | 30.45 | 114.2
101572 | 2021-04-20 16:26 | 6.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.4185 | μmol/L | 14.4975 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.349 | 101935.8163 | 290623.4118 | 30.45 | 114.2
101582 | 2021-04-20 16:26 | 6.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.3716 | μmol/L | 14.5037 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.349 | 101949.9473 | 290623.0274 | 30.45 | 114.2
101592 | 2021-04-20 16:27 | 7.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.1838 | μmol/L | 14.5037 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.358 | 101982.1991 | 290611.855 | 30.45 | 114.2
101602 | 2021-04-20 16:27 | 7.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.2724 | μmol/L | 14.4975 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.356 | 101997.9586 | 290633.7186 | 30.45 | 114.2
101612 | 2021-04-20 16:27 | 7.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.0327 | μmol/L | 14.5098 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.363 | 102012.4853 | 290626.2192 | 30.45 | 114.2
101622 | 2021-04-20 16:28 | 8.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9076 | μmol/L | 14.5098 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.369 | 102026.0001 | 290616.1487 | 30.45 | 114.2
101632 | 2021-04-20 16:28 | 8.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7775 | μmol/L | 14.5159 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.373 | 102045.992 | 290609.567 | 30.45 | 114.2
101642 | 2021-04-20 16:28 | 8.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7879 | μmol/L | 14.5037 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.377 | 102059.1933 | 290606.5677 | 30.45 | 114.2
101652 | 2021-04-20 16:29 | 9.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6943 | μmol/L | 14.5159 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.377 | 102083.8324 | 290601.2753 | 30.45 | 114.2
101662 | 2021-04-20 16:29 | 9.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6319 | μmol/L | 14.5159 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.38 | 102098.4261 | 290591.4223 | 30.45 | 114.2
101672 | 2021-04-20 16:29 | 9.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5435 | μmol/L | 14.5221 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.382 | 102108.3199 | 290587.921 | 30.45 | 114.2
101682 | 2021-04-20 16:30 | 10.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4811 | μmol/L | 14.5221 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.385 | 102136.6605 | 290583.2649 | 30.45 | 114.2
101692 | 2021-04-20 16:30 | 10.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3305 | μmol/L | 14.5282 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.39 | 102145.9591 | 290593.1139 | 30.45 | 114.2
101702 | 2021-04-20 16:30 | 10.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2682 | μmol/L | 14.5282 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.393 | 102147.4328 | 290587.4451 | 30.45 | 114.2
101712 | 2021-04-20 16:31 | 11.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3721 | μmol/L | 14.5282 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.388 | 102146.963 | 290575.3199 | 30.45 | 114.2
101722 | 2021-04-20 16:31 | 11.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2423 | μmol/L | 14.5343 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.392 | 102153.9417 | 290579.294 | 30.45 | 114.2
101732 | 2021-04-20 16:31 | 11.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1852 | μmol/L | 14.5282 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.397 | 102155.4566 | 290564.9856 | 30.45 | 114.2
101742 | 2021-04-20 16:32 | 12.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1385 | μmol/L | 14.5343 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.397 | 102159.5274 | 290572.5941 | 30.45 | 114.2
101752 | 2021-04-20 16:32 | 12.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2267 | μmol/L | 14.5282 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.395 | 102178.5454 | 290577.6164 | 30.45 | 114.2
101762 | 2021-04-20 16:32 | 12.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.18 | μmol/L | 14.5343 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.395 | 102186.0507 | 290561.9144 | 30.45 | 114.2
101772 | 2021-04-20 16:33 | 13.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1385 | μmol/L | 14.5343 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.397 | 102199.9137 | 290562.0457 | 30.45 | 114.2
101782 | 2021-04-20 16:33 | 13.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.0088 | μmol/L | 14.5405 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.401 | 102216.9029 | 290556.7397 | 30.45 | 114.2