## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101384 | 2021-04-20 16:20 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.7278 | μmol/L | 14.5839 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.996 | 141745.1803 | 298949.0199 | 33.25 | 68.6
101394 | 2021-04-20 16:20 | 0.33596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.6167 | μmol/L | 14.59 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.999 | 141758.1001 | 298947.9388 | 33.25 | 68.6
101404 | 2021-04-20 16:20 | 0.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.6375 | μmol/L | 14.59 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.998 | 141761.8931 | 298969.1238 | 33.25 | 68.6
101414 | 2021-04-20 16:21 | 1.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5264 | μmol/L | 14.5961 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.001 | 141756.5051 | 298950.0691 | 33.25 | 68.6
101424 | 2021-04-20 16:21 | 1.3358 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.4924 | μmol/L | 14.59 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.005 | 141768.9769 | 298954.7069 | 33.25 | 68.6
101434 | 2021-04-20 16:21 | 1.6691 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5057 | μmol/L | 14.5961 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.002 | 141774.4648 | 298952.8353 | 33.25 | 68.6
101444 | 2021-04-20 16:22 | 2.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.3815 | μmol/L | 14.5961 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.008 | 141773.1 | 298947.9755 | 33.25 | 68.6
101454 | 2021-04-20 16:22 | 2.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2913 | μmol/L | 14.6021 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.01 | 141789.5546 | 298957.765 | 33.25 | 68.6
101464 | 2021-04-20 16:22 | 2.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1879 | μmol/L | 14.6021 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.015 | 141790.652 | 298941.597 | 33.25 | 68.6
101474 | 2021-04-20 16:23 | 3.0029 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0771 | μmol/L | 14.6082 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.018 | 141810.3061 | 298938.6003 | 33.25 | 68.6
101484 | 2021-04-20 16:23 | 3.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0431 | μmol/L | 14.6021 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.022 | 141817.1483 | 298930.4663 | 33.25 | 68.6
101494 | 2021-04-20 16:23 | 3.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9737 | μmol/L | 14.6082 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.023 | 141839.0649 | 298930.1448 | 33.25 | 68.6
101504 | 2021-04-20 16:24 | 4.0029 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7598 | μmol/L | 14.6143 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.031 | 141844.916 | 298922.4199 | 33.25 | 68.6
101514 | 2021-04-20 16:24 | 4.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.8011 | μmol/L | 14.6143 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.029 | 141856.4823 | 298923.2781 | 33.25 | 68.6
101524 | 2021-04-20 16:24 | 4.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.6773 | μmol/L | 14.6143 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.035 | 141875.8173 | 298920.9627 | 33.25 | 68.6
101534 | 2021-04-20 16:25 | 5.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.6154 | μmol/L | 14.6143 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.038 | 141879.3196 | 298907.2099 | 33.25 | 68.6
101544 | 2021-04-20 16:25 | 5.3358 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.4975 | μmol/L | 14.6265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.039 | 141883.7111 | 298890.8667 | 33.25 | 68.6
101554 | 2021-04-20 16:25 | 5.6696 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.443 | μmol/L | 14.6204 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.044 | 141905.3845 | 298901.8637 | 33.25 | 68.6
101564 | 2021-04-20 16:26 | 6.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2914 | μmol/L | 14.6265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.049 | 141918.6716 | 298897.561 | 33.25 | 68.6
101574 | 2021-04-20 16:26 | 6.3358 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1679 | μmol/L | 14.6265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.055 | 141929.529 | 298889.7443 | 33.25 | 68.6
101584 | 2021-04-20 16:26 | 6.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1399 | μmol/L | 14.6325 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.054 | 141939.961 | 298897.5005 | 33.25 | 68.6
101594 | 2021-04-20 16:27 | 7.0024 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9547 | μmol/L | 14.6325 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.063 | 141961.1345 | 298903.6267 | 33.25 | 68.6
101604 | 2021-04-20 16:27 | 7.3366 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8857 | μmol/L | 14.6386 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.064 | 141977.5552 | 298888.7512 | 33.25 | 68.6
101614 | 2021-04-20 16:27 | 7.6697 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8372 | μmol/L | 14.6447 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.064 | 141998.21 | 298894.9333 | 33.25 | 68.6
101624 | 2021-04-20 16:28 | 8.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6933 | μmol/L | 14.6447 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.071 | 142017.021 | 298895.7485 | 33.25 | 68.6
101634 | 2021-04-20 16:28 | 8.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6317 | μmol/L | 14.6447 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.074 | 142029.9905 | 298887.4715 | 33.25 | 68.6
101644 | 2021-04-20 16:28 | 8.6699 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5775 | μmol/L | 14.6386 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.079 | 142046.6102 | 298887.3052 | 33.25 | 68.6
101654 | 2021-04-20 16:29 | 9.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.4602 | μmol/L | 14.6508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.08 | 142060.8703 | 298873.3525 | 33.25 | 68.6
101664 | 2021-04-20 16:29 | 9.3363 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.2961 | μmol/L | 14.6508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.088 | 142096.0684 | 298878.3872 | 33.25 | 68.6
101674 | 2021-04-20 16:29 | 9.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.2756 | μmol/L | 14.6508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.089 | 142102.491 | 298868.1009 | 33.25 | 68.6
101684 | 2021-04-20 16:30 | 10.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.1174 | μmol/L | 14.6629 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.092 | 142123.2011 | 298863.1794 | 33.25 | 68.6
101694 | 2021-04-20 16:30 | 10.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.1043 | μmol/L | 14.6568 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.095 | 142137.9388 | 298853.8164 | 33.25 | 68.6
101704 | 2021-04-20 16:30 | 10.6698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9126 | μmol/L | 14.6629 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.102 | 142162.5248 | 298876.5157 | 33.25 | 68.6
101714 | 2021-04-20 16:31 | 11.0031 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.92 | μmol/L | 14.6568 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.104 | 142166.5433 | 298853.0517 | 33.25 | 68.6
101724 | 2021-04-20 16:31 | 11.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.8308 | μmol/L | 14.6629 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.106 | 142186.3419 | 298865.5291 | 33.25 | 68.6
101734 | 2021-04-20 16:31 | 11.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.749 | μmol/L | 14.6629 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.11 | 142195.8012 | 298851.4532 | 33.25 | 68.6
101744 | 2021-04-20 16:32 | 12.003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6394 | μmol/L | 14.669 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.113 | 142204.9585 | 298857.0994 | 33.25 | 68.6
101754 | 2021-04-20 16:32 | 12.3365 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5168 | μmol/L | 14.669 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.119 | 142229.4404 | 298836.8936 | 33.25 | 68.6
101764 | 2021-04-20 16:32 | 12.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5168 | μmol/L | 14.669 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.119 | 142241.3683 | 298826.5843 | 33.25 | 68.6
101774 | 2021-04-20 16:33 | 13.0024 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4073 | μmol/L | 14.6751 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.122 | 142263.7473 | 298827.7022 | 33.25 | 68.6
101784 | 2021-04-20 16:33 | 13.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.3257 | μmol/L | 14.6751 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 24.126 | 142292.0125 | 298820.4116 | 33.25 | 68.6