## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101386 | 2021-04-20 16:20 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.1533 | μmol/L | 14.627 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.96 | 122157.3062 | 266020.264 | 32.55 | 27.7
101396 | 2021-04-20 16:20 | 0.32631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.7053 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.983 | 122253.8246 | 265994.5058 | 32.55 | 27.7
101406 | 2021-04-20 16:20 | 0.65941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.2799 | μmol/L | 14.6148 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.005 | 122363.1039 | 265974.5775 | 32.55 | 27.7
101416 | 2021-04-20 16:21 | 0.99317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.7747 | μmol/L | 14.627 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.024 | 122462.5 | 265955.3044 | 32.55 | 27.7
101426 | 2021-04-20 16:21 | 1.3262 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.4798 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.04 | 122560.1687 | 265944.9731 | 32.55 | 27.7
101436 | 2021-04-20 16:21 | 1.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.0943 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.058 | 122642.7045 | 265931.5417 | 32.55 | 27.7
101446 | 2021-04-20 16:22 | 1.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.7095 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.076 | 122741.9117 | 265937.5813 | 32.55 | 27.7
101456 | 2021-04-20 16:22 | 2.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.4961 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.086 | 122829.695 | 265918.2098 | 32.55 | 27.7
101466 | 2021-04-20 16:22 | 2.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.1709 | μmol/L | 14.627 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.099 | 122901.9678 | 265912.5988 | 32.55 | 27.7
101476 | 2021-04-20 16:23 | 2.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.9209 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.113 | 122967.9077 | 265895.1615 | 32.55 | 27.7
101486 | 2021-04-20 16:23 | 3.3262 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.5808 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.129 | 123025.9035 | 265891.0869 | 32.55 | 27.7
101496 | 2021-04-20 16:23 | 3.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.3952 | μmol/L | 14.6148 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.14 | 123084.3948 | 265884.6801 | 32.55 | 27.7
101506 | 2021-04-20 16:24 | 3.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.1565 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.149 | 123146.6492 | 265863.6266 | 32.55 | 27.7
101516 | 2021-04-20 16:24 | 4.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.9023 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.161 | 123198.3065 | 265863.0844 | 32.55 | 27.7
101526 | 2021-04-20 16:24 | 4.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.7699 | μmol/L | 14.627 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.165 | 123239.9829 | 265847.9137 | 32.55 | 27.7
101536 | 2021-04-20 16:25 | 4.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.585 | μmol/L | 14.6209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.176 | 123284.2891 | 265854.4859 | 32.55 | 27.7
101546 | 2021-04-20 16:25 | 5.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.3683 | μmol/L | 14.627 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.184 | 123322.536 | 265831.1685 | 32.55 | 27.7
101556 | 2021-04-20 16:25 | 5.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.1097 | μmol/L | 14.6331 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.194 | 123356.9447 | 265826.8289 | 32.55 | 27.7
101566 | 2021-04-20 16:26 | 5.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.9621 | μmol/L | 14.6331 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.201 | 123396.0641 | 265833.1924 | 32.55 | 27.7
101576 | 2021-04-20 16:26 | 6.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.8412 | μmol/L | 14.627 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.209 | 123423.6195 | 265817.9707 | 32.55 | 27.7
101586 | 2021-04-20 16:26 | 6.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.7094 | μmol/L | 14.6331 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.213 | 123476.3479 | 265834.6787 | 32.55 | 27.7
101596 | 2021-04-20 16:27 | 6.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.4515 | μmol/L | 14.6392 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.223 | 123516.39 | 265825.9455 | 32.55 | 27.7
101606 | 2021-04-20 16:27 | 7.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.278 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.229 | 123553.8011 | 265832.1993 | 32.55 | 27.7
101616 | 2021-04-20 16:27 | 7.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.131 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.236 | 123588.772 | 265826.689 | 32.55 | 27.7
101626 | 2021-04-20 16:28 | 7.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.0471 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.24 | 123621.646 | 265840.3183 | 32.55 | 27.7
101636 | 2021-04-20 16:28 | 8.3262 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.9213 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.246 | 123660.0694 | 265837.6251 | 32.55 | 27.7
101646 | 2021-04-20 16:28 | 8.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.7955 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.252 | 123684.3054 | 265812.4011 | 32.55 | 27.7
101656 | 2021-04-20 16:29 | 8.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.7327 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.255 | 123716.6017 | 265812.9797 | 32.55 | 27.7
101666 | 2021-04-20 16:29 | 9.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5861 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.262 | 123747.7151 | 265807.2146 | 32.55 | 27.7
101676 | 2021-04-20 16:29 | 9.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.4815 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.267 | 123771.099 | 265812.6876 | 32.55 | 27.7
101686 | 2021-04-20 16:30 | 9.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.3296 | μmol/L | 14.6515 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.272 | 123800.7247 | 265803.7146 | 32.55 | 27.7
101696 | 2021-04-20 16:30 | 10.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.3824 | μmol/L | 14.6392 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.274 | 123820.1232 | 265809.5093 | 32.55 | 27.7
101706 | 2021-04-20 16:30 | 10.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.2097 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.28 | 123835.6133 | 265795.7619 | 32.55 | 27.7
101716 | 2021-04-20 16:31 | 10.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.0635 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.287 | 123851.3658 | 265783.4843 | 32.55 | 27.7
101726 | 2021-04-20 16:31 | 11.3261 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.0426 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.288 | 123860.6066 | 265791.696 | 32.55 | 27.7
101736 | 2021-04-20 16:31 | 11.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.8702 | μmol/L | 14.6515 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.294 | 123884.097 | 265785.7203 | 32.55 | 27.7
101746 | 2021-04-20 16:32 | 11.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.823 | μmol/L | 14.6576 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.294 | 123902.3168 | 265783.1741 | 32.55 | 27.7
101756 | 2021-04-20 16:32 | 12.3262 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.7243 | μmol/L | 14.6515 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.301 | 123925.556 | 265776.2087 | 32.55 | 27.7
101766 | 2021-04-20 16:32 | 12.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.6091 | μmol/L | 14.6637 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.302 | 123942.7432 | 265781.895 | 32.55 | 27.7
101776 | 2021-04-20 16:33 | 12.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.5729 | μmol/L | 14.6576 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.306 | 123970.0341 | 265775.9656 | 32.55 | 27.7
101786 | 2021-04-20 16:33 | 13.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.448 | μmol/L | 14.6576 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.312 | 123972.2592 | 265766.7262 | 32.55 | 27.7