## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99993 | 2021-04-20 15:17 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.9342 | μmol/L | 15.2158 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.836 | 128971.4846 | 293113.6594 | 59.9307 | 38.1
100003 | 2021-04-20 15:17 | 0.32932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4053 | μmol/L | 15.0511 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.827 | 128834.4837 | 293094.1764 | 59.9307 | 38.1
100013 | 2021-04-20 15:17 | 0.66247 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9678 | μmol/L | 15.0206 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.812 | 128701.3324 | 293053.7525 | 59.9307 | 38.1
100023 | 2021-04-20 15:18 | 0.99628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5492 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.794 | 128579.3338 | 293032.6851 | 59.9307 | 38.1
100033 | 2021-04-20 15:18 | 1.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8579 | μmol/L | 14.9901 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.782 | 128470.7656 | 293003.8517 | 59.9307 | 38.1
100043 | 2021-04-20 15:18 | 1.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1192 | μmol/L | 14.9901 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.77 | 128376.0947 | 292985.7074 | 59.9307 | 38.1
100053 | 2021-04-20 15:19 | 1.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3676 | μmol/L | 14.9779 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.763 | 128305.5705 | 292957.2884 | 59.9307 | 38.1
100063 | 2021-04-20 15:19 | 2.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3676 | μmol/L | 14.9779 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.763 | 128247.2597 | 292935.9196 | 59.9307 | 38.1
100073 | 2021-04-20 15:19 | 2.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5203 | μmol/L | 14.9779 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.756 | 128197.5608 | 292916.3867 | 59.9307 | 38.1
100083 | 2021-04-20 15:20 | 2.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5816 | μmol/L | 14.984 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.751 | 128131.0753 | 292882.1642 | 59.9307 | 38.1
100093 | 2021-04-20 15:20 | 3.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6689 | μmol/L | 14.984 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.747 | 128072.5033 | 292855.3138 | 59.9307 | 38.1
100103 | 2021-04-20 15:20 | 3.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7169 | μmol/L | 14.9779 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.747 | 128027.7006 | 292840.222 | 59.9307 | 38.1
100113 | 2021-04-20 15:21 | 3.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6865 | μmol/L | 14.9901 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.744 | 127996.6559 | 292830.6066 | 59.9307 | 38.1
100123 | 2021-04-20 15:21 | 4.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8481 | μmol/L | 14.9779 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.741 | 127965.0203 | 292810.0484 | 59.9307 | 38.1
100133 | 2021-04-20 15:21 | 4.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7302 | μmol/L | 14.9901 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.742 | 127942.6582 | 292792.3525 | 59.9307 | 38.1
100143 | 2021-04-20 15:22 | 4.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9355 | μmol/L | 14.9779 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.737 | 127916.2496 | 292763.0696 | 59.9307 | 38.1
100153 | 2021-04-20 15:22 | 5.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7958 | μmol/L | 14.9901 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.739 | 127891.5706 | 292742.9517 | 59.9307 | 38.1
100163 | 2021-04-20 15:22 | 5.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8438 | μmol/L | 14.984 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.739 | 127870.2072 | 292731.3907 | 59.9307 | 38.1
100173 | 2021-04-20 15:23 | 5.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7521 | μmol/L | 14.9901 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.741 | 127846.1713 | 292722.0169 | 59.9307 | 38.1
100183 | 2021-04-20 15:23 | 6.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8177 | μmol/L | 14.9901 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.738 | 127829.8753 | 292695.5434 | 59.9307 | 38.1
100193 | 2021-04-20 15:23 | 6.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7916 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.737 | 127804.3572 | 292670.2693 | 59.9307 | 38.1
100203 | 2021-04-20 15:24 | 6.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8438 | μmol/L | 14.984 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.739 | 127796.6345 | 292663.0899 | 59.9307 | 38.1
100213 | 2021-04-20 15:24 | 7.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7958 | μmol/L | 14.9901 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.739 | 127776.7236 | 292638.4857 | 59.9307 | 38.1
100223 | 2021-04-20 15:24 | 7.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8395 | μmol/L | 14.9901 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.737 | 127755.7406 | 292613.1334 | 59.9307 | 38.1
100233 | 2021-04-20 15:25 | 7.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8438 | μmol/L | 14.984 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.739 | 127740.877 | 292606.5375 | 59.9307 | 38.1
100243 | 2021-04-20 15:25 | 8.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7916 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.737 | 127730.0489 | 292592.9506 | 59.9307 | 38.1
100253 | 2021-04-20 15:25 | 8.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.726 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.74 | 127701.6032 | 292575.7883 | 59.9307 | 38.1
100263 | 2021-04-20 15:26 | 8.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7655 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.736 | 127698.8531 | 292568.8246 | 59.9307 | 38.1
100273 | 2021-04-20 15:26 | 9.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.8353 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.735 | 127681.2108 | 292551.1138 | 59.9307 | 38.1
100283 | 2021-04-20 15:26 | 9.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6604 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.743 | 127675.1242 | 292528.2639 | 59.9307 | 38.1
100293 | 2021-04-20 15:27 | 9.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7916 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.737 | 127663.1993 | 292522.6705 | 59.9307 | 38.1
100303 | 2021-04-20 15:27 | 10.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6562 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.741 | 127650.6209 | 292503.2726 | 59.9307 | 38.1
100313 | 2021-04-20 15:27 | 10.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7916 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.737 | 127640.2241 | 292475.6653 | 59.9307 | 38.1
100323 | 2021-04-20 15:28 | 10.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7041 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.741 | 127623.4657 | 292465.3396 | 59.9307 | 38.1
100333 | 2021-04-20 15:28 | 11.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.678 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.74 | 127614.7244 | 292449.3415 | 59.9307 | 38.1
100343 | 2021-04-20 15:28 | 11.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.678 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.74 | 127597.6886 | 292443.9974 | 59.9307 | 38.1
100353 | 2021-04-20 15:29 | 11.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6823 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.742 | 127592.6895 | 292421.5393 | 59.9307 | 38.1
100363 | 2021-04-20 15:29 | 12.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6823 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.742 | 127579.4623 | 292415.0249 | 59.9307 | 38.1
100373 | 2021-04-20 15:29 | 12.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6167 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.745 | 127573.2449 | 292390.6913 | 59.9307 | 38.1
100383 | 2021-04-20 15:30 | 12.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5209 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.745 | 127558.1704 | 292370.8359 | 59.9307 | 38.1
100393 | 2021-04-20 15:30 | 13.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4772 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.747 | 127556.1701 | 292353.6197 | 59.9307 | 38.1
100403 | 2021-04-20 15:30 | 13.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.6604 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.743 | 127547.0138 | 292363.188 | 59.9307 | 38.1
100413 | 2021-04-20 15:31 | 13.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.5033 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.748 | 127535.0342 | 292347.2448 | 59.9307 | 38.1
100423 | 2021-04-20 15:31 | 14.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4991 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.746 | 127528.4156 | 292317.6651 | 59.9307 | 38.1
100433 | 2021-04-20 15:31 | 14.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4554 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.748 | 127514.7817 | 292301.9683 | 59.9307 | 38.1
100443 | 2021-04-20 15:32 | 14.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4336 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.749 | 127494.7702 | 292294.7444 | 59.9307 | 38.1
100453 | 2021-04-20 15:32 | 15.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4597 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.75 | 127500.3375 | 292272.7481 | 59.9307 | 38.1
100463 | 2021-04-20 15:32 | 15.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4815 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.749 | 127489.6688 | 292270.9228 | 59.9307 | 38.1
100473 | 2021-04-20 15:33 | 15.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4378 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.751 | 127480.3183 | 292250.1713 | 59.9307 | 38.1
100483 | 2021-04-20 15:33 | 16.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4378 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.751 | 127476.6891 | 292223.0338 | 59.9307 | 38.1
100493 | 2021-04-20 15:33 | 16.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3681 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.752 | 127467.1258 | 292228.3756 | 59.9307 | 38.1
100503 | 2021-04-20 15:34 | 16.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3681 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.752 | 127464.3503 | 292215.4353 | 59.9307 | 38.1
100513 | 2021-04-20 15:34 | 17.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3942 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.753 | 127454.1582 | 292213.5541 | 59.9307 | 38.1
100523 | 2021-04-20 15:34 | 17.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.4421 | μmol/L | 14.9962 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.753 | 127447.9547 | 292219.2243 | 59.9307 | 38.1
100533 | 2021-04-20 15:35 | 17.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2809 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.756 | 127436.8371 | 292179.0886 | 59.9307 | 38.1
100543 | 2021-04-20 15:35 | 18.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3505 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.755 | 127427.3957 | 292165.8209 | 59.9307 | 38.1
100553 | 2021-04-20 15:35 | 18.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.259 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.757 | 127417.506 | 292167.5493 | 59.9307 | 38.1
100563 | 2021-04-20 15:36 | 18.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3027 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.755 | 127416.1924 | 292151.6977 | 59.9307 | 38.1
100573 | 2021-04-20 15:36 | 19.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2851 | μmol/L | 15.0023 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.758 | 127406.3118 | 292138.0481 | 59.9307 | 38.1
100583 | 2021-04-20 15:36 | 19.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1718 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.761 | 127406.4954 | 292122.8333 | 59.9307 | 38.1
100593 | 2021-04-20 15:37 | 19.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2154 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.759 | 127398.8099 | 292116.7286 | 59.9307 | 38.1
100603 | 2021-04-20 15:37 | 20.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.2154 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.759 | 127384.8435 | 292106.4584 | 59.9307 | 38.1
100613 | 2021-04-20 15:37 | 20.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1022 | μmol/L | 15.0145 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.762 | 127391.2171 | 292100.5265 | 59.9307 | 38.1
100623 | 2021-04-20 15:38 | 20.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1282 | μmol/L | 15.0084 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.763 | 127402.0392 | 292093.7901 | 59.9307 | 38.1