## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99994 | 2021-04-20 15:17 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.6848 | μmol/L | 15.1803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.08 | 105271.2952 | 211973.4154 | 27.3 | 43.4
100004 | 2021-04-20 15:17 | 0.33679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.4888 | μmol/L | 15.0277 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.062 | 105111.0358 | 211974.6963 | 27.3 | 43.4
100014 | 2021-04-20 15:17 | 0.67003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.4668 | μmol/L | 14.9789 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.04 | 104946.9306 | 211960.4285 | 27.3 | 43.4
100024 | 2021-04-20 15:18 | 1.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.0433 | μmol/L | 14.9667 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.021 | 104795.635 | 211937.9384 | 27.3 | 43.4
100034 | 2021-04-20 15:18 | 1.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.6459 | μmol/L | 14.9545 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.001 | 104664.5595 | 211905.3183 | 27.3 | 43.4
100044 | 2021-04-20 15:18 | 1.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.0897 | μmol/L | 14.9545 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.983 | 104563.0215 | 211901.4825 | 27.3 | 43.4
100054 | 2021-04-20 15:19 | 2.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.4416 | μmol/L | 14.9484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.971 | 104439.4727 | 211887.7754 | 27.3 | 43.4
100064 | 2021-04-20 15:19 | 2.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.7879 | μmol/L | 14.9484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.957 | 104360.7669 | 211882.0876 | 27.3 | 43.4
100074 | 2021-04-20 15:19 | 2.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.0295 | μmol/L | 14.9545 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.945 | 104275.2643 | 211855.4585 | 27.3 | 43.4
100084 | 2021-04-20 15:20 | 3.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.4136 | μmol/L | 14.9423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.934 | 104205.6694 | 211848.6607 | 27.3 | 43.4
100094 | 2021-04-20 15:20 | 3.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.5626 | μmol/L | 14.9423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.928 | 104124.8396 | 211827.4363 | 27.3 | 43.4
100104 | 2021-04-20 15:20 | 3.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.8857 | μmol/L | 14.9423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.915 | 104056.4295 | 211810.8897 | 27.3 | 43.4
100114 | 2021-04-20 15:21 | 4.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.1904 | μmol/L | 14.9362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.905 | 103997.8442 | 211800.3507 | 27.3 | 43.4
100124 | 2021-04-20 15:21 | 4.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.4018 | μmol/L | 14.924 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.901 | 103939.5927 | 211782.9393 | 27.3 | 43.4
100134 | 2021-04-20 15:21 | 4.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.6262 | μmol/L | 14.924 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.892 | 103883.2781 | 211769.3424 | 27.3 | 43.4
100144 | 2021-04-20 15:22 | 5.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9628 | μmol/L | 14.9118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.883 | 103826.5632 | 211767.425 | 27.3 | 43.4
100154 | 2021-04-20 15:22 | 5.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9818 | μmol/L | 14.9179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.88 | 103781.4696 | 211745.6197 | 27.3 | 43.4
100164 | 2021-04-20 15:22 | 5.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.2128 | μmol/L | 14.9118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.873 | 103729.9318 | 211738.1384 | 27.3 | 43.4
100174 | 2021-04-20 15:23 | 6.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.4941 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.864 | 103692.5421 | 211733.061 | 27.3 | 43.4
100184 | 2021-04-20 15:23 | 6.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.469 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.865 | 103652.8458 | 211721.0406 | 27.3 | 43.4
100194 | 2021-04-20 15:23 | 6.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.5251 | μmol/L | 14.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.865 | 103608.9633 | 211717.794 | 27.3 | 43.4
100204 | 2021-04-20 15:24 | 7.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.8569 | μmol/L | 14.8934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.854 | 103571.6928 | 211705.62 | 27.3 | 43.4
100214 | 2021-04-20 15:24 | 7.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.9944 | μmol/L | 14.8812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.853 | 103539.8222 | 211684.4627 | 27.3 | 43.4
100224 | 2021-04-20 15:24 | 7.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.0887 | μmol/L | 14.8873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.847 | 103504.5498 | 211677.8956 | 27.3 | 43.4
100234 | 2021-04-20 15:25 | 8.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.2394 | μmol/L | 14.8873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.841 | 103473.4237 | 211663.4131 | 27.3 | 43.4
100244 | 2021-04-20 15:25 | 8.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.4022 | μmol/L | 14.8751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.839 | 103436.284 | 211661.0959 | 27.3 | 43.4
100254 | 2021-04-20 15:25 | 8.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.4776 | μmol/L | 14.8751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.836 | 103409.1594 | 211653.2288 | 27.3 | 43.4
100264 | 2021-04-20 15:26 | 9.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.559 | μmol/L | 14.869 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.835 | 103390.1557 | 211634.3008 | 27.3 | 43.4
100274 | 2021-04-20 15:26 | 9.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.716 | μmol/L | 14.8629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.831 | 103359.0931 | 211630.169 | 27.3 | 43.4
100284 | 2021-04-20 15:26 | 9.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.9234 | μmol/L | 14.8568 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.825 | 103330.2943 | 211624.5463 | 27.3 | 43.4
100294 | 2021-04-20 15:27 | 10.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.8288 | μmol/L | 14.8507 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.831 | 103312.1033 | 211625.2377 | 27.3 | 43.4
100304 | 2021-04-20 15:27 | 10.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.8288 | μmol/L | 14.8507 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.831 | 103297.1403 | 211603.3982 | 27.3 | 43.4
100314 | 2021-04-20 15:27 | 10.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.9859 | μmol/L | 14.8446 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.827 | 103271.3471 | 211590.9269 | 27.3 | 43.4
100324 | 2021-04-20 15:28 | 11.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.0111 | μmol/L | 14.8446 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.826 | 103254.1922 | 211588.588 | 27.3 | 43.4
100334 | 2021-04-20 15:28 | 11.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.2248 | μmol/L | 14.8324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.822 | 103241.2051 | 211581.0767 | 27.3 | 43.4
100344 | 2021-04-20 15:28 | 11.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.244 | μmol/L | 14.8385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.819 | 103219.1572 | 211568.4815 | 27.3 | 43.4
100354 | 2021-04-20 15:29 | 12.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.3822 | μmol/L | 14.8263 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.818 | 103197.3111 | 211554.2463 | 27.3 | 43.4
100364 | 2021-04-20 15:29 | 12.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.3318 | μmol/L | 14.8263 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.82 | 103179.2636 | 211553.4186 | 27.3 | 43.4
100374 | 2021-04-20 15:29 | 12.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.5144 | μmol/L | 14.8202 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.815 | 103161.7657 | 211547.1717 | 27.3 | 43.4
100384 | 2021-04-20 15:30 | 13.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.4135 | μmol/L | 14.8202 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.819 | 103146.6701 | 211532.7427 | 27.3 | 43.4
100394 | 2021-04-20 15:30 | 13.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.672 | μmol/L | 14.8141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.811 | 103127.3694 | 211531.2442 | 27.3 | 43.4
100404 | 2021-04-20 15:30 | 13.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.6276 | μmol/L | 14.808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.815 | 103110.47 | 211514.2849 | 27.3 | 43.4
100414 | 2021-04-20 15:31 | 14.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.7033 | μmol/L | 14.808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.812 | 103096.187 | 211506.4903 | 27.3 | 43.4
100424 | 2021-04-20 15:31 | 14.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.6528 | μmol/L | 14.808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.814 | 103086.6356 | 211492.8877 | 27.3 | 43.4
100434 | 2021-04-20 15:31 | 14.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.8671 | μmol/L | 14.7958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.81 | 103067.7336 | 211487.5341 | 27.3 | 43.4
100444 | 2021-04-20 15:32 | 15.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.8671 | μmol/L | 14.7958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.81 | 103042.8375 | 211477.6498 | 27.3 | 43.4
100454 | 2021-04-20 15:32 | 15.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.0502 | μmol/L | 14.7897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.805 | 103037.1783 | 211473.9591 | 27.3 | 43.4
100464 | 2021-04-20 15:32 | 15.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.0563 | μmol/L | 14.7836 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.807 | 103031.7239 | 211482.7354 | 27.3 | 43.4
100474 | 2021-04-20 15:33 | 16.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.949 | μmol/L | 14.7897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.809 | 103018.7041 | 211445.4727 | 27.3 | 43.4
100484 | 2021-04-20 15:33 | 16.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.0563 | μmol/L | 14.7836 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.807 | 102995.5525 | 211453.5725 | 27.3 | 43.4
100494 | 2021-04-20 15:33 | 16.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.0877 | μmol/L | 14.7775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.808 | 102986.6257 | 211443.0189 | 27.3 | 43.4
100504 | 2021-04-20 15:34 | 17.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.1444 | μmol/L | 14.7714 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.808 | 102969.3814 | 211436.6648 | 27.3 | 43.4
100514 | 2021-04-20 15:34 | 17.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.1889 | μmol/L | 14.7775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.804 | 102961.8015 | 211433.301 | 27.3 | 43.4
100524 | 2021-04-20 15:34 | 17.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.0877 | μmol/L | 14.7775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.808 | 102958.238 | 211413.8672 | 27.3 | 43.4
100534 | 2021-04-20 15:35 | 18.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.277 | μmol/L | 14.7653 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.805 | 102946.1424 | 211417.3432 | 27.3 | 43.4
100544 | 2021-04-20 15:35 | 18.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.1963 | μmol/L | 14.7653 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.808 | 102933.3602 | 211401.6261 | 27.3 | 43.4
100554 | 2021-04-20 15:35 | 18.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.253 | μmol/L | 14.7592 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.808 | 102921.6181 | 211407.7311 | 27.3 | 43.4
100564 | 2021-04-20 15:36 | 19.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.3844 | μmol/L | 14.7592 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.803 | 102920.8741 | 211379.3221 | 27.3 | 43.4
100574 | 2021-04-20 15:36 | 19.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.2325 | μmol/L | 14.7592 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.809 | 102907.4473 | 211389.0506 | 27.3 | 43.4
100584 | 2021-04-20 15:36 | 19.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.1963 | μmol/L | 14.7653 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.808 | 102902.9711 | 211367.0288 | 27.3 | 43.4
100594 | 2021-04-20 15:37 | 20.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.3796 | μmol/L | 14.7592 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.803 | 102891.8268 | 211371.089 | 27.3 | 43.4
100604 | 2021-04-20 15:37 | 20.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.3399 | μmol/L | 14.7531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.807 | 102875.6923 | 211350.0515 | 27.3 | 43.4
100614 | 2021-04-20 15:37 | 20.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.4172 | μmol/L | 14.747 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.806 | 102869.6683 | 211351.3126 | 27.3 | 43.4
100624 | 2021-04-20 15:38 | 21.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.498 | μmol/L | 14.747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.803 | 102866.2412 | 211342.6727 | 27.3 | 43.4