## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99995 | 2021-04-20 15:17 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.0603 | μmol/L | 14.9801 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.772 | 96823.9752 | 289621.4003 | 28.7 | 67.6
100005 | 2021-04-20 15:17 | 0.32563 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4885 | μmol/L | 14.9618 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.759 | 96719.823 | 289599.202 | 28.7 | 67.6
100015 | 2021-04-20 15:17 | 0.65878 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.8611 | μmol/L | 14.9618 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.742 | 96641.8362 | 289584.5037 | 28.7 | 67.6
100025 | 2021-04-20 15:18 | 0.99275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.0628 | μmol/L | 14.9558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.735 | 96571.9485 | 289555.9944 | 28.7 | 67.6
100035 | 2021-04-20 15:18 | 1.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3265 | μmol/L | 14.9558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.723 | 96522.0854 | 289541.3011 | 28.7 | 67.6
100045 | 2021-04-20 15:18 | 1.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4365 | μmol/L | 14.9558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.718 | 96463.7414 | 289514.5538 | 28.7 | 67.6
100055 | 2021-04-20 15:19 | 1.9927 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.6167 | μmol/L | 14.9497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.712 | 96425.1947 | 289497.8616 | 28.7 | 67.6
100065 | 2021-04-20 15:19 | 2.326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.7488 | μmol/L | 14.9497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.706 | 96371.4874 | 289459.608 | 28.7 | 67.6
100075 | 2021-04-20 15:19 | 2.6594 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8411 | μmol/L | 14.9436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.704 | 96334.5644 | 289441.7135 | 28.7 | 67.6
100085 | 2021-04-20 15:20 | 2.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.9334 | μmol/L | 14.9375 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.702 | 96303.0199 | 289410.6847 | 28.7 | 67.6
100095 | 2021-04-20 15:20 | 3.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.0299 | μmol/L | 14.9254 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.702 | 96282.0198 | 289389.9362 | 28.7 | 67.6
100105 | 2021-04-20 15:20 | 3.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2285 | μmol/L | 14.9254 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.693 | 96242.2501 | 289366.3021 | 28.7 | 67.6
100115 | 2021-04-20 15:21 | 3.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.3389 | μmol/L | 14.9254 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.688 | 96208.156 | 289349.1526 | 28.7 | 67.6
100125 | 2021-04-20 15:21 | 4.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5419 | μmol/L | 14.9193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.681 | 96160.9492 | 289327.0875 | 28.7 | 67.6
100135 | 2021-04-20 15:21 | 4.6594 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.7009 | μmol/L | 14.9132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.676 | 96115.1588 | 289319.5821 | 28.7 | 67.6
100145 | 2021-04-20 15:22 | 4.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.8558 | μmol/L | 14.9132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.669 | 96066.8536 | 289282.0861 | 28.7 | 67.6
100155 | 2021-04-20 15:22 | 5.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.1521 | μmol/L | 14.9011 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 96025.5741 | 289266.8593 | 28.7 | 67.6
100165 | 2021-04-20 15:22 | 5.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.245 | μmol/L | 14.895 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.658 | 96004.3596 | 289257.112 | 28.7 | 67.6
100175 | 2021-04-20 15:23 | 5.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.3379 | μmol/L | 14.8889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.656 | 95958.948 | 289239.6439 | 28.7 | 67.6
100185 | 2021-04-20 15:23 | 6.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.3601 | μmol/L | 14.8889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.655 | 95935.6087 | 289216.4701 | 28.7 | 67.6
100195 | 2021-04-20 15:23 | 6.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5237 | μmol/L | 14.8768 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.652 | 95912.1151 | 289197.8427 | 28.7 | 67.6
100205 | 2021-04-20 15:24 | 6.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5501 | μmol/L | 14.8707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 95899.2805 | 289168.9791 | 28.7 | 67.6
100215 | 2021-04-20 15:24 | 7.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6876 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.649 | 95867.2219 | 289156.7516 | 28.7 | 67.6
100225 | 2021-04-20 15:24 | 7.6594 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.732 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 95857.6648 | 289129.118 | 28.7 | 67.6
100235 | 2021-04-20 15:25 | 7.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8696 | μmol/L | 14.8585 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.643 | 95840.768 | 289107.5342 | 28.7 | 67.6
100245 | 2021-04-20 15:25 | 8.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8918 | μmol/L | 14.8585 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.642 | 95824.2623 | 289087.0639 | 28.7 | 67.6
100255 | 2021-04-20 15:25 | 8.6593 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0336 | μmol/L | 14.8464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.64 | 95818.8919 | 289071.7193 | 28.7 | 67.6
100265 | 2021-04-20 15:26 | 8.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0155 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.643 | 95804.5849 | 289064.6407 | 28.7 | 67.6
100275 | 2021-04-20 15:26 | 9.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.971 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.645 | 95799.6393 | 289051.7145 | 28.7 | 67.6
100285 | 2021-04-20 15:26 | 9.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0197 | μmol/L | 14.8342 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.645 | 95790.3039 | 289035.1916 | 28.7 | 67.6
100295 | 2021-04-20 15:27 | 9.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0949 | μmol/L | 14.8221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.646 | 95778.3632 | 288993.0241 | 28.7 | 67.6
100305 | 2021-04-20 15:27 | 10.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1881 | μmol/L | 14.816 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.644 | 95782.3321 | 288986.2684 | 28.7 | 67.6
100315 | 2021-04-20 15:27 | 10.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1742 | μmol/L | 14.8039 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.649 | 95775.9913 | 288977.3488 | 28.7 | 67.6
100325 | 2021-04-20 15:28 | 10.9927 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0587 | μmol/L | 14.8099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.652 | 95780.0892 | 288956.2006 | 28.7 | 67.6
100335 | 2021-04-20 15:28 | 11.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.241 | μmol/L | 14.8039 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.646 | 95774.0548 | 288948.3871 | 28.7 | 67.6
100345 | 2021-04-20 15:28 | 11.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1785 | μmol/L | 14.7978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.651 | 95773.723 | 288935.4613 | 28.7 | 67.6
100355 | 2021-04-20 15:29 | 11.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1827 | μmol/L | 14.7917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 95767.6774 | 288897.6683 | 28.7 | 67.6
100365 | 2021-04-20 15:29 | 12.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2356 | μmol/L | 14.7796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.655 | 95764.2507 | 288892.5849 | 28.7 | 67.6
100375 | 2021-04-20 15:29 | 12.6593 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2802 | μmol/L | 14.7796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 95755.4592 | 288891.5369 | 28.7 | 67.6
100385 | 2021-04-20 15:30 | 12.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2621 | μmol/L | 14.7735 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.656 | 95751.8486 | 288868.5866 | 28.7 | 67.6
100395 | 2021-04-20 15:30 | 13.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3109 | μmol/L | 14.7674 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.656 | 95751.4156 | 288856.2622 | 28.7 | 67.6
100405 | 2021-04-20 15:30 | 13.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3374 | μmol/L | 14.7613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.657 | 95744.3959 | 288842.7873 | 28.7 | 67.6
100415 | 2021-04-20 15:31 | 13.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2929 | μmol/L | 14.7613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.659 | 95741.9418 | 288818.8044 | 28.7 | 67.6
100425 | 2021-04-20 15:31 | 14.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2526 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.663 | 95745.3824 | 288816.0236 | 28.7 | 67.6
100435 | 2021-04-20 15:31 | 14.6594 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.4393 | μmol/L | 14.7431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.659 | 95739.6301 | 288797.2098 | 28.7 | 67.6
100445 | 2021-04-20 15:32 | 14.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3947 | μmol/L | 14.7431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.661 | 95740.1232 | 288780.8347 | 28.7 | 67.6
100455 | 2021-04-20 15:32 | 15.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3099 | μmol/L | 14.737 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.667 | 95724.1523 | 288757.4026 | 28.7 | 67.6
100465 | 2021-04-20 15:32 | 15.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3099 | μmol/L | 14.737 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.667 | 95723.732 | 288738.7154 | 28.7 | 67.6
100475 | 2021-04-20 15:33 | 15.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3587 | μmol/L | 14.731 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.667 | 95723.5325 | 288727.6466 | 28.7 | 67.6
100485 | 2021-04-20 15:33 | 16.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.4076 | μmol/L | 14.7249 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.667 | 95725.6826 | 288710.4434 | 28.7 | 67.6
100495 | 2021-04-20 15:33 | 16.6594 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3896 | μmol/L | 14.7188 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.67 | 95718.6974 | 288696.5649 | 28.7 | 67.6
100505 | 2021-04-20 15:34 | 16.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3005 | μmol/L | 14.7188 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.674 | 95711.0262 | 288687.0382 | 28.7 | 67.6
100515 | 2021-04-20 15:34 | 17.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3939 | μmol/L | 14.7127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.672 | 95711.1742 | 288692.4955 | 28.7 | 67.6
100525 | 2021-04-20 15:34 | 17.6594 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.4161 | μmol/L | 14.7127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.671 | 95711.5267 | 288669.0586 | 28.7 | 67.6
100535 | 2021-04-20 15:35 | 17.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.4513 | μmol/L | 14.6945 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.676 | 95706.2559 | 288648.4899 | 28.7 | 67.6
100545 | 2021-04-20 15:35 | 18.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3802 | μmol/L | 14.7006 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 95705.674 | 288629.9312 | 28.7 | 67.6
100555 | 2021-04-20 15:35 | 18.6594 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.4959 | μmol/L | 14.6945 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.674 | 95702.8382 | 288614.6306 | 28.7 | 67.6
100565 | 2021-04-20 15:36 | 18.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.4736 | μmol/L | 14.6945 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.675 | 95697.4679 | 288623.3808 | 28.7 | 67.6
100575 | 2021-04-20 15:36 | 19.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.4779 | μmol/L | 14.6884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 95695.4388 | 288610.2792 | 28.7 | 67.6
100585 | 2021-04-20 15:36 | 19.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.549 | μmol/L | 14.6824 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.676 | 95695.1181 | 288594.8101 | 28.7 | 67.6
100595 | 2021-04-20 15:37 | 19.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.5534 | μmol/L | 14.6763 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.678 | 95697.0675 | 288582.1689 | 28.7 | 67.6
100605 | 2021-04-20 15:37 | 20.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.5131 | μmol/L | 14.6702 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.682 | 95683.9914 | 288558.2261 | 28.7 | 67.6
100615 | 2021-04-20 15:37 | 20.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.5534 | μmol/L | 14.6702 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.68 | 95680.1665 | 288557.8675 | 28.7 | 67.6
100625 | 2021-04-20 15:38 | 20.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.5131 | μmol/L | 14.6702 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.682 | 95674.3525 | 288540.8971 | 28.7 | 67.6