## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99996 | 2021-04-20 15:17 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3382 | μmol/L | 15.1632 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.296 | 124690.4383 | 266590.647 | 36.4 | 83.1
100006 | 2021-04-20 15:17 | 0.33228 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1661 | μmol/L | 15.1082 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.282 | 124508.656 | 266553.733 | 36.4 | 83.1
100016 | 2021-04-20 15:18 | 0.66542 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6196 | μmol/L | 15.0898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.27 | 124465.3632 | 266555.3525 | 36.4 | 83.1
100026 | 2021-04-20 15:18 | 0.99923 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8983 | μmol/L | 15.0776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.263 | 124403.045 | 266546.6612 | 36.4 | 83.1
100036 | 2021-04-20 15:18 | 1.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0982 | μmol/L | 15.0715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.257 | 124372.0993 | 266509.2161 | 36.4 | 83.1
100046 | 2021-04-20 15:19 | 1.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1884 | μmol/L | 15.0776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.251 | 124325.899 | 266483.7786 | 36.4 | 83.1
100056 | 2021-04-20 15:19 | 1.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3886 | μmol/L | 15.0715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.245 | 124279.4308 | 266463.244 | 36.4 | 83.1
100066 | 2021-04-20 15:19 | 2.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3336 | μmol/L | 15.0776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.245 | 124242.5051 | 266431.3181 | 36.4 | 83.1
100076 | 2021-04-20 15:20 | 2.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3821 | μmol/L | 15.0776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.243 | 124176.7295 | 266407.8416 | 36.4 | 83.1
100086 | 2021-04-20 15:20 | 2.9988 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.5097 | μmol/L | 15.0715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.24 | 124154.6162 | 266398.4236 | 36.4 | 83.1
100096 | 2021-04-20 15:20 | 3.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.5339 | μmol/L | 15.0715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.239 | 124108.6648 | 266372.9334 | 36.4 | 83.1
100106 | 2021-04-20 15:21 | 3.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4789 | μmol/L | 15.0776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.239 | 124086.2624 | 266348.2408 | 36.4 | 83.1
100116 | 2021-04-20 15:21 | 3.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4305 | μmol/L | 15.0776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.241 | 124052.5016 | 266331.6257 | 36.4 | 83.1
100126 | 2021-04-20 15:21 | 4.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3336 | μmol/L | 15.0776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.245 | 123993.0102 | 266315.2458 | 36.4 | 83.1
100136 | 2021-04-20 15:22 | 4.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2303 | μmol/L | 15.0837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.247 | 123950.5531 | 266306.1674 | 36.4 | 83.1
100146 | 2021-04-20 15:22 | 4.9988 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1094 | μmol/L | 15.0837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.252 | 123925.9458 | 266274.6736 | 36.4 | 83.1
100156 | 2021-04-20 15:22 | 5.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8128 | μmol/L | 15.0898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.262 | 123910.7998 | 266257.2814 | 36.4 | 83.1
100166 | 2021-04-20 15:23 | 5.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.758 | μmol/L | 15.0959 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.262 | 123921.1428 | 266253.1254 | 36.4 | 83.1
100176 | 2021-04-20 15:23 | 5.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6438 | μmol/L | 15.0898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.269 | 123908.1833 | 266225.2737 | 36.4 | 83.1
100186 | 2021-04-20 15:23 | 6.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.3654 | μmol/L | 15.1021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.276 | 123920.2644 | 266194.8408 | 36.4 | 83.1
100196 | 2021-04-20 15:24 | 6.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2931 | μmol/L | 15.1021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.279 | 123925.1656 | 266184.7513 | 36.4 | 83.1
100206 | 2021-04-20 15:24 | 6.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1791 | μmol/L | 15.0959 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.286 | 123946.8482 | 266171.5556 | 36.4 | 83.1
100216 | 2021-04-20 15:24 | 7.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0522 | μmol/L | 15.1021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.289 | 123960.5376 | 266151.0108 | 36.4 | 83.1
100226 | 2021-04-20 15:25 | 7.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6848 | μmol/L | 15.1082 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.302 | 123972.8834 | 266141.8852 | 36.4 | 83.1
100236 | 2021-04-20 15:25 | 7.9988 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8116 | μmol/L | 15.1021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.299 | 123987.1559 | 266128.5212 | 36.4 | 83.1
100246 | 2021-04-20 15:25 | 8.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4751 | μmol/L | 15.1021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.313 | 124013.5273 | 266100.0017 | 36.4 | 83.1
100256 | 2021-04-20 15:26 | 8.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4271 | μmol/L | 15.1021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.315 | 124018.6171 | 266082.8598 | 36.4 | 83.1
100266 | 2021-04-20 15:26 | 8.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2766 | μmol/L | 15.1082 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.319 | 124034.8031 | 266071.4464 | 36.4 | 83.1
100276 | 2021-04-20 15:26 | 9.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0128 | μmol/L | 15.1082 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.33 | 124054.8636 | 266060.2488 | 36.4 | 83.1
100286 | 2021-04-20 15:27 | 9.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8799 | μmol/L | 15.1204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.331 | 124065.8982 | 266064.4493 | 36.4 | 83.1
100296 | 2021-04-20 15:27 | 9.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8146 | μmol/L | 15.1143 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.336 | 124056.4436 | 266033.7908 | 36.4 | 83.1
100306 | 2021-04-20 15:27 | 10.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6949 | μmol/L | 15.1143 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.341 | 124071.4153 | 266005.1539 | 36.4 | 83.1
100316 | 2021-04-20 15:28 | 10.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5687 | μmol/L | 15.1204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.344 | 124066.8286 | 265994.8123 | 36.4 | 83.1
100326 | 2021-04-20 15:28 | 10.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2753 | μmol/L | 15.1265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.354 | 123975.6798 | 265970.1183 | 36.4 | 83.1
100336 | 2021-04-20 15:28 | 11.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2884 | μmol/L | 15.1143 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.358 | 123939.6609 | 265973.0765 | 36.4 | 83.1
100346 | 2021-04-20 15:29 | 11.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1863 | μmol/L | 15.1204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.36 | 123896.1611 | 265954.5131 | 36.4 | 83.1
100356 | 2021-04-20 15:29 | 11.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0604 | μmol/L | 15.1265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.363 | 123898.1507 | 265932.4277 | 36.4 | 83.1
100366 | 2021-04-20 15:29 | 12.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7438 | μmol/L | 15.1326 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.374 | 123905.8016 | 265932.3801 | 36.4 | 83.1
100376 | 2021-04-20 15:30 | 12.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6723 | μmol/L | 15.1326 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.377 | 123903.9871 | 265908.8604 | 36.4 | 83.1
100386 | 2021-04-20 15:30 | 12.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7026 | μmol/L | 15.1265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.378 | 123905.8722 | 265896.5446 | 36.4 | 83.1
100396 | 2021-04-20 15:30 | 13.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4883 | μmol/L | 15.1265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.387 | 123911.1734 | 265874.9335 | 36.4 | 83.1
100406 | 2021-04-20 15:31 | 13.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3865 | μmol/L | 15.1326 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.389 | 123919.1188 | 265872.6822 | 36.4 | 83.1
100416 | 2021-04-20 15:31 | 13.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3455 | μmol/L | 15.1265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.393 | 123921.9048 | 265853.501 | 36.4 | 83.1
100426 | 2021-04-20 15:31 | 14.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1183 | μmol/L | 15.1388 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.398 | 123938.6944 | 265855.6645 | 36.4 | 83.1
100436 | 2021-04-20 15:32 | 14.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.047 | μmol/L | 15.1388 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.401 | 122874.8071 | 265841.9068 | 36.4 | 83.1
100446 | 2021-04-20 15:32 | 14.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.9282 | μmol/L | 15.1388 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.406 | 122836.4695 | 265822.6915 | 36.4 | 83.1
100456 | 2021-04-20 15:32 | 15.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7555 | μmol/L | 15.1449 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.411 | 122819.3823 | 265801.7165 | 36.4 | 83.1
100466 | 2021-04-20 15:33 | 15.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6132 | μmol/L | 15.1449 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 122800.4713 | 265799.6829 | 36.4 | 83.1
100476 | 2021-04-20 15:33 | 15.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6197 | μmol/L | 15.1388 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.419 | 122808.2855 | 265786.6394 | 36.4 | 83.1
100486 | 2021-04-20 15:33 | 16.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.5308 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.418 | 122775.4242 | 265778.3958 | 36.4 | 83.1
100496 | 2021-04-20 15:34 | 16.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.4946 | μmol/L | 15.1449 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.422 | 122768.7198 | 265758.9943 | 36.4 | 83.1
100506 | 2021-04-20 15:34 | 16.9988 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.3696 | μmol/L | 15.151 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.425 | 122771.1458 | 265749.1838 | 36.4 | 83.1
100516 | 2021-04-20 15:34 | 17.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.324 | μmol/L | 15.1449 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.429 | 122771.2796 | 265748.041 | 36.4 | 83.1
100526 | 2021-04-20 15:35 | 17.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.1517 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.434 | 122761.9638 | 265726.8654 | 36.4 | 83.1
100536 | 2021-04-20 15:35 | 17.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.057 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.438 | 122752.0517 | 265715.2958 | 36.4 | 83.1
100546 | 2021-04-20 15:35 | 18.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.1109 | μmol/L | 15.1449 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.438 | 122756.5706 | 265693.2974 | 36.4 | 83.1
100556 | 2021-04-20 15:36 | 18.6654 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.9861 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.441 | 122755.0074 | 265670.2 | 36.4 | 83.1
100566 | 2021-04-20 15:36 | 18.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.8205 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.448 | 122753.2714 | 265668.3069 | 36.4 | 83.1
100576 | 2021-04-20 15:36 | 19.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.7431 | μmol/L | 15.1571 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.449 | 122747.2971 | 265675.9882 | 36.4 | 83.1
100586 | 2021-04-20 15:37 | 19.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.8442 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.447 | 122744.0378 | 265647.693 | 36.4 | 83.1
100596 | 2021-04-20 15:37 | 19.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6893 | μmol/L | 15.1632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.449 | 122745.7119 | 265646.8791 | 36.4 | 83.1
100606 | 2021-04-20 15:37 | 20.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6959 | μmol/L | 15.1571 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.451 | 122737.2931 | 265640.8919 | 36.4 | 83.1
100616 | 2021-04-20 15:38 | 20.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6014 | μmol/L | 15.1571 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.455 | 122733.1687 | 265633.0269 | 36.4 | 83.1
100626 | 2021-04-20 15:38 | 20.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.5476 | μmol/L | 15.1632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.455 | 122747.7052 | 265621.8808 | 36.4 | 83.1