## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99997 | 2021-04-20 15:17 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.9303 | μmol/L | 15.0252 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.851 | 100818.1313 | 292792.8714 | 30.45 | 114.2
100007 | 2021-04-20 15:17 | 0.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2686 | μmol/L | 15.0068 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.842 | 100730.396 | 292773.4022 | 30.45 | 114.2
100017 | 2021-04-20 15:18 | 0.67225 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.5162 | μmol/L | 14.9945 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.835 | 100667.1323 | 292751.9417 | 30.45 | 114.2
100027 | 2021-04-20 15:18 | 1.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.6897 | μmol/L | 14.9945 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.827 | 100605.9836 | 292734.5262 | 30.45 | 114.2
100037 | 2021-04-20 15:18 | 1.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.9114 | μmol/L | 14.9884 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.819 | 100545.012 | 292694.2351 | 30.45 | 114.2
100047 | 2021-04-20 15:19 | 1.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.0898 | μmol/L | 14.9823 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.813 | 100494.5895 | 292683.0928 | 30.45 | 114.2
100057 | 2021-04-20 15:19 | 2.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.1768 | μmol/L | 14.9823 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.809 | 100436.1019 | 292647.2227 | 30.45 | 114.2
100067 | 2021-04-20 15:19 | 2.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.2421 | μmol/L | 14.9823 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.806 | 100385.8468 | 292617.6947 | 30.45 | 114.2
100077 | 2021-04-20 15:20 | 2.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.3509 | μmol/L | 14.9823 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.801 | 100347.2551 | 292598.0703 | 30.45 | 114.2
100087 | 2021-04-20 15:20 | 3.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.4379 | μmol/L | 14.9823 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.797 | 100306.5905 | 292576.5961 | 30.45 | 114.2
100097 | 2021-04-20 15:20 | 3.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.4769 | μmol/L | 14.9884 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.793 | 100267.702 | 292538.0098 | 30.45 | 114.2
100107 | 2021-04-20 15:21 | 3.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.5686 | μmol/L | 14.9823 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.791 | 100235.5853 | 292522.8372 | 30.45 | 114.2
100117 | 2021-04-20 15:21 | 4.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.6822 | μmol/L | 14.9761 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 100205.5689 | 292506.8095 | 30.45 | 114.2
100127 | 2021-04-20 15:21 | 4.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7086 | μmol/L | 14.97 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.789 | 100188.3258 | 292475.455 | 30.45 | 114.2
100137 | 2021-04-20 15:22 | 4.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7258 | μmol/L | 14.9761 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 100163.7737 | 292459.3729 | 30.45 | 114.2
100147 | 2021-04-20 15:22 | 5.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.6822 | μmol/L | 14.9761 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 100143.9546 | 292436.1686 | 30.45 | 114.2
100157 | 2021-04-20 15:22 | 5.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8004 | μmol/L | 14.9639 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.787 | 100114.2557 | 292405.2115 | 30.45 | 114.2
100167 | 2021-04-20 15:23 | 5.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8222 | μmol/L | 14.9639 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 100092.0251 | 292378.5248 | 30.45 | 114.2
100177 | 2021-04-20 15:23 | 6.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8704 | μmol/L | 14.9577 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 100068.8798 | 292352.7353 | 30.45 | 114.2
100187 | 2021-04-20 15:23 | 6.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9187 | μmol/L | 14.9516 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 100052.3606 | 292336.7886 | 30.45 | 114.2
100197 | 2021-04-20 15:24 | 6.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8968 | μmol/L | 14.9516 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.787 | 100030.9707 | 292307.1575 | 30.45 | 114.2
100207 | 2021-04-20 15:24 | 7.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9887 | μmol/L | 14.9455 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.785 | 100027.1207 | 292302.078 | 30.45 | 114.2
100217 | 2021-04-20 15:24 | 7.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9887 | μmol/L | 14.9455 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.785 | 99994.513 | 292270.7079 | 30.45 | 114.2
100227 | 2021-04-20 15:25 | 7.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.1071 | μmol/L | 14.9332 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.784 | 99991.1878 | 292243.7078 | 30.45 | 114.2
100237 | 2021-04-20 15:25 | 8.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9808 | μmol/L | 14.927 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.792 | 99980.8871 | 292226.7062 | 30.45 | 114.2
100247 | 2021-04-20 15:25 | 8.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.1382 | μmol/L | 14.9209 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.787 | 99977.1111 | 292209.8205 | 30.45 | 114.2
100257 | 2021-04-20 15:26 | 8.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.0509 | μmol/L | 14.9209 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.791 | 99978.3586 | 292192.9587 | 30.45 | 114.2
100267 | 2021-04-20 15:26 | 9.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9854 | μmol/L | 14.9209 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.794 | 99972.336 | 292174.0514 | 30.45 | 114.2
100277 | 2021-04-20 15:26 | 9.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8809 | μmol/L | 14.9148 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.801 | 99969.1828 | 292154.31 | 30.45 | 114.2
100287 | 2021-04-20 15:27 | 9.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9682 | μmol/L | 14.9148 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.797 | 99976.0249 | 292134.3995 | 30.45 | 114.2
100297 | 2021-04-20 15:27 | 10.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.912 | μmol/L | 14.9025 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.804 | 99967.4772 | 292121.4432 | 30.45 | 114.2
100307 | 2021-04-20 15:27 | 10.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.912 | μmol/L | 14.9025 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.804 | 99955.521 | 292108.1488 | 30.45 | 114.2
100317 | 2021-04-20 15:28 | 10.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.0039 | μmol/L | 14.8964 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.802 | 99953.8761 | 292070.6479 | 30.45 | 114.2
100327 | 2021-04-20 15:28 | 11.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9431 | μmol/L | 14.8902 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.807 | 99946.9551 | 292062.1363 | 30.45 | 114.2
100337 | 2021-04-20 15:28 | 11.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8777 | μmol/L | 14.8902 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.81 | 99938.8297 | 292046.5737 | 30.45 | 114.2
100347 | 2021-04-20 15:29 | 11.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8777 | μmol/L | 14.8902 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.81 | 99926.4612 | 292023.2305 | 30.45 | 114.2
100357 | 2021-04-20 15:29 | 12.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.887 | μmol/L | 14.878 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.814 | 99922.0444 | 292006.4712 | 30.45 | 114.2
100367 | 2021-04-20 15:29 | 12.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8824 | μmol/L | 14.8841 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.812 | 99909.769 | 291980.8294 | 30.45 | 114.2
100377 | 2021-04-20 15:30 | 12.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.817 | μmol/L | 14.8841 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.815 | 99908.0938 | 291980.4893 | 30.45 | 114.2
100387 | 2021-04-20 15:30 | 13.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7562 | μmol/L | 14.878 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.82 | 99901.786 | 291961.4078 | 30.45 | 114.2
100397 | 2021-04-20 15:30 | 13.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7998 | μmol/L | 14.878 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.818 | 99907.2026 | 291936.0076 | 30.45 | 114.2
100407 | 2021-04-20 15:31 | 13.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7827 | μmol/L | 14.8718 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.821 | 99891.4505 | 291926.6117 | 30.45 | 114.2
100417 | 2021-04-20 15:31 | 14.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.652 | μmol/L | 14.8718 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.827 | 99892.3249 | 291914.0531 | 30.45 | 114.2
100427 | 2021-04-20 15:31 | 14.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9712 | μmol/L | 14.8534 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.819 | 99887.2018 | 291878.3351 | 30.45 | 114.2
100437 | 2021-04-20 15:32 | 14.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8357 | μmol/L | 14.8595 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.823 | 99890.6312 | 291895.1952 | 30.45 | 114.2
100447 | 2021-04-20 15:32 | 15.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9323 | μmol/L | 14.8473 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.823 | 99876.3642 | 291858.101 | 30.45 | 114.2
100457 | 2021-04-20 15:32 | 15.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8716 | μmol/L | 14.8411 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.828 | 99875.1076 | 291852.521 | 30.45 | 114.2
100467 | 2021-04-20 15:33 | 15.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8934 | μmol/L | 14.8411 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.827 | 99872.5584 | 291830.6571 | 30.45 | 114.2
100477 | 2021-04-20 15:33 | 16.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8451 | μmol/L | 14.8473 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.827 | 99868.8124 | 291811.0603 | 30.45 | 114.2
100487 | 2021-04-20 15:33 | 16.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7579 | μmol/L | 14.8473 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.831 | 99870.1475 | 291792.774 | 30.45 | 114.2
100497 | 2021-04-20 15:34 | 16.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8592 | μmol/L | 14.8289 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.833 | 99863.651 | 291778.6902 | 30.45 | 114.2
100507 | 2021-04-20 15:34 | 17.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8327 | μmol/L | 14.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.832 | 99857.384 | 291774.7772 | 30.45 | 114.2
100517 | 2021-04-20 15:34 | 17.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9777 | μmol/L | 14.8166 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.832 | 99855.5221 | 291751.2467 | 30.45 | 114.2
100527 | 2021-04-20 15:35 | 17.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8904 | μmol/L | 14.8166 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.836 | 99851.8845 | 291745.3144 | 30.45 | 114.2
100537 | 2021-04-20 15:35 | 18.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7985 | μmol/L | 14.8227 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.838 | 99852.7687 | 291723.908 | 30.45 | 114.2
100547 | 2021-04-20 15:35 | 18.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8298 | μmol/L | 14.8105 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.841 | 99844.2967 | 291695.1237 | 30.45 | 114.2
100557 | 2021-04-20 15:36 | 18.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7426 | μmol/L | 14.8105 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.845 | 99838.1886 | 291699.9027 | 30.45 | 114.2
100567 | 2021-04-20 15:36 | 19.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8127 | μmol/L | 14.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.844 | 99840.8191 | 291672.8119 | 30.45 | 114.2
100577 | 2021-04-20 15:36 | 19.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7739 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.848 | 99837.5704 | 291667.3912 | 30.45 | 114.2
100587 | 2021-04-20 15:37 | 19.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7304 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.85 | 99835.8856 | 291646.251 | 30.45 | 114.2
100597 | 2021-04-20 15:37 | 20.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8175 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.846 | 99827.5269 | 291637.2596 | 30.45 | 114.2
100607 | 2021-04-20 15:37 | 20.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8175 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.846 | 99818.5354 | 291633.0891 | 30.45 | 114.2
100617 | 2021-04-20 15:38 | 20.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8222 | μmol/L | 14.792 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.848 | 99820.8529 | 291614.6409 | 30.45 | 114.2