## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99999 | 2021-04-20 15:17 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.778 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.564 | 140008.7596 | 301023.1641 | 33.25 | 68.6
100009 | 2021-04-20 15:17 | 0.33309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.162 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.546 | 139913.4593 | 301024.0458 | 33.25 | 68.6
100019 | 2021-04-20 15:18 | 0.66693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5039 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.53 | 139837.7968 | 300993.0845 | 33.25 | 68.6
100029 | 2021-04-20 15:18 | 0.99991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6108 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.525 | 139810.4042 | 300982.6782 | 33.25 | 68.6
100039 | 2021-04-20 15:18 | 1.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.7178 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.52 | 139776.1377 | 300941.5254 | 33.25 | 68.6
100049 | 2021-04-20 15:19 | 1.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.7752 | μmol/L | 15.0884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.515 | 139770.0895 | 300913.0035 | 33.25 | 68.6
100059 | 2021-04-20 15:19 | 2.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6895 | μmol/L | 15.0884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.519 | 139750.5108 | 300867.9885 | 33.25 | 68.6
100069 | 2021-04-20 15:19 | 2.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6398 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.519 | 139746.8006 | 300855.8433 | 33.25 | 68.6
100079 | 2021-04-20 15:20 | 2.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6964 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.521 | 139737.5226 | 300814.0191 | 33.25 | 68.6
100089 | 2021-04-20 15:20 | 3.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.6964 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.521 | 139745.6384 | 300793.4812 | 33.25 | 68.6
100099 | 2021-04-20 15:20 | 3.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.5252 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.529 | 139743.3886 | 300765.5151 | 33.25 | 68.6
100109 | 2021-04-20 15:21 | 3.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.4328 | μmol/L | 15.0884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.531 | 139739.6449 | 300748.0719 | 33.25 | 68.6
100119 | 2021-04-20 15:21 | 3.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.3046 | μmol/L | 15.0884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.537 | 139742.2836 | 300726.8815 | 33.25 | 68.6
100129 | 2021-04-20 15:21 | 4.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.2122 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.539 | 139742.0689 | 300686.791 | 33.25 | 68.6
100139 | 2021-04-20 15:22 | 4.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.2619 | μmol/L | 15.0884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.539 | 139760.2636 | 300668.4684 | 33.25 | 68.6
100149 | 2021-04-20 15:22 | 4.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.1764 | μmol/L | 15.0884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.543 | 139779.3593 | 300651.1849 | 33.25 | 68.6
100159 | 2021-04-20 15:22 | 5.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.027 | μmol/L | 15.0884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.55 | 139785.2111 | 300613.3028 | 33.25 | 68.6
100169 | 2021-04-20 15:23 | 5.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.736 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.559 | 139813.5137 | 300591.7906 | 33.25 | 68.6
100179 | 2021-04-20 15:23 | 6.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6577 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.565 | 139865.3425 | 300568.0499 | 33.25 | 68.6
100189 | 2021-04-20 15:23 | 6.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4448 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.575 | 139916.77 | 300549.9499 | 33.25 | 68.6
100199 | 2021-04-20 15:24 | 6.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.2746 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.583 | 139941.8277 | 300522.3557 | 33.25 | 68.6
100209 | 2021-04-20 15:24 | 7.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.2108 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.586 | 139972.6113 | 300504.2445 | 33.25 | 68.6
100219 | 2021-04-20 15:24 | 7.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.0408 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.594 | 139998.9528 | 300492.0931 | 33.25 | 68.6
100229 | 2021-04-20 15:25 | 7.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.871 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.602 | 140025.1453 | 300456.165 | 33.25 | 68.6
100239 | 2021-04-20 15:25 | 8.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7156 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.607 | 140048.6407 | 300453.2608 | 33.25 | 68.6
100249 | 2021-04-20 15:25 | 8.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6376 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.613 | 140081.4991 | 300420.0232 | 33.25 | 68.6
100259 | 2021-04-20 15:26 | 8.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5248 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.616 | 140105.8794 | 300408.7778 | 33.25 | 68.6
100269 | 2021-04-20 15:26 | 9 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3765 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.623 | 140116.8013 | 300380.5777 | 33.25 | 68.6
100279 | 2021-04-20 15:26 | 9.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3199 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.628 | 140145.5683 | 300358.6215 | 33.25 | 68.6
100289 | 2021-04-20 15:27 | 9.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.2141 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.633 | 140156.6178 | 300342.5066 | 33.25 | 68.6
100299 | 2021-04-20 15:27 | 10 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0238 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.642 | 140180.1462 | 300322.9923 | 33.25 | 68.6
100309 | 2021-04-20 15:27 | 10.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9815 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.644 | 140210.7347 | 300316.345 | 33.25 | 68.6
100319 | 2021-04-20 15:28 | 10.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7423 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.653 | 140214.3025 | 300294.047 | 33.25 | 68.6
100329 | 2021-04-20 15:28 | 11.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7703 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.654 | 140230.3071 | 300284.4428 | 33.25 | 68.6
100339 | 2021-04-20 15:28 | 11.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6367 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.658 | 140239.3774 | 300254.1117 | 33.25 | 68.6
100349 | 2021-04-20 15:29 | 11.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6437 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.66 | 140247.7979 | 300231.1126 | 33.25 | 68.6
100359 | 2021-04-20 15:29 | 12.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5033 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 140265.0222 | 300226.4118 | 33.25 | 68.6
100369 | 2021-04-20 15:29 | 12.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3768 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.668 | 140277.985 | 300216.2027 | 33.25 | 68.6
100379 | 2021-04-20 15:30 | 12.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2925 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.672 | 140295.6487 | 300188.2255 | 33.25 | 68.6
100389 | 2021-04-20 15:30 | 13.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2152 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.678 | 140312.0555 | 300162.9723 | 33.25 | 68.6
100399 | 2021-04-20 15:30 | 13.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1099 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.683 | 140322.088 | 300152.8945 | 33.25 | 68.6
100409 | 2021-04-20 15:31 | 13.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9416 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.691 | 140343.3509 | 300130.7219 | 33.25 | 68.6
100419 | 2021-04-20 15:31 | 13.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.8296 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.694 | 140363.7331 | 300112.5408 | 33.25 | 68.6
100429 | 2021-04-20 15:31 | 14.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.7455 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.698 | 140384.5461 | 300102.2 | 33.25 | 68.6
100439 | 2021-04-20 15:32 | 14.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.6405 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.703 | 140401.2387 | 300084.0318 | 33.25 | 68.6
100449 | 2021-04-20 15:32 | 15.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.6615 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.702 | 140402.8745 | 300066.803 | 33.25 | 68.6
100459 | 2021-04-20 15:32 | 15.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.5355 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.708 | 140415.0634 | 300057.6646 | 33.25 | 68.6
100469 | 2021-04-20 15:33 | 15.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.5494 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.712 | 140419.2887 | 300045.3966 | 33.25 | 68.6
100479 | 2021-04-20 15:33 | 16.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.4375 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.715 | 140432.67 | 300026.5168 | 33.25 | 68.6
100489 | 2021-04-20 15:33 | 16.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.4166 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.716 | 140434.5633 | 300008.6392 | 33.25 | 68.6
100499 | 2021-04-20 15:34 | 16.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.2209 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.723 | 140454.567 | 299997.6474 | 33.25 | 68.6
100509 | 2021-04-20 15:34 | 17.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.2 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.724 | 140454.548 | 299974.3573 | 33.25 | 68.6
100519 | 2021-04-20 15:34 | 17.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.144 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.729 | 140463.0291 | 299968.67 | 33.25 | 68.6
100529 | 2021-04-20 15:35 | 17.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.9836 | μmol/L | 15.1127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.732 | 140472.7481 | 299957.7462 | 33.25 | 68.6
100539 | 2021-04-20 15:35 | 18 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.9068 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.738 | 140482.7533 | 299929.9884 | 33.25 | 68.6
100549 | 2021-04-20 15:35 | 18.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.865 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.74 | 140491.6257 | 299937.6421 | 33.25 | 68.6
100559 | 2021-04-20 15:36 | 18.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7604 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.745 | 140506.6335 | 299912.7677 | 33.25 | 68.6
100569 | 2021-04-20 15:36 | 19 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7673 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.747 | 140507.6248 | 299898.7873 | 33.25 | 68.6
100579 | 2021-04-20 15:36 | 19.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7464 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.748 | 140501.932 | 299877.9024 | 33.25 | 68.6
100589 | 2021-04-20 15:37 | 19.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6559 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.75 | 140515.2997 | 299862.1959 | 33.25 | 68.6
100599 | 2021-04-20 15:37 | 20.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6628 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.752 | 140528.6764 | 299860.2562 | 33.25 | 68.6
100609 | 2021-04-20 15:37 | 20.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.5305 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.756 | 140524.5617 | 299847.232 | 33.25 | 68.6
100619 | 2021-04-20 15:38 | 20.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.5583 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.757 | 140568.1172 | 299835.2434 | 33.25 | 68.6