## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100000 | 2021-04-20 15:17 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.7651 | μmol/L | 15.0518 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.71 | 125834.3295 | 265257.3808 | 26.25 | 74
100010 | 2021-04-20 15:17 | 0.33505 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.1463 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.695 | 125685.6938 | 265252.4857 | 26.25 | 74
100020 | 2021-04-20 15:18 | 0.66822 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5012 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.679 | 125562.4509 | 265214.9525 | 26.25 | 74
100030 | 2021-04-20 15:18 | 1.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6025 | μmol/L | 15.0579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.67 | 125471.9264 | 265182.8226 | 26.25 | 74
100040 | 2021-04-20 15:18 | 1.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7851 | μmol/L | 15.0518 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.664 | 125386.7577 | 265167.3752 | 26.25 | 74
100050 | 2021-04-20 15:19 | 1.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0791 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 125310.1873 | 265152.6401 | 26.25 | 74
100060 | 2021-04-20 15:19 | 2.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1681 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125257.29 | 265126.0055 | 26.25 | 74
100070 | 2021-04-20 15:19 | 2.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2572 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.645 | 125210.9539 | 265110.1861 | 26.25 | 74
100080 | 2021-04-20 15:20 | 2.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4132 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.638 | 125153.1515 | 265072.1395 | 26.25 | 74
100090 | 2021-04-20 15:20 | 3.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4355 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.637 | 125110.254 | 265045.6377 | 26.25 | 74
100100 | 2021-04-20 15:20 | 3.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.5917 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.63 | 125069.7039 | 265034.6756 | 26.25 | 74
100110 | 2021-04-20 15:21 | 3.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.6411 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.63 | 125027.3266 | 265002.2984 | 26.25 | 74
100120 | 2021-04-20 15:21 | 4.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.7081 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.627 | 124981.7229 | 264981.7946 | 26.25 | 74
100130 | 2021-04-20 15:21 | 4.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.7033 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.625 | 124952.1333 | 264968.9897 | 26.25 | 74
100140 | 2021-04-20 15:22 | 4.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8246 | μmol/L | 15.0336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124923.4466 | 264934.7423 | 26.25 | 74
100150 | 2021-04-20 15:22 | 5.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.7479 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.623 | 124883.7395 | 264911.2781 | 26.25 | 74
100160 | 2021-04-20 15:22 | 5.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.7751 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124858.8823 | 264883.4447 | 26.25 | 74
100170 | 2021-04-20 15:23 | 5.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8644 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.62 | 124827.9445 | 264862.7275 | 26.25 | 74
100180 | 2021-04-20 15:23 | 6.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8198 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.622 | 124804.3718 | 264849.7995 | 26.25 | 74
100190 | 2021-04-20 15:23 | 6.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.9315 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.617 | 124782.1487 | 264830.4828 | 26.25 | 74
100200 | 2021-04-20 15:24 | 6.6677 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.847 | μmol/L | 15.0336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.623 | 124762.0455 | 264802.9846 | 26.25 | 74
100210 | 2021-04-20 15:24 | 7.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8868 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.619 | 124744.3936 | 264787.3536 | 26.25 | 74
100220 | 2021-04-20 15:24 | 7.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8246 | μmol/L | 15.0336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124723.5317 | 264774.6109 | 26.25 | 74
100230 | 2021-04-20 15:25 | 7.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.9859 | μmol/L | 15.0275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.619 | 124710.3022 | 264755.9515 | 26.25 | 74
100240 | 2021-04-20 15:25 | 8.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8693 | μmol/L | 15.0336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.622 | 124696.566 | 264745.7087 | 26.25 | 74
100250 | 2021-04-20 15:25 | 8.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8916 | μmol/L | 15.0336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.621 | 124681.4661 | 264726.0261 | 26.25 | 74
100260 | 2021-04-20 15:26 | 8.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8741 | μmol/L | 15.0275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124661.0959 | 264711.8449 | 26.25 | 74
100270 | 2021-04-20 15:26 | 9.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8246 | μmol/L | 15.0336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124653.554 | 264700.3127 | 26.25 | 74
100280 | 2021-04-20 15:26 | 9.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8023 | μmol/L | 15.0336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.625 | 124637.8955 | 264678.6335 | 26.25 | 74
100290 | 2021-04-20 15:27 | 9.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8343 | μmol/L | 15.0214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.628 | 124626.6133 | 264666.1726 | 26.25 | 74
100300 | 2021-04-20 15:27 | 10.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.879 | μmol/L | 15.0214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.626 | 124627.1296 | 264633.9561 | 26.25 | 74
100310 | 2021-04-20 15:27 | 10.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8343 | μmol/L | 15.0214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.628 | 124614.5809 | 264638.1074 | 26.25 | 74
100320 | 2021-04-20 15:28 | 10.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8343 | μmol/L | 15.0214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.628 | 124603.6393 | 264619.7646 | 26.25 | 74
100330 | 2021-04-20 15:28 | 11.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.7673 | μmol/L | 15.0214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.631 | 124590.8267 | 264597.5324 | 26.25 | 74
100340 | 2021-04-20 15:28 | 11.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.6781 | μmol/L | 15.0214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.635 | 124584.5332 | 264589.8827 | 26.25 | 74
100350 | 2021-04-20 15:29 | 11.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.5665 | μmol/L | 15.0214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.64 | 124577.7551 | 264577.1763 | 26.25 | 74
100360 | 2021-04-20 15:29 | 12.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.7276 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.635 | 124564.9645 | 264560.0938 | 26.25 | 74
100370 | 2021-04-20 15:29 | 12.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.7052 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124558.051 | 264542.4707 | 26.25 | 74
100380 | 2021-04-20 15:30 | 12.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.5937 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.641 | 124550.6707 | 264534.2263 | 26.25 | 74
100390 | 2021-04-20 15:30 | 13.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.5763 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.644 | 124548.9806 | 264507.2006 | 26.25 | 74
100400 | 2021-04-20 15:30 | 13.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.6258 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.644 | 124544.856 | 264504.8778 | 26.25 | 74
100410 | 2021-04-20 15:31 | 13.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4648 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.649 | 124535.0164 | 264480.6166 | 26.25 | 74
100420 | 2021-04-20 15:31 | 14.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.5414 | μmol/L | 14.9971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 124536.555 | 264462.7616 | 26.25 | 74
100430 | 2021-04-20 15:31 | 14.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4648 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.649 | 124527.5902 | 264447.7366 | 26.25 | 74
100440 | 2021-04-20 15:32 | 14.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4697 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.651 | 124531.0117 | 264423.3156 | 26.25 | 74
100450 | 2021-04-20 15:32 | 15.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4251 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 124522.0508 | 264423.4426 | 26.25 | 74
100460 | 2021-04-20 15:32 | 15.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4077 | μmol/L | 14.9971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.656 | 124518.6982 | 264415.4812 | 26.25 | 74
100470 | 2021-04-20 15:33 | 15.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3854 | μmol/L | 14.9971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.657 | 124524.8894 | 264403.4485 | 26.25 | 74
100480 | 2021-04-20 15:33 | 16.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3137 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.658 | 124525.0846 | 264394.9535 | 26.25 | 74
100490 | 2021-04-20 15:33 | 16.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.368 | μmol/L | 14.991 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 124508.2652 | 264365.4456 | 26.25 | 74
100500 | 2021-04-20 15:34 | 16.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3186 | μmol/L | 14.9971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 124515.2959 | 264368.3152 | 26.25 | 74
100510 | 2021-04-20 15:34 | 17.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2968 | μmol/L | 14.991 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.663 | 124513.3606 | 264357.8014 | 26.25 | 74
100520 | 2021-04-20 15:34 | 17.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1355 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.666 | 124511.4903 | 264335.3835 | 26.25 | 74
100530 | 2021-04-20 15:35 | 17.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2616 | μmol/L | 14.9849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.667 | 124520.8224 | 264309.1147 | 26.25 | 74
100540 | 2021-04-20 15:35 | 18.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1503 | μmol/L | 14.9849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.672 | 124520.0773 | 264299.3145 | 26.25 | 74
100550 | 2021-04-20 15:35 | 18.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2127 | μmol/L | 14.9849 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.669 | 124519.0145 | 264277.1508 | 26.25 | 74
100560 | 2021-04-20 15:36 | 18.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1503 | μmol/L | 14.9849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.672 | 124521.2216 | 264274.9965 | 26.25 | 74
100570 | 2021-04-20 15:36 | 19.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1008 | μmol/L | 14.991 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.672 | 124517.1293 | 264257.4376 | 26.25 | 74
100580 | 2021-04-20 15:36 | 19.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.039 | μmol/L | 14.9849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 124527.0424 | 264241.3899 | 26.25 | 74
100590 | 2021-04-20 15:37 | 19.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0884 | μmol/L | 14.9788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 124514.9139 | 264232.2502 | 26.25 | 74
100600 | 2021-04-20 15:37 | 20.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9729 | μmol/L | 14.9788 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.682 | 124522.1691 | 264224.5636 | 26.25 | 74
100610 | 2021-04-20 15:37 | 20.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9284 | μmol/L | 14.9788 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.684 | 124526.1839 | 264217.0226 | 26.25 | 74
100620 | 2021-04-20 15:38 | 20.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9778 | μmol/L | 14.9727 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.684 | 124550.7237 | 264202.6916 | 26.25 | 74