## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100001 | 2021-04-20 15:17 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.9147 | μmol/L | 15.0485 | °C | 1022 | hPa | Humid | 31 | 0 | 0 | 22.63 | 123829.3541 | 267362.1231 | 32.55 | 27.7
100011 | 2021-04-20 15:17 | 0.34048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.101 | μmol/L | 15.0607 | °C | 1022 | hPa | Humid | 31 | 0 | 0 | 22.617 | 123738.6346 | 267331.185 | 32.55 | 27.7
100021 | 2021-04-20 15:18 | 0.67363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.1965 | μmol/L | 15.0485 | °C | 1022 | hPa | Humid | 31 | 0 | 0 | 22.617 | 123698.4169 | 267308.7888 | 32.55 | 27.7
100031 | 2021-04-20 15:18 | 1.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.2704 | μmol/L | 15.0363 | °C | 1022 | hPa | Humid | 31 | 0 | 0 | 22.618 | 123665.8706 | 267263.861 | 32.55 | 27.7
100041 | 2021-04-20 15:18 | 1.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.227 | μmol/L | 15.0363 | °C | 1022 | hPa | Humid | 31 | 0 | 0 | 22.62 | 123653.3333 | 267232.225 | 32.55 | 27.7
100051 | 2021-04-20 15:19 | 1.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2808 | μmol/L | 15.0302 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 123638.8812 | 267209.2991 | 32.55 | 27.7
100061 | 2021-04-20 15:19 | 2.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3126 | μmol/L | 15.0179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.627 | 123624.8583 | 267195.0451 | 32.55 | 27.7
100071 | 2021-04-20 15:19 | 2.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.202 | μmol/L | 15.0179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.632 | 123596.1718 | 267157.5002 | 32.55 | 27.7
100081 | 2021-04-20 15:20 | 2.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3051 | μmol/L | 14.9996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.634 | 123600.798 | 267149.5808 | 32.55 | 27.7
100091 | 2021-04-20 15:20 | 3.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1455 | μmol/L | 15.0057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.639 | 123596.8057 | 267127.3736 | 32.55 | 27.7
100101 | 2021-04-20 15:20 | 3.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9515 | μmol/L | 14.9996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 123599.7271 | 267097.0935 | 32.55 | 27.7
100111 | 2021-04-20 15:21 | 3.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9343 | μmol/L | 14.9935 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 123603.8551 | 267088.1137 | 32.55 | 27.7
100121 | 2021-04-20 15:21 | 4.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9442 | μmol/L | 14.9813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.657 | 123606.0239 | 267058.0298 | 32.55 | 27.7
100131 | 2021-04-20 15:21 | 4.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8608 | μmol/L | 14.9752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.663 | 123622.1189 | 267053.8028 | 32.55 | 27.7
100141 | 2021-04-20 15:22 | 4.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8315 | μmol/L | 14.9569 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.671 | 123622.2073 | 267024.8482 | 32.55 | 27.7
100151 | 2021-04-20 15:22 | 5.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7873 | μmol/L | 14.9569 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.673 | 123624.7332 | 267003.635 | 32.55 | 27.7
100161 | 2021-04-20 15:22 | 5.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.638 | μmol/L | 14.9508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.682 | 123640.9699 | 266986.279 | 32.55 | 27.7
100171 | 2021-04-20 15:23 | 5.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5598 | μmol/L | 14.9385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.69 | 123642.9564 | 266965.6839 | 32.55 | 27.7
100181 | 2021-04-20 15:23 | 6.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5527 | μmol/L | 14.9202 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.697 | 123657.001 | 266949.138 | 32.55 | 27.7
100191 | 2021-04-20 15:23 | 6.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4646 | μmol/L | 14.9202 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.701 | 123661.2627 | 266937.2032 | 32.55 | 27.7
100201 | 2021-04-20 15:24 | 6.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4255 | μmol/L | 14.9141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.705 | 123671.5864 | 266923.1052 | 32.55 | 27.7
100211 | 2021-04-20 15:24 | 7.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2816 | μmol/L | 14.9019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.716 | 123691.7406 | 266897.5671 | 32.55 | 27.7
100221 | 2021-04-20 15:24 | 7.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4016 | μmol/L | 14.8897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.715 | 123689.8971 | 266889.3061 | 32.55 | 27.7
100231 | 2021-04-20 15:25 | 7.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2526 | μmol/L | 14.8836 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.724 | 123708.9922 | 266889.7882 | 32.55 | 27.7
100241 | 2021-04-20 15:25 | 8.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1697 | μmol/L | 14.8775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.73 | 123725.4165 | 266860.5614 | 32.55 | 27.7
100251 | 2021-04-20 15:25 | 8.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2288 | μmol/L | 14.8591 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.734 | 123738.0174 | 266844.889 | 32.55 | 27.7
100261 | 2021-04-20 15:26 | 8.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.097 | μmol/L | 14.8591 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.74 | 123747.3233 | 266848.1592 | 32.55 | 27.7
100271 | 2021-04-20 15:26 | 9.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0193 | μmol/L | 14.8469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.748 | 123761.9135 | 266811.4491 | 32.55 | 27.7
100281 | 2021-04-20 15:26 | 9.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9366 | μmol/L | 14.8408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.754 | 123781.7556 | 266821.0272 | 32.55 | 27.7
100291 | 2021-04-20 15:27 | 9.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8708 | μmol/L | 14.8408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.757 | 123793.8618 | 266797.9146 | 32.55 | 27.7
100301 | 2021-04-20 15:27 | 10.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8641 | μmol/L | 14.8225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.764 | 123810.7926 | 266796.9472 | 32.55 | 27.7
100311 | 2021-04-20 15:27 | 10.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7106 | μmol/L | 14.8225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.771 | 123817.6277 | 266777.6524 | 32.55 | 27.7
100321 | 2021-04-20 15:28 | 10.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7376 | μmol/L | 14.8164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.772 | 123828.2951 | 266764.903 | 32.55 | 27.7
100331 | 2021-04-20 15:28 | 11.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6873 | μmol/L | 14.798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.781 | 123835.8638 | 266760.6813 | 32.55 | 27.7
100341 | 2021-04-20 15:28 | 11.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6873 | μmol/L | 14.798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.781 | 123844.8967 | 266748.0694 | 32.55 | 27.7
100351 | 2021-04-20 15:29 | 11.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.5829 | μmol/L | 14.7919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.788 | 123858.5611 | 266746.3022 | 32.55 | 27.7
100361 | 2021-04-20 15:29 | 12.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6151 | μmol/L | 14.7797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.791 | 123873.2175 | 266737.6905 | 32.55 | 27.7
100371 | 2021-04-20 15:29 | 12.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.3962 | μmol/L | 14.7797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.801 | 123876.6385 | 266715.1029 | 32.55 | 27.7
100381 | 2021-04-20 15:30 | 12.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.4503 | μmol/L | 14.7675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.803 | 123884.5911 | 266707.2483 | 32.55 | 27.7
100391 | 2021-04-20 15:30 | 13.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.3461 | μmol/L | 14.7614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.81 | 123903.8848 | 266700.9752 | 32.55 | 27.7
100401 | 2021-04-20 15:30 | 13.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2368 | μmol/L | 14.7614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.815 | 123911.068 | 266690.6892 | 32.55 | 27.7
100411 | 2021-04-20 15:31 | 13.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2638 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.816 | 123919.4265 | 266686.5507 | 32.55 | 27.7
100421 | 2021-04-20 15:31 | 14.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2305 | μmol/L | 14.7431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.822 | 123930.0764 | 266673.2558 | 32.55 | 27.7
100431 | 2021-04-20 15:31 | 14.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0994 | μmol/L | 14.7431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.828 | 123951.3979 | 266665.813 | 32.55 | 27.7
100441 | 2021-04-20 15:32 | 14.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.088 | μmol/L | 14.7309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.833 | 123953.7683 | 266663.4863 | 32.55 | 27.7
100451 | 2021-04-20 15:32 | 15.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0661 | μmol/L | 14.7309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.834 | 123961.7018 | 266626.4912 | 32.55 | 27.7
100461 | 2021-04-20 15:32 | 15.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.957 | μmol/L | 14.7309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.839 | 123972.7592 | 266633.0035 | 32.55 | 27.7
100471 | 2021-04-20 15:33 | 15.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9508 | μmol/L | 14.7125 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.846 | 123977.3472 | 266621.2671 | 32.55 | 27.7
100481 | 2021-04-20 15:33 | 16.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9343 | μmol/L | 14.7064 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.849 | 123988.1814 | 266596.1743 | 32.55 | 27.7
100491 | 2021-04-20 15:33 | 16.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9623 | μmol/L | 14.6942 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.852 | 124003.3516 | 266589.2747 | 32.55 | 27.7
100501 | 2021-04-20 15:34 | 16.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8628 | μmol/L | 14.6881 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.859 | 124006.8194 | 266589.5992 | 32.55 | 27.7
100511 | 2021-04-20 15:34 | 17.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8846 | μmol/L | 14.6881 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.858 | 124015.9058 | 266581.8254 | 32.55 | 27.7
100521 | 2021-04-20 15:34 | 17.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7714 | μmol/L | 14.6881 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.863 | 124030.8762 | 266574.0939 | 32.55 | 27.7
100531 | 2021-04-20 15:35 | 17.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6624 | μmol/L | 14.6881 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.868 | 124036.9123 | 266562.2672 | 32.55 | 27.7
100541 | 2021-04-20 15:35 | 18.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6283 | μmol/L | 14.682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.872 | 124052.421 | 266558.9732 | 32.55 | 27.7
100551 | 2021-04-20 15:35 | 18.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5248 | μmol/L | 14.6759 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.879 | 124049.4379 | 266542.9305 | 32.55 | 27.7
100561 | 2021-04-20 15:36 | 18.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5789 | μmol/L | 14.6637 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.881 | 124063.4628 | 266532.6501 | 32.55 | 27.7
100571 | 2021-04-20 15:36 | 19.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6006 | μmol/L | 14.6637 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.88 | 124072.3295 | 266533.2156 | 32.55 | 27.7
100581 | 2021-04-20 15:36 | 19.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5947 | μmol/L | 14.6453 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.887 | 124082.2215 | 266510.0119 | 32.55 | 27.7
100591 | 2021-04-20 15:37 | 19.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.4642 | μmol/L | 14.6453 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.893 | 124095.3963 | 266507.7726 | 32.55 | 27.7
100601 | 2021-04-20 15:37 | 20.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5035 | μmol/L | 14.6453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.891 | 124093.0823 | 266494.6909 | 32.55 | 27.7
100611 | 2021-04-20 15:37 | 20.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3501 | μmol/L | 14.6515 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.896 | 124095.4879 | 266491.0957 | 32.55 | 27.7
100621 | 2021-04-20 15:38 | 20.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3566 | μmol/L | 14.6392 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.9 | 124095.0834 | 266467.951 | 32.55 | 27.7