## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98200 | 2021-04-19 16:17 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.488 | μmol/L | 30.7277 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.82 | 118250.2309 | 261574.1259 | 26.25 | 74
98210 | 2021-04-19 16:17 | 0.33217 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.0769 | μmol/L | 30.746 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.896 | 118743.1735 | 261577.76 | 26.25 | 74
98220 | 2021-04-19 16:17 | 0.66583 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8458 | μmol/L | 30.7399 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.971 | 119268.0047 | 261577.7654 | 26.25 | 74
98230 | 2021-04-19 16:18 | 0.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.5561 | μmol/L | 30.7399 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.047 | 119741.9292 | 261576.7118 | 26.25 | 74
98240 | 2021-04-19 16:18 | 1.3326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.5692 | μmol/L | 30.7399 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.106 | 120166.4555 | 261579.3309 | 26.25 | 74
98250 | 2021-04-19 16:18 | 1.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.6851 | μmol/L | 30.7216 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.166 | 120540.2767 | 261579.0115 | 26.25 | 74
98260 | 2021-04-19 16:19 | 1.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9618 | μmol/L | 30.6788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.224 | 120910.4268 | 261569.0009 | 26.25 | 74
98270 | 2021-04-19 16:19 | 2.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.3076 | μmol/L | 30.6666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.268 | 121208.2332 | 261567.1631 | 26.25 | 74
98280 | 2021-04-19 16:19 | 2.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1638 | μmol/L | 30.6666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.338 | 121653.882 | 261575.143 | 26.25 | 74
98290 | 2021-04-19 16:20 | 2.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5286 | μmol/L | 30.5321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.362 | 121827.125 | 261572.1045 | 26.25 | 74
98300 | 2021-04-19 16:20 | 3.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.5432 | μmol/L | 30.6238 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.391 | 122005.5445 | 261571.4279 | 26.25 | 74
98310 | 2021-04-19 16:20 | 3.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.2573 | μmol/L | 30.6054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.415 | 122174.7876 | 261585.7898 | 26.25 | 74
98320 | 2021-04-19 16:21 | 3.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.0287 | μmol/L | 30.5871 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.436 | 122316.5329 | 261596.7814 | 26.25 | 74
98330 | 2021-04-19 16:21 | 4.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.8542 | μmol/L | 30.5504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.459 | 122475.8443 | 261579.7061 | 26.25 | 74
98340 | 2021-04-19 16:21 | 4.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.1716 | μmol/L | 30.5748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.493 | 122679.34 | 261598.2412 | 26.25 | 74
98350 | 2021-04-19 16:22 | 4.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.6875 | μmol/L | 30.5871 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.519 | 122864.6458 | 261599.7056 | 26.25 | 74
98360 | 2021-04-19 16:22 | 5.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.3222 | μmol/L | 30.581 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.544 | 123027.6099 | 261608.8317 | 26.25 | 74
98370 | 2021-04-19 16:22 | 5.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.9222 | μmol/L | 30.5871 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.567 | 123176.1277 | 261615.7607 | 26.25 | 74
98380 | 2021-04-19 16:23 | 5.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8345 | μmol/L | 30.5626 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.581 | 123257.101 | 261600.7317 | 26.25 | 74
98390 | 2021-04-19 16:23 | 6.3325 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.7767 | μmol/L | 30.5443 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.591 | 123333.1777 | 261612.4747 | 26.25 | 74
98400 | 2021-04-19 16:23 | 6.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.3805 | μmol/L | 30.5687 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.608 | 123454.6539 | 261616.2104 | 26.25 | 74
98410 | 2021-04-19 16:24 | 6.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.4 | μmol/L | 30.5321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.619 | 123526.506 | 261615.9896 | 26.25 | 74
98420 | 2021-04-19 16:24 | 7.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.1291 | μmol/L | 30.5382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.634 | 123613.1368 | 261622.2785 | 26.25 | 74
98430 | 2021-04-19 16:24 | 7.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.8606 | μmol/L | 30.5382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.651 | 123737.0036 | 261627.482 | 26.25 | 74
98440 | 2021-04-19 16:25 | 7.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5828 | μmol/L | 30.5198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.675 | 123863.3197 | 261624.6848 | 26.25 | 74
98450 | 2021-04-19 16:25 | 8.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.7458 | μmol/L | 30.4526 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.688 | 123956.2633 | 261623.1694 | 26.25 | 74
98460 | 2021-04-19 16:25 | 8.6658 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5197 | μmol/L | 30.4709 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.696 | 124027.9899 | 261624.7522 | 26.25 | 74
98470 | 2021-04-19 16:26 | 8.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.28 | μmol/L | 30.4831 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.707 | 124091.5092 | 261630.341 | 26.25 | 74
98480 | 2021-04-19 16:26 | 9.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.2014 | μmol/L | 30.4342 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.729 | 124212.788 | 261622.2108 | 26.25 | 74
98490 | 2021-04-19 16:26 | 9.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.0015 | μmol/L | 30.422 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.746 | 124354.0342 | 261636.0341 | 26.25 | 74
98500 | 2021-04-19 16:27 | 9.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.8508 | μmol/L | 30.4037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.762 | 124436.5033 | 261621.4427 | 26.25 | 74
98510 | 2021-04-19 16:27 | 10.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.6612 | μmol/L | 30.4098 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 124502.7183 | 261635.4472 | 26.25 | 74
98520 | 2021-04-19 16:27 | 10.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.4114 | μmol/L | 30.4098 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.788 | 124589.7815 | 261632.5032 | 26.25 | 74
98530 | 2021-04-19 16:28 | 10.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.2535 | μmol/L | 30.4159 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.796 | 124675.8327 | 261627.8616 | 26.25 | 74
98540 | 2021-04-19 16:28 | 11.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.9538 | μmol/L | 30.4281 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.811 | 124768.2058 | 261630.0049 | 26.25 | 74
98550 | 2021-04-19 16:28 | 11.6657 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.8143 | μmol/L | 30.3792 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.837 | 124915.1225 | 261635.5083 | 26.25 | 74
98560 | 2021-04-19 16:29 | 11.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.671 | μmol/L | 30.3425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.859 | 125079.1281 | 261635.0197 | 26.25 | 74
98570 | 2021-04-19 16:29 | 12.3326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.0629 | μmol/L | 30.4037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.877 | 125166.0388 | 261638.3953 | 26.25 | 74
98580 | 2021-04-19 16:29 | 12.6658 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.9434 | μmol/L | 30.3914 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.889 | 125261.0588 | 261635.5589 | 26.25 | 74
98590 | 2021-04-19 16:30 | 12.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.0198 | μmol/L | 30.2997 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.916 | 125408.3958 | 261635.2012 | 26.25 | 74
98600 | 2021-04-19 16:30 | 13.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.6747 | μmol/L | 30.3181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.932 | 125539.5382 | 261638.7785 | 26.25 | 74
98610 | 2021-04-19 16:30 | 13.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.2689 | μmol/L | 30.3364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.952 | 125663.2144 | 261650.8536 | 26.25 | 74
98620 | 2021-04-19 16:31 | 13.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.9142 | μmol/L | 30.3425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.973 | 125784.42 | 261647.191 | 26.25 | 74
98630 | 2021-04-19 16:31 | 14.3326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.8774 | μmol/L | 30.2692 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.001 | 125951.9258 | 261645.3592 | 26.25 | 74
98640 | 2021-04-19 16:31 | 14.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.0659 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.01 | 126006.6539 | 261654.2735 | 26.25 | 74
98650 | 2021-04-19 16:32 | 14.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.6063 | μmol/L | 30.257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.023 | 126090.1689 | 261641.5163 | 26.25 | 74
98660 | 2021-04-19 16:32 | 15.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.5381 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.036 | 126192.4056 | 261636.787 | 26.25 | 74
98670 | 2021-04-19 16:32 | 15.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.3958 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.056 | 126311.211 | 261636.7202 | 26.25 | 74
98680 | 2021-04-19 16:33 | 15.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.9767 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.075 | 126454.2318 | 261644.4103 | 26.25 | 74
98690 | 2021-04-19 16:33 | 16.3327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.8441 | μmol/L | 30.2142 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.088 | 126545.3691 | 261627.2586 | 26.25 | 74
98700 | 2021-04-19 16:33 | 16.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.3597 | μmol/L | 30.257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.105 | 126642.286 | 261642.8364 | 26.25 | 74
98710 | 2021-04-19 16:34 | 16.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.3529 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.114 | 126729.954 | 261641.6049 | 26.25 | 74
98720 | 2021-04-19 16:34 | 17.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.2856 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.127 | 126795.6994 | 261636.4774 | 26.25 | 74
98730 | 2021-04-19 16:34 | 17.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.1063 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.141 | 126902.7916 | 261640.0259 | 26.25 | 74
98740 | 2021-04-19 16:35 | 17.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.7963 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.153 | 126971.5371 | 261630.3182 | 26.25 | 74
98750 | 2021-04-19 16:35 | 18.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.6029 | μmol/L | 30.2631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.153 | 126977.6379 | 261626.5428 | 26.25 | 74
98760 | 2021-04-19 16:35 | 18.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.7745 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.163 | 127059.9244 | 261648.4878 | 26.25 | 74
98770 | 2021-04-19 16:36 | 18.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.6302 | μmol/L | 30.1836 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.179 | 127153.9088 | 261650.7903 | 26.25 | 74
98780 | 2021-04-19 16:36 | 19.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.1969 | μmol/L | 30.2203 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.195 | 127261.1609 | 261651.7046 | 26.25 | 74
98790 | 2021-04-19 16:36 | 19.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.645 | μmol/L | 30.2997 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.204 | 127300.9317 | 261641.1861 | 26.25 | 74
98800 | 2021-04-19 16:37 | 19.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.0063 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.212 | 127334.7253 | 261625.0009 | 26.25 | 74
98810 | 2021-04-19 16:37 | 20.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.6493 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.223 | 127418.4559 | 261631.8201 | 26.25 | 74
98820 | 2021-04-19 16:37 | 20.6657 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.372 | μmol/L | 30.2692 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.233 | 127501.9851 | 261634.6638 | 26.25 | 74
98830 | 2021-04-19 16:38 | 20.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.4637 | μmol/L | 30.2631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.229 | 127485.727 | 261627.745 | 26.25 | 74
98840 | 2021-04-19 16:38 | 21.3326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.4402 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.237 | 127529.7874 | 261635.7314 | 26.25 | 74
98850 | 2021-04-19 16:38 | 21.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.321 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.26 | 127630.2418 | 261632.2938 | 26.25 | 74
98860 | 2021-04-19 16:39 | 21.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.0146 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.272 | 127738.7708 | 261640.3037 | 26.25 | 74
98870 | 2021-04-19 16:39 | 22.3327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.8554 | μmol/L | 30.2142 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.287 | 127856.0396 | 261639.2629 | 26.25 | 74
98880 | 2021-04-19 16:39 | 22.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.3995 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.307 | 127974.3134 | 261646.3698 | 26.25 | 74
98890 | 2021-04-19 16:40 | 22.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.4888 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.316 | 128034.8508 | 261638.1851 | 26.25 | 74
98900 | 2021-04-19 16:40 | 23.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.1145 | μmol/L | 30.2142 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.337 | 128146.0906 | 261651.5723 | 26.25 | 74
98910 | 2021-04-19 16:40 | 23.6657 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.9433 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.34 | 128202.3593 | 261642.5963 | 26.25 | 74
98920 | 2021-04-19 16:41 | 23.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.8297 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.352 | 128282.3763 | 261651.5533 | 26.25 | 74
98930 | 2021-04-19 16:41 | 24.3326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.075 | μmol/L | 30.1592 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.359 | 128373.5041 | 261653.5216 | 26.25 | 74
98940 | 2021-04-19 16:41 | 24.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.169 | μmol/L | 30.2631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.384 | 128484.9846 | 261651.4974 | 26.25 | 74
98950 | 2021-04-19 16:42 | 24.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.3064 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.394 | 128569.4299 | 261653.2355 | 26.25 | 74
98960 | 2021-04-19 16:42 | 25.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.3358 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.392 | 128567.5507 | 261651.3753 | 26.25 | 74
98970 | 2021-04-19 16:42 | 25.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.3593 | μmol/L | 30.1836 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.399 | 128575.1234 | 261641.5608 | 26.25 | 74
98980 | 2021-04-19 16:43 | 25.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.0018 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.404 | 128632.2855 | 261654.5654 | 26.25 | 74
98990 | 2021-04-19 16:43 | 26.3326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.2124 | μmol/L | 30.1836 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 128680.2628 | 261653.5654 | 26.25 | 74
99000 | 2021-04-19 16:43 | 26.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.9814 | μmol/L | 30.2142 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 128682.9378 | 261664.1492 | 26.25 | 74
99010 | 2021-04-19 16:44 | 26.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.8868 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 128696.7173 | 261652.8824 | 26.25 | 74
99020 | 2021-04-19 16:44 | 27.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.7967 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.418 | 128720.1408 | 261655.3905 | 26.25 | 74
99030 | 2021-04-19 16:44 | 27.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.98 | μmol/L | 30.1775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.427 | 128769.3263 | 261645.4077 | 26.25 | 74
99040 | 2021-04-19 16:45 | 27.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.9068 | μmol/L | 30.1775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.432 | 128833.1209 | 261651.958 | 26.25 | 74
99050 | 2021-04-19 16:45 | 28.3325 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.4964 | μmol/L | 30.2203 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.445 | 128890.8984 | 261656.5338 | 26.25 | 74
99060 | 2021-04-19 16:45 | 28.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.4571 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.452 | 128928.7022 | 261651.9596 | 26.25 | 74
99070 | 2021-04-19 16:46 | 28.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.1273 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.466 | 129014.6683 | 261640.4898 | 26.25 | 74
99080 | 2021-04-19 16:46 | 29.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.9985 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.477 | 129096.4224 | 261653.1039 | 26.25 | 74
99090 | 2021-04-19 16:46 | 29.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.2147 | μmol/L | 30.153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.488 | 129178.4793 | 261644.2562 | 26.25 | 74
99100 | 2021-04-19 16:47 | 29.9994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.0456 | μmol/L | 30.1775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.491 | 129211.0753 | 261658.0627 | 26.25 | 74
99110 | 2021-04-19 16:47 | 30.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.7291 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.502 | 129276.4186 | 261652.7546 | 26.25 | 74
99120 | 2021-04-19 16:47 | 30.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.6075 | μmol/L | 30.1836 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.519 | 129355.5876 | 261650.4412 | 26.25 | 74
99130 | 2021-04-19 16:48 | 30.9994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.3879 | μmol/L | 30.1897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.532 | 129451.9844 | 261655.2347 | 26.25 | 74
99140 | 2021-04-19 16:48 | 31.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.2698 | μmol/L | 30.1958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.538 | 129534.8136 | 261664.4835 | 26.25 | 74
99150 | 2021-04-19 16:48 | 31.6657 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.3069 | μmol/L | 30.1347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.557 | 129598.7651 | 261667.3221 | 26.25 | 74
99160 | 2021-04-19 16:49 | 31.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.2581 | μmol/L | 30.1103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.569 | 129690.9058 | 261657.8328 | 26.25 | 74
99170 | 2021-04-19 16:49 | 32.3327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.838 | μmol/L | 30.153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.583 | 129783.4819 | 261673.1021 | 26.25 | 74
99180 | 2021-04-19 16:49 | 32.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.3665 | μmol/L | 30.2203 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.592 | 129835.4893 | 261676.5814 | 26.25 | 74
99190 | 2021-04-19 16:50 | 32.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.6431 | μmol/L | 30.1347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.603 | 129893.4336 | 261661.7632 | 26.25 | 74
99200 | 2021-04-19 16:50 | 33.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.5113 | μmol/L | 30.1408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.61 | 129952.0578 | 261670.1927 | 26.25 | 74
99210 | 2021-04-19 16:50 | 33.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.4152 | μmol/L | 30.1286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.621 | 130032.9528 | 261668.9788 | 26.25 | 74
99220 | 2021-04-19 16:51 | 33.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.1167 | μmol/L | 30.1592 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.631 | 130107.8324 | 261674.1084 | 26.25 | 74
99230 | 2021-04-19 16:51 | 34.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.0639 | μmol/L | 30.1469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.639 | 130145.7427 | 261687.5728 | 26.25 | 74
99240 | 2021-04-19 16:51 | 34.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.2693 | μmol/L | 30.1347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.629 | 130100.7063 | 261673.3042 | 26.25 | 74
99250 | 2021-04-19 16:52 | 34.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.2498 | μmol/L | 30.1103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.639 | 130155.8161 | 261689.1699 | 26.25 | 74
99260 | 2021-04-19 16:52 | 35.3325 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.104 | μmol/L | 30.1164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 130223.7389 | 261683.5833 | 26.25 | 74