## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94774 | 2021-04-19 13:29 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5906 | μmol/L | 29.7838 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.621 | 118100.9706 | 290875.1048 | 59.9307 | 38.1
94784 | 2021-04-19 13:30 | 0.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.4648 | μmol/L | 29.7899 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.626 | 118148.1977 | 290865.0295 | 59.9307 | 38.1
94794 | 2021-04-19 13:30 | 0.66752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7093 | μmol/L | 29.845 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.65 | 118261.5082 | 290865.3355 | 59.9307 | 38.1
94804 | 2021-04-19 13:30 | 1.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3532 | μmol/L | 29.8512 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.668 | 118381.8492 | 290826.3349 | 59.9307 | 38.1
94814 | 2021-04-19 13:31 | 1.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2684 | μmol/L | 29.8205 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.683 | 118484.5438 | 290816.0884 | 59.9307 | 38.1
94824 | 2021-04-19 13:31 | 1.6681 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9849 | μmol/L | 29.8205 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.699 | 118600.8989 | 290802.261 | 59.9307 | 38.1
94834 | 2021-04-19 13:31 | 2.0014 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.8272 | μmol/L | 29.8083 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.712 | 118658.7946 | 290800.7301 | 59.9307 | 38.1
94844 | 2021-04-19 13:32 | 2.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3985 | μmol/L | 29.845 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.724 | 118732.9014 | 290797.5994 | 59.9307 | 38.1
94854 | 2021-04-19 13:32 | 2.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.7444 | μmol/L | 29.7654 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.731 | 118786.8946 | 290786.4473 | 59.9307 | 38.1
94864 | 2021-04-19 13:32 | 3.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0645 | μmol/L | 29.8389 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.745 | 118836.9279 | 290779.5683 | 59.9307 | 38.1
94874 | 2021-04-19 13:33 | 3.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9237 | μmol/L | 29.8389 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.753 | 118899.2892 | 290773.1054 | 59.9307 | 38.1
94884 | 2021-04-19 13:33 | 3.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.84 | μmol/L | 29.8083 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.768 | 118984.607 | 290762.7998 | 59.9307 | 38.1
94894 | 2021-04-19 13:33 | 4.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.504 | μmol/L | 29.8267 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.781 | 119087.3378 | 290754.0732 | 59.9307 | 38.1
94904 | 2021-04-19 13:34 | 4.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3629 | μmol/L | 29.8328 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.787 | 119133.4367 | 290741.1283 | 59.9307 | 38.1
94914 | 2021-04-19 13:34 | 4.6681 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7298 | μmol/L | 29.8573 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.815 | 119243.0989 | 290740.2761 | 59.9307 | 38.1
94924 | 2021-04-19 13:34 | 5.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2997 | μmol/L | 29.7838 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.807 | 119231.7913 | 290729.8922 | 59.9307 | 38.1
94934 | 2021-04-19 13:35 | 5.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8923 | μmol/L | 29.8205 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.818 | 119291.3822 | 290720.5339 | 59.9307 | 38.1
94944 | 2021-04-19 13:35 | 5.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.5067 | μmol/L | 29.8328 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.836 | 119390.2772 | 290733.4459 | 59.9307 | 38.1
94954 | 2021-04-19 13:35 | 6.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6671 | μmol/L | 29.8083 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.835 | 119387.1954 | 290732.1719 | 59.9307 | 38.1
94964 | 2021-04-19 13:36 | 6.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.5103 | μmol/L | 29.8083 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.844 | 119437.1203 | 290724.7927 | 59.9307 | 38.1
94974 | 2021-04-19 13:36 | 6.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3526 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.851 | 119482.219 | 290707.6371 | 59.9307 | 38.1
94984 | 2021-04-19 13:36 | 7.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0707 | μmol/L | 29.8389 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.859 | 119522.463 | 290714.9193 | 59.9307 | 38.1
94994 | 2021-04-19 13:37 | 7.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0387 | μmol/L | 29.8205 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.867 | 119586.2564 | 290712.0746 | 59.9307 | 38.1
95004 | 2021-04-19 13:37 | 7.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7948 | μmol/L | 29.8267 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.879 | 119658.138 | 290707.9341 | 59.9307 | 38.1
95014 | 2021-04-19 13:37 | 8.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4791 | μmol/L | 29.8512 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.889 | 119711.3696 | 290702.589 | 59.9307 | 38.1
95024 | 2021-04-19 13:38 | 8.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6205 | μmol/L | 29.8328 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.887 | 119711.8065 | 290687.0124 | 59.9307 | 38.1
95034 | 2021-04-19 13:38 | 8.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5377 | μmol/L | 29.8083 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.9 | 119793.7636 | 290696.835 | 59.9307 | 38.1
95044 | 2021-04-19 13:38 | 9.0014 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.187 | μmol/L | 29.8389 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.91 | 119844.3418 | 290691.3777 | 59.9307 | 38.1
95054 | 2021-04-19 13:39 | 9.3348 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0815 | μmol/L | 29.8512 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.912 | 119856.9024 | 290679.9238 | 59.9307 | 38.1
95064 | 2021-04-19 13:39 | 9.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.1189 | μmol/L | 29.8328 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.916 | 119884.3838 | 290684.7325 | 59.9307 | 38.1
95074 | 2021-04-19 13:39 | 10.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.9798 | μmol/L | 29.8389 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.922 | 119933.2337 | 290671.5836 | 59.9307 | 38.1
95084 | 2021-04-19 13:40 | 10.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8926 | μmol/L | 29.845 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.925 | 119921.5011 | 290674.8586 | 59.9307 | 38.1
95094 | 2021-04-19 13:40 | 10.6681 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7921 | μmol/L | 29.8267 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.937 | 119982.2006 | 290666.8321 | 59.9307 | 38.1
95104 | 2021-04-19 13:40 | 11.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7596 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.943 | 120056.6473 | 290663.2014 | 59.9307 | 38.1
95114 | 2021-04-19 13:41 | 11.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.552 | μmol/L | 29.8205 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.953 | 120114.9497 | 290675.1192 | 59.9307 | 38.1
95124 | 2021-04-19 13:41 | 11.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4145 | μmol/L | 29.8205 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.961 | 120170.8456 | 290668.376 | 59.9307 | 38.1
95134 | 2021-04-19 13:41 | 12.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5388 | μmol/L | 29.796 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.962 | 120161.6855 | 290664.7711 | 59.9307 | 38.1
95144 | 2021-04-19 13:42 | 12.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2962 | μmol/L | 29.8083 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.972 | 120236.4139 | 290659.7277 | 59.9307 | 38.1
95154 | 2021-04-19 13:42 | 12.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2265 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.974 | 120257.6937 | 290651.5367 | 59.9307 | 38.1
95164 | 2021-04-19 13:42 | 13.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9521 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.99 | 120330.696 | 290647.2527 | 59.9307 | 38.1
95174 | 2021-04-19 13:43 | 13.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8836 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.994 | 120358.2655 | 290645.8339 | 59.9307 | 38.1
95184 | 2021-04-19 13:43 | 13.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8322 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.997 | 120373.0192 | 290649.987 | 59.9307 | 38.1
95194 | 2021-04-19 13:43 | 14.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.5917 | μmol/L | 29.8205 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.009 | 120467.4711 | 290647.5477 | 59.9307 | 38.1
95204 | 2021-04-19 13:44 | 14.3348 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.5575 | μmol/L | 29.8205 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.011 | 120510.8745 | 290652.5377 | 59.9307 | 38.1
95214 | 2021-04-19 13:44 | 14.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2842 | μmol/L | 29.8205 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.027 | 120580.0925 | 290625.285 | 59.9307 | 38.1
95224 | 2021-04-19 13:44 | 15.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2542 | μmol/L | 29.796 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.037 | 120623.8757 | 290622.8 | 59.9307 | 38.1
95234 | 2021-04-19 13:45 | 15.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0838 | μmol/L | 29.796 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.047 | 120688.7722 | 290608.9655 | 59.9307 | 38.1
95244 | 2021-04-19 13:45 | 15.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8625 | μmol/L | 29.796 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.06 | 120766.7514 | 290626.1011 | 59.9307 | 38.1
95254 | 2021-04-19 13:45 | 16.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7243 | μmol/L | 29.8083 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.064 | 120792.8062 | 290615.6737 | 59.9307 | 38.1
95264 | 2021-04-19 13:46 | 16.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6043 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.069 | 120840.1354 | 290605.6102 | 59.9307 | 38.1
95274 | 2021-04-19 13:46 | 16.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5725 | μmol/L | 29.8022 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.075 | 120863.1138 | 290613.33 | 59.9307 | 38.1
95284 | 2021-04-19 13:46 | 17.0014 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4007 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.081 | 120916.4116 | 290607.67 | 59.9307 | 38.1
95294 | 2021-04-19 13:47 | 17.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4876 | μmol/L | 29.8022 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.08 | 120924.0919 | 290596.3601 | 59.9307 | 38.1
95304 | 2021-04-19 13:47 | 17.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0956 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.099 | 121017.4137 | 290606.5193 | 59.9307 | 38.1
95314 | 2021-04-19 13:47 | 18.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8757 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.112 | 121088.9755 | 290601.7814 | 59.9307 | 38.1
95324 | 2021-04-19 13:48 | 18.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8103 | μmol/L | 29.8022 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.12 | 121153.3002 | 290591.431 | 59.9307 | 38.1
95334 | 2021-04-19 13:48 | 18.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8373 | μmol/L | 29.796 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.12 | 121181.047 | 290597.9785 | 59.9307 | 38.1
95344 | 2021-04-19 13:48 | 19.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5976 | μmol/L | 29.8144 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.128 | 121196.4208 | 290590.2062 | 59.9307 | 38.1
95354 | 2021-04-19 13:49 | 19.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5043 | μmol/L | 29.8144 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.134 | 121254.7373 | 290584.061 | 59.9307 | 38.1
95364 | 2021-04-19 13:49 | 19.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5424 | μmol/L | 29.7899 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.14 | 121284.4224 | 290574.5531 | 59.9307 | 38.1
95374 | 2021-04-19 13:49 | 20.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.2875 | μmol/L | 29.8022 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.151 | 121353.7504 | 290568.7908 | 59.9307 | 38.1
95384 | 2021-04-19 13:50 | 20.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.219 | μmol/L | 29.8083 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.153 | 121388.4312 | 290571.1966 | 59.9307 | 38.1
95394 | 2021-04-19 13:50 | 20.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.567 | μmol/L | 29.8818 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.167 | 121449.6068 | 290566.051 | 59.9307 | 38.1
95404 | 2021-04-19 13:50 | 21.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5179 | μmol/L | 29.8757 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.172 | 121482.7074 | 290558.6039 | 59.9307 | 38.1
95414 | 2021-04-19 13:51 | 21.3348 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5337 | μmol/L | 29.8389 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.183 | 121547.1141 | 290583.0788 | 59.9307 | 38.1
95424 | 2021-04-19 13:51 | 21.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.1561 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.189 | 121596.7131 | 290570.4433 | 59.9307 | 38.1
95434 | 2021-04-19 13:51 | 22.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.3192 | μmol/L | 29.8634 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.188 | 121567.359 | 290546.2462 | 59.9307 | 38.1
95444 | 2021-04-19 13:52 | 22.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.1954 | μmol/L | 29.8573 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.197 | 121633.5946 | 290547.0609 | 59.9307 | 38.1
95454 | 2021-04-19 13:52 | 22.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.1699 | μmol/L | 29.8573 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.199 | 121659.966 | 290544.9363 | 59.9307 | 38.1
95464 | 2021-04-19 13:52 | 23.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.2737 | μmol/L | 29.8389 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.199 | 121648.3073 | 290535.9454 | 59.9307 | 38.1
95474 | 2021-04-19 13:53 | 23.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.8232 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.211 | 121708.3275 | 290541.4079 | 59.9307 | 38.1
95484 | 2021-04-19 13:53 | 23.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.9515 | μmol/L | 29.8634 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.21 | 121725.2225 | 290544.2886 | 59.9307 | 38.1
95494 | 2021-04-19 13:53 | 24.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5553 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.225 | 121810.7416 | 290544.2187 | 59.9307 | 38.1
95504 | 2021-04-19 13:54 | 24.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6131 | μmol/L | 29.8879 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.222 | 121820.749 | 290542.2066 | 59.9307 | 38.1
95514 | 2021-04-19 13:54 | 24.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5362 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.222 | 121798.2723 | 290555.4555 | 59.9307 | 38.1
95524 | 2021-04-19 13:54 | 25.0014 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.3365 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.234 | 121849.8211 | 290530.8422 | 59.9307 | 38.1
95534 | 2021-04-19 13:55 | 25.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.247 | μmol/L | 29.8879 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.244 | 121904.4589 | 290536.2563 | 59.9307 | 38.1
95544 | 2021-04-19 13:55 | 25.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.2951 | μmol/L | 29.8573 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.251 | 121962.1589 | 290523.9993 | 59.9307 | 38.1