## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94775 | 2021-04-19 13:29 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.6899 | μmol/L | 29.8715 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.782 | 94922.9843 | 210556.7079 | 27.3 | 43.4
94785 | 2021-04-19 13:30 | 0.32684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.9043 | μmol/L | 29.8102 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.792 | 94963.1457 | 210555.1302 | 27.3 | 43.4
94795 | 2021-04-19 13:30 | 0.66007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.8872 | μmol/L | 29.7919 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.799 | 94976.0906 | 210553.0001 | 27.3 | 43.4
94805 | 2021-04-19 13:30 | 0.99325 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.6829 | μmol/L | 29.798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.807 | 95035.1937 | 210539.3362 | 27.3 | 43.4
94815 | 2021-04-19 13:31 | 1.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.0298 | μmol/L | 29.8225 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.831 | 95113.6059 | 210538.064 | 27.3 | 43.4
94825 | 2021-04-19 13:31 | 1.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.4045 | μmol/L | 29.7673 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.831 | 95122.3687 | 210532.1307 | 27.3 | 43.4
94835 | 2021-04-19 13:31 | 1.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.2233 | μmol/L | 29.7612 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.842 | 95147.9855 | 210534.1269 | 27.3 | 43.4
94845 | 2021-04-19 13:32 | 2.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.6066 | μmol/L | 29.8164 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.854 | 95202.8416 | 210521.6161 | 27.3 | 43.4
94855 | 2021-04-19 13:32 | 2.6605 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.5697 | μmol/L | 29.798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.862 | 95269.8581 | 210527.7612 | 27.3 | 43.4
94865 | 2021-04-19 13:32 | 2.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2567 | μmol/L | 29.749 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.894 | 95400.1847 | 210515.4035 | 27.3 | 43.4
94875 | 2021-04-19 13:33 | 3.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2117 | μmol/L | 29.7735 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.888 | 95393.5761 | 210522.0403 | 27.3 | 43.4
94885 | 2021-04-19 13:33 | 3.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.5492 | μmol/L | 29.6938 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.898 | 95417.4643 | 210523.072 | 27.3 | 43.4
94895 | 2021-04-19 13:33 | 3.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.669 | μmol/L | 29.6999 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.89 | 95390.9895 | 210513.2181 | 27.3 | 43.4
94905 | 2021-04-19 13:34 | 4.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.8606 | μmol/L | 29.7183 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.924 | 95525.6635 | 210507.4032 | 27.3 | 43.4
94915 | 2021-04-19 13:34 | 4.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.5561 | μmol/L | 29.7367 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.933 | 95546.376 | 210509.608 | 27.3 | 43.4
94925 | 2021-04-19 13:34 | 4.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.0508 | μmol/L | 29.6693 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.931 | 95558.563 | 210505.8669 | 27.3 | 43.4
94935 | 2021-04-19 13:35 | 5.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6235 | μmol/L | 29.6999 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.942 | 95594.5947 | 210507.1954 | 27.3 | 43.4
94945 | 2021-04-19 13:35 | 5.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.8371 | μmol/L | 29.6325 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.954 | 95653.4735 | 210495.7718 | 27.3 | 43.4
94955 | 2021-04-19 13:35 | 5.9934 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6531 | μmol/L | 29.6509 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.957 | 95692.7344 | 210488.9019 | 27.3 | 43.4
94965 | 2021-04-19 13:36 | 6.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.2977 | μmol/L | 29.6264 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.983 | 95790.2215 | 210495.9125 | 27.3 | 43.4
94975 | 2021-04-19 13:36 | 6.6605 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9047 | μmol/L | 29.6938 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.98 | 95778.7567 | 210488.233 | 27.3 | 43.4
94985 | 2021-04-19 13:36 | 6.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.7987 | μmol/L | 29.7244 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.975 | 95780.4417 | 210503.2817 | 27.3 | 43.4
94995 | 2021-04-19 13:37 | 7.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.8461 | μmol/L | 29.6877 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.985 | 95804.5448 | 210489.0001 | 27.3 | 43.4
95005 | 2021-04-19 13:37 | 7.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.8 | μmol/L | 29.7183 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.977 | 95788.0591 | 210493.6514 | 27.3 | 43.4
95015 | 2021-04-19 13:37 | 7.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.4451 | μmol/L | 29.6999 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.001 | 95900.9961 | 210486.8866 | 27.3 | 43.4
95025 | 2021-04-19 13:38 | 8.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.1468 | μmol/L | 29.6999 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.016 | 95951.4311 | 210488.7288 | 27.3 | 43.4
95035 | 2021-04-19 13:38 | 8.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.2351 | μmol/L | 29.657 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.026 | 95991.4318 | 210488.4679 | 27.3 | 43.4
95045 | 2021-04-19 13:38 | 8.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.5597 | μmol/L | 29.7551 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.027 | 96016.9002 | 210483.8017 | 27.3 | 43.4
95055 | 2021-04-19 13:39 | 9.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.1348 | μmol/L | 29.798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.034 | 96063.0917 | 210481.4973 | 27.3 | 43.4
95065 | 2021-04-19 13:39 | 9.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.5218 | μmol/L | 29.8041 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.063 | 96133.0853 | 210482.3846 | 27.3 | 43.4
95075 | 2021-04-19 13:39 | 9.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.2181 | μmol/L | 29.6877 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.067 | 96158.4856 | 210483.0898 | 27.3 | 43.4
95085 | 2021-04-19 13:40 | 10.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0364 | μmol/L | 29.706 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.07 | 96171.3144 | 210478.9825 | 27.3 | 43.4
95095 | 2021-04-19 13:40 | 10.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3367 | μmol/L | 29.6877 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.061 | 96174.7567 | 210469.9088 | 27.3 | 43.4
95105 | 2021-04-19 13:40 | 10.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.9351 | μmol/L | 29.7183 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.071 | 96201.5003 | 210483.0126 | 27.3 | 43.4
95115 | 2021-04-19 13:41 | 11.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0207 | μmol/L | 29.6877 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.077 | 96233.8584 | 210472.5293 | 27.3 | 43.4
95125 | 2021-04-19 13:41 | 11.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8642 | μmol/L | 29.6815 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.087 | 96275.6913 | 210474.2025 | 27.3 | 43.4
95135 | 2021-04-19 13:41 | 11.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.6631 | μmol/L | 29.6999 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.091 | 96312.0626 | 210484.9514 | 27.3 | 43.4
95145 | 2021-04-19 13:42 | 12.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8762 | μmol/L | 29.6264 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.105 | 96365.8094 | 210484.6968 | 27.3 | 43.4
95155 | 2021-04-19 13:42 | 12.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.6963 | μmol/L | 29.6386 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.11 | 96408.0193 | 210477.6766 | 27.3 | 43.4
95165 | 2021-04-19 13:42 | 12.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8605 | μmol/L | 29.608 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.112 | 96424.9543 | 210474.5635 | 27.3 | 43.4
95175 | 2021-04-19 13:43 | 13.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.105 | μmol/L | 29.5712 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.112 | 96424.5556 | 210477.5572 | 27.3 | 43.4
95185 | 2021-04-19 13:43 | 13.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.6793 | μmol/L | 29.6264 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.115 | 96440.8038 | 210470.1924 | 27.3 | 43.4
95195 | 2021-04-19 13:43 | 13.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.3016 | μmol/L | 29.6448 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.128 | 96528.7428 | 210471.7379 | 27.3 | 43.4
95205 | 2021-04-19 13:44 | 14.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0716 | μmol/L | 29.6202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.148 | 96603.6271 | 210474.9614 | 27.3 | 43.4
95215 | 2021-04-19 13:44 | 14.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.5764 | μmol/L | 29.6448 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.165 | 96675.287 | 210471.177 | 27.3 | 43.4
95225 | 2021-04-19 13:44 | 14.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7413 | μmol/L | 29.608 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.169 | 96701.6898 | 210462.3297 | 27.3 | 43.4
95235 | 2021-04-19 13:45 | 15.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.9346 | μmol/L | 29.7183 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.173 | 96727.8479 | 210459.1986 | 27.3 | 43.4
95245 | 2021-04-19 13:45 | 15.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.2806 | μmol/L | 29.7673 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.19 | 96779.8628 | 210467.6167 | 27.3 | 43.4
95255 | 2021-04-19 13:45 | 15.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7289 | μmol/L | 29.6815 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.196 | 96836.9451 | 210454.791 | 27.3 | 43.4
95265 | 2021-04-19 13:46 | 16.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.0744 | μmol/L | 29.6202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.199 | 96861.0497 | 210461.2276 | 27.3 | 43.4
95275 | 2021-04-19 13:46 | 16.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.5863 | μmol/L | 29.6264 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.222 | 96948.8319 | 210458.154 | 27.3 | 43.4
95285 | 2021-04-19 13:46 | 16.9938 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.0899 | μmol/L | 29.5528 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.221 | 96973.5185 | 210453.7772 | 27.3 | 43.4
95295 | 2021-04-19 13:47 | 17.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7491 | μmol/L | 29.5957 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.224 | 96989.4146 | 210451.5378 | 27.3 | 43.4
95305 | 2021-04-19 13:47 | 17.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3726 | μmol/L | 29.6264 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.233 | 97020.0404 | 210455.1789 | 27.3 | 43.4
95315 | 2021-04-19 13:47 | 17.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.2741 | μmol/L | 29.6325 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.236 | 97045.8236 | 210451.9136 | 27.3 | 43.4
95325 | 2021-04-19 13:48 | 18.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.2576 | μmol/L | 29.6202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.241 | 97080.4925 | 210448.3107 | 27.3 | 43.4
95335 | 2021-04-19 13:48 | 18.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7301 | μmol/L | 29.5099 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.254 | 97121.7218 | 210449.797 | 27.3 | 43.4
95345 | 2021-04-19 13:48 | 18.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.5496 | μmol/L | 29.5344 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.255 | 97147.692 | 210443.8329 | 27.3 | 43.4
95355 | 2021-04-19 13:49 | 19.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.2053 | μmol/L | 29.5957 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.252 | 97153.6425 | 210442.4315 | 27.3 | 43.4
95365 | 2021-04-19 13:49 | 19.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.1113 | μmol/L | 29.5835 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.261 | 97189.6075 | 210447.1808 | 27.3 | 43.4
95375 | 2021-04-19 13:49 | 19.9938 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6603 | μmol/L | 29.608 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.276 | 97242.6659 | 210431.4227 | 27.3 | 43.4
95385 | 2021-04-19 13:50 | 20.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9191 | μmol/L | 29.5773 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.273 | 97232.5259 | 210438.7444 | 27.3 | 43.4
95395 | 2021-04-19 13:50 | 20.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6053 | μmol/L | 29.5957 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.283 | 97291.0281 | 210439.5059 | 27.3 | 43.4
95405 | 2021-04-19 13:50 | 20.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.0619 | μmol/L | 29.5467 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.276 | 97283.7672 | 210444.3402 | 27.3 | 43.4
95415 | 2021-04-19 13:51 | 21.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9878 | μmol/L | 29.6754 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.288 | 97333.6619 | 210425.973 | 27.3 | 43.4
95425 | 2021-04-19 13:51 | 21.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0693 | μmol/L | 29.8102 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.29 | 97352.6705 | 210412.8636 | 27.3 | 43.4
95435 | 2021-04-19 13:51 | 21.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3601 | μmol/L | 29.7244 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.304 | 97429.7046 | 210419.6388 | 27.3 | 43.4
95445 | 2021-04-19 13:52 | 22.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.8936 | μmol/L | 29.749 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.32 | 97496.941 | 210421.9598 | 27.3 | 43.4
95455 | 2021-04-19 13:52 | 22.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3404 | μmol/L | 29.6509 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.33 | 97524.7202 | 210431.9661 | 27.3 | 43.4
95465 | 2021-04-19 13:52 | 22.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5977 | μmol/L | 29.6202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.327 | 97530.8681 | 210422.4877 | 27.3 | 43.4
95475 | 2021-04-19 13:53 | 23.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4664 | μmol/L | 29.608 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.338 | 97574.7121 | 210421.7024 | 27.3 | 43.4
95485 | 2021-04-19 13:53 | 23.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.112 | μmol/L | 29.6448 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.344 | 97607.8067 | 210422.4376 | 27.3 | 43.4
95495 | 2021-04-19 13:53 | 23.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.7787 | μmol/L | 29.6754 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.351 | 97658.7401 | 210416.4606 | 27.3 | 43.4
95505 | 2021-04-19 13:54 | 24.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2617 | μmol/L | 29.6815 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.376 | 97751.8591 | 210415.1155 | 27.3 | 43.4
95515 | 2021-04-19 13:54 | 24.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0416 | μmol/L | 29.6202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.356 | 97682.0358 | 210424.8132 | 27.3 | 43.4
95525 | 2021-04-19 13:54 | 24.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3363 | μmol/L | 29.6877 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.37 | 97742.0658 | 210417.6545 | 27.3 | 43.4
95535 | 2021-04-19 13:55 | 25.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8918 | μmol/L | 29.7122 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.385 | 97815.6244 | 210414.3285 | 27.3 | 43.4
95545 | 2021-04-19 13:55 | 25.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.149 | μmol/L | 29.6754 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.384 | 97824.0205 | 210416.1923 | 27.3 | 43.4