## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94776 | 2021-04-19 13:29 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0478 | μmol/L | 29.9234 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.586 | 85761.9578 | 287151.2679 | 28.7 | 67.6
94786 | 2021-04-19 13:30 | 0.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.9402 | μmol/L | 29.9234 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.592 | 85784.367 | 287136.9624 | 28.7 | 67.6
94796 | 2021-04-19 13:30 | 0.66733 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2482 | μmol/L | 29.8929 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.585 | 85757.5424 | 287144.1432 | 28.7 | 67.6
94806 | 2021-04-19 13:30 | 1.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0861 | μmol/L | 29.899 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.592 | 85764.0571 | 287135.0384 | 28.7 | 67.6
94816 | 2021-04-19 13:31 | 1.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.7126 | μmol/L | 29.8746 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.621 | 85881.8232 | 287140.4463 | 28.7 | 67.6
94826 | 2021-04-19 13:31 | 1.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.8014 | μmol/L | 29.8807 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.614 | 85865.2097 | 287132.2695 | 28.7 | 67.6
94836 | 2021-04-19 13:31 | 2.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.5141 | μmol/L | 29.8929 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.626 | 85884.9137 | 287111.1322 | 28.7 | 67.6
94846 | 2021-04-19 13:32 | 2.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.3699 | μmol/L | 29.9051 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.63 | 85916.39 | 287119.7228 | 28.7 | 67.6
94856 | 2021-04-19 13:32 | 2.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.3508 | μmol/L | 29.9173 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.627 | 85933.1243 | 287106.9272 | 28.7 | 67.6
94866 | 2021-04-19 13:32 | 3.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.1004 | μmol/L | 29.9234 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.639 | 85957.0783 | 287113.4196 | 28.7 | 67.6
94876 | 2021-04-19 13:33 | 3.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.9757 | μmol/L | 29.9234 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.646 | 86004.0888 | 287099.6023 | 28.7 | 67.6
94886 | 2021-04-19 13:33 | 3.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.1374 | μmol/L | 29.9112 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.641 | 85989.4516 | 287091.7399 | 28.7 | 67.6
94896 | 2021-04-19 13:33 | 4.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.049 | μmol/L | 29.9051 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.648 | 85996.6596 | 287088.1787 | 28.7 | 67.6
94906 | 2021-04-19 13:34 | 4.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.0127 | μmol/L | 29.9112 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.648 | 86010.3078 | 287088.5764 | 28.7 | 67.6
94916 | 2021-04-19 13:34 | 4.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.871 | μmol/L | 29.9051 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.658 | 86023.2439 | 287080.5524 | 28.7 | 67.6
94926 | 2021-04-19 13:34 | 5.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.7095 | μmol/L | 29.9173 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.663 | 86070.2515 | 287078.6401 | 28.7 | 67.6
94936 | 2021-04-19 13:35 | 5.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.5858 | μmol/L | 29.9112 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.672 | 86094.8684 | 287070.4316 | 28.7 | 67.6
94946 | 2021-04-19 13:35 | 5.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.5695 | μmol/L | 29.899 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.677 | 86108.16 | 287074.1389 | 28.7 | 67.6
94956 | 2021-04-19 13:35 | 6.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.5702 | μmol/L | 29.8929 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.679 | 86130.5972 | 287070.4767 | 28.7 | 67.6
94966 | 2021-04-19 13:36 | 6.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.0023 | μmol/L | 29.899 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.709 | 86239.717 | 287067.3159 | 28.7 | 67.6
94976 | 2021-04-19 13:36 | 6.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.4282 | μmol/L | 29.8929 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.687 | 86167.6596 | 287059.3553 | 28.7 | 67.6
94986 | 2021-04-19 13:36 | 7.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1941 | μmol/L | 29.9234 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.69 | 86175.3885 | 287050.6987 | 28.7 | 67.6
94996 | 2021-04-19 13:37 | 7.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.0015 | μmol/L | 29.9051 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.707 | 86250.3434 | 287031.0982 | 28.7 | 67.6
95006 | 2021-04-19 13:37 | 7.6674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8785 | μmol/L | 29.899 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.716 | 86286.7034 | 287044.6904 | 28.7 | 67.6
95016 | 2021-04-19 13:37 | 8.0006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8431 | μmol/L | 29.899 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.718 | 86289.877 | 287040.7341 | 28.7 | 67.6
95026 | 2021-04-19 13:38 | 8.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.6503 | μmol/L | 29.8868 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.733 | 86349.7262 | 287038.2439 | 28.7 | 67.6
95036 | 2021-04-19 13:38 | 8.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.7386 | μmol/L | 29.8868 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.728 | 86334.782 | 287024.2576 | 28.7 | 67.6
95046 | 2021-04-19 13:38 | 9.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.7407 | μmol/L | 29.8685 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.734 | 86347.2005 | 287019.9266 | 28.7 | 67.6
95056 | 2021-04-19 13:39 | 9.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.5973 | μmol/L | 29.8868 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.736 | 86355.7221 | 287027.0837 | 28.7 | 67.6
95066 | 2021-04-19 13:39 | 9.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.5981 | μmol/L | 29.8807 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.738 | 86388.3006 | 287013.1215 | 28.7 | 67.6
95076 | 2021-04-19 13:39 | 10.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.4768 | μmol/L | 29.8624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.751 | 86430.7253 | 287021.7041 | 28.7 | 67.6
95086 | 2021-04-19 13:40 | 10.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.3358 | μmol/L | 29.8624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.759 | 86466.2934 | 287013.8195 | 28.7 | 67.6
95096 | 2021-04-19 13:40 | 10.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1591 | μmol/L | 29.8685 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.767 | 86502.325 | 287020.6758 | 28.7 | 67.6
95106 | 2021-04-19 13:40 | 11 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1576 | μmol/L | 29.8807 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.763 | 86502.0909 | 287003.1749 | 28.7 | 67.6
95116 | 2021-04-19 13:41 | 11.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1613 | μmol/L | 29.8502 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.773 | 86530.5552 | 286995.2937 | 28.7 | 67.6
95126 | 2021-04-19 13:41 | 11.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.0925 | μmol/L | 29.838 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.781 | 86555.8398 | 287004.2144 | 28.7 | 67.6
95136 | 2021-04-19 13:41 | 12.0006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9526 | μmol/L | 29.8319 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.791 | 86612.5783 | 286997.0276 | 28.7 | 67.6
95146 | 2021-04-19 13:42 | 12.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.7595 | μmol/L | 29.8319 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.802 | 86667.4571 | 287001.3455 | 28.7 | 67.6
95156 | 2021-04-19 13:42 | 12.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.585 | μmol/L | 29.8258 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.814 | 86686.4533 | 287006.3431 | 28.7 | 67.6
95166 | 2021-04-19 13:42 | 13.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5316 | μmol/L | 29.8319 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.815 | 86711.9772 | 287010.2679 | 28.7 | 67.6
95176 | 2021-04-19 13:43 | 13.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5134 | μmol/L | 29.838 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.814 | 86719.3573 | 287009.2371 | 28.7 | 67.6
95186 | 2021-04-19 13:43 | 13.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.4258 | μmol/L | 29.838 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.819 | 86743.7872 | 286987.1903 | 28.7 | 67.6
95196 | 2021-04-19 13:43 | 14.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.3931 | μmol/L | 29.8197 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.827 | 86769.3079 | 286989.2505 | 28.7 | 67.6
95206 | 2021-04-19 13:44 | 14.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.219 | μmol/L | 29.8136 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.839 | 86804.0302 | 286993.2815 | 28.7 | 67.6
95216 | 2021-04-19 13:44 | 14.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2015 | μmol/L | 29.8136 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.84 | 86829.7446 | 286987.3792 | 28.7 | 67.6
95226 | 2021-04-19 13:44 | 15.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1149 | μmol/L | 29.8074 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.847 | 86855.9776 | 286995.9429 | 28.7 | 67.6
95236 | 2021-04-19 13:45 | 15.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1507 | μmol/L | 29.8013 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.847 | 86877.5872 | 286998.473 | 28.7 | 67.6
95246 | 2021-04-19 13:45 | 15.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9404 | μmol/L | 29.8074 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.857 | 86920.0221 | 287007.3713 | 28.7 | 67.6
95256 | 2021-04-19 13:45 | 16.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8024 | μmol/L | 29.7952 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.869 | 86951.8205 | 286987.9491 | 28.7 | 67.6
95266 | 2021-04-19 13:46 | 16.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.6805 | μmol/L | 29.7952 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.876 | 86990.3098 | 286987.4562 | 28.7 | 67.6
95276 | 2021-04-19 13:46 | 16.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7327 | μmol/L | 29.7952 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.873 | 87009.2518 | 286987.1851 | 28.7 | 67.6
95286 | 2021-04-19 13:46 | 17.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5768 | μmol/L | 29.7891 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.884 | 87025.0314 | 286990.017 | 28.7 | 67.6
95296 | 2021-04-19 13:47 | 17.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4004 | μmol/L | 29.8074 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.888 | 87039.6143 | 286977.9539 | 28.7 | 67.6
95306 | 2021-04-19 13:47 | 17.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3309 | μmol/L | 29.8074 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.892 | 87050.8408 | 286974.1265 | 28.7 | 67.6
95316 | 2021-04-19 13:47 | 18.0006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.244 | μmol/L | 29.8074 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.897 | 87083.0008 | 286974.8176 | 28.7 | 67.6
95326 | 2021-04-19 13:48 | 18.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2457 | μmol/L | 29.7952 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.901 | 87121.6395 | 286958.8197 | 28.7 | 67.6
95336 | 2021-04-19 13:48 | 18.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0002 | μmol/L | 29.8136 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.909 | 87154.4168 | 286963.1447 | 28.7 | 67.6
95346 | 2021-04-19 13:48 | 19.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8062 | μmol/L | 29.838 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.912 | 87179.0807 | 286954.5899 | 28.7 | 67.6
95356 | 2021-04-19 13:49 | 19.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8087 | μmol/L | 29.8197 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.918 | 87213.2782 | 286958.0211 | 28.7 | 67.6
95366 | 2021-04-19 13:49 | 19.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.7593 | μmol/L | 29.8013 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.927 | 87235.9338 | 286955.9627 | 28.7 | 67.6
95376 | 2021-04-19 13:49 | 20 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6027 | μmol/L | 29.8074 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.934 | 87278.7975 | 286963.7183 | 28.7 | 67.6
95386 | 2021-04-19 13:50 | 20.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.34 | μmol/L | 29.8319 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.941 | 87315.7572 | 286957.6753 | 28.7 | 67.6
95396 | 2021-04-19 13:50 | 20.6674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.0967 | μmol/L | 29.8441 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.951 | 87330.4979 | 286958.6806 | 28.7 | 67.6
95406 | 2021-04-19 13:50 | 21.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.151 | μmol/L | 29.8258 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.954 | 87350.255 | 286946.2912 | 28.7 | 67.6
95416 | 2021-04-19 13:51 | 21.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.1528 | μmol/L | 29.8136 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.958 | 87364.9007 | 286939.9709 | 28.7 | 67.6
95426 | 2021-04-19 13:51 | 21.6674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.0847 | μmol/L | 29.8074 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.964 | 87412.8145 | 286932.934 | 28.7 | 67.6
95436 | 2021-04-19 13:51 | 22.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.6987 | μmol/L | 29.8563 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.97 | 87439.4838 | 286928.3792 | 28.7 | 67.6
95446 | 2021-04-19 13:52 | 22.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8073 | μmol/L | 29.8197 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.976 | 87456.3503 | 286918.4525 | 28.7 | 67.6
95456 | 2021-04-19 13:52 | 22.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.6679 | μmol/L | 29.8319 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.98 | 87491.4107 | 286934.6307 | 28.7 | 67.6
95466 | 2021-04-19 13:52 | 23.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.4924 | μmol/L | 29.8563 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.982 | 87502.7746 | 286923.3183 | 28.7 | 67.6
95476 | 2021-04-19 13:53 | 23.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.3045 | μmol/L | 29.8502 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.995 | 87543.3085 | 286917.4995 | 28.7 | 67.6
95486 | 2021-04-19 13:53 | 23.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.2034 | μmol/L | 29.838 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.005 | 87593.5597 | 286935.2568 | 28.7 | 67.6
95496 | 2021-04-19 13:53 | 24.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.0816 | μmol/L | 29.8502 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.008 | 87619.6662 | 286929.6317 | 28.7 | 67.6
95506 | 2021-04-19 13:54 | 24.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.0483 | μmol/L | 29.8441 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.012 | 87653.3166 | 286921.0038 | 28.7 | 67.6
95516 | 2021-04-19 13:54 | 24.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.8248 | μmol/L | 29.8502 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.023 | 87673.7564 | 286923.9294 | 28.7 | 67.6
95526 | 2021-04-19 13:54 | 25.0006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.823 | μmol/L | 29.8624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.019 | 87668.9904 | 286914.2694 | 28.7 | 67.6
95536 | 2021-04-19 13:55 | 25.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6843 | μmol/L | 29.8746 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.023 | 87683.3982 | 286910.0297 | 28.7 | 67.6
95546 | 2021-04-19 13:55 | 25.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.652 | μmol/L | 29.8624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.029 | 87708.2145 | 286895.4702 | 28.7 | 67.6