## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94777 | 2021-04-19 13:29 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.5138 | μmol/L | 29.7253 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.019 | 116142.9985 | 264447.0477 | 36.4 | 83.1
94787 | 2021-04-19 13:30 | 0.34077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.452 | μmol/L | 29.7315 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.02 | 116176.9617 | 264438.6787 | 36.4 | 83.1
94797 | 2021-04-19 13:30 | 0.67433 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.1497 | μmol/L | 29.7376 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.033 | 116219.7538 | 264420.0877 | 36.4 | 83.1
94807 | 2021-04-19 13:30 | 1.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.9911 | μmol/L | 29.7315 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.043 | 116278.1616 | 264420.9529 | 36.4 | 83.1
94817 | 2021-04-19 13:31 | 1.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.848 | μmol/L | 29.7438 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.046 | 116306.035 | 264414.2893 | 36.4 | 83.1
94827 | 2021-04-19 13:31 | 1.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6313 | μmol/L | 29.7315 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.061 | 116350.9402 | 264405.1725 | 36.4 | 83.1
94837 | 2021-04-19 13:31 | 2.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.8742 | μmol/L | 29.7192 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.053 | 116311.7175 | 264394.4342 | 36.4 | 83.1
94847 | 2021-04-19 13:32 | 2.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.8037 | μmol/L | 29.6823 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.069 | 116384.4759 | 264388.3789 | 36.4 | 83.1
94857 | 2021-04-19 13:32 | 2.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6177 | μmol/L | 29.7069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.07 | 115966.3336 | 264388.0275 | 36.4 | 83.1
94867 | 2021-04-19 13:32 | 3.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.4764 | μmol/L | 29.713 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.075 | 115558.0049 | 264387.9866 | 36.4 | 83.1
94877 | 2021-04-19 13:33 | 3.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.2189 | μmol/L | 29.7069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.09 | 115661.8988 | 264376.542 | 36.4 | 83.1
94887 | 2021-04-19 13:33 | 3.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.4474 | μmol/L | 29.7683 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.108 | 115751.3753 | 264369.2527 | 36.4 | 83.1
94897 | 2021-04-19 13:33 | 4.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.9407 | μmol/L | 29.7376 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.144 | 115902.2719 | 264365.0757 | 36.4 | 83.1
94907 | 2021-04-19 13:34 | 4.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.8447 | μmol/L | 29.7806 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.185 | 116181.675 | 264354.7794 | 36.4 | 83.1
94917 | 2021-04-19 13:34 | 4.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.9208 | μmol/L | 29.7192 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.202 | 116302.8796 | 264353.2883 | 36.4 | 83.1
94927 | 2021-04-19 13:34 | 5.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7885 | μmol/L | 29.7007 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.215 | 116381.6576 | 264359.788 | 36.4 | 83.1
94937 | 2021-04-19 13:35 | 5.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.4856 | μmol/L | 29.7315 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.22 | 116409.3097 | 264351.3964 | 36.4 | 83.1
94947 | 2021-04-19 13:35 | 5.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.5156 | μmol/L | 29.6946 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.231 | 116460.7816 | 264343.2276 | 36.4 | 83.1
94957 | 2021-04-19 13:35 | 6.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.3272 | μmol/L | 29.7376 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.226 | 116419.2537 | 264340.267 | 36.4 | 83.1
94967 | 2021-04-19 13:36 | 6.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.2115 | μmol/L | 29.7315 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.234 | 116467.9055 | 264334.1167 | 36.4 | 83.1
94977 | 2021-04-19 13:36 | 6.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.1758 | μmol/L | 29.7192 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.24 | 116474.9827 | 264332.5951 | 36.4 | 83.1
94987 | 2021-04-19 13:36 | 7.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.9111 | μmol/L | 29.756 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.241 | 116500.9644 | 264330.8317 | 36.4 | 83.1
94997 | 2021-04-19 13:37 | 7.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.1615 | μmol/L | 29.7007 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.247 | 116509.791 | 264320.4012 | 36.4 | 83.1
95007 | 2021-04-19 13:37 | 7.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.1011 | μmol/L | 29.7069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.248 | 116508.6957 | 264328.6788 | 36.4 | 83.1
95017 | 2021-04-19 13:37 | 8.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.382 | μmol/L | 29.6823 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.242 | 116482.6489 | 264310.0152 | 36.4 | 83.1
95027 | 2021-04-19 13:38 | 8.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.2806 | μmol/L | 29.6946 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.243 | 116486.307 | 264316.2545 | 36.4 | 83.1
95037 | 2021-04-19 13:38 | 8.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.2806 | μmol/L | 29.6946 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.243 | 116477.2237 | 264306.6001 | 36.4 | 83.1
95047 | 2021-04-19 13:38 | 9.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.6679 | μmol/L | 29.7868 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.243 | 116480.0368 | 264306.1263 | 36.4 | 83.1
95057 | 2021-04-19 13:39 | 9.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.3762 | μmol/L | 29.6332 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.259 | 116578.3115 | 264296.9687 | 36.4 | 83.1
95067 | 2021-04-19 13:39 | 9.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.8186 | μmol/L | 29.67 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.275 | 116665.2171 | 264284.6577 | 36.4 | 83.1
95077 | 2021-04-19 13:39 | 10.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.7494 | μmol/L | 29.6393 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.289 | 116759.6935 | 264291.9381 | 36.4 | 83.1
95087 | 2021-04-19 13:40 | 10.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.4005 | μmol/L | 29.6332 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.309 | 116869.6766 | 264301.7066 | 36.4 | 83.1
95097 | 2021-04-19 13:40 | 10.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.9482 | μmol/L | 29.6516 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.326 | 116956.6407 | 264291.4596 | 36.4 | 83.1
95107 | 2021-04-19 13:40 | 11.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.7737 | μmol/L | 29.6516 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.335 | 117011.168 | 264295.2303 | 36.4 | 83.1
95117 | 2021-04-19 13:41 | 11.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5709 | μmol/L | 29.6823 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.335 | 117005.3533 | 264300.6586 | 36.4 | 83.1
95127 | 2021-04-19 13:41 | 11.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.8796 | μmol/L | 29.6209 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.34 | 117052.7193 | 264289.7376 | 36.4 | 83.1
95137 | 2021-04-19 13:41 | 12.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4057 | μmol/L | 29.6516 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.354 | 117122.1919 | 264291.6421 | 36.4 | 83.1
95147 | 2021-04-19 13:42 | 12.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.2529 | μmol/L | 29.6454 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.364 | 117164.4149 | 264294.2912 | 36.4 | 83.1
95157 | 2021-04-19 13:42 | 12.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3586 | μmol/L | 29.6147 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.369 | 117207.5704 | 264299.9047 | 36.4 | 83.1
95167 | 2021-04-19 13:42 | 13.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.2004 | μmol/L | 29.627 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.373 | 117215.9303 | 264287.5527 | 36.4 | 83.1
95177 | 2021-04-19 13:43 | 13.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4305 | μmol/L | 29.6332 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.359 | 117122.6405 | 264277.0709 | 36.4 | 83.1
95187 | 2021-04-19 13:43 | 13.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.7087 | μmol/L | 29.6086 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.353 | 117116.3391 | 264294.4429 | 36.4 | 83.1
95197 | 2021-04-19 13:43 | 14.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.6313 | μmol/L | 29.6086 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.357 | 117139.9255 | 264288.26 | 36.4 | 83.1
95207 | 2021-04-19 13:44 | 14.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.6331 | μmol/L | 29.6024 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.359 | 117150.6412 | 264276.5819 | 36.4 | 83.1
95217 | 2021-04-19 13:44 | 14.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5363 | μmol/L | 29.6024 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.364 | 117162.5027 | 264272.2043 | 36.4 | 83.1
95227 | 2021-04-19 13:44 | 15.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3834 | μmol/L | 29.5963 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.374 | 117230.3837 | 264270.6124 | 36.4 | 83.1
95237 | 2021-04-19 13:45 | 15.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1617 | μmol/L | 29.627 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.375 | 117221.9681 | 264274.1674 | 36.4 | 83.1
95247 | 2021-04-19 13:45 | 15.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0229 | μmol/L | 29.6393 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.378 | 117238.6722 | 264270.9084 | 36.4 | 83.1
95257 | 2021-04-19 13:45 | 16.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1883 | μmol/L | 29.6024 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.382 | 117266.1159 | 264274.3439 | 36.4 | 83.1
95267 | 2021-04-19 13:46 | 16.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.3959 | μmol/L | 29.7376 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.377 | 117228.52 | 264238.1319 | 36.4 | 83.1
95277 | 2021-04-19 13:46 | 16.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.6622 | μmol/L | 29.6209 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.403 | 117384.0981 | 264248.3312 | 36.4 | 83.1
95287 | 2021-04-19 13:46 | 17.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.7849 | μmol/L | 29.6639 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.434 | 117562.2228 | 264265.1123 | 36.4 | 83.1
95297 | 2021-04-19 13:47 | 17.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.5349 | μmol/L | 29.5963 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.418 | 117460.3823 | 264248.9032 | 36.4 | 83.1
95307 | 2021-04-19 13:47 | 17.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.3948 | μmol/L | 29.6147 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.419 | 117485.2467 | 264256.5711 | 36.4 | 83.1
95317 | 2021-04-19 13:47 | 18.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.6082 | μmol/L | 29.6086 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.41 | 117446.9021 | 264239.8351 | 36.4 | 83.1
95327 | 2021-04-19 13:48 | 18.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.7155 | μmol/L | 29.5717 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.417 | 117454.5012 | 264256.3532 | 36.4 | 83.1
95337 | 2021-04-19 13:48 | 18.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.4121 | μmol/L | 29.6209 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.416 | 117460.3211 | 264245.4013 | 36.4 | 83.1
95347 | 2021-04-19 13:48 | 19.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2522 | μmol/L | 29.5779 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.439 | 117585.7317 | 264237.3845 | 36.4 | 83.1
95357 | 2021-04-19 13:49 | 19.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.4862 | μmol/L | 29.6393 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.458 | 117687.9452 | 264234.9521 | 36.4 | 83.1
95367 | 2021-04-19 13:49 | 19.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.9145 | μmol/L | 29.5533 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.465 | 117720.2833 | 264245.1162 | 36.4 | 83.1
95377 | 2021-04-19 13:49 | 20.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.4403 | μmol/L | 29.6024 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.473 | 117799.5196 | 264223.2239 | 36.4 | 83.1
95387 | 2021-04-19 13:50 | 20.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.6258 | μmol/L | 29.6209 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.457 | 117721.1164 | 264225.9848 | 36.4 | 83.1
95397 | 2021-04-19 13:50 | 20.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.5493 | μmol/L | 29.6209 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.461 | 117739.5474 | 264224.9126 | 36.4 | 83.1
95407 | 2021-04-19 13:50 | 21.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.4193 | μmol/L | 29.6086 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.472 | 117781.0953 | 264226.9883 | 36.4 | 83.1
95417 | 2021-04-19 13:51 | 21.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.8752 | μmol/L | 29.7007 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.469 | 117788.6946 | 264220.9181 | 36.4 | 83.1
95427 | 2021-04-19 13:51 | 21.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.9133 | μmol/L | 29.7007 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.467 | 117766.0111 | 264219.8421 | 36.4 | 83.1
95437 | 2021-04-19 13:51 | 22.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.7496 | μmol/L | 29.6762 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.484 | 117869.2454 | 264212.356 | 36.4 | 83.1
95447 | 2021-04-19 13:52 | 22.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.396 | μmol/L | 29.6516 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.511 | 118014.725 | 264198.2136 | 36.4 | 83.1
95457 | 2021-04-19 13:52 | 22.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.6498 | μmol/L | 29.7315 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.523 | 118069.6488 | 264196.5513 | 36.4 | 83.1
95467 | 2021-04-19 13:52 | 23.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0106 | μmol/L | 29.67 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.525 | 118131.635 | 264199.1829 | 36.4 | 83.1
95477 | 2021-04-19 13:53 | 23.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.7455 | μmol/L | 29.67 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.539 | 118187.3487 | 264198.8123 | 36.4 | 83.1
95487 | 2021-04-19 13:53 | 23.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0375 | μmol/L | 29.6454 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.532 | 118152.7121 | 264196.1651 | 36.4 | 83.1
95497 | 2021-04-19 13:53 | 24.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.4896 | μmol/L | 29.7007 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.542 | 118224.8771 | 264201.3998 | 36.4 | 83.1
95507 | 2021-04-19 13:54 | 24.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.1366 | μmol/L | 29.7499 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.597 | 118530.0013 | 264195.6533 | 36.4 | 83.1
95517 | 2021-04-19 13:54 | 24.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.3779 | μmol/L | 29.6454 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.62 | 118658.8671 | 264205.5805 | 36.4 | 83.1
95527 | 2021-04-19 13:54 | 25.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.3671 | μmol/L | 29.8114 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.617 | 118638.7724 | 264189.786 | 36.4 | 83.1
95537 | 2021-04-19 13:55 | 25.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.0595 | μmol/L | 29.756 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.599 | 118544.5616 | 264197.9397 | 36.4 | 83.1
95547 | 2021-04-19 13:55 | 25.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.9835 | μmol/L | 29.6332 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.592 | 118522.0294 | 264190.4638 | 36.4 | 83.1