## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94779 | 2021-04-19 13:30 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.1929 | μmol/L | 30.0121 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.424 | 135190.0182 | 287817.1367 | 59.9307 | 49.4
94789 | 2021-04-19 13:30 | 0.33853 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.7681 | μmol/L | 30.0431 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.437 | 135271.1416 | 287791.3005 | 59.9307 | 49.4
94799 | 2021-04-19 13:30 | 0.67265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.4919 | μmol/L | 30.0616 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.446 | 135348.0569 | 287775.9349 | 59.9307 | 49.4
94809 | 2021-04-19 13:31 | 1.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.182 | μmol/L | 30.0678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.461 | 135392.3 | 287752.834 | 59.9307 | 49.4
94819 | 2021-04-19 13:31 | 1.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.8692 | μmol/L | 30.0926 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.47 | 135403.7208 | 287749.6612 | 59.9307 | 49.4
94829 | 2021-04-19 13:31 | 1.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.9124 | μmol/L | 30.0554 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.48 | 135453.3227 | 287740.5549 | 59.9307 | 49.4
94839 | 2021-04-19 13:32 | 2.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.8276 | μmol/L | 30.0245 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.495 | 135559.524 | 287759.1363 | 59.9307 | 49.4
94849 | 2021-04-19 13:32 | 2.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.6082 | μmol/L | 30.0369 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.503 | 135587.2764 | 287734.3323 | 59.9307 | 49.4
94859 | 2021-04-19 13:32 | 2.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.7609 | μmol/L | 29.9935 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.509 | 135643.5429 | 287708.3515 | 59.9307 | 49.4
94869 | 2021-04-19 13:33 | 3.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1162 | μmol/L | 30.0616 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.522 | 135710.8712 | 287708.3976 | 59.9307 | 49.4
94879 | 2021-04-19 13:33 | 3.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.0453 | μmol/L | 30.0554 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.528 | 135772.7217 | 287720.0165 | 59.9307 | 49.4
94889 | 2021-04-19 13:33 | 3.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.5488 | μmol/L | 30.1112 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.537 | 135833.5771 | 287708.9152 | 59.9307 | 49.4
94899 | 2021-04-19 13:34 | 4.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6843 | μmol/L | 30.0616 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.546 | 135878.3504 | 287722.1772 | 59.9307 | 49.4
94909 | 2021-04-19 13:34 | 4.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6112 | μmol/L | 30.0678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.548 | 135920.2663 | 287712.6654 | 59.9307 | 49.4
94919 | 2021-04-19 13:34 | 4.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3216 | μmol/L | 30.0802 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.56 | 135974.7337 | 287689.0976 | 59.9307 | 49.4
94929 | 2021-04-19 13:35 | 5.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.2665 | μmol/L | 30.0864 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.561 | 136006.3047 | 287699.3383 | 59.9307 | 49.4
94939 | 2021-04-19 13:35 | 5.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.256 | μmol/L | 30.0492 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.574 | 136057.9778 | 287672.603 | 59.9307 | 49.4
94949 | 2021-04-19 13:35 | 5.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.2022 | μmol/L | 30.0492 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.577 | 136119.5191 | 287702.0389 | 59.9307 | 49.4
94959 | 2021-04-19 13:36 | 6.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.9861 | μmol/L | 30.0554 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.587 | 136173.6243 | 287676.9193 | 59.9307 | 49.4
94969 | 2021-04-19 13:36 | 6.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7691 | μmol/L | 30.0678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.595 | 136219.3446 | 287673.2901 | 59.9307 | 49.4
94979 | 2021-04-19 13:36 | 6.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7155 | μmol/L | 30.0678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.598 | 136259.2313 | 287659.5103 | 59.9307 | 49.4
94989 | 2021-04-19 13:37 | 7.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5382 | μmol/L | 30.0616 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.61 | 136345.0361 | 287670.0167 | 59.9307 | 49.4
94999 | 2021-04-19 13:37 | 7.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2288 | μmol/L | 30.0926 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.617 | 136394.9218 | 287645.0894 | 59.9307 | 49.4
95009 | 2021-04-19 13:37 | 7.6727 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2301 | μmol/L | 30.0864 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.619 | 136459.1025 | 287646.5495 | 59.9307 | 49.4
95019 | 2021-04-19 13:38 | 8.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.9224 | μmol/L | 30.1112 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.628 | 136532.632 | 287646.2838 | 59.9307 | 49.4
95029 | 2021-04-19 13:38 | 8.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.746 | μmol/L | 30.105 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.64 | 136609.0253 | 287641.6907 | 59.9307 | 49.4
95039 | 2021-04-19 13:38 | 8.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6598 | μmol/L | 30.0926 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.649 | 136689.8231 | 287638.8925 | 59.9307 | 49.4
95049 | 2021-04-19 13:39 | 9.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3367 | μmol/L | 30.1112 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.661 | 136747.2195 | 287630.1802 | 59.9307 | 49.4
95059 | 2021-04-19 13:39 | 9.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1093 | μmol/L | 30.0988 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.678 | 136833.1923 | 287625.2983 | 59.9307 | 49.4
95069 | 2021-04-19 13:39 | 9.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.4423 | μmol/L | 30.0307 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.682 | 136909.1096 | 287619.161 | 59.9307 | 49.4
95079 | 2021-04-19 13:40 | 10.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1526 | μmol/L | 30.0616 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.688 | 136937.2411 | 287612.5746 | 59.9307 | 49.4
95089 | 2021-04-19 13:40 | 10.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1349 | μmol/L | 30.0616 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.689 | 137005.9853 | 287605.5041 | 59.9307 | 49.4
95099 | 2021-04-19 13:40 | 10.6726 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.0504 | μmol/L | 30.0431 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.7 | 137076.6754 | 287619.7569 | 59.9307 | 49.4
95109 | 2021-04-19 13:41 | 11.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8345 | μmol/L | 30.0616 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.706 | 137136.8942 | 287617.162 | 59.9307 | 49.4
95119 | 2021-04-19 13:41 | 11.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.4224 | μmol/L | 30.0926 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.719 | 137182.9363 | 287604.974 | 59.9307 | 49.4
95129 | 2021-04-19 13:41 | 11.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3682 | μmol/L | 30.0988 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.72 | 137219.1058 | 287595.7514 | 59.9307 | 49.4
95139 | 2021-04-19 13:42 | 12.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.5524 | μmol/L | 30.0616 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.722 | 137246.2175 | 287618.3936 | 59.9307 | 49.4
95149 | 2021-04-19 13:42 | 12.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3574 | μmol/L | 30.0678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.731 | 137280.551 | 287614.9798 | 59.9307 | 49.4
95159 | 2021-04-19 13:42 | 12.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.2329 | μmol/L | 30.074 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.736 | 137356.8934 | 287604.1231 | 59.9307 | 49.4
95169 | 2021-04-19 13:43 | 13.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.9099 | μmol/L | 30.105 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.744 | 137389.9243 | 287612.9725 | 59.9307 | 49.4
95179 | 2021-04-19 13:43 | 13.3392 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7506 | μmol/L | 30.1112 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.751 | 137427.9274 | 287598.8558 | 59.9307 | 49.4
95189 | 2021-04-19 13:43 | 13.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7344 | μmol/L | 30.105 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.754 | 137473.5555 | 287599.6084 | 59.9307 | 49.4
95199 | 2021-04-19 13:44 | 14.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.5984 | μmol/L | 30.0864 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.768 | 137481.6283 | 287581.9099 | 59.9307 | 49.4
95209 | 2021-04-19 13:44 | 14.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.4745 | μmol/L | 30.0926 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.773 | 137552.8345 | 287598.3702 | 59.9307 | 49.4
95219 | 2021-04-19 13:44 | 14.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.457 | μmol/L | 30.0926 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.774 | 137670.8845 | 287590.0873 | 59.9307 | 49.4
95229 | 2021-04-19 13:45 | 15.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.3709 | μmol/L | 30.0864 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.781 | 137758.4961 | 287597.3591 | 59.9307 | 49.4
95239 | 2021-04-19 13:45 | 15.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.5583 | μmol/L | 30.0307 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.789 | 137817.659 | 287597.9998 | 59.9307 | 49.4
95249 | 2021-04-19 13:45 | 15.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.1654 | μmol/L | 30.0678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.799 | 137708.7043 | 287603.6046 | 59.9307 | 49.4
95259 | 2021-04-19 13:46 | 16.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7718 | μmol/L | 30.1112 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.807 | 137790.1543 | 287585.8209 | 59.9307 | 49.4
95269 | 2021-04-19 13:46 | 16.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.2136 | μmol/L | 30.1917 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.812 | 137871.6762 | 287581.1723 | 59.9307 | 49.4
95279 | 2021-04-19 13:46 | 16.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7092 | μmol/L | 30.0802 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.821 | 137841.1503 | 287576.7516 | 59.9307 | 49.4
95289 | 2021-04-19 13:47 | 17.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.3701 | μmol/L | 30.1174 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.828 | 137956.3975 | 287571.6917 | 59.9307 | 49.4
95299 | 2021-04-19 13:47 | 17.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.5902 | μmol/L | 30.0678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.832 | 138203.7743 | 287568.5635 | 59.9307 | 49.4
95309 | 2021-04-19 13:47 | 17.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.1776 | μmol/L | 30.1235 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.837 | 138314.7422 | 287556.6001 | 59.9307 | 49.4
95319 | 2021-04-19 13:48 | 18.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.2774 | μmol/L | 30.0678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.85 | 138402.0059 | 287562.5612 | 59.9307 | 49.4
95329 | 2021-04-19 13:48 | 18.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.9203 | μmol/L | 30.1112 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.856 | 138424.335 | 287574.7924 | 59.9307 | 49.4
95339 | 2021-04-19 13:48 | 18.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5134 | μmol/L | 30.1483 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.867 | 138445.6872 | 287568.0091 | 59.9307 | 49.4
95349 | 2021-04-19 13:49 | 19.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.3174 | μmol/L | 30.1731 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.87 | 138458.348 | 287548.3303 | 59.9307 | 49.4
95359 | 2021-04-19 13:49 | 19.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.3797 | μmol/L | 30.1297 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.881 | 138519.6398 | 287570.7385 | 59.9307 | 49.4
95369 | 2021-04-19 13:49 | 19.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.3969 | μmol/L | 30.1297 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.88 | 138707.3591 | 287555.691 | 59.9307 | 49.4
95379 | 2021-04-19 13:50 | 20.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9207 | μmol/L | 30.1731 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.893 | 138759.5187 | 287539.711 | 59.9307 | 49.4
95389 | 2021-04-19 13:50 | 20.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.1381 | μmol/L | 30.1297 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.895 | 138814.5418 | 287550.7954 | 59.9307 | 49.4
95399 | 2021-04-19 13:50 | 20.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.2115 | μmol/L | 30.1112 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.897 | 138894.6654 | 287544.4191 | 59.9307 | 49.4
95409 | 2021-04-19 13:51 | 21.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9268 | μmol/L | 30.1483 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.901 | 138949.3574 | 287544.3102 | 59.9307 | 49.4
95419 | 2021-04-19 13:51 | 21.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.6064 | μmol/L | 30.1917 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.905 | 138993.9548 | 287534.5042 | 59.9307 | 49.4
95429 | 2021-04-19 13:51 | 21.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5266 | μmol/L | 30.1669 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.918 | 139060.7124 | 287537.5337 | 59.9307 | 49.4
95439 | 2021-04-19 13:52 | 22.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.7435 | μmol/L | 30.1235 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.92 | 139127.4158 | 287526.6776 | 59.9307 | 49.4
95449 | 2021-04-19 13:52 | 22.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.4251 | μmol/L | 30.1607 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.926 | 139184.6201 | 287543.8512 | 59.9307 | 49.4
95459 | 2021-04-19 13:52 | 22.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.4656 | μmol/L | 30.1359 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.932 | 139224.0816 | 287516.6157 | 59.9307 | 49.4
95469 | 2021-04-19 13:53 | 23.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.939 | μmol/L | 30.1855 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.946 | 139281.293 | 287514.072 | 59.9307 | 49.4
95479 | 2021-04-19 13:53 | 23.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8021 | μmol/L | 30.1855 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.954 | 139376.8447 | 287535.1803 | 59.9307 | 49.4
95489 | 2021-04-19 13:53 | 23.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.6809 | μmol/L | 30.1917 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.959 | 139401.1319 | 287525.9036 | 59.9307 | 49.4
95499 | 2021-04-19 13:54 | 24.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5117 | μmol/L | 30.1855 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.971 | 139518.0655 | 287507.8537 | 59.9307 | 49.4
95509 | 2021-04-19 13:54 | 24.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5878 | μmol/L | 30.1545 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.977 | 139520.3311 | 287525.2353 | 59.9307 | 49.4
95519 | 2021-04-19 13:54 | 24.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5025 | μmol/L | 30.1545 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.982 | 139520.7518 | 287509.2258 | 59.9307 | 49.4
95529 | 2021-04-19 13:55 | 25.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.473 | μmol/L | 30.1359 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.99 | 139550.6393 | 287503.9062 | 59.9307 | 49.4
95539 | 2021-04-19 13:55 | 25.3392 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9107 | μmol/L | 30.204 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21 | 139578.3124 | 287513.7234 | 59.9307 | 49.4
95549 | 2021-04-19 13:55 | 25.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.126 | μmol/L | 30.1607 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.002 | 139642.365 | 287518.5623 | 59.9307 | 49.4