## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98201 | 2021-04-19 16:17 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.6479 | μmol/L | 30.6801 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.831 | 122758.1491 | 264648.8812 | 32.55 | 27.7
98211 | 2021-04-19 16:17 | 0.33718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.6783 | μmol/L | 30.6985 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.882 | 123054.4777 | 264610.3199 | 32.55 | 27.7
98221 | 2021-04-19 16:17 | 0.67034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.7514 | μmol/L | 30.7169 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 20.915 | 123300.5704 | 264608.609 | 32.55 | 27.7
98231 | 2021-04-19 16:18 | 1.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.4924 | μmol/L | 30.6924 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 20.939 | 123484.0757 | 264577.0247 | 32.55 | 27.7
98241 | 2021-04-19 16:18 | 1.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.8261 | μmol/L | 30.6985 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 20.977 | 123693.7266 | 264562.05 | 32.55 | 27.7
98251 | 2021-04-19 16:18 | 1.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.1033 | μmol/L | 30.7353 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.008 | 123898.6078 | 264544.4893 | 32.55 | 27.7
98261 | 2021-04-19 16:19 | 2.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.7713 | μmol/L | 30.6924 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.043 | 124123.5736 | 264543.6471 | 32.55 | 27.7
98271 | 2021-04-19 16:19 | 2.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.7721 | μmol/L | 30.5881 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.079 | 124345.1457 | 264532.3733 | 32.55 | 27.7
98281 | 2021-04-19 16:19 | 2.6709 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.0388 | μmol/L | 30.6249 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.111 | 124550.0251 | 264520.5002 | 32.55 | 27.7
98291 | 2021-04-19 16:20 | 3.0045 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.3575 | μmol/L | 30.6617 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.14 | 124776.2936 | 264519.46 | 32.55 | 27.7
98301 | 2021-04-19 16:20 | 3.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9711 | μmol/L | 30.674 | °C | 1023 | hPa | Humid | 30 | 0 | 0 | 21.16 | 124905.8643 | 264514.1902 | 32.55 | 27.7
98311 | 2021-04-19 16:20 | 3.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.8638 | μmol/L | 30.631 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.181 | 125035.7922 | 264518.3028 | 32.55 | 27.7
98321 | 2021-04-19 16:21 | 4.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.4708 | μmol/L | 30.6433 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.201 | 125179.1022 | 264514.397 | 32.55 | 27.7
98331 | 2021-04-19 16:21 | 4.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.2163 | μmol/L | 30.631 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.221 | 125280.8649 | 264517.9667 | 32.55 | 27.7
98341 | 2021-04-19 16:21 | 4.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.4471 | μmol/L | 30.5696 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.228 | 125339.9936 | 264507.0265 | 32.55 | 27.7
98351 | 2021-04-19 16:22 | 5.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.0819 | μmol/L | 30.5512 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.257 | 125529.8357 | 264517.6265 | 32.55 | 27.7
98361 | 2021-04-19 16:22 | 5.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4076 | μmol/L | 30.5942 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.284 | 125702.0122 | 264515.6481 | 32.55 | 27.7
98371 | 2021-04-19 16:22 | 5.6709 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.9385 | μmol/L | 30.6065 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.309 | 125861.164 | 264511.2589 | 32.55 | 27.7
98381 | 2021-04-19 16:23 | 6.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7307 | μmol/L | 30.6065 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.322 | 125954.6399 | 264504.2254 | 32.55 | 27.7
98391 | 2021-04-19 16:23 | 6.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.5571 | μmol/L | 30.6003 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.335 | 126007.5973 | 264498.3841 | 32.55 | 27.7
98401 | 2021-04-19 16:23 | 6.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.8179 | μmol/L | 30.539 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.34 | 126052.7316 | 264497.9938 | 32.55 | 27.7
98411 | 2021-04-19 16:24 | 7.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.9306 | μmol/L | 30.4899 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.35 | 126097.7606 | 264517.7003 | 32.55 | 27.7
98421 | 2021-04-19 16:24 | 7.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.6772 | μmol/L | 30.4837 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.368 | 126225.4049 | 264507.3731 | 32.55 | 27.7
98431 | 2021-04-19 16:24 | 7.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.5643 | μmol/L | 30.4408 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.39 | 126345.1748 | 264509.7922 | 32.55 | 27.7
98441 | 2021-04-19 16:25 | 8.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.9366 | μmol/L | 30.5083 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.406 | 126463.9996 | 264516.3716 | 32.55 | 27.7
98451 | 2021-04-19 16:25 | 8.3378 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4841 | μmol/L | 30.5328 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.426 | 126585.5448 | 264510.0971 | 32.55 | 27.7
98461 | 2021-04-19 16:25 | 8.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.5415 | μmol/L | 30.4592 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.448 | 126694.9955 | 264508.9846 | 32.55 | 27.7
98471 | 2021-04-19 16:26 | 9.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.6419 | μmol/L | 30.3978 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.463 | 126804.022 | 264503.2671 | 32.55 | 27.7
98481 | 2021-04-19 16:26 | 9.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.1772 | μmol/L | 30.4162 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.486 | 126925.376 | 264506.0735 | 32.55 | 27.7
98491 | 2021-04-19 16:26 | 9.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9816 | μmol/L | 30.4346 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.492 | 126997.6712 | 264497.4951 | 32.55 | 27.7
98501 | 2021-04-19 16:27 | 10.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9278 | μmol/L | 30.453 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.489 | 126958.4513 | 264487.4418 | 32.55 | 27.7
98511 | 2021-04-19 16:27 | 10.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.3078 | μmol/L | 30.4039 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.482 | 126897.2227 | 264510.0301 | 32.55 | 27.7
98521 | 2021-04-19 16:27 | 10.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.0847 | μmol/L | 30.4101 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.494 | 126991.6219 | 264501.9274 | 32.55 | 27.7
98531 | 2021-04-19 16:28 | 11.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.6868 | μmol/L | 30.4224 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.515 | 127110.7163 | 264501.94 | 32.55 | 27.7
98541 | 2021-04-19 16:28 | 11.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4332 | μmol/L | 30.4285 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.529 | 127192.7951 | 264500.8446 | 32.55 | 27.7
98551 | 2021-04-19 16:28 | 11.6709 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.564 | μmol/L | 30.3242 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.557 | 127365.3572 | 264489.9855 | 32.55 | 27.7
98561 | 2021-04-19 16:29 | 12.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.3536 | μmol/L | 30.3426 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.564 | 127432.3975 | 264500.6036 | 32.55 | 27.7
98571 | 2021-04-19 16:29 | 12.3378 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.3978 | μmol/L | 30.3058 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.574 | 127489.6965 | 264472.2273 | 32.55 | 27.7
98581 | 2021-04-19 16:29 | 12.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.8954 | μmol/L | 30.3549 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.589 | 127572.5782 | 264476.7895 | 32.55 | 27.7
98591 | 2021-04-19 16:30 | 13.0044 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9197 | μmol/L | 30.3303 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.596 | 127615.4325 | 264472.7625 | 32.55 | 27.7
98601 | 2021-04-19 16:30 | 13.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6634 | μmol/L | 30.3487 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.606 | 127666.0006 | 264492.9314 | 32.55 | 27.7
98611 | 2021-04-19 16:30 | 13.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6569 | μmol/L | 30.3671 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.6 | 127618.2201 | 264481.8853 | 32.55 | 27.7
98621 | 2021-04-19 16:31 | 14.0045 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9326 | μmol/L | 30.2935 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.608 | 127663.7004 | 264473.1543 | 32.55 | 27.7
98631 | 2021-04-19 16:31 | 14.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0485 | μmol/L | 30.2751 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.607 | 127651.0736 | 264482.5808 | 32.55 | 27.7
98641 | 2021-04-19 16:31 | 14.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6985 | μmol/L | 30.2935 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.623 | 127735.7594 | 264480.8597 | 32.55 | 27.7
98651 | 2021-04-19 16:32 | 15.0044 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2914 | μmol/L | 30.2996 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.647 | 127854.0177 | 264480.9249 | 32.55 | 27.7
98661 | 2021-04-19 16:32 | 15.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.287 | μmol/L | 30.3119 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.643 | 127856.1359 | 264466.614 | 32.55 | 27.7
98671 | 2021-04-19 16:32 | 15.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.4535 | μmol/L | 30.2812 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.643 | 127875.4049 | 264456.3354 | 32.55 | 27.7
98681 | 2021-04-19 16:33 | 16.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.3735 | μmol/L | 30.2874 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.646 | 127887.2873 | 264447.2604 | 32.55 | 27.7
98691 | 2021-04-19 16:33 | 16.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8788 | μmol/L | 30.3242 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.665 | 128030.5955 | 264449.0773 | 32.55 | 27.7
98701 | 2021-04-19 16:33 | 16.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.0981 | μmol/L | 30.2751 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.668 | 128061.3446 | 264465.884 | 32.55 | 27.7
98711 | 2021-04-19 16:34 | 17.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.9029 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.687 | 128167.7861 | 264445.0598 | 32.55 | 27.7
98721 | 2021-04-19 16:34 | 17.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.9162 | μmol/L | 30.2628 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.684 | 128160.2755 | 264446.4192 | 32.55 | 27.7
98731 | 2021-04-19 16:34 | 17.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7944 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.694 | 128183.1515 | 264450.7635 | 32.55 | 27.7
98741 | 2021-04-19 16:35 | 18.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8496 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.699 | 128283.5131 | 264445.3422 | 32.55 | 27.7
98751 | 2021-04-19 16:35 | 18.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.454 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.716 | 128364.4942 | 264461.57 | 32.55 | 27.7
98761 | 2021-04-19 16:35 | 18.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.1893 | μmol/L | 30.2628 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.731 | 128486.6968 | 264460.1049 | 32.55 | 27.7
98771 | 2021-04-19 16:36 | 19.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.9317 | μmol/L | 30.2935 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.737 | 128518.843 | 264451.2323 | 32.55 | 27.7
98781 | 2021-04-19 16:36 | 19.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.7271 | μmol/L | 30.3058 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.746 | 128531.3019 | 264433.1393 | 32.55 | 27.7
98791 | 2021-04-19 16:36 | 19.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.7777 | μmol/L | 30.2935 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.747 | 128563.7872 | 264441.3873 | 32.55 | 27.7
98801 | 2021-04-19 16:37 | 20.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.0154 | μmol/L | 30.1892 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.768 | 128710.4615 | 264437.8826 | 32.55 | 27.7
98811 | 2021-04-19 16:37 | 20.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.6024 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.782 | 128782.6818 | 264437.6572 | 32.55 | 27.7
98821 | 2021-04-19 16:37 | 20.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.4707 | μmol/L | 30.2505 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.782 | 128797.2001 | 264439.0459 | 32.55 | 27.7
98831 | 2021-04-19 16:38 | 21.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.3132 | μmol/L | 30.2199 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.803 | 128882.8352 | 264426.377 | 32.55 | 27.7
98841 | 2021-04-19 16:38 | 21.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.2847 | μmol/L | 30.2137 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.807 | 128990.7195 | 264438.7346 | 32.55 | 27.7
98851 | 2021-04-19 16:38 | 21.6711 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.9589 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.824 | 129074.4136 | 264435.0218 | 32.55 | 27.7
98861 | 2021-04-19 16:39 | 22.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.8169 | μmol/L | 30.2383 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.829 | 129087.0403 | 264428.7213 | 32.55 | 27.7
98871 | 2021-04-19 16:39 | 22.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7186 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.829 | 129112.1939 | 264434.0381 | 32.55 | 27.7
98881 | 2021-04-19 16:39 | 22.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.5401 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.845 | 129217.9921 | 264435.2429 | 32.55 | 27.7
98891 | 2021-04-19 16:40 | 23.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.9158 | μmol/L | 30.2874 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.871 | 129353.8237 | 264439.0915 | 32.55 | 27.7
98901 | 2021-04-19 16:40 | 23.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.7232 | μmol/L | 30.2751 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.888 | 129505.1693 | 264442.9862 | 32.55 | 27.7
98911 | 2021-04-19 16:40 | 23.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.3251 | μmol/L | 30.2874 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.91 | 129659.9178 | 264439.37 | 32.55 | 27.7
98921 | 2021-04-19 16:41 | 24.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.058 | μmol/L | 30.2751 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.932 | 129795.0794 | 264439.397 | 32.55 | 27.7
98931 | 2021-04-19 16:41 | 24.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.934 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.951 | 129901.1583 | 264440.1534 | 32.55 | 27.7
98941 | 2021-04-19 16:41 | 24.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.7938 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.956 | 129959.6102 | 264423.6255 | 32.55 | 27.7
98951 | 2021-04-19 16:42 | 25.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.6387 | μmol/L | 30.2689 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.962 | 129988.0456 | 264424.4356 | 32.55 | 27.7
98961 | 2021-04-19 16:42 | 25.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.8563 | μmol/L | 30.2505 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.954 | 129977.0658 | 264433.3852 | 32.55 | 27.7
98971 | 2021-04-19 16:42 | 25.6709 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.8563 | μmol/L | 30.2505 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.954 | 129956.0239 | 264428.1859 | 32.55 | 27.7
98981 | 2021-04-19 16:43 | 26.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.6457 | μmol/L | 30.2505 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.968 | 130040.9316 | 264430.3857 | 32.55 | 27.7
98991 | 2021-04-19 16:43 | 26.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.6307 | μmol/L | 30.2505 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.969 | 130064.3179 | 264434.1942 | 32.55 | 27.7
99001 | 2021-04-19 16:43 | 26.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.2113 | μmol/L | 30.2874 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.984 | 130139.0308 | 264418.8842 | 32.55 | 27.7
99011 | 2021-04-19 16:44 | 27.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1088 | μmol/L | 30.2812 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.993 | 130202.7657 | 264424.4555 | 32.55 | 27.7
99021 | 2021-04-19 16:44 | 27.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.4101 | μmol/L | 30.2383 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.988 | 130173.6383 | 264415.8418 | 32.55 | 27.7
99031 | 2021-04-19 16:44 | 27.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.3074 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 21.997 | 130230.0396 | 264413.7201 | 32.55 | 27.7
99041 | 2021-04-19 16:45 | 28.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1795 | μmol/L | 30.2137 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.012 | 130310.1899 | 264427.2567 | 32.55 | 27.7
99051 | 2021-04-19 16:45 | 28.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.0527 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.014 | 130332.3257 | 264418.141 | 32.55 | 27.7
99061 | 2021-04-19 16:45 | 28.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.1449 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.01 | 130322.8673 | 264406.3762 | 32.55 | 27.7
99071 | 2021-04-19 16:46 | 29.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.0527 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.014 | 130360.823 | 264416.7612 | 32.55 | 27.7
99081 | 2021-04-19 16:46 | 29.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.7026 | μmol/L | 30.2874 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.018 | 130396.3937 | 264406.0553 | 32.55 | 27.7
99091 | 2021-04-19 16:46 | 29.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.7938 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.027 | 130445.1691 | 264408.9731 | 32.55 | 27.7
99101 | 2021-04-19 16:47 | 30.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.9817 | μmol/L | 30.183 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.036 | 130520.8911 | 264408.9723 | 32.55 | 27.7
99111 | 2021-04-19 16:47 | 30.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.8518 | μmol/L | 30.1708 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.049 | 130567.6847 | 264393.2376 | 32.55 | 27.7
99121 | 2021-04-19 16:47 | 30.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.1577 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.074 | 130710.3167 | 264405.7264 | 32.55 | 27.7
99131 | 2021-04-19 16:48 | 31.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.103 | μmol/L | 30.2199 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.082 | 130814.3668 | 264408.643 | 32.55 | 27.7
99141 | 2021-04-19 16:48 | 31.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.8506 | μmol/L | 30.2199 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.099 | 130920.7443 | 264408.3223 | 32.55 | 27.7
99151 | 2021-04-19 16:48 | 31.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.6479 | μmol/L | 30.2076 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.117 | 131030.257 | 264403.4744 | 32.55 | 27.7
99161 | 2021-04-19 16:49 | 32.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.8571 | μmol/L | 30.1646 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.118 | 131046.7371 | 264395.4717 | 32.55 | 27.7
99171 | 2021-04-19 16:49 | 32.3378 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.9852 | μmol/L | 30.1401 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.118 | 131052.6374 | 264400.7438 | 32.55 | 27.7
99181 | 2021-04-19 16:49 | 32.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.3739 | μmol/L | 30.1892 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.142 | 131189.0172 | 264389.7649 | 32.55 | 27.7
99191 | 2021-04-19 16:50 | 33.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.0002 | μmol/L | 30.2014 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.163 | 131291.2272 | 264399.9858 | 32.55 | 27.7
99201 | 2021-04-19 16:50 | 33.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.0269 | μmol/L | 30.1708 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.172 | 131348.7501 | 264390.1974 | 32.55 | 27.7
99211 | 2021-04-19 16:50 | 33.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.9091 | μmol/L | 30.1708 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.18 | 131431.1679 | 264388.5958 | 32.55 | 27.7
99221 | 2021-04-19 16:51 | 34.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.4634 | μmol/L | 30.2199 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.193 | 131555.0669 | 264387.5984 | 32.55 | 27.7
99231 | 2021-04-19 16:51 | 34.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.1676 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.211 | 131580.9116 | 264388.4066 | 32.55 | 27.7
99241 | 2021-04-19 16:51 | 34.6709 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.434 | μmol/L | 30.2199 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.195 | 131510.142 | 264406.5727 | 32.55 | 27.7
99251 | 2021-04-19 16:52 | 35.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.4193 | μmol/L | 30.2199 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.196 | 131512.6159 | 264408.625 | 32.55 | 27.7
99261 | 2021-04-19 16:52 | 35.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.6226 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.18 | 131475.3313 | 264405.7647 | 32.55 | 27.7