## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 13:56

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
94781 | 2021-04-19 13:30 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1835 | μmol/L | 30.2508 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.546 | 115421.1459 | 262948.5093 | 26.25 | 74
94791 | 2021-04-19 13:30 | 0.33311 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0041 | μmol/L | 30.2447 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.558 | 115494.6159 | 262948.403 | 26.25 | 74
94801 | 2021-04-19 13:30 | 0.66699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6061 | μmol/L | 30.257 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.576 | 115577.1083 | 262922.5937 | 26.25 | 74
94811 | 2021-04-19 13:31 | 1.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.9816 | μmol/L | 30.1592 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.588 | 115658.1573 | 262920.6645 | 26.25 | 74
94821 | 2021-04-19 13:31 | 1.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.2868 | μmol/L | 30.2325 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.602 | 115726.2744 | 262922.5465 | 26.25 | 74
94831 | 2021-04-19 13:31 | 1.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7801 | μmol/L | 30.2631 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.62 | 115836.7145 | 262905.5045 | 26.25 | 74
94841 | 2021-04-19 13:32 | 2.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.5956 | μmol/L | 30.098 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.63 | 115925.5641 | 262901.4364 | 26.25 | 74
94851 | 2021-04-19 13:32 | 2.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.576 | μmol/L | 30.2019 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.652 | 116026.2931 | 262895.258 | 26.25 | 74
94861 | 2021-04-19 13:32 | 2.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.233 | μmol/L | 30.2264 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.663 | 116099.4188 | 262878.4388 | 26.25 | 74
94871 | 2021-04-19 13:33 | 3.0006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0361 | μmol/L | 30.2325 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.672 | 116152.3566 | 262879.2802 | 26.25 | 74
94881 | 2021-04-19 13:33 | 3.3339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8227 | μmol/L | 30.2325 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.684 | 116208.7074 | 262873.513 | 26.25 | 74
94891 | 2021-04-19 13:33 | 3.6672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.573 | μmol/L | 30.2386 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.696 | 116283.4244 | 262854.8876 | 26.25 | 74
94901 | 2021-04-19 13:34 | 4.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6284 | μmol/L | 30.2264 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.697 | 116288.3819 | 262849.361 | 26.25 | 74
94911 | 2021-04-19 13:34 | 4.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.686 | μmol/L | 30.2019 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.702 | 116313.0669 | 262852.2021 | 26.25 | 74
94921 | 2021-04-19 13:34 | 4.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6704 | μmol/L | 30.1897 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.707 | 116339.5712 | 262844.0948 | 26.25 | 74
94931 | 2021-04-19 13:35 | 5.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5795 | μmol/L | 30.2019 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.708 | 116353.8607 | 262827.5841 | 26.25 | 74
94941 | 2021-04-19 13:35 | 5.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2617 | μmol/L | 30.1958 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.728 | 116454.6103 | 262830.0211 | 26.25 | 74
94951 | 2021-04-19 13:35 | 5.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6488 | μmol/L | 30.1103 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.735 | 116505.7917 | 262845.6933 | 26.25 | 74
94961 | 2021-04-19 13:36 | 6 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.0119 | μmol/L | 30.2081 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.738 | 116548.4598 | 262827.4897 | 26.25 | 74
94971 | 2021-04-19 13:36 | 6.3339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.6742 | μmol/L | 30.2203 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.753 | 116620.4807 | 262836.2068 | 26.25 | 74
94981 | 2021-04-19 13:36 | 6.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.552 | μmol/L | 30.2142 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.762 | 116667.6133 | 262829.5209 | 26.25 | 74
94991 | 2021-04-19 13:37 | 7.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7009 | μmol/L | 30.1714 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.768 | 116719.3471 | 262815.8228 | 26.25 | 74
95001 | 2021-04-19 13:37 | 7.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.4344 | μmol/L | 30.1836 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.779 | 116793.7151 | 262808.0506 | 26.25 | 74
95011 | 2021-04-19 13:37 | 7.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.221 | μmol/L | 30.1958 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.787 | 116835.6493 | 262800.3761 | 26.25 | 74
95021 | 2021-04-19 13:38 | 8 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1156 | μmol/L | 30.1958 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.793 | 116868.2838 | 262811.2571 | 26.25 | 74
95031 | 2021-04-19 13:38 | 8.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1775 | μmol/L | 30.1469 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.806 | 116927.6005 | 262802.7877 | 26.25 | 74
95041 | 2021-04-19 13:38 | 8.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0312 | μmol/L | 30.1775 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.804 | 116933.7269 | 262792.8566 | 26.25 | 74
95051 | 2021-04-19 13:39 | 8.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.9283 | μmol/L | 30.1653 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.814 | 116990.5075 | 262783.221 | 26.25 | 74
95061 | 2021-04-19 13:39 | 9.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.6654 | μmol/L | 30.1653 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.829 | 117062.8141 | 262791.0015 | 26.25 | 74
95071 | 2021-04-19 13:39 | 9.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3398 | μmol/L | 30.2203 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.829 | 117085.0828 | 262776.9301 | 26.25 | 74
95081 | 2021-04-19 13:40 | 9.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3295 | μmol/L | 30.1836 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.842 | 117135.0913 | 262785.7062 | 26.25 | 74
95091 | 2021-04-19 13:40 | 10.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.4578 | μmol/L | 30.153 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.845 | 117180.2276 | 262773.0602 | 26.25 | 74
95101 | 2021-04-19 13:40 | 10.6671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0851 | μmol/L | 30.1836 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.856 | 117240.609 | 262773.7178 | 26.25 | 74
95111 | 2021-04-19 13:41 | 11.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9654 | μmol/L | 30.1714 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.867 | 117309.2762 | 262770.4813 | 26.25 | 74
95121 | 2021-04-19 13:41 | 11.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.1109 | μmol/L | 30.1408 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.869 | 117356.4886 | 262767.0399 | 26.25 | 74
95131 | 2021-04-19 13:41 | 11.6672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.7924 | μmol/L | 30.1653 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.879 | 117373.9613 | 262772.0799 | 26.25 | 74
95141 | 2021-04-19 13:42 | 12.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0098 | μmol/L | 30.1225 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.881 | 117421.0328 | 262776.6292 | 26.25 | 74
95151 | 2021-04-19 13:42 | 12.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8357 | μmol/L | 30.1225 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.891 | 117464.043 | 262764.1975 | 26.25 | 74
95161 | 2021-04-19 13:42 | 12.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6095 | μmol/L | 30.1225 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.904 | 117532.296 | 262745.0332 | 26.25 | 74
95171 | 2021-04-19 13:43 | 13.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4681 | μmol/L | 30.1347 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.908 | 117563.0171 | 262768.0882 | 26.25 | 74
95181 | 2021-04-19 13:43 | 13.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5598 | μmol/L | 30.1103 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.911 | 117590.8382 | 262763.4766 | 26.25 | 74
95191 | 2021-04-19 13:43 | 13.6671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5635 | μmol/L | 30.0919 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.917 | 117612.7729 | 262772.3421 | 26.25 | 74
95201 | 2021-04-19 13:44 | 14.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2611 | μmol/L | 30.1286 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.922 | 117650.7335 | 262764.6753 | 26.25 | 74
95211 | 2021-04-19 13:44 | 14.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5323 | μmol/L | 30.0736 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.925 | 117683.9252 | 262769.1916 | 26.25 | 74
95221 | 2021-04-19 13:44 | 14.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2548 | μmol/L | 30.0736 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.941 | 117753.5152 | 262748.4447 | 26.25 | 74
95231 | 2021-04-19 13:45 | 14.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8319 | μmol/L | 30.1103 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.953 | 117820.0158 | 262741.8812 | 26.25 | 74
95241 | 2021-04-19 13:45 | 15.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0654 | μmol/L | 30.0675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.954 | 117836.3584 | 262749.0126 | 26.25 | 74
95251 | 2021-04-19 13:45 | 15.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6073 | μmol/L | 30.1103 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.966 | 117897.2042 | 262758.3046 | 26.25 | 74
95261 | 2021-04-19 13:46 | 16 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4334 | μmol/L | 30.1164 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.974 | 117960.3312 | 262764.9162 | 26.25 | 74
95271 | 2021-04-19 13:46 | 16.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4877 | μmol/L | 30.1041 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.975 | 118006.8615 | 262765.434 | 26.25 | 74
95281 | 2021-04-19 13:46 | 16.6672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5247 | μmol/L | 30.0919 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.977 | 118003.9822 | 262759.8472 | 26.25 | 74
95291 | 2021-04-19 13:47 | 17.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.2783 | μmol/L | 30.1164 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.983 | 118043.2414 | 262755.8301 | 26.25 | 74
95301 | 2021-04-19 13:47 | 17.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1724 | μmol/L | 30.1286 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.985 | 118034.488 | 262743.6043 | 26.25 | 74
95311 | 2021-04-19 13:47 | 17.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3216 | μmol/L | 30.0736 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.995 | 118106.9254 | 262759.4641 | 26.25 | 74
95321 | 2021-04-19 13:48 | 18.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.8443 | μmol/L | 30.1347 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.002 | 118153.2758 | 262749.7687 | 26.25 | 74
95331 | 2021-04-19 13:48 | 18.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1335 | μmol/L | 30.0675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.008 | 118222.2892 | 262751.1323 | 26.25 | 74
95341 | 2021-04-19 13:48 | 18.6672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.7135 | μmol/L | 30.1041 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.02 | 118260.6976 | 262748.0998 | 26.25 | 74
95351 | 2021-04-19 13:49 | 19.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.538 | μmol/L | 30.1225 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.024 | 118311.0261 | 262748.1694 | 26.25 | 74
95361 | 2021-04-19 13:49 | 19.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.2666 | μmol/L | 30.1103 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.044 | 118394.4602 | 262740.3717 | 26.25 | 74
95371 | 2021-04-19 13:49 | 19.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4812 | μmol/L | 30.0675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.046 | 118401.0001 | 262736.8527 | 26.25 | 74
95381 | 2021-04-19 13:50 | 20.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5721 | μmol/L | 30.043 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.049 | 118449.1767 | 262736.7142 | 26.25 | 74
95391 | 2021-04-19 13:50 | 20.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.9562 | μmol/L | 30.1225 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.058 | 118510.6709 | 262733.2533 | 26.25 | 74
95401 | 2021-04-19 13:50 | 20.6672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.5715 | μmol/L | 30.1653 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.066 | 118551.073 | 262728.5373 | 26.25 | 74
95411 | 2021-04-19 13:51 | 21.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.5599 | μmol/L | 30.1408 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.075 | 118603.7007 | 262730.5428 | 26.25 | 74
95421 | 2021-04-19 13:51 | 21.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.1929 | μmol/L | 30.1836 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.082 | 118634.0353 | 262718.8008 | 26.25 | 74
95431 | 2021-04-19 13:51 | 21.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.425 | μmol/L | 30.1347 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.085 | 118665.4693 | 262714.2614 | 26.25 | 74
95441 | 2021-04-19 13:52 | 21.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.3032 | μmol/L | 30.1469 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.088 | 118688.9687 | 262726.9416 | 26.25 | 74
95451 | 2021-04-19 13:52 | 22.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.1998 | μmol/L | 30.153 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.092 | 118700.0122 | 262716.8456 | 26.25 | 74
95461 | 2021-04-19 13:52 | 22.6671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2366 | μmol/L | 30.1408 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.094 | 118719.9755 | 262715.8185 | 26.25 | 74
95471 | 2021-04-19 13:53 | 23.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.4318 | μmol/L | 30.1041 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.095 | 118735.1086 | 262712.6587 | 26.25 | 74
95481 | 2021-04-19 13:53 | 23.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.7332 | μmol/L | 30.1897 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.107 | 118791.644 | 262703.7069 | 26.25 | 74
95491 | 2021-04-19 13:53 | 23.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6005 | μmol/L | 30.1775 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.119 | 118861.7417 | 262712.0766 | 26.25 | 74
95501 | 2021-04-19 13:54 | 23.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.5342 | μmol/L | 30.1714 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.125 | 118929.3 | 262700.1052 | 26.25 | 74
95511 | 2021-04-19 13:54 | 24.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.3622 | μmol/L | 30.1836 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.131 | 118972.8326 | 262707.221 | 26.25 | 74
95521 | 2021-04-19 13:54 | 24.6671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2285 | μmol/L | 30.1775 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.141 | 119023.349 | 262692.6678 | 26.25 | 74
95531 | 2021-04-19 13:55 | 25.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9908 | μmol/L | 30.1836 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.153 | 119079.385 | 262700.6205 | 26.25 | 74
95541 | 2021-04-19 13:55 | 25.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0105 | μmol/L | 30.1714 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.156 | 119110.9128 | 262695.9431 | 26.25 | 74
95551 | 2021-04-19 13:55 | 25.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6832 | μmol/L | 30.2019 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.165 | 119163.3342 | 262699.7929 | 26.25 | 74