## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 14:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
95553 | 2021-04-19 14:06 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.0924 | μmol/L | 29.8875 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.079 | 127662.6341 | 267033.2716 | 33.25 | 75.7
95563 | 2021-04-19 14:06 | 0.34107 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.5842 | μmol/L | 29.8568 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.116 | 127853.0514 | 267033.022 | 33.25 | 75.7
95573 | 2021-04-19 14:06 | 0.67435 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.846 | μmol/L | 29.9121 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.137 | 128014.3526 | 267025.6524 | 33.25 | 75.7
95583 | 2021-04-19 14:07 | 1.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3381 | μmol/L | 29.9306 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.158 | 128139.5424 | 267036.2415 | 33.25 | 75.7
95593 | 2021-04-19 14:07 | 1.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.453 | μmol/L | 29.8998 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.162 | 128156.7517 | 267009.3123 | 33.25 | 75.7
95603 | 2021-04-19 14:07 | 1.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3608 | μmol/L | 29.8814 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.173 | 128206.2915 | 267003.6385 | 33.25 | 75.7
95613 | 2021-04-19 14:08 | 2.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.1373 | μmol/L | 29.8691 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.189 | 128296.8471 | 267000.7716 | 33.25 | 75.7
95623 | 2021-04-19 14:08 | 2.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8747 | μmol/L | 29.8814 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.199 | 128356.0673 | 266989.4065 | 33.25 | 75.7
95633 | 2021-04-19 14:08 | 2.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.855 | μmol/L | 29.8937 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.196 | 128381.7385 | 266977.6999 | 33.25 | 75.7
95643 | 2021-04-19 14:09 | 3.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9131 | μmol/L | 29.8691 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.201 | 128382.0508 | 266978.8958 | 33.25 | 75.7
95653 | 2021-04-19 14:09 | 3.3415 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0474 | μmol/L | 29.826 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.208 | 128440.0399 | 266979.5864 | 33.25 | 75.7
95663 | 2021-04-19 14:09 | 3.6748 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8426 | μmol/L | 29.8198 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.221 | 128513.4126 | 266975.4447 | 33.25 | 75.7
95673 | 2021-04-19 14:10 | 4.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.636 | μmol/L | 29.8383 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.226 | 128574.6691 | 266972.2676 | 33.25 | 75.7
95683 | 2021-04-19 14:10 | 4.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.26 | μmol/L | 29.8814 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.232 | 128621.1852 | 266966.2858 | 33.25 | 75.7
95693 | 2021-04-19 14:10 | 4.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.888 | μmol/L | 29.8875 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.25 | 128742.9489 | 266959.4905 | 33.25 | 75.7
95703 | 2021-04-19 14:11 | 5.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.8515 | μmol/L | 29.8814 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.254 | 128765.773 | 266958.6843 | 33.25 | 75.7
95713 | 2021-04-19 14:11 | 5.3415 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.888 | μmol/L | 29.8875 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.25 | 128768.874 | 266963.3343 | 33.25 | 75.7
95723 | 2021-04-19 14:11 | 5.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.7385 | μmol/L | 29.8998 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.254 | 128795.9214 | 266976.5968 | 33.25 | 75.7
95733 | 2021-04-19 14:12 | 6.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.7385 | μmol/L | 29.8998 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.254 | 128810.8301 | 266970.3689 | 33.25 | 75.7
95743 | 2021-04-19 14:12 | 6.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.4953 | μmol/L | 29.9244 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.259 | 128838.995 | 266953.8112 | 33.25 | 75.7
95753 | 2021-04-19 14:12 | 6.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.404 | μmol/L | 29.9121 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.268 | 128883.7017 | 266953.9991 | 33.25 | 75.7
95763 | 2021-04-19 14:13 | 7.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.3497 | μmol/L | 29.8998 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.275 | 128926.5323 | 266942.2255 | 33.25 | 75.7
95773 | 2021-04-19 14:13 | 7.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.9951 | μmol/L | 29.9368 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.282 | 128964.5143 | 266945.7597 | 33.25 | 75.7
95783 | 2021-04-19 14:13 | 7.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.8831 | μmol/L | 29.9491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.284 | 129004.34 | 266939.5599 | 33.25 | 75.7
95793 | 2021-04-19 14:14 | 8.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.6403 | μmol/L | 29.9798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.287 | 129022.9292 | 266935.9465 | 33.25 | 75.7
95803 | 2021-04-19 14:14 | 8.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.5712 | μmol/L | 29.9368 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.305 | 129124.3501 | 266942.5527 | 33.25 | 75.7
95813 | 2021-04-19 14:14 | 8.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7967 | μmol/L | 29.8937 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.307 | 129139.529 | 266954.0118 | 33.25 | 75.7
95823 | 2021-04-19 14:15 | 9.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.4615 | μmol/L | 29.9306 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.313 | 129208.9672 | 266949.8142 | 33.25 | 75.7
95833 | 2021-04-19 14:15 | 9.3415 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.9413 | μmol/L | 29.986 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.323 | 129269.2061 | 266956.7968 | 33.25 | 75.7
95843 | 2021-04-19 14:15 | 9.6748 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.2166 | μmol/L | 30.0783 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.332 | 129320.6543 | 266956.7211 | 33.25 | 75.7
95853 | 2021-04-19 14:16 | 10.0082 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.2356 | μmol/L | 30.0721 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.333 | 129344.7091 | 266957.3138 | 33.25 | 75.7
95863 | 2021-04-19 14:16 | 10.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.9786 | μmol/L | 30.0844 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.343 | 129402.1934 | 266959.1256 | 33.25 | 75.7
95873 | 2021-04-19 14:16 | 10.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.7598 | μmol/L | 30.0844 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.355 | 129482.5375 | 266958.8696 | 33.25 | 75.7
95883 | 2021-04-19 14:17 | 11.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.816 | μmol/L | 30.0721 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.356 | 129512.6281 | 266952.8331 | 33.25 | 75.7
95893 | 2021-04-19 14:17 | 11.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.0431 | μmol/L | 30.0044 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.366 | 129570.7775 | 266965.2768 | 33.25 | 75.7
95903 | 2021-04-19 14:17 | 11.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.8419 | μmol/L | 30.0106 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.375 | 129615.0427 | 266968.8933 | 33.25 | 75.7
95913 | 2021-04-19 14:18 | 12.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.5848 | μmol/L | 30.029 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.383 | 129684.4198 | 266956.7 | 33.25 | 75.7
95923 | 2021-04-19 14:18 | 12.3414 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.6235 | μmol/L | 30.0106 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.387 | 129722.3391 | 266949.0825 | 33.25 | 75.7
95933 | 2021-04-19 14:18 | 12.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.5515 | μmol/L | 30.0044 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.393 | 129748.4483 | 266947.767 | 33.25 | 75.7
95943 | 2021-04-19 14:19 | 13.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.5175 | μmol/L | 29.986 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.401 | 129811.4006 | 266950.8229 | 33.25 | 75.7
95953 | 2021-04-19 14:19 | 13.3414 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.5001 | μmol/L | 29.9798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.404 | 129841.9584 | 266944.9442 | 33.25 | 75.7
95963 | 2021-04-19 14:19 | 13.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4093 | μmol/L | 29.9798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.409 | 129886.2225 | 266944.3673 | 33.25 | 75.7
95973 | 2021-04-19 14:20 | 14.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.3738 | μmol/L | 29.9737 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.413 | 129919.6467 | 266947.1513 | 33.25 | 75.7
95983 | 2021-04-19 14:20 | 14.3414 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.2452 | μmol/L | 29.986 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.416 | 129955.194 | 266949.7817 | 33.25 | 75.7
95993 | 2021-04-19 14:20 | 14.6749 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.1561 | μmol/L | 29.9737 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.425 | 130001.2516 | 266949.6961 | 33.25 | 75.7
96003 | 2021-04-19 14:21 | 15.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.1018 | μmol/L | 29.9737 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.428 | 130033.9043 | 266942.8487 | 33.25 | 75.7
96013 | 2021-04-19 14:21 | 15.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.975 | μmol/L | 29.9737 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.435 | 130068.9645 | 266946.059 | 33.25 | 75.7
96023 | 2021-04-19 14:21 | 15.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.0301 | μmol/L | 29.9675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.434 | 130090.9604 | 266945.747 | 33.25 | 75.7
96033 | 2021-04-19 14:22 | 16.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7752 | μmol/L | 29.9798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.444 | 130146.7283 | 266946.3847 | 33.25 | 75.7
96043 | 2021-04-19 14:22 | 16.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6487 | μmol/L | 29.9798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.451 | 130197.0045 | 266938.5341 | 33.25 | 75.7
96053 | 2021-04-19 14:22 | 16.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6306 | μmol/L | 29.9798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.452 | 130223.8686 | 266931.7093 | 33.25 | 75.7
96063 | 2021-04-19 14:23 | 17.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.5395 | μmol/L | 29.986 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.455 | 130239.5714 | 266916.7388 | 33.25 | 75.7
96073 | 2021-04-19 14:23 | 17.3415 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.1154 | μmol/L | 30.0537 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.456 | 130254.3296 | 266929.2633 | 33.25 | 75.7
96083 | 2021-04-19 14:23 | 17.6748 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.6586 | μmol/L | 30.1029 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.465 | 130277.7847 | 266931.2461 | 33.25 | 75.7
96093 | 2021-04-19 14:24 | 18.0082 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.4215 | μmol/L | 30.1275 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.47 | 130340.2736 | 266919.1853 | 33.25 | 75.7
96103 | 2021-04-19 14:24 | 18.3415 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1498 | μmol/L | 30.146 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.479 | 130372.2357 | 266920.4607 | 33.25 | 75.7
96113 | 2021-04-19 14:24 | 18.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1337 | μmol/L | 30.1337 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.484 | 130418.2664 | 266914.3253 | 33.25 | 75.7
96123 | 2021-04-19 14:25 | 19.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2844 | μmol/L | 30.0844 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.492 | 130469.6485 | 266925.3999 | 33.25 | 75.7
96133 | 2021-04-19 14:25 | 19.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.336 | μmol/L | 30.0414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.503 | 130546.447 | 266904.7926 | 33.25 | 75.7
96143 | 2021-04-19 14:25 | 19.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2378 | μmol/L | 30.0352 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.511 | 130599.1372 | 266896.6344 | 33.25 | 75.7
96153 | 2021-04-19 14:26 | 20.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.0937 | μmol/L | 30.0414 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.517 | 130640.4345 | 266899.6501 | 33.25 | 75.7
96163 | 2021-04-19 14:26 | 20.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7965 | μmol/L | 30.0598 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.527 | 130705.3134 | 266903.7593 | 33.25 | 75.7
96173 | 2021-04-19 14:26 | 20.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4648 | μmol/L | 30.1275 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.523 | 130709.0663 | 266899.1323 | 33.25 | 75.7
96183 | 2021-04-19 14:27 | 21.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1328 | μmol/L | 30.1398 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.538 | 130788.8243 | 266901.3433 | 33.25 | 75.7
96193 | 2021-04-19 14:27 | 21.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.0804 | μmol/L | 30.1337 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.543 | 130836.5929 | 266896.1729 | 33.25 | 75.7
96203 | 2021-04-19 14:27 | 21.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.388 | μmol/L | 30.0475 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.554 | 130901.7923 | 266902.1119 | 33.25 | 75.7
96213 | 2021-04-19 14:28 | 22.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4555 | μmol/L | 30.0106 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.563 | 130956.4231 | 266899.1319 | 33.25 | 75.7
96223 | 2021-04-19 14:28 | 22.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3093 | μmol/L | 30.0352 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.563 | 130982.3556 | 266888.9348 | 33.25 | 75.7
96233 | 2021-04-19 14:28 | 22.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1052 | μmol/L | 30.0352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.574 | 131033.2399 | 266892.9224 | 33.25 | 75.7
96243 | 2021-04-19 14:29 | 23.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.9986 | μmol/L | 30.0352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.58 | 131100.3729 | 266895.1773 | 33.25 | 75.7
96253 | 2021-04-19 14:29 | 23.3415 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.0118 | μmol/L | 30.0044 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.59 | 131145.9675 | 266893.9268 | 33.25 | 75.7
96263 | 2021-04-19 14:29 | 23.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.0708 | μmol/L | 29.9675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.599 | 131224.4878 | 266890.606 | 33.25 | 75.7
96273 | 2021-04-19 14:30 | 24.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.981 | μmol/L | 29.9737 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.602 | 131256.0338 | 266882.3876 | 33.25 | 75.7
96283 | 2021-04-19 14:30 | 24.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.7298 | μmol/L | 29.9921 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.61 | 131305.2717 | 266885.9958 | 33.25 | 75.7
96293 | 2021-04-19 14:30 | 24.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5526 | μmol/L | 29.9921 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.62 | 131360.2033 | 266866.4725 | 33.25 | 75.7
96303 | 2021-04-19 14:31 | 25.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.3206 | μmol/L | 30.0044 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.629 | 131432.3261 | 266867.6015 | 33.25 | 75.7
96313 | 2021-04-19 14:31 | 25.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.1596 | μmol/L | 30.0167 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.634 | 131454.9553 | 266864.9249 | 33.25 | 75.7
96323 | 2021-04-19 14:31 | 25.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.1169 | μmol/L | 30.0106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.638 | 131506.5198 | 266867.6768 | 33.25 | 75.7
96333 | 2021-04-19 14:32 | 26.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.9797 | μmol/L | 29.986 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.654 | 131609.4694 | 266862.0165 | 33.25 | 75.7
96343 | 2021-04-19 14:32 | 26.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.9764 | μmol/L | 29.9491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.667 | 131669.6389 | 266863.8192 | 33.25 | 75.7
96353 | 2021-04-19 14:32 | 26.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.9764 | μmol/L | 29.9491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.667 | 131697.7539 | 266851.5387 | 33.25 | 75.7
96363 | 2021-04-19 14:33 | 27.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.7184 | μmol/L | 29.9675 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.675 | 131744.6947 | 266863.03 | 33.25 | 75.7
96373 | 2021-04-19 14:33 | 27.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4804 | μmol/L | 29.9675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.689 | 131837.9759 | 266863.7673 | 33.25 | 75.7
96383 | 2021-04-19 14:33 | 27.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.3109 | μmol/L | 29.986 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.692 | 131875.116 | 266852.0232 | 33.25 | 75.7
96393 | 2021-04-19 14:34 | 28.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.1777 | μmol/L | 29.9921 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.698 | 131890.0328 | 266839.8101 | 33.25 | 75.7
96403 | 2021-04-19 14:34 | 28.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.1694 | μmol/L | 29.9921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.698 | 131924.3524 | 266844.2968 | 33.25 | 75.7
96413 | 2021-04-19 14:34 | 28.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.96 | μmol/L | 29.986 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.712 | 131997.4715 | 266842.4957 | 33.25 | 75.7
96423 | 2021-04-19 14:35 | 29.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.891 | μmol/L | 29.9798 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.718 | 132047.1531 | 266841.2325 | 33.25 | 75.7
96433 | 2021-04-19 14:35 | 29.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8231 | μmol/L | 29.9675 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.726 | 132123.6881 | 266836.3542 | 33.25 | 75.7
96443 | 2021-04-19 14:35 | 29.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.5444 | μmol/L | 29.9614 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.744 | 132209.457 | 266840.0043 | 33.25 | 75.7
96453 | 2021-04-19 14:36 | 30.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4756 | μmol/L | 29.9552 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.75 | 132263.3157 | 266839.1822 | 33.25 | 75.7
96463 | 2021-04-19 14:36 | 30.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.1725 | μmol/L | 29.9921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.755 | 132315.8714 | 266832.0012 | 33.25 | 75.7
96473 | 2021-04-19 14:36 | 30.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.9613 | μmol/L | 30.0044 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.763 | 132359.3944 | 266828.0146 | 33.25 | 75.7
96483 | 2021-04-19 14:37 | 31.0081 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7537 | μmol/L | 29.9983 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.777 | 132461.3318 | 266818.5885 | 33.25 | 75.7
96493 | 2021-04-19 14:37 | 31.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.6505 | μmol/L | 29.9921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.785 | 132512.4934 | 266814.0419 | 33.25 | 75.7
96503 | 2021-04-19 14:37 | 31.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5044 | μmol/L | 29.9368 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.812 | 132671.9672 | 266812.7209 | 33.25 | 75.7
96513 | 2021-04-19 14:38 | 32.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.3875 | μmol/L | 29.9121 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.827 | 132741.1773 | 266810.7503 | 33.25 | 75.7
96523 | 2021-04-19 14:38 | 32.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.4406 | μmol/L | 29.906 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.826 | 132772.8883 | 266806.5924 | 33.25 | 75.7
96533 | 2021-04-19 14:38 | 32.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.4881 | μmol/L | 29.9306 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.815 | 132722.2634 | 266805.8977 | 33.25 | 75.7
96542 | 2021-04-19 14:39 | 33.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.1499 | μmol/L | 29.9798 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.818 | 132754.5834 | 266803.409 | 33.25 | 75.7