## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 14:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
95554 | 2021-04-19 14:06 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2143 | μmol/L | 29.9553 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.754 | 119349.3508 | 290425.0088 | 59.9307 | 38.1
95564 | 2021-04-19 14:06 | 0.32867 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3118 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.771 | 119443.0412 | 290421.3163 | 59.9307 | 38.1
95574 | 2021-04-19 14:06 | 0.66154 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0334 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.791 | 119552.1295 | 290411.8281 | 59.9307 | 38.1
95584 | 2021-04-19 14:07 | 0.99472 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2682 | μmol/L | 29.9737 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.802 | 119646.8725 | 290399.5511 | 59.9307 | 38.1
95594 | 2021-04-19 14:07 | 1.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9009 | μmol/L | 29.986 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.819 | 119732.8799 | 290383.0962 | 59.9307 | 38.1
95604 | 2021-04-19 14:07 | 1.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3537 | μmol/L | 29.8696 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.832 | 119814.2547 | 290378.5069 | 59.9307 | 38.1
95614 | 2021-04-19 14:08 | 1.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2318 | μmol/L | 29.8696 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.839 | 119866.4264 | 290350.3708 | 59.9307 | 38.1
95624 | 2021-04-19 14:08 | 2.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9007 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.856 | 119951.0757 | 290381.4132 | 59.9307 | 38.1
95634 | 2021-04-19 14:08 | 2.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3739 | μmol/L | 29.9186 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.872 | 120056.8888 | 290356.2634 | 59.9307 | 38.1
95644 | 2021-04-19 14:09 | 2.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.9235 | μmol/L | 29.9247 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.896 | 120230.3058 | 290364.2236 | 59.9307 | 38.1
95654 | 2021-04-19 14:09 | 3.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5777 | μmol/L | 29.9308 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.914 | 120316.3546 | 290363.3309 | 59.9307 | 38.1
95664 | 2021-04-19 14:09 | 3.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0792 | μmol/L | 29.8144 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.924 | 120385.8607 | 290344.0738 | 59.9307 | 38.1
95674 | 2021-04-19 14:10 | 3.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2336 | μmol/L | 29.9308 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.934 | 120458.122 | 290331.8034 | 59.9307 | 38.1
95684 | 2021-04-19 14:10 | 4.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3621 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.943 | 120504.2422 | 290341.9844 | 59.9307 | 38.1
95694 | 2021-04-19 14:10 | 4.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5278 | μmol/L | 29.8144 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.956 | 120574.3273 | 290338.9986 | 59.9307 | 38.1
95704 | 2021-04-19 14:11 | 4.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.95 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.967 | 120649.9781 | 290344.1278 | 59.9307 | 38.1
95714 | 2021-04-19 14:11 | 5.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.7102 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.981 | 120731.3433 | 290336.8402 | 59.9307 | 38.1
95724 | 2021-04-19 14:11 | 5.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.521 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.99 | 120801.4844 | 290324.0655 | 59.9307 | 38.1
95734 | 2021-04-19 14:12 | 5.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.4024 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.999 | 120840.2606 | 290328.6199 | 59.9307 | 38.1
95744 | 2021-04-19 14:12 | 6.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.06 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.017 | 120998.3404 | 290347.9018 | 59.9307 | 38.1
95754 | 2021-04-19 14:12 | 6.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6312 | μmol/L | 29.9063 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.036 | 121098.6473 | 290329.0982 | 59.9307 | 38.1
95764 | 2021-04-19 14:13 | 6.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5155 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.049 | 121147.5204 | 290303.7151 | 59.9307 | 38.1
95774 | 2021-04-19 14:13 | 7.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.659 | μmol/L | 29.845 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.055 | 121219.0242 | 290309.991 | 59.9307 | 38.1
95784 | 2021-04-19 14:13 | 7.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3277 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.058 | 121245.0203 | 290324.3017 | 59.9307 | 38.1
95794 | 2021-04-19 14:14 | 7.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0046 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.075 | 121341.4948 | 290312.8856 | 59.9307 | 38.1
95804 | 2021-04-19 14:14 | 8.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9719 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.079 | 121378.171 | 290307.7851 | 59.9307 | 38.1
95814 | 2021-04-19 14:14 | 8.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.991 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.082 | 121397.1295 | 290301.727 | 59.9307 | 38.1
95824 | 2021-04-19 14:15 | 8.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8884 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.086 | 121439.6322 | 290303.0464 | 59.9307 | 38.1
95834 | 2021-04-19 14:15 | 9.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1204 | μmol/L | 29.8205 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.095 | 121452.7134 | 290290.1581 | 59.9307 | 38.1
95844 | 2021-04-19 14:15 | 9.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.6382 | μmol/L | 29.8696 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.107 | 121540.2174 | 290307.3654 | 59.9307 | 38.1
95854 | 2021-04-19 14:16 | 9.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.628 | μmol/L | 29.8328 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.12 | 121633.2629 | 290315.7744 | 59.9307 | 38.1
95864 | 2021-04-19 14:16 | 10.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.2167 | μmol/L | 29.8696 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.132 | 121699.4358 | 290325.3595 | 59.9307 | 38.1
95874 | 2021-04-19 14:16 | 10.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.3717 | μmol/L | 29.8512 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.129 | 121686.1855 | 290323.8797 | 59.9307 | 38.1
95884 | 2021-04-19 14:17 | 10.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.9957 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.141 | 121785.8468 | 290318.7382 | 59.9307 | 38.1
95894 | 2021-04-19 14:17 | 11.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7437 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.156 | 121860.4172 | 290311.2593 | 59.9307 | 38.1
95904 | 2021-04-19 14:17 | 11.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5903 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.161 | 121903.5511 | 290316.802 | 59.9307 | 38.1
95914 | 2021-04-19 14:18 | 11.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5435 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.17 | 121944.4351 | 290309.2609 | 59.9307 | 38.1
95924 | 2021-04-19 14:18 | 12.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5302 | μmol/L | 29.8573 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.177 | 121995.3441 | 290310.4109 | 59.9307 | 38.1
95934 | 2021-04-19 14:18 | 12.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.2767 | μmol/L | 29.8696 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.188 | 122095.475 | 290309.1776 | 59.9307 | 38.1
95944 | 2021-04-19 14:19 | 12.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.94 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.204 | 122191.9485 | 290315.5606 | 59.9307 | 38.1
95954 | 2021-04-19 14:19 | 13.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5314 | μmol/L | 29.9247 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.214 | 122267.6233 | 290311.7361 | 59.9307 | 38.1
95964 | 2021-04-19 14:19 | 13.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.3328 | μmol/L | 29.9186 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.228 | 122346.2387 | 290320.3352 | 59.9307 | 38.1
95974 | 2021-04-19 14:20 | 13.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.3722 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.236 | 122391.6697 | 290310.5523 | 59.9307 | 38.1
95984 | 2021-04-19 14:20 | 14.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.2724 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.242 | 122435.0613 | 290299.3212 | 59.9307 | 38.1
95994 | 2021-04-19 14:20 | 14.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.9495 | μmol/L | 29.9247 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.249 | 122483.0472 | 290298.2315 | 59.9307 | 38.1
96004 | 2021-04-19 14:21 | 14.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.4806 | μmol/L | 29.9492 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.269 | 122623.3451 | 290299.245 | 59.9307 | 38.1
96014 | 2021-04-19 14:21 | 15.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.4716 | μmol/L | 29.9124 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.282 | 122699.9655 | 290296.7186 | 59.9307 | 38.1
96024 | 2021-04-19 14:21 | 15.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.479 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.294 | 122783.2018 | 290289.2692 | 59.9307 | 38.1
96034 | 2021-04-19 14:22 | 15.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.2402 | μmol/L | 29.9124 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.296 | 122803.2579 | 290290.7683 | 59.9307 | 38.1
96044 | 2021-04-19 14:22 | 16.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.8723 | μmol/L | 29.937 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.31 | 122891.8532 | 290287.3498 | 59.9307 | 38.1
96054 | 2021-04-19 14:22 | 16.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.6405 | μmol/L | 29.9431 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.322 | 122949.6868 | 290279.8246 | 59.9307 | 38.1
96064 | 2021-04-19 14:23 | 16.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.4445 | μmol/L | 29.937 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.336 | 123039.3994 | 290269.8594 | 59.9307 | 38.1
96074 | 2021-04-19 14:23 | 17.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.2816 | μmol/L | 29.9308 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.348 | 123108.4203 | 290264.9996 | 59.9307 | 38.1
96084 | 2021-04-19 14:23 | 17.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.2678 | μmol/L | 29.9186 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.353 | 123138.5848 | 290259.0388 | 59.9307 | 38.1
96094 | 2021-04-19 14:24 | 17.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.9472 | μmol/L | 29.9615 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.358 | 123207.6675 | 290263.9456 | 59.9307 | 38.1
96104 | 2021-04-19 14:24 | 18.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.921 | μmol/L | 29.9308 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.37 | 123267.4219 | 290253.7441 | 59.9307 | 38.1
96114 | 2021-04-19 14:24 | 18.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.9263 | μmol/L | 29.9063 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.378 | 123348.6187 | 290240.5212 | 59.9307 | 38.1
96124 | 2021-04-19 14:25 | 18.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.7247 | μmol/L | 29.9308 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.382 | 123315.1536 | 290251.9896 | 59.9307 | 38.1
96134 | 2021-04-19 14:25 | 19.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.511 | μmol/L | 29.937 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.393 | 123421.1227 | 290250.1558 | 59.9307 | 38.1
96144 | 2021-04-19 14:25 | 19.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.3179 | μmol/L | 29.9247 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.409 | 123487.477 | 290230.9081 | 59.9307 | 38.1
96154 | 2021-04-19 14:26 | 19.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.136 | μmol/L | 29.937 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.416 | 123555.1155 | 290231.0464 | 59.9307 | 38.1
96164 | 2021-04-19 14:26 | 20.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.9082 | μmol/L | 29.937 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.43 | 123645.2972 | 290244.7336 | 59.9307 | 38.1
96174 | 2021-04-19 14:26 | 20.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.7945 | μmol/L | 29.937 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.437 | 123713.1931 | 290225.7851 | 59.9307 | 38.1
96184 | 2021-04-19 14:27 | 20.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.7674 | μmol/L | 29.9124 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.447 | 123766.4505 | 290225.2805 | 59.9307 | 38.1
96194 | 2021-04-19 14:27 | 21.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.3079 | μmol/L | 29.937 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.467 | 123875.4858 | 290235.1031 | 59.9307 | 38.1
96204 | 2021-04-19 14:27 | 21.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.2958 | μmol/L | 29.9186 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.474 | 123923.8083 | 290257.044 | 59.9307 | 38.1
96214 | 2021-04-19 14:28 | 21.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.2958 | μmol/L | 29.9186 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.474 | 123955.9362 | 290238.6074 | 59.9307 | 38.1
96224 | 2021-04-19 14:28 | 22.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.9858 | μmol/L | 29.9308 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.489 | 124033.7086 | 290220.3103 | 59.9307 | 38.1
96234 | 2021-04-19 14:28 | 22.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.7408 | μmol/L | 29.9431 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.5 | 124112.4742 | 290237.642 | 59.9307 | 38.1
96244 | 2021-04-19 14:29 | 22.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.8151 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.51 | 124173.0825 | 290230.5163 | 59.9307 | 38.1
96254 | 2021-04-19 14:29 | 23.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.6391 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.523 | 124267.9667 | 290221.7534 | 59.9307 | 38.1
96264 | 2021-04-19 14:29 | 23.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.329 | μmol/L | 29.9124 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.536 | 124352.7721 | 290219.1621 | 59.9307 | 38.1
96274 | 2021-04-19 14:30 | 23.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.1522 | μmol/L | 29.9124 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.547 | 124432.023 | 290210.953 | 59.9307 | 38.1
96284 | 2021-04-19 14:30 | 24.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.0908 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.555 | 124487.5837 | 290218.3949 | 59.9307 | 38.1
96294 | 2021-04-19 14:30 | 24.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.063 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.563 | 124502.0424 | 290195.133 | 59.9307 | 38.1
96304 | 2021-04-19 14:31 | 24.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.8851 | μmol/L | 29.8879 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.572 | 124564.3478 | 290208.7476 | 59.9307 | 38.1
96314 | 2021-04-19 14:31 | 25.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.5577 | μmol/L | 29.9186 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.582 | 124647.4305 | 290208.9957 | 59.9307 | 38.1
96324 | 2021-04-19 14:31 | 25.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.3339 | μmol/L | 29.9186 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.596 | 124749.8255 | 290211.9376 | 59.9307 | 38.1
96334 | 2021-04-19 14:32 | 25.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.1887 | μmol/L | 29.9247 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.603 | 124789.398 | 290194.3271 | 59.9307 | 38.1
96344 | 2021-04-19 14:32 | 26.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.0756 | μmol/L | 29.9308 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.608 | 124818.1115 | 290192.8206 | 59.9307 | 38.1
96354 | 2021-04-19 14:32 | 26.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.757 | μmol/L | 29.9308 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.628 | 124943.0069 | 290201.5111 | 59.9307 | 38.1
96364 | 2021-04-19 14:33 | 26.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.5791 | μmol/L | 29.9431 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.635 | 124985.456 | 290181.2066 | 59.9307 | 38.1
96374 | 2021-04-19 14:33 | 27.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.3453 | μmol/L | 29.9247 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.656 | 125104.736 | 290190.549 | 59.9307 | 38.1
96384 | 2021-04-19 14:33 | 27.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.4118 | μmol/L | 29.9124 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.656 | 125123.2998 | 290169.8683 | 59.9307 | 38.1
96394 | 2021-04-19 14:34 | 27.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.2561 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.67 | 125179.3701 | 290172.5097 | 59.9307 | 38.1
96404 | 2021-04-19 14:34 | 28.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.2259 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.674 | 125259.4353 | 290178.5349 | 59.9307 | 38.1
96414 | 2021-04-19 14:34 | 28.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.0991 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.682 | 125290.6318 | 290178.0966 | 59.9307 | 38.1
96424 | 2021-04-19 14:35 | 28.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.8603 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.695 | 125361.8932 | 290168.0048 | 59.9307 | 38.1
96434 | 2021-04-19 14:35 | 29.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.6864 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.706 | 125430.192 | 290179.4025 | 59.9307 | 38.1
96444 | 2021-04-19 14:35 | 29.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.4482 | μmol/L | 29.9063 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.719 | 125524.7313 | 290166.5392 | 59.9307 | 38.1
96454 | 2021-04-19 14:36 | 29.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.3094 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.732 | 125608.4799 | 290187.8936 | 59.9307 | 38.1
96464 | 2021-04-19 14:36 | 30.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.0718 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.745 | 125683.2117 | 290179.2974 | 59.9307 | 38.1
96474 | 2021-04-19 14:36 | 30.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.9005 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.758 | 125769.1643 | 290171.5913 | 59.9307 | 38.1
96484 | 2021-04-19 14:37 | 30.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.6651 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.773 | 125867.8043 | 290159.4805 | 59.9307 | 38.1
96494 | 2021-04-19 14:37 | 31.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.4644 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.79 | 125992.3715 | 290157.2317 | 59.9307 | 38.1
96504 | 2021-04-19 14:37 | 31.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.2641 | μmol/L | 29.8696 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.807 | 126081.596 | 290158.5102 | 59.9307 | 38.1
96514 | 2021-04-19 14:38 | 31.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.1063 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.815 | 126126.0393 | 290154.6358 | 59.9307 | 38.1
96524 | 2021-04-19 14:38 | 32.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.8036 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.826 | 126217.4113 | 290155.7014 | 59.9307 | 38.1
96534 | 2021-04-19 14:38 | 32.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.5046 | μmol/L | 29.9124 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.841 | 126306.2151 | 290153.0791 | 59.9307 | 38.1
96543 | 2021-04-19 14:39 | 32.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.6152 | μmol/L | 29.845 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.857 | 126413.1344 | 290144.364 | 59.9307 | 38.1