## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 14:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
95558 | 2021-04-19 14:06 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.3069 | μmol/L | 29.8405 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.546 | 92049.8432 | 289703.3409 | 30.45 | 114.2
95568 | 2021-04-19 14:06 | 0.34124 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.7713 | μmol/L | 29.8097 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.586 | 92229.5674 | 289697.1609 | 30.45 | 114.2
95578 | 2021-04-19 14:07 | 0.67415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.0001 | μmol/L | 29.8097 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.629 | 92529.0759 | 289698.1073 | 30.45 | 114.2
95588 | 2021-04-19 14:07 | 1.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1878 | μmol/L | 29.9022 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.7 | 92876.8821 | 289686.7272 | 30.45 | 114.2
95598 | 2021-04-19 14:07 | 1.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1932 | μmol/L | 29.7666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.745 | 93140.2989 | 289684.2999 | 30.45 | 114.2
95608 | 2021-04-19 14:08 | 1.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5376 | μmol/L | 29.8775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.802 | 93363.6934 | 289689.2934 | 30.45 | 114.2
95618 | 2021-04-19 14:08 | 2.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5045 | μmol/L | 29.896 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.855 | 93593.0324 | 289675.4973 | 30.45 | 114.2
95628 | 2021-04-19 14:08 | 2.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5661 | μmol/L | 29.8467 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.868 | 93713.9109 | 289683.2757 | 30.45 | 114.2
95638 | 2021-04-19 14:09 | 2.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5788 | μmol/L | 29.7789 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.89 | 93810.0249 | 289673.8306 | 30.45 | 114.2
95648 | 2021-04-19 14:09 | 3.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1366 | μmol/L | 29.822 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.901 | 93941.453 | 289668.0939 | 30.45 | 114.2
95658 | 2021-04-19 14:09 | 3.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3409 | μmol/L | 29.822 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.947 | 94162.2888 | 289658.7312 | 30.45 | 114.2
95668 | 2021-04-19 14:10 | 3.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4363 | μmol/L | 29.8713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.983 | 94315.7655 | 289657.6026 | 30.45 | 114.2
95678 | 2021-04-19 14:10 | 4.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4095 | μmol/L | 29.8344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.997 | 94389.548 | 289662.0931 | 30.45 | 114.2
95688 | 2021-04-19 14:10 | 4.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.0815 | μmol/L | 29.8467 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.012 | 94459.0658 | 289665.7719 | 30.45 | 114.2
95698 | 2021-04-19 14:11 | 4.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.259 | μmol/L | 29.8159 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.012 | 94484.2914 | 289650.242 | 30.45 | 114.2
95708 | 2021-04-19 14:11 | 5.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7554 | μmol/L | 29.8528 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.029 | 94576.531 | 289654.3264 | 30.45 | 114.2
95718 | 2021-04-19 14:11 | 5.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2477 | μmol/L | 29.8344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.065 | 94717.7535 | 289658.5466 | 30.45 | 114.2
95728 | 2021-04-19 14:12 | 5.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7913 | μmol/L | 29.9022 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.069 | 94749.1964 | 289651.9137 | 30.45 | 114.2
95738 | 2021-04-19 14:12 | 6.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.6332 | μmol/L | 29.9268 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.07 | 94764.0366 | 289646.5801 | 30.45 | 114.2
95748 | 2021-04-19 14:12 | 6.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7118 | μmol/L | 29.8775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.082 | 94823.0522 | 289642.6667 | 30.45 | 114.2
95758 | 2021-04-19 14:13 | 6.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.3369 | μmol/L | 29.9638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.075 | 94816.8089 | 289635.1886 | 30.45 | 114.2
95768 | 2021-04-19 14:13 | 7.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5368 | μmol/L | 29.9022 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.084 | 94856.0063 | 289621.9543 | 30.45 | 114.2
95778 | 2021-04-19 14:13 | 7.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5957 | μmol/L | 29.8652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.093 | 94901.5277 | 289617.6831 | 30.45 | 114.2
95788 | 2021-04-19 14:14 | 7.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0548 | μmol/L | 29.9391 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.1 | 94937.9691 | 289616.7787 | 30.45 | 114.2
95798 | 2021-04-19 14:14 | 8.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5096 | μmol/L | 29.8713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.096 | 94915.3325 | 289623.2895 | 30.45 | 114.2
95808 | 2021-04-19 14:14 | 8.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.3715 | μmol/L | 29.8837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.1 | 94949.0873 | 289618.2414 | 30.45 | 114.2
95818 | 2021-04-19 14:15 | 8.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0785 | μmol/L | 29.9083 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.109 | 94974.1804 | 289626.9377 | 30.45 | 114.2
95828 | 2021-04-19 14:15 | 9.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.9886 | μmol/L | 29.933 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.106 | 94970.1574 | 289624.777 | 30.45 | 114.2
95838 | 2021-04-19 14:15 | 9.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4672 | μmol/L | 30.0008 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.114 | 94978.3332 | 289618.2889 | 30.45 | 114.2
95848 | 2021-04-19 14:16 | 9.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4181 | μmol/L | 29.9946 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.119 | 95031.1181 | 289619.4075 | 30.45 | 114.2
95858 | 2021-04-19 14:16 | 10.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1265 | μmol/L | 30.0193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.128 | 95071.015 | 289621.6384 | 30.45 | 114.2
95868 | 2021-04-19 14:16 | 10.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.3045 | μmol/L | 29.9761 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.132 | 95104.4848 | 289626.3381 | 30.45 | 114.2
95878 | 2021-04-19 14:17 | 10.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2863 | μmol/L | 29.9823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.131 | 95093.3004 | 289618.1946 | 30.45 | 114.2
95888 | 2021-04-19 14:17 | 11.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1532 | μmol/L | 29.9761 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.141 | 95148.1662 | 289620.9576 | 30.45 | 114.2
95898 | 2021-04-19 14:17 | 11.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.8913 | μmol/L | 30.0193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.142 | 95160.5322 | 289616.6227 | 30.45 | 114.2
95908 | 2021-04-19 14:18 | 11.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7193 | μmol/L | 30.0378 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.146 | 95155.7258 | 289618.2867 | 30.45 | 114.2
95918 | 2021-04-19 14:18 | 12.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3785 | μmol/L | 30.0624 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.158 | 95207.6087 | 289609.4754 | 30.45 | 114.2
95928 | 2021-04-19 14:18 | 12.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1523 | μmol/L | 30.0994 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.159 | 95244.7738 | 289619.1899 | 30.45 | 114.2
95938 | 2021-04-19 14:19 | 12.6748 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.002 | μmol/L | 30.0994 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.168 | 95270.9145 | 289623.1179 | 30.45 | 114.2
95948 | 2021-04-19 14:19 | 13.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9323 | μmol/L | 30.1117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.168 | 95276.9981 | 289635.1331 | 30.45 | 114.2
95958 | 2021-04-19 14:19 | 13.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.7685 | μmol/L | 30.0994 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.182 | 95328.2091 | 289617.8396 | 30.45 | 114.2
95968 | 2021-04-19 14:20 | 13.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2063 | μmol/L | 30.0131 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.185 | 95347.8393 | 289623.6912 | 30.45 | 114.2
95978 | 2021-04-19 14:20 | 14.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2426 | μmol/L | 30.0008 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.187 | 95361.8578 | 289622.8516 | 30.45 | 114.2
95988 | 2021-04-19 14:20 | 14.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2426 | μmol/L | 30.0008 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.187 | 95377.3239 | 289622.7482 | 30.45 | 114.2
95998 | 2021-04-19 14:21 | 14.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.7319 | μmol/L | 30.0439 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.203 | 95435.206 | 289616.3863 | 30.45 | 114.2
96008 | 2021-04-19 14:21 | 15.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6667 | μmol/L | 30.0378 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.209 | 95466.993 | 289608.0839 | 30.45 | 114.2
96018 | 2021-04-19 14:21 | 15.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6985 | μmol/L | 30.0439 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.205 | 95463.2179 | 289618.6337 | 30.45 | 114.2
96028 | 2021-04-19 14:22 | 15.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5185 | μmol/L | 30.0316 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.22 | 95520.4545 | 289606.8266 | 30.45 | 114.2
96038 | 2021-04-19 14:22 | 16.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0187 | μmol/L | 30.1056 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.225 | 95557.8614 | 289607.4358 | 30.45 | 114.2
96048 | 2021-04-19 14:22 | 16.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7941 | μmol/L | 30.1425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.226 | 95558.8206 | 289611.6059 | 30.45 | 114.2
96058 | 2021-04-19 14:23 | 16.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1108 | μmol/L | 30.0686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.232 | 95584.8444 | 289605.376 | 30.45 | 114.2
96068 | 2021-04-19 14:23 | 17.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0776 | μmol/L | 30.0686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.234 | 95609.2905 | 289603.9515 | 30.45 | 114.2
96078 | 2021-04-19 14:23 | 17.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.9419 | μmol/L | 30.0809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.238 | 95622.8134 | 289597.7587 | 30.45 | 114.2
96088 | 2021-04-19 14:24 | 17.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.8652 | μmol/L | 30.0562 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.251 | 95675.5884 | 289600.2465 | 30.45 | 114.2
96098 | 2021-04-19 14:24 | 18.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.6289 | μmol/L | 30.0747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.259 | 95728.0783 | 289600.4487 | 30.45 | 114.2
96108 | 2021-04-19 14:24 | 18.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.414 | μmol/L | 30.0747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.272 | 95785.9673 | 289588.8233 | 30.45 | 114.2
96118 | 2021-04-19 14:25 | 18.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4125 | μmol/L | 30.0809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.27 | 95789.9276 | 289576.6825 | 30.45 | 114.2
96128 | 2021-04-19 14:25 | 19.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1108 | μmol/L | 30.0994 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.282 | 95830.4922 | 289572.9326 | 30.45 | 114.2
96138 | 2021-04-19 14:25 | 19.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.234 | μmol/L | 30.0686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.285 | 95855.9113 | 289572.3244 | 30.45 | 114.2
96148 | 2021-04-19 14:26 | 19.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7604 | μmol/L | 30.1179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.297 | 95900.3196 | 289566.2823 | 30.45 | 114.2
96158 | 2021-04-19 14:26 | 20.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0841 | μmol/L | 30.0747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.292 | 95901.3493 | 289557.7301 | 30.45 | 114.2
96168 | 2021-04-19 14:26 | 20.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8113 | μmol/L | 30.1117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.296 | 95954.6679 | 289565.1721 | 30.45 | 114.2
96178 | 2021-04-19 14:27 | 20.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5255 | μmol/L | 30.1364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.305 | 95977.6882 | 289572.3329 | 30.45 | 114.2
96188 | 2021-04-19 14:27 | 21.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5217 | μmol/L | 30.0871 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.322 | 96052.0912 | 289579.0087 | 30.45 | 114.2
96198 | 2021-04-19 14:27 | 21.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.05 | μmol/L | 30.1364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.334 | 96082.8941 | 289554.0714 | 30.45 | 114.2
96208 | 2021-04-19 14:28 | 21.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.1039 | μmol/L | 30.1179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.337 | 96126.1188 | 289585.8387 | 30.45 | 114.2
96218 | 2021-04-19 14:28 | 22.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.7882 | μmol/L | 30.1364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.35 | 96195.8228 | 289581.0618 | 30.45 | 114.2
96228 | 2021-04-19 14:28 | 22.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.953 | μmol/L | 30.0686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.363 | 96242.0434 | 289573.8005 | 30.45 | 114.2
96238 | 2021-04-19 14:29 | 22.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4634 | μmol/L | 30.1302 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.372 | 96287.5908 | 289563.8235 | 30.45 | 114.2
96248 | 2021-04-19 14:29 | 23.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.7422 | μmol/L | 30.0624 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.378 | 96320.5311 | 289573.2298 | 30.45 | 114.2
96258 | 2021-04-19 14:29 | 23.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.8649 | μmol/L | 30.0932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.36 | 96271.2177 | 289565.1777 | 30.45 | 114.2
96268 | 2021-04-19 14:30 | 23.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4878 | μmol/L | 30.0994 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.381 | 96350.6745 | 289572.1733 | 30.45 | 114.2
96278 | 2021-04-19 14:30 | 24.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.328 | μmol/L | 30.0871 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.395 | 96415.1468 | 289572.111 | 30.45 | 114.2
96288 | 2021-04-19 14:30 | 24.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.315 | μmol/L | 30.0747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.4 | 96444.7849 | 289552.5814 | 30.45 | 114.2
96298 | 2021-04-19 14:31 | 24.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.9133 | μmol/L | 30.1179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.41 | 96486.5113 | 289557.8683 | 30.45 | 114.2
96308 | 2021-04-19 14:31 | 25.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.9003 | μmol/L | 30.1056 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.415 | 96527.6714 | 289549.5394 | 30.45 | 114.2
96318 | 2021-04-19 14:31 | 25.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.7055 | μmol/L | 30.1056 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.427 | 96582.3101 | 289547.4329 | 30.45 | 114.2
96328 | 2021-04-19 14:32 | 25.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.4915 | μmol/L | 30.1179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.436 | 96616.4232 | 289562.9633 | 30.45 | 114.2
96338 | 2021-04-19 14:32 | 26.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.3474 | μmol/L | 30.1117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.447 | 96666.1743 | 289540.2371 | 30.45 | 114.2
96348 | 2021-04-19 14:32 | 26.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.3329 | μmol/L | 30.1056 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.45 | 96699.3971 | 289554.6449 | 30.45 | 114.2
96358 | 2021-04-19 14:33 | 26.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.3267 | μmol/L | 30.0686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.463 | 96761.6493 | 289544.8145 | 30.45 | 114.2
96368 | 2021-04-19 14:33 | 27.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.2346 | μmol/L | 30.0501 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.475 | 96837.9686 | 289549.2798 | 30.45 | 114.2
96378 | 2021-04-19 14:33 | 27.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.1261 | μmol/L | 30.0932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.467 | 96792.1141 | 289547.9384 | 30.45 | 114.2
96388 | 2021-04-19 14:34 | 27.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.0859 | μmol/L | 30.0624 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.48 | 96868.1358 | 289566.9915 | 30.45 | 114.2
96398 | 2021-04-19 14:34 | 28.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.5245 | μmol/L | 30.1117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.498 | 96954.1189 | 289547.9 | 30.45 | 114.2
96408 | 2021-04-19 14:34 | 28.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.4051 | μmol/L | 30.1364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.497 | 96957.2054 | 289548.694 | 30.45 | 114.2
96418 | 2021-04-19 14:35 | 28.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.76 | μmol/L | 30.0747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.496 | 96955.4724 | 289558.5423 | 30.45 | 114.2
96428 | 2021-04-19 14:35 | 29.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.4576 | μmol/L | 30.0624 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.519 | 97047.708 | 289542.7368 | 30.45 | 114.2
96438 | 2021-04-19 14:35 | 29.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.1313 | μmol/L | 30.0809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.533 | 97122.8374 | 289540.2775 | 30.45 | 114.2
96448 | 2021-04-19 14:36 | 29.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.9515 | μmol/L | 30.0932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.54 | 97163.1766 | 289542.2354 | 30.45 | 114.2
96458 | 2021-04-19 14:36 | 30.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.7204 | μmol/L | 30.1179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.546 | 97192.3498 | 289538.0979 | 30.45 | 114.2
96468 | 2021-04-19 14:36 | 30.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.4806 | μmol/L | 30.1179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.561 | 97241.4074 | 289539.6964 | 30.45 | 114.2
96478 | 2021-04-19 14:37 | 30.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.4184 | μmol/L | 30.1117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.567 | 97293.1646 | 289544.923 | 30.45 | 114.2
96488 | 2021-04-19 14:37 | 31.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.3934 | μmol/L | 30.0871 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.577 | 97359.268 | 289536.6784 | 30.45 | 114.2
96498 | 2021-04-19 14:37 | 31.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.2394 | μmol/L | 30.1241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.574 | 97344.6831 | 289538.3769 | 30.45 | 114.2
96508 | 2021-04-19 14:38 | 31.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.9931 | μmol/L | 30.0932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.6 | 97451.1424 | 289533.8599 | 30.45 | 114.2
96518 | 2021-04-19 14:38 | 32.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.7969 | μmol/L | 30.1117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.606 | 97505.554 | 289518.8837 | 30.45 | 114.2
96528 | 2021-04-19 14:38 | 32.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.7209 | μmol/L | 30.0994 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.615 | 97552.3372 | 289528.7602 | 30.45 | 114.2
96538 | 2021-04-19 14:39 | 32.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.6291 | μmol/L | 30.0871 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.625 | 97583.2014 | 289522.3037 | 30.45 | 114.2